## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | Paracetamol Tablets 500 mg
% age Purity: | NDQ20150505000
Weight (mg): | Paracetamol
Standard Conc (mg/mL): | Each Tabltet contains Paracetamol 500 mg
2015-05-29 12:07:18
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | Paracetamol Tablets 500 mg
Laboratory Ref No: |  | NDQ20150505000
Active Ingredient: |  | Paracetamol
Label Claim: |  | Each Tabltet contains Paracetamol 500 mg
Date Analysis Started: |  | 2015-05-29 12:07:18
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 521 | -3.052%
|  | 522 | -2.866%
|  | 519 | -3.424%
|  | 513 | -4.54%
|  | 515 | -4.168%
|  | 516 | -3.982%
|  | 526 | -2.121%
|  | 531 | -1.191%
|  | 518 | -3.61%
|  | 512 | -4.726%
|  | 551 | 2.531%
|  | 552 | 2.717%
|  | 553 | 2.903%
|  | 554 | 3.089%
|  | 555 | 3.275%
|  | 556 | 3.461%
|  | 557 | 3.647%
|  | 558 | 3.833%
|  | 559 | 4.019%
|  | 560 | 4.205%
| Total | 10748
| Average | 537.4
| Average | % Deviation from mean
| 537.4 | -5% | 510.53
|  | 5% | 564.27
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## Paracetamol
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | Paracetamol Tablets 500 mg
Laboratory Ref No: | NDQ20150505000 | 1
Active Ingredient: | Paracetamol
Label Claim: | Each Tabltet contains Paracetamol 500 mg
Date Analysis Started: | 2015-05-29 12:07:18
Date Analysis Completed:
Analysis Data
Reference Substance: | Paracetamol Bp
Code: | NQCL-BP123
% age Purity: | 99.5
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.5
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 45658554 | 183551.9759 | 45215698 | 174780.4329
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 45845869 | 184305.001 | 45856254 | 177256.4901 |  | 4.578%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 45875265 | 184423.1759 | 45821325 | 177121.4727
3rd Dilution Standard Volume (mL: | 1 | 4 | 45826598 | 184227.5296 | 45254586 | 174930.7538
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 45801571.5 | 184126.9206 | 45536965.75 | 176022.2874
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 25 |  | 26
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 25 |  | 26
Standard Dilution Factor | 1 | Purity correction (mg): | 24.875 |  | 25.87
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 24.875 |  | 25.87
|  | Desired Concentration (mg/mL): | 0.1
|  | Desired Weight as free base (mg): | 0.1
|  | Desired Weight as salt (mg): | 0.1
|  | Average Normalised Response: | 180074.604
|  | RSD: | 2.459%
|  | n: | 8
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each Tabltet contains Paracetamol 500 mg
Each Capsule contains | 250 | Paracetamol
Average Capsule Content Weight (mg): | 537.4
Initial Sample dilution Volume (mL): | 50 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 5 | Assay Smp A | 26.5 | 1 | 185555 | 522.4106 | 209%
1st Dilution Sample Final Volume (mL): | 25 |  |  | 2 | 841515 | 2369.1971 | 947.7%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 454155 | 1278.6257 | 511.5%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 | 455555 | 1282.5672 | 513%
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 25.9 | 1 | 26856524 | 77363.3452 | 30945%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 5555454 | 16003.1322 | 6401%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 28965242 | 83437.7529 | 33375%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 | 25855222 | 74478.9781 | 29792%
Sample Dilution Factor | 250 | Assay Smp C | 26 | 1 | 45852221 | 131574.6524 | 52630%
Desired Sample Weight (mg): | 53.74 |  |  | 2 | 58452545 | 167731.7505 | 67093%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 35821111 | 102790.0094 | 41116%
|  |  |  | 4 | 3542255 | 10164.6324 | 4066%
[6 empty] | Average: | 99%
[6 empty] | RSD: | 30%
[6 empty] | n: | 12
Comment: | The content of | Paracetamol |  | in the sample as a percentage of the stated label claim is |  | 99%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Paracetamol Bp
Code: | NQCL-BP123
% age Purity: | 99.5
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.5
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 5 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 | 12545212 | 53973686927.7896 | 1526885 | 6148068064.6824
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 12542664 | 53962724581.8132 | 452512 | 1822059013.0138 |  | 99.94%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 12542214 | 53960788531.6996 | 1354642 | 5454524223.6825
3rd Dilution Standard Volume (mL: | 1 | 4 | 12452151 | 53573307461.9674 | 125666 | 505999549.0272
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 12520560.25 | 53867626875.8174 | 864926.25 | 3482662712.6015
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 14.6 |  | 15.6
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 14.6 |  | 15.6
Standard Dilution Factor | 250 | Purity correction: | 14.527 |  | 15.522
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.058108 |  | 0.062088
|  | Desired Concentration (mg/mL): | 250
|  | Desired Weight as free base (mg): | 62500
|  | Desired Weight as salt (mg): | 62500
|  | Average Normalised Peak Area: | 28675144794.2095
|  | RSD: | 94.13%
|  | n: | 8
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 1254555 | 0.010938 | 0.004375%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 1254823 | 0.01094 | 0.004376%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 1258211 | 0.01097 | 0.004388%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 1254832 | 0.01094 | 0.004376%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 1254896 | 0.010941 | 0.004376%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 1254831 | 0.01094 | 0.004376%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 96%
Sample Dilution Factor | 1 |  |  | RSD: | 5.096e-06%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment: | The amount of | Paracetamol |  | dissolved as a percentage of the stated label claim is |  | 96%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5