## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | BenzylPenicillin Sodium for Injection
Laboratory Ref No: |  | NDQA201509301
Active Ingredient: |  | BenzylPenicillin sodium BP
Label Claim: |  | Benzylpenicillin 3000mg/vial
Date Analysis Started: |  | 2016-02-22
Date Analysis Completed: |  | 2016-02-26
Analysis Data |  | Uniformity of weight
Vial No. | Intact Vial (mg) | Empty Vial (mg) | Vial Content (mg) | % Deviation
1 | 15558.61 | 14949.03 | 609.58 | 1.334%
2 | 15823.79 | 15243.19 | 580.6 | -3.483%
3 | 16429.2 | 15817.91 | 611.29 | 1.619%
4 | 16173.39 | 15564.13 | 609.26 | 1.281%
5 | 16247.23 | 15647.29 | 599.94 | -0.2681%
6 | 16148.86 | 15550.63 | 598.23 | -0.5524%
7 | 15786.31 | 15196.73 | 589.58 | -1.99%
8 | 15856.81 | 15259.5 | 597.31 | -0.7053%
9 | 15398.69 | 14785.98 | 612.71 | 1.855%
10 | 15849.67 | 15233.38 | 616.29 | 2.45%
11 | 15839.88 | 15251.9 | 587.98 | -2.256%
12 | 15894.88 | 15283.75 | 611.13 | 1.592%
13 | 16159.39 | 15548.16 | 611.23 | 1.609%
14 | 16599.91 | 16007.64 | 592.27 | -1.543%
15 | 16546.41 | 15940.81 | 605.6 | 0.6728%
16 | 15679.74 | 15080.27 | 599.47 | -0.3463%
17 | 16162.33 | 15578.7 | 583.63 | -2.979%
18 | 16071.65 | 15472.69 | 598.96 | -0.4311%
19 | 15698.25 | 15097.26 | 600.99 | -0.09359%
20 | 15878.96 | 15263.95 | 615.01 | 2.237%
Total | 319803.96 | 307772.9 | 12031.06
Average | 15990.198 | 15388.645 | 601.553
| Average | % Deviation from mean
| 601.553 | -7.5% | 556.4365
|  | 7.5% | 646.6695
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | Benzyl Penicillin G Sodium Injection BP 5 Mega
% age Purity: | NDQA201509295
Weight (mg): | BenzylPenicillin sodium BP
Standard Conc (mg/mL): | Each vial contains Benzylpenicillin Sodium BP 5,000,000 I.U (3g)
2015-09-30 13:31:23
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2 | 28538869 | 7007.9 | 1.6 | 6.3
3 | 28996566 | 6958 | 1.6 | 6.3
4 | 28388157 | 7012.6 | 1.6 | 6.3
5 | 28582122 | 7011.2 | 1.6 | 6.3
6 | 29528834 | 6925.6 | 1.6 | 6.3
Averages: | 28806909.6 | 6983.06 | 1.6 | 6.3
RSD: | 1.605%
n: | 5
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Benzyl Penicillin Sodium BP
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | Benzyl Penicillin G Sodium Injection BP 5 Mega
Laboratory Ref No: | NDQA201509301 | 8
Active Ingredient: | BenzylPenicillin sodium BP
Label Claim: | Each vial contains Benzylpenicillin Sodium BP 1,000,000 I.U (0.6g)
Date Analysis Started: | 2015-09-30 13:31:23
Date Analysis Completed:
Analysis Data
Reference Substance: | BenzylPeniciilin Sodium
Code: | P15 1
% age Purity: | 100
% Water content: | 0 | If correction for water content is NOT needed, enter 0
% Purity corrected for water: | 100
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 27851089 | 20893540.135 | 21699062 | 21067050.4854
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 27927026 | 20950507.1268 | 21633790 | 21003679.6117
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 28237640 | 21183525.8815 | 21348119 | 20726329.1262
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 28005251.6667 | 21009191.0478 | 21560323.6667 | 20932353.0744
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 13.33 |  | 10.3
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 13.33 |  | 10.3
Standard Dilution Factor | 100 | Purity correction (mg): | 13.33 |  | 10.3
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.1333 |  | 0.103
|  | Desired Concetration (mg/mL): | 0.1
|  | Desired Weight as free base (mg): | 10
|  | Desired Weight as salt (mg): | 10
|  | Average Normalised Response: | 20970772.0611
|  | RSD: | 0.7441%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each vial contains Benzylpenicillin Sodium BP 1,000,000 I.U (0.6g)
Each Vial contains | 600 | BenzylPenicillin sodium BP
Average Vial Content Weight (mg): | 601.553
Initial Sample dilution (mL): | 50 |  | Sample Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 5 | Assay Smp A | 602.16 | 1 | 27595189 | 657.2808 | 109.5%
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 5 |  |  | 3 | 27008758 | 643.3128 | 107.2%
2nd Dilution Sample Final Volume (mL): | 50 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 581.17 | 1 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 26194603 | 646.4547 | 107.7%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 5000 | Assay Smp C | 590.62 | 1 | 26773820 | 650.1771 | 108.4%
Desired Sample Weight (mg): | 501.2942 |  |  | 2 | 26857789 | 652.2162 | 108.7%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 27759271 | 674.1079 | 112.4%
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 109%
[6 empty] | RSD: | 1.681%
[6 empty] | n: | 6
Comment: | The content of | BenzylPenicillin sodium BP |  | in the sample as a percentage of the stated label claim is |  | 109%
| Name |  |  | Date |  | Signature
Analysed by: | Bugigi |  |  | 26-2-2016
Reviewed By:
5