## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | CAREMOX-250
% age Purity: | NDQA201509346
Weight (mg): | Amoxicillin Trihydrate
Standard Conc (mg/mL): | Each capsule contains Amoxicillin Trihydrate equivalent to Amoxicillin 250mg BP
2015-10-01 14:23:06
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | CAREMOX-250
Laboratory Ref No: |  | NDQA201509346
Active Ingredient: |  | Amoxicillin Trihydrate
Label Claim: |  | Each capsule contains Amoxicillin Trihydrate equivalent to Amoxicillin 250mg BP
Date Analysis Started: |  | 2015-10-01 14:23:06
Date Analysis Completed: |  | 2016-01-12 10:26:44
Analysis Data |  | Uniformity of weight
Capsule No. | Intact Capsule (mg) | Empty Shell (mg) | Capsule Content (mg) | % Deviation
1 | 367.45 | 81.61 | 285.84 | -2.08%
2 | 374.72 | 79.15 | 295.57 | 1.253%
3 | 383.23 | 81.8 | 301.43 | 3.261%
4 | 365.17 | 83.03 | 282.14 | -3.347%
5 | 372.27 | 79.38 | 292.89 | 0.3352%
6 | 360.33 | 82.1 | 278.23 | -4.687%
7 | 373.77 | 83.98 | 289.79 | -0.7268%
8 | 379.68 | 78.46 | 301.22 | 3.189%
9 | 366.68 | 83.18 | 283.5 | -2.882%
10 | 379.35 | 81.53 | 297.82 | 2.024%
11 | 380.61 | 80.66 | 299.95 | 2.754%
12 | 379.43 | 80.37 | 299.06 | 2.449%
13 | 381.4 | 81.49 | 299.91 | 2.74%
14 | 372.8 | 81.18 | 291.62 | -0.09986%
15 | 375.04 | 81.1 | 293.94 | 0.6949%
16 | 359.3 | 77.29 | 282.01 | -3.392%
17 | 367.27 | 79.75 | 287.52 | -1.504%
18 | 377 | 84.5 | 292.5 | 0.2016%
19 | 375.49 | 81.37 | 294.12 | 0.7566%
20 | 372.83 | 83.66 | 289.17 | -0.9392%
Total | 7463.82 | 1625.59 | 5838.23
Average | 373.191 | 81.2795 | 291.9115
| Average | % Deviation from mean
| 291.9115 | -10% | 262.7204
|  | 10% | 321.1027
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## amoxicillin
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | CAREMOX-250
Laboratory Ref No: | NDQA201509346 | 29
Active Ingredient: | Amoxicillin Trihydrate
Label Claim: | Each capsule contains Amoxicillin Trihydrate equivalent to Amoxicillin 250mg BP
Date Analysis Started:
Date Analysis Completed:
Analysis Data
Reference Substance: | amoxicillin
Code:
% age Purity: | 86.6
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 86.6
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 135612046 | 161051658.6293 | 155815775 | 158945085.8502
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 133792417 | 158890683.427 | 161836367 | 165086591.8197 |  | 0.3002%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 139577820 | 165761376.5289 | 159716777 | 162924433.2417
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 136327427.6667 | 161901239.5284 | 159122973 | 162318703.6372
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 29.17 |  | 33.96
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 29.17 |  | 33.96
Standard Dilution Factor | 25 | Purity correction (mg): | 25.2612 |  | 29.4094
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 1.0104 |  | 1.1764
|  | Desired Concentration (mg/mL): | 1.2
|  | Desired Weight as free base (mg): | 30
|  | Desired Weight as salt (mg): | 30
|  | Average Normalised Response: | 162109971.5828
|  | RSD: | 1.837%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each capsule contains Amoxicillin Trihydrate equivalent to Amoxicillin 250mg BP
Each Tablet/Capsule contains | 250 | Amoxicillin Trihydrate
Average Tablet/Capsule Content Weight (mg): | 291.9115
Initial Sample dilution Volume (mL): | 50 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 1 | Assay Smp A | 96.19 | 1 | 202341541 | 227.273 | 90.91%
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 201720034 | 226.5749 | 90.63%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 202484442 | 227.4335 | 90.97%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 107.38 | 1 | 227740244 | 229.1443 | 91.66%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 225865367 | 227.2579 | 90.9%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 225961068 | 227.3542 | 90.94%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 50 | Assay Smp C | 92.85 | 1 | 193472648 | 225.1285 | 90.05%
Desired Sample Weight (mg): | 70.0588 |  |  | 2 | 193622580 | 225.3029 | 90.12%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 193719497 | 225.4157 | 90.17%
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 226.765 | 90.71%
[5 empty] | RSD: | 0.5756% | 0.5756%
[5 empty] | n: | 9 | 9
Comment: | The content of | Amoxicillin Trihydrate |  | in the sample as a percentage of the stated label claim is |  | 90.71%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | amoxicillin
Code: | 0
% age Purity: | 86.6
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 86.6
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 5 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 20 | 1 | 0.749 | 0.82362 | 0.8749 | 0.82636
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.7537 | 0.82878 | 0.8736 | 0.82513 |  | 0.1963%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.7525 | 0.82747 | 0.8726 | 0.82419
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.75173 | 0.82662 | 0.8737 | 0.82523
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 29.17 |  | 33.96
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 29.17 |  | 33.96
Standard Dilution Factor | 100 | Purity correction: | 25.2612 |  | 29.4094
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.25261 |  | 0.29409
|  | Desired Concentration (mg/mL): | 0.27778
|  | Desired Weight as free base (mg): | 27.7778
|  | Desired Weight as salt (mg): | 27.7778
|  | Average Normalised Peak Area: | 0.82593
|  | RSD: | 0.2404%
|  | n: | 6
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 0.7584 | 229.5607 | 91.82%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 0.7645 | 231.4071 | 92.56%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.7642 | 231.3163 | 92.53%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.7416 | 224.4755 | 89.79%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.7509 | 227.2905 | 90.92%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.7346 | 222.3567 | 88.94%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 227.7345 | 91.09%
Sample Dilution Factor | 900 |  | RSD: | 1.636% | 1.636%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | Amoxicillin Trihydrate |  | dissolved as a percentage of the stated label claim is |  | 91.09%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5