## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | SEPTRIMED
% age Purity: | NDQA201509378
Weight (mg): | Sulfamethoxazole BP & Trimethoprim BP
Standard Conc (mg/mL): | Each 5mL contains Trimethoprim BP 40mg, Sulphamethoxazole BP 200mg
2015-10-02 10:15:47
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Relative density
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Relative Density Test Report
Sample Name: | SEPTRIMED
Laboratory Ref No: | NDQA201509378
Active Ingredient: | Sulfamethoxazole BP & Trimethoprim BP
Label Claim: | Each 5mL contains Trimethoprim BP 40mg, Sulphamethoxazole BP 200mg
Date Analysis Started: | 2015-10-02 10:15:47
Date Analysis Completed: | 0
|  | Pyknometer + Water (g) | Pyknometer + Sample (g)
| 23.2562 | 48.1174 | 47.9559
|  | 48.1275 | 47.8235
|  | 48.1088 | 47.8135
| 23.2562 | 48.1179 | 47.8643
| Mass of Water (g): | 24.8617
| Mass of Sample (g): | 24.6081
| Relative Density of Sample: | 0.9898
| Name |  | Date | Signature
Analysed by:
Reviewed By:
0

## Sulphamethoxazole
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | SEPTRIMED
Laboratory Ref No: | NDQA201509378 | 25
Active Ingredient: | Sulfamethoxazole BP & Trimethoprim BP
Label Claim: | Each 5mL contains Trimethoprim BP 40mg, Sulphamethoxazole BP 200mg
Date Analysis Started: | 7th Jan 2015
Date Analysis Completed: | 8th Jan 2015
Analysis Data
Reference Substance: | Sulphamethoxazole
Code: | S12-2
% age Purity: | 99.58
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.58
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 20 | 1 | 62504017 | 49989161.6467 | 51503611 | 50305982.7568
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 62616890 | 50079434.6709 | 51527413 | 50329231.282
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 62532180 | 50011685.7151 | 51691807 | 50489802.5812
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 62551029 | 50026760.6776 | 51574277 | 50375005.54
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 20.09 |  | 16.45
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 20.09 |  | 16.45
Standard Dilution Factor | 100 | Purity correction (mg): | 20.0056 |  | 16.3809
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.20006 |  | 0.16381
|  | Desired Concentration (mg/mL): | 0.16
|  | Desired Weight as free base (mg): | 16
|  | Desired Weight as salt (mg): | 16
|  | Average Normalised Response: | 50200883.1088
|  | RSD: | 0.4047%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each 5mL contains Trimethoprim BP 40mg, Sulphamethoxazole BP 200mg
Each | 5 | contains | 200 | Sulfamethoxazole BP & Trimethoprim BP
Relative Density of sample: | 0.9898
Each | 5 | is equivalent to | 4.949
Initial Sample dilution (mL): | 50 |  | Powder Weight (g) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 2 | Assay Smp A | 5.5325 | 1 | 52600392 | 187.4577 | 93.73%
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 52674260 | 187.721 | 93.86%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 52535981 | 187.2282 | 93.61%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 5.5919 | 1 | 53804960 | 189.7137 | 94.86%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 53751779 | 189.5262 | 94.76%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 53829527 | 189.8003 | 94.9%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1250 | Assay Smp C | 5.7118 | 1 | 55504117 | 191.5967 | 95.8%
Desired Powder Weight (g): | 4.949 |  |  | 2 | 55703735 | 192.2858 | 96.14%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 55729812 | 192.3758 | 96.19%
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 94.87%
[6 empty] | RSD: | 1.063%
[6 empty] | n: | 9
Comment: | The content of | Sulfamethoxazole BP & Trimethoprim BP |  | in the sample as a percentage of the stated label claim is |  | 94.87%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Trimethoprim
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | SEPTRIMED
Laboratory Ref No: | NDQA201509378 | 25
Active Ingredient: | Sulfamethoxazole BP & Trimethoprim BP
Label Claim: | Each 5mL contains Trimethoprim BP 40mg, Sulphamethoxazole BP 200mg
Date Analysis Started: | 7th Jan 2015
Date Analysis Completed: | 8th Jan 2015
Analysis Data
Reference Substance: | Trimethoprim
Code: | T7-2
% age Purity: | 99.66
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.66
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 2 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 20 | 1 | 3625786 | 3862673.6345 | 4085017 | 3913082.0446
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 3643177 | 3881200.8606 | 4095491 | 3923115.2027
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 3647607 | 3885920.2909 | 4128235 | 3954481.035
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 3638856.6667 | 3876598.262 | 4102914.3333 | 3930226.0941
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 15.07 |  | 16.76
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 15.07 |  | 16.76
Standard Dilution Factor | 500 | Purity correction (mg): | 15.0188 |  | 16.703
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.030038 |  | 0.033406
|  | Desired Concentration (mg/mL): | 0.032
|  | Desired Weight as free base (mg): | 16
|  | Desired Weight as salt (mg): | 16
|  | Average Normalised Response: | 3903412.1781
|  | RSD: | 0.8534%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each 5mL contains Trimethoprim BP 40mg, Sulphamethoxazole BP 200mg
Each | 5 | contains | 40 | Sulfamethoxazole BP & Trimethoprim BP
Relative Density of sample: | 0.9898
Each | 5 | is equivalent to | 4.949
Initial Sample dilution (mL): | 50 |  | Powder Weight (g) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 2 | Assay Smp A | 5.5325 | 1 | 4048877 | 37.1147 | 92.79%
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 4049433 | 37.1198 | 92.8%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 4032515 | 36.9647 | 92.41%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 5.5919 | 1 | 4136716 | 37.5171 | 93.79%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 4127892 | 37.4371 | 93.59%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 4123558 | 37.3977 | 93.49%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1250 | Assay Smp C | 5.7118 | 1 | 4267401 | 37.8899 | 94.72%
Desired Powder Weight (g): | 4.949 |  |  | 2 | 4277752 | 37.9818 | 94.95%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 4270178 | 37.9145 | 94.79%
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 93.7%
[6 empty] | RSD: | 1.01%
[6 empty] | n: | 9
Comment: | The content of | Sulfamethoxazole BP & Trimethoprim BP |  | in the sample as a percentage of the stated label claim is |  | 93.7%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0