## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE TABLETS 300 mg/300 mg
Laboratory Ref No: |  | NDQB201602758
Active Ingredient: |  | Tenofovir Disoproxil Fumarate , Lamivudine
Label Claim: |  | Each film coated tablet contains: Tenofovir disoproxil fumarate 300 mg, Lamivudine USP 300 mg
Date Analysis Started: |  | 2016-02-25
Date Analysis Completed: |  | 2016-02-29
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 864.14 | -0.2653%
|  | 876.46 | 1.157%
|  | 859.89 | -0.7559%
|  | 866.88 | 0.0509%
|  | 865.55 | -0.1026%
|  | 861.59 | -0.5596%
|  | 868.51 | 0.239%
|  | 869.22 | 0.321%
|  | 863.96 | -0.2861%
|  | 867.01 | 0.0659%
|  | 869.87 | 0.396%
|  | 858.31 | -0.9382%
|  | 853.65 | -1.476%
|  | 866.55 | 0.01281%
|  | 867.15 | 0.08206%
|  | 871.2 | 0.5495%
|  | 867.37 | 0.1075%
|  | 871.06 | 0.5333%
|  | 877.28 | 1.251%
|  | 863.13 | -0.3819%
| Total | 17328.78
| Average | 866.439
| Average | % Deviation from mean
| 866.439 | -5% | 823.1171
|  | 5% | 909.761
| Name |  | Date | Signature
Analysed by: | Dr. Sarah Mwangi |  | 29th February 2016
Reviewed By:

## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE TABLETS 300 MG/300 MG
Reference Substance: | TENOFOVIR DF
% age Purity: | NDQB201602757
Weight (mg): | 16.31
Standard Conc (mg/mL): | 0.13048
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 52261896 | 47450 | 1.1 | 16.4
2 | 52239640 | 47532.3 | 1.1 | 16.4
3 | 52121198 | 47536.3 | 1.1 | 16.4
4 | 52301742 | 47548.5 | 1.1 | 16.4
5 | 52163233 | 47522 | 1.1 | 16.4
6
Averages: | 52217541.8 | 47517.82 | 1.1 | 16.4
RSD: | 0.1413%
n: | 5
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data
Reference Substance: | Lamivudine
% age Purity: | 100.4
Weight (mg): | 19.12
Standard Conc (mg/mL): | 0.12237
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 97966249 | 6752 | 1 | 4.2
2 | 97987055 | 6246 | 1 | 4.2
3 | 97735333 | 6452.2 | 1.1 | 4.2
4 | 98100023 | 6809.6 | 1 | 4.2
5 | 97871783 | 6344 | 1 | 4.3
6
Averages: | 97932088.6 | 6520.76 | 1.02 | 4.22
RSD: | 0.1396%
n: | 5
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Lamivudine
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE TABLETS 300 MG/300 MG
Laboratory Ref No: | NDQB201602758 | 29
Active Ingredient: | Tenofovir Disoproxil Fumarate 300mg, Lamivudine 300mg
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300mg, Lamivudine USP 300 mg
Date Analysis Started: | 2016-02-25
Date Analysis Completed: | 2016-02-29
Analysis Data
Reference Substance: | Lamivudine
Code: | L3-7
% age Purity: | 100.4
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 100.4
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 | 97889980 | 95613212.6827 | 94441893 | 95750845.3564
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 98109976 | 95828091.921 | 94521267 | 95831319.4697 |  | 0.06083%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 98114684 | 95832690.4203 | 94562589 | 95873214.1872
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 98038213.3333 | 95757998.3414 | 94508583 | 95818459.6711
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 19.12 |  | 18.42
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 19.12 |  | 18.42
Standard Dilution Factor | 156.25 | Purity correction (mg): | 19.1965 |  | 18.4937
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.12286 |  | 0.11836
|  | Desired Concentration (mg/mL): | 0.12
|  | Desired Weight as free base (mg): | 18.75
|  | Desired Weight as salt (mg): | 18.75
|  | Average Normalised Response: | 95788229.0062
|  | RSD: | 0.09868%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300mg, Lamivudine USP 300 mg
Each Tablet contains | 300 | Tenofovir Disoproxil Fumarate 300mg, Lamivudine 300mg
Average Tablet Content Weight (mg): | 866.439
Initial Sample dilution Volume (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 1 | Assay Smp A | 800.07 | 1 | 89289519 | 302.8444 | 100.9%
1st Dilution Sample Final Volume (mL): | 25 |  |  | 2 | 89035977 | 301.9845 | 100.7%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 88934174 | 301.6392 | 100.5%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 802.28 | 1 | 89288426 | 302.0065 | 100.7%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 89313987 | 302.093 | 100.7%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 88910366 | 300.7278 | 100.2%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 2500 | Assay Smp C | 878.36 | 1 |  | - | -
Desired Sample Weight (mg): | 866.439 |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | - | -
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 301.8826 | 100.6%
[5 empty] | RSD: | 0.2289% | 0.2289%
[5 empty] | n: | 6 | 6
Comment: | The content of | Tenofovir Disoproxil Fumarate 300mg, Lamivudine 300mg |  | in the sample as a percentage of the stated label claim is |  | 100.6%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Lamivudine
Code: | L3-7
% age Purity: | 100.4
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 100.4
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 | 241149855 | 235541087.8062 | 232423158 | 235644512.7471
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 241572252 | 235953660.5148 | 232696079 | 235921216.3966 |  | 0.04993%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 241968886 | 236341069.4304 | 232678328 | 235903219.3701
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 241563664.3333 | 235945272.5838 | 232599188.3333 | 235822982.8379
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 19.12 |  | 18.42
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 19.12 |  | 18.42
Standard Dilution Factor | 62.5 | Purity correction: | 19.1965 |  | 18.4937
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.30714 |  | 0.2959
|  | Desired Concentration (mg/mL): | 0.3
|  | Desired Weight as free base (mg): | 18.75
|  | Desired Weight as salt (mg): | 18.75
|  | Average Normalised Peak Area: | 235884127.7109
|  | RSD: | 0.1185%
|  | n: | 6
Medium Volume (mL): | 1000 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 229722522 | 292.1636 | 97.39%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 233446913 | 296.9003 | 98.97%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 226372087 | 287.9025 | 95.97%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 233469764 | 296.9294 | 98.98%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 227489051 | 289.3231 | 96.44%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 236846431 | 301.2239 | 100.4%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 294.0738 | 98.02%
Sample Dilution Factor | 1000 |  | RSD: | 1.744% | 1.744%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | Tenofovir Disoproxil Fumarate 300mg, Lamivudine 300mg |  | dissolved as a percentage of the stated label claim is |  | 98.02%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## Tenofovir DF
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE TABLETS 300 MG/300 MG
Laboratory Ref No: | NDQB201602758 | 29
Active Ingredient: | Tenofovir Disoproxil Fumarate 300mg, Lamivudine 300mg
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300mg, Lamivudine USP 300 mg
Date Analysis Started: | 2016-02-25
Date Analysis Completed: | 2016-02-29
Analysis Data
Reference Substance: | Tenofovir DF
Code: | T11-6
% age Purity: | 98.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 20 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 | 52140040 | 48534628.913 | 50465354 | 48863163.446
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 52226746 | 48615339.314 | 50500895 | 48897576.0788 |  | 0.5929%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 52244329 | 48631706.474 | 50524082 | 48920026.9303
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 52203705 | 48593891.567 | 50496777 | 48893588.8184
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 16.31 |  | 15.68
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 16.31 |  | 15.68
Standard Dilution Factor | 125 | Purity correction (mg): | 16.1143 |  | 15.4918
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.12891 |  | 0.12393
|  | Desired Concentration (mg/mL): | 0.12
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Response: | 48743740.1927
|  | RSD: | 0.3455%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300mg, Lamivudine USP 300 mg
Each Tablet contains | 300 | Tenofovir Disoproxil Fumarate 300mg, Lamivudine 300mg
Average Tablet Content Weight (mg): | 866.439
Initial Sample dilution Volume (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 1 | Assay Smp A | 800.07 | 1 | 42827073 | 285.4505 | 95.15%
1st Dilution Sample Final Volume (mL): | 25 |  |  | 2 | 42776200 | 285.1114 | 95.04%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 42809509 | 285.3334 | 95.11%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 802.28 | 1 | 42885186 | 285.0504 | 95.02%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 42922467 | 285.2982 | 95.1%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 42836932 | 284.7297 | 94.91%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 2500 | Assay Smp C | 878.36 | 1 | 47022048 | 285.4759 | 95.16%
Desired Sample Weight (mg): | 866.439 |  |  | 2 | 47145946 | 286.2281 | 95.41%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 47099425 | 285.9456 | 95.32%
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 285.4026 | 95.13%
[5 empty] | RSD: | 0.1597% | 0.1597%
[5 empty] | n: | 9 | 9
Comment: | The content of | Tenofovir Disoproxil Fumarate 300mg, Lamivudine 300mg |  | in the sample as a percentage of the stated label claim is |  | 95.13%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Tenofovir DF
Code: | T11-6
% age Purity: | 98.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 20 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 | 129803712 | 120827966.2511 | 126162327 | 122156884.2048
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 129915642 | 120932156.4476 | 126233607 | 122225901.1841 |  | 0.9822%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 130044965 | 121052536.9424 | 126141526 | 122136743.6018
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 129921439.6667 | 120937553.2137 | 126179153.3333 | 122173176.3302
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 16.31 |  | 15.68
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 16.31 |  | 15.68
Standard Dilution Factor | 50 | Purity correction: | 16.1143 |  | 15.4918
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.32229 |  | 0.30984
|  | Desired Concentration (mg/mL): | 0.3
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Peak Area: | 121555364.772
|  | RSD: | 0.5604%
|  | n: | 6
Medium Volume (mL): | 1000 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 113063514 | 279.042 | 93.01%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 116807250 | 288.2816 | 96.09%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 109716992 | 270.7828 | 90.26%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 116965851 | 288.673 | 96.22%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 110216124 | 272.0146 | 90.67%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 119997689 | 296.1556 | 98.72%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 282.4916 | 94.16%
Sample Dilution Factor | 1000 |  | RSD: | 3.6% | 3.6%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | Tenofovir Disoproxil Fumarate 300mg, Lamivudine 300mg |  | dissolved as a percentage of the stated label claim is |  | 94.16%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5