## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | Sulfran DS Tablets
Laboratory Ref No: |  | NDQB201603832
Active Ingredient: |  | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg.
Label Claim: |  | Each tablet contains: Sulphamethoxazole B.P. 800 mg and Trimethoprim B.P. 160 mg.
Date Analysis Started: |  | 2016-04-01 12:04:59
Date Analysis Completed: |  | 0
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 1037.96 | -1.396%
|  | 1050.87 | -0.1696%
|  | 1048.93 | -0.3539%
|  | 1053.26 | 0.05747%
|  | 1051.06 | -0.1515%
|  | 1037.84 | -1.407%
|  | 1042.02 | -1.01%
|  | 1052.56 | -0.009025%
|  | 1052.45 | -0.01947%
|  | 1054.42 | 0.1677%
|  | 1058.46 | 0.5515%
|  | 1058.1 | 0.5173%
|  | 1045.43 | -0.6864%
|  | 1053.76 | 0.105%
|  | 1058.23 | 0.5296%
|  | 1070.16 | 1.663%
|  | 1051.16 | -0.142%
|  | 1056.44 | 0.3596%
|  | 1067.08 | 1.37%
|  | 1052.91 | 0.02422%
| Total | 21053.1
| Average | 1052.655
| Average | % Deviation from mean
| 1052.655 | -5% | 1000.0222
|  | 5% | 1105.2877
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## SST
HPLC System Suitability Report
Analysis Data | Assay & Dissolution
Sample(s) | Sulfran DS Tablets & Cosatrim Suspension
Reference Substance: | Sulfamethoxazole
% age Purity: | 99.8
Weight (mg): | 18.22
Standard Conc (mg/mL): | 0.1822
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min) | Resolution
1 | 174299884 | 4417.12 | 0.81 | 9.94 | 11.15
2 | 175380774 | 4538.77 | 0.82 | 9.94 | 11.26
3 | 175168254 | 4569.56 | 0.82 | 9.95 | 11.32
4 | 174473863 | 4444.65 | 0.81 | 9.95 | 11.2
5 | 174958067 | 4369.94 | 0.81 | 9.95 | 11.12
6 | 174337487 | 4327.78 | 0.81 | 9.95 | 11.06
Averages: | 174769721.5 | 4444.6367 | 0.81333 | 9.9467 | 11.185
RSD: | 0.2638%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Resolution - NLT than 5.0 between sulfamethoxazole and trimethoprim
Analysis Data | Assay & Dissolution
Reference Substance: | Trimethoprim
% age Purity: | 99.6
Weight (mg): | 26.94
Standard Conc (mg/mL): | 0.04041
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 15312204 | 6714.29 | 1.1 | 5.19
2 | 15392825 | 6784.69 | 1.09 | 5.2
3 | 15382958 | 6796.32 | 1.11 | 5.19
4 | 15322526 | 6760.41 | 1.11 | 5.19
5 | 15374133 | 6701.67 | 1.1 | 5.19
6 | 15323945 | 6671.85 | 1.07 | 5.19
Averages: | 15351431.8333 | 6738.205 | 1.0967 | 5.1917
RSD: | 0.2322%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date |  | Signature
Analysed by: | Dr. Sarah Mwangi |  |  | 15th April 2016
Reviewed By:

## Sulfamethoxazole
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | Sulfran DS Tablets
Laboratory Ref No: | NDQB201603832 | 29
Active Ingredient: | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg.
Label Claim: | Each tablet contains: Sulphamethoxazole B.P. 800 mg and Trimethoprim B.P. 160 mg.
Date Analysis Started: | 2016-04-06
Date Analysis Completed: | 2016-04-15
Analysis Data
Reference Substance: | Sulfamethoxazole
Code: | S12-1
% age Purity: | 99.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 20 | 1 | 175079251 | 154054982.4127 | 191895736 | 151700431.2372
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 174244602 | 153320561.6502 | 192421990 | 152116453.8149 |  | 1.179%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 174433307 | 153486606.1431 | 192482511 | 152164297.8264
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 174585720 | 153620716.7353 | 192266745.6667 | 151993727.6262
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 18.22 |  | 20.28
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 18.22 |  | 20.28
Standard Dilution Factor | 100 | Purity correction (mg): | 18.1836 |  | 20.2394
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.18184 |  | 0.20239
|  | Desired Concentration (mg/mL): | 0.16
|  | Desired Weight as free base (mg): | 16
|  | Desired Weight as salt (mg): | 16
|  | Average Normalised Response: | 152807222.1808
|  | RSD: | 0.6137%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each tablet contains: Sulphamethoxazole B.P. 800 mg and Trimethoprim B.P. 160 mg.
Each Tablet contains | 800 | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg.
Average Tablet Content Weight (mg): | 1052.655
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 1053.7 | 1 | 156564925 | 818.86 | 102.4%
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 156679405 | 819.4588 | 102.4%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 156842308 | 820.3108 | 102.5%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1067.01 | 1 | 159847140 | 825.5978 | 103.2%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 159850033 | 825.6128 | 103.2%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 159825631 | 825.4867 | 103.2%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 5000 | Assay Smp C | 1052.56 | 1 | 156785155 | 820.9 | 102.6%
Desired Sample Weight (mg): | 1052.655 |  |  | 2 | 156877449 | 821.3832 | 102.7%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 157043101 | 822.2505 | 102.8%
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 822.2067 | 102.8%
[5 empty] | RSD: | 0.3292% | 0.3292%
[5 empty] | n: | 9 | 9
Comment: | The content of | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg. |  | in the sample as a percentage of the stated label claim is |  | 102.8%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Sulfamethoxazole
Code: | S12-1
% age Purity: | 99.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 20 | 1 | 175079251 | 85586101.3404 | 191895736 | 84278017.354
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 174244602 | 85178089.8057 | 192421990 | 84509141.0083 |  | 1.179%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 174433307 | 85270336.7462 | 192482511 | 84535721.0147
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 174585720 | 85344842.6307 | 192266745.6667 | 84440959.7923
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 18.22 |  | 20.28
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 18.22 |  | 20.28
Standard Dilution Factor | 100 | Purity correction: | 18.1836 |  | 20.2394
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.18184 |  | 0.20239
|  | Desired Concentration (mg/mL): | 0.088889
|  | Desired Weight as free base (mg): | 8.8889
|  | Desired Weight as salt (mg): | 8.8889
|  | Average Normalised Peak Area: | 84892901.2115
|  | RSD: | 0.6137%
|  | n: | 6
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 5 | 1 | 86073722 | 811.1276 | 101.4%
1st Dilution Sample Final Volume (mL): | 50 | 2 | 86522334 | 815.3552 | 101.9%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 84704106 | 798.2209 | 99.78%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 88572075 | 834.6712 | 104.3%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 89281897 | 841.3603 | 105.2%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 83826924 | 789.9546 | 98.74%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 815.115 | 101.9%
Sample Dilution Factor | 9000 |  | RSD: | 2.457% | 2.457%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg. |  | dissolved as a percentage of the stated label claim is |  | 101.9%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## Trimethoprim
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | Sulfran DS Tablets
Laboratory Ref No: | NDQB201603832 | 29
Active Ingredient: | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg.
Label Claim: | Each tablet contains: Sulphamethoxazole B.P. 800 mg and Trimethoprim B.P. 160 mg.
Date Analysis Started: | 2016-04-06
Date Analysis Completed: | 2016-04-15
Analysis Data
Reference Substance: | Trimethoprim
Code: | T7-001
% age Purity: | 99.6
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.6
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 3 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 20 | 1 | 15439948 | 12275738.3406 | 13343998 | 11781336.2822
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 15330795 | 12188954.7798 | 13380090 | 11813201.6938 |  | 3.077%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 15345510 | 12200654.1385 | 13385407 | 11817896.0414
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 15372084.3333 | 12221782.4196 | 13369831.6667 | 11804144.6725
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 26.94 |  | 24.26
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 26.94 |  | 24.26
Standard Dilution Factor | 666.6667 | Purity correction (mg): | 26.8322 |  | 24.163
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.040248 |  | 0.036244
|  | Desired Concentration (mg/mL): | 0.032
|  | Desired Weight as free base (mg): | 21.3333
|  | Desired Weight as salt (mg): | 21.3333
|  | Average Normalised Response: | 12012963.5461
|  | RSD: | 1.923%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each tablet contains: Sulphamethoxazole B.P. 800 mg and Trimethoprim B.P. 160 mg.
Each Tablet contains | 160 | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg.
Average Tablet Content Weight (mg): | 1052.655
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 1053.7 | 1 | 11749449 | 156.3351 | 97.71%
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 11757136 | 156.4373 | 97.77%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 11752437 | 156.3748 | 97.73%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1067.01 | 1 | 11950954 | 157.0327 | 98.15%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 11943202 | 156.9308 | 98.08%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 11931918 | 156.7825 | 97.99%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 5000 | Assay Smp C | 1052.56 | 1 | 11705674 | 155.9213 | 97.45%
Desired Sample Weight (mg): | 1052.655 |  |  | 2 | 11711446 | 155.9982 | 97.5%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 11723656 | 156.1608 | 97.6%
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 156.4415 | 97.78%
[5 empty] | RSD: | 0.2544% | 0.2544%
[5 empty] | n: | 9 | 9
Comment: | The content of | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg. |  | in the sample as a percentage of the stated label claim is |  | 97.78%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Trimethoprim
Code: | T7-001
% age Purity: | 99.6
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.6
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 3 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 20 | 1 | 15439948 | 6819854.6337 | 13343998 | 6545186.8234
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 15330795 | 6771641.5443 | 13380090 | 6562889.8299 |  | 3.077%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 15345510 | 6778141.188 | 13385407 | 6565497.8008
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 15372084.3333 | 6789879.122 | 13369831.6667 | 6557858.1514
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 26.94 |  | 24.26
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 26.94 |  | 24.26
Standard Dilution Factor | 666.6667 | Purity correction: | 26.8322 |  | 24.163
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.040248 |  | 0.036244
|  | Desired Concentration (mg/mL): | 0.017778
|  | Desired Weight as free base (mg): | 11.8519
|  | Desired Weight as salt (mg): | 11.8519
|  | Average Normalised Peak Area: | 6673868.6367
|  | RSD: | 1.923%
|  | n: | 6
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 5 | 1 | 6621837 | 158.7526 | 99.22%
1st Dilution Sample Final Volume (mL): | 50 | 2 | 6663678 | 159.7557 | 99.85%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 6526093 | 156.4572 | 97.79%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 6778132 | 162.4996 | 101.6%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 6756619 | 161.9839 | 101.2%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 6456772 | 154.7953 | 96.75%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 159.0407 | 99.4%
Sample Dilution Factor | 9000 |  | RSD: | 1.905% | 1.905%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg. |  | dissolved as a percentage of the stated label claim is |  | 99.4%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5