## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | Sulfran DS Tablets
Laboratory Ref No: |  | NDQB201603833
Active Ingredient: |  | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg.
Label Claim: |  | Each tablet contains: Sulphamethoxazole B.P. 800 mg and Trimethoprim B.P. 160 mg.
Date Analysis Started: |  | 2016-04-01 12:07:31
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 1040.64 | -0.5343%
|  | 1044.34 | -0.1807%
|  | 1048.23 | 0.1911%
|  | 1049.65 | 0.3268%
|  | 1038.14 | -0.7733%
|  | 1056 | 0.9338%
|  | 1051.79 | 0.5314%
|  | 1045.56 | -0.06409%
|  | 1039.18 | -0.6739%
|  | 1042.13 | -0.3919%
|  | 1039.44 | -0.649%
|  | 1039.66 | -0.628%
|  | 1047.68 | 0.1385%
|  | 1051.1 | 0.4654%
|  | 1052.41 | 0.5906%
|  | 1047.9 | 0.1596%
|  | 1046.91 | 0.06495%
|  | 1041.41 | -0.4607%
|  | 1049.34 | 0.2972%
|  | 1053.1 | 0.6566%
| Total | 20924.61
| Average | 1046.2305
| Average | % Deviation from mean
| 1046.2305 | -5% | 993.919
|  | 5% | 1098.542
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## SST
HPLC System Suitability Report
Analysis Data | Assay & Dissolution
Sample(s) | Sulfran DS Tablets & Cosatrim Suspension
Reference Substance: | Sulfamethoxazole
% age Purity: | 99.8
Weight (mg): | 18.22
Standard Conc (mg/mL): | 0.1822
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min) | Resolution
1 | 174299884 | 4417.12 | 0.81 | 9.94 | 11.15
2 | 175380774 | 4538.77 | 0.82 | 9.94 | 11.26
3 | 175168254 | 4569.56 | 0.82 | 9.95 | 11.32
4 | 174473863 | 4444.65 | 0.81 | 9.95 | 11.2
5 | 174958067 | 4369.94 | 0.81 | 9.95 | 11.12
6 | 174337487 | 4327.78 | 0.81 | 9.95 | 11.06
Averages: | 174769721.5 | 4444.6367 | 0.81333 | 9.9467 | 11.185
RSD: | 0.2638%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Resolution - NLT than 5.0 between sulfamethoxazole and trimethoprim
Analysis Data | Assay & Dissolution
Reference Substance: | Trimethoprim
% age Purity: | 99.6
Weight (mg): | 26.94
Standard Conc (mg/mL): | 0.04041
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 15312204 | 6714.29 | 1.1 | 5.19
2 | 15392825 | 6784.69 | 1.09 | 5.2
3 | 15382958 | 6796.32 | 1.11 | 5.19
4 | 15322526 | 6760.41 | 1.11 | 5.19
5 | 15374133 | 6701.67 | 1.1 | 5.19
6 | 15323945 | 6671.85 | 1.07 | 5.19
Averages: | 15351431.8333 | 6738.205 | 1.0967 | 5.1917
RSD: | 0.2322%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date |  | Signature
Analysed by: | Dr. Sarah Mwangi |  |  | 15th April 2016
Reviewed By:

## Sulfamethoxazole
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | Sulfran DS Tablets
Laboratory Ref No: | NDQB201603833 | 29
Active Ingredient: | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg.
Label Claim: | Each tablet contains: Sulphamethoxazole B.P. 800 mg and Trimethoprim B.P. 160 mg.
Date Analysis Started: | 2016-04-06
Date Analysis Completed: | 2016-04-15
Analysis Data
Reference Substance: | Sulfamethoxazole
Code: | S12-1
% age Purity: | 99.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 20 | 1 | 175079251 | 154054982.4127 | 191895736 | 151700431.2372
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 174244602 | 153320561.6502 | 192421990 | 152116453.8149 |  | 1.179%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 174433307 | 153486606.1431 | 192482511 | 152164297.8264
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 174585720 | 153620716.7353 | 192266745.6667 | 151993727.6262
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 18.22 |  | 20.28
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 18.22 |  | 20.28
Standard Dilution Factor | 100 | Purity correction (mg): | 18.1836 |  | 20.2394
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.18184 |  | 0.20239
|  | Desired Concentration (mg/mL): | 0.16
|  | Desired Weight as free base (mg): | 16
|  | Desired Weight as salt (mg): | 16
|  | Average Normalised Response: | 152807222.1808
|  | RSD: | 0.6137%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each tablet contains: Sulphamethoxazole B.P. 800 mg and Trimethoprim B.P. 160 mg.
Each Tablet contains | 800 | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg.
Average Tablet Content Weight (mg): | 1046.2305
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 1039.63 | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 144368075 | 760.6167 | 95.08%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1048.69 | 1 | 153458876 | 801.5274 | 100.2%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 153490427 | 801.6922 | 100.2%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 153404628 | 801.2441 | 100.2%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 5000 | Assay Smp C | 1053.37 | 1 | 154097352 | 801.2863 | 100.2%
Desired Sample Weight (mg): | 1046.2305 |  |  | 2 | 154146247 | 801.5405 | 100.2%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 154039781 | 800.9869 | 100.1%
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 795.5563 | 99.44%
[5 empty] | RSD: | 1.937% | 1.937%
[5 empty] | n: | 7 | 7
Comment: | The content of | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg. |  | in the sample as a percentage of the stated label claim is |  | 99.44%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Sulfamethoxazole
Code: | S12-1
% age Purity: | 99.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 20 | 1 | 175079251 | 85586101.3404 | 191895736 | 84278017.354
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 174244602 | 85178089.8057 | 192421990 | 84509141.0083 |  | 1.179%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 174433307 | 85270336.7462 | 192482511 | 84535721.0147
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 174585720 | 85344842.6307 | 192266745.6667 | 84440959.7923
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 18.22 |  | 20.28
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 18.22 |  | 20.28
Standard Dilution Factor | 100 | Purity correction: | 18.1836 |  | 20.2394
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.18184 |  | 0.20239
|  | Desired Concentration (mg/mL): | 0.088889
|  | Desired Weight as free base (mg): | 8.8889
|  | Desired Weight as salt (mg): | 8.8889
|  | Average Normalised Peak Area: | 84892901.2115
|  | RSD: | 0.6137%
|  | n: | 6
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 5 | 1 | 85696402 | 807.5719 | 100.9%
1st Dilution Sample Final Volume (mL): | 50 | 2 | 86477969 | 814.9371 | 101.9%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 85255690 | 803.4188 | 100.4%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 88769582 | 836.5324 | 104.6%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 85142219 | 802.3495 | 100.3%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 83659467 | 788.3766 | 98.55%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 808.8644 | 101.1%
Sample Dilution Factor | 9000 |  | RSD: | 1.99% | 1.99%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg. |  | dissolved as a percentage of the stated label claim is |  | 101.1%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## Trimethoprim
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | Sulfran DS Tablets
Laboratory Ref No: | NDQB201603833 | 29
Active Ingredient: | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg.
Label Claim: | Each tablet contains: Sulphamethoxazole B.P. 800 mg and Trimethoprim B.P. 160 mg.
Date Analysis Started: | 2016-04-06
Date Analysis Completed: | 2016-04-15
Analysis Data
Reference Substance: | Trimethoprim
Code: | T7-001
% age Purity: | 99.6
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.6
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 3 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 20 | 1 | 15439948 | 12275738.3406 | 13343998 | 11781336.2822
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 15330795 | 12188954.7798 | 13380090 | 11813201.6938 |  | 3.077%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 15345510 | 12200654.1385 | 13385407 | 11817896.0414
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 15372084.3333 | 12221782.4196 | 13369831.6667 | 11804144.6725
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 26.94 |  | 24.26
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 26.94 |  | 24.26
Standard Dilution Factor | 666.6667 | Purity correction (mg): | 26.8322 |  | 24.163
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.040248 |  | 0.036244
|  | Desired Concentration (mg/mL): | 0.032
|  | Desired Weight as free base (mg): | 21.3333
|  | Desired Weight as salt (mg): | 21.3333
|  | Average Normalised Response: | 12012963.5461
|  | RSD: | 1.923%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each tablet contains: Sulphamethoxazole B.P. 800 mg and Trimethoprim B.P. 160 mg.
Each Tablet contains | 160 | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg.
Average Tablet Content Weight (mg): | 1046.2305
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 1039.63 | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1048.69 | 1 | 11549466 | 153.4659 | 95.92%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 11570299 | 153.7428 | 96.09%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 11573534 | 153.7857 | 96.12%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 5000 | Assay Smp C | 1053.37 | 1 | 11657787 | 154.217 | 96.39%
Desired Sample Weight (mg): | 1046.2305 |  |  | 2 | 11679057 | 154.4984 | 96.56%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 11681390 | 154.5293 | 96.58%
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 154.0399 | 96.27%
[5 empty] | RSD: | 0.285% | 0.285%
[5 empty] | n: | 6 | 6
Comment: | The content of | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg. |  | in the sample as a percentage of the stated label claim is |  | 96.27%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Trimethoprim
Code: | T7-001
% age Purity: | 99.6
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.6
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 3 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 20 | 1 | 15439948 | 6819854.6337 | 13343998 | 6545186.8234
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 15330795 | 6771641.5443 | 13380090 | 6562889.8299 |  | 3.077%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 15345510 | 6778141.188 | 13385407 | 6565497.8008
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 15372084.3333 | 6789879.122 | 13369831.6667 | 6557858.1514
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 26.94 |  | 24.26
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 26.94 |  | 24.26
Standard Dilution Factor | 666.6667 | Purity correction: | 26.8322 |  | 24.163
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.040248 |  | 0.036244
|  | Desired Concentration (mg/mL): | 0.017778
|  | Desired Weight as free base (mg): | 11.8519
|  | Desired Weight as salt (mg): | 11.8519
|  | Average Normalised Peak Area: | 6673868.6367
|  | RSD: | 1.923%
|  | n: | 6
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 5 | 1 | 6515771 | 156.2098 | 97.63%
1st Dilution Sample Final Volume (mL): | 50 | 2 | 6590739 | 158.007 | 98.75%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 6471038 | 155.1373 | 96.96%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 6786678 | 162.7045 | 101.7%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 6483374 | 155.4331 | 97.15%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 6431881 | 154.1986 | 96.37%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 156.9484 | 98.09%
Sample Dilution Factor | 9000 |  | RSD: | 1.973% | 1.973%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg. |  | dissolved as a percentage of the stated label claim is |  | 98.09%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5