## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | SULFRAN - DS TABLETS
Laboratory Ref No: |  | NDQB201603837
Active Ingredient: |  | Sulfamethoxazole BP & Trimethoprim BP
Label Claim: |  | Sulphamethoxazole 800mg Trimethoprim 160 per tablets
Date Analysis Started: |  | 2016-04-01 12:28:45
Date Analysis Completed: |  | 0
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 1030.84 | -0.9951%
|  | 1026.81 | -1.382%
|  | 1052.09 | 1.046%
|  | 1035.05 | -0.5908%
|  | 1040.93 | -0.02608%
|  | 1058.87 | 1.697%
|  | 1038.39 | -0.27%
|  | 1040.64 | -0.05393%
|  | 1054.44 | 1.271%
|  | 1013.21 | -2.688%
|  | 1027.2 | -1.345%
|  | 1038.24 | -0.2844%
|  | 1053.97 | 1.226%
|  | 1046.4 | 0.4993%
|  | 1039.32 | -0.1807%
|  | 1033.34 | -0.755%
|  | 1040.79 | -0.03952%
|  | 1036.27 | -0.4736%
|  | 1067.94 | 2.568%
|  | 1049.29 | 0.7768%
| Total | 20824.03
| Average | 1041.2015
| Average | % Deviation from mean
| 1041.2015 | -5% | 989.1414
|  | 5% | 1093.2616
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## SST
HPLC System Suitability Report
Analysis Data | Assay & Dissolution
Sample(s) | Sulfran DS Tablets & Cosatrim Suspension
Reference Substance: | Sulfamethoxazole
% age Purity: | 99.8
Weight (mg): | 18.22
Standard Conc (mg/mL): | 0.1822
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min) | Resolution
1 | 174299884 | 4417.12 | 0.81 | 9.94 | 11.15
2 | 175380774 | 4538.77 | 0.82 | 9.94 | 11.26
3 | 175168254 | 4569.56 | 0.82 | 9.95 | 11.32
4 | 174473863 | 4444.65 | 0.81 | 9.95 | 11.2
5 | 174958067 | 4369.94 | 0.81 | 9.95 | 11.12
6 | 174337487 | 4327.78 | 0.81 | 9.95 | 11.06
Averages: | 174769721.5 | 4444.6367 | 0.81333 | 9.9467 | 11.185
RSD: | 0.2638%
n: | NDQB201603837
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Resolution - NLT than 5.0 between sulfamethoxazole and trimethoprim
Analysis Data | Assay & Dissolution
Reference Substance: | Trimethoprim
% age Purity: | 99.6
Weight (mg): | 26.94
Standard Conc (mg/mL): | 0.04041
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 15312204 | 6714.29 | 1.1 | 5.19
2 | 15392825 | 6784.69 | 1.09 | 5.2
3 | 15382958 | 6796.32 | 1.11 | 5.19
4 | 15322526 | 6760.41 | 1.11 | 5.19
5 | 15374133 | 6701.67 | 1.1 | 5.19
6 | 15323945 | 6671.85 | 1.07 | 5.19
Averages: | 15351431.8333 | 6738.205 | 1.0967 | 5.1917
RSD: | 0.2322%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date |  | Signature
Analysed by: | Dr. Sarah Mwangi |  |  | 15th April 2016
Reviewed By:

## Sulfamethoxazole
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | Sulfran DS Tablets
Laboratory Ref No: | NDQB201603837 | 29
Active Ingredient: | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg.
Label Claim: | Each tablet contains: Sulphamethoxazole B.P. 800 mg and Trimethoprim B.P. 160 mg.
Date Analysis Started: | 2016-04-06
Date Analysis Completed: | 2016-04-15
Analysis Data
Reference Substance: | Sulfamethoxazole
Code: | S12-1
% age Purity: | 99.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 20 | 1 | 175079251 | 154054982.4127 | 191895736 | 151700431.2372
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 174244602 | 153320561.6502 | 192421990 | 152116453.8149 |  | 1.179%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 174433307 | 153486606.1431 | 192482511 | 152164297.8264
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 174585720 | 153620716.7353 | 192266745.6667 | 151993727.6262
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 18.22 |  | 20.28
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 18.22 |  | 20.28
Standard Dilution Factor | 100 | Purity correction (mg): | 18.1836 |  | 20.2394
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.18184 |  | 0.20239
|  | Desired Concentration (mg/mL): | 0.16
|  | Desired Weight as free base (mg): | 16
|  | Desired Weight as salt (mg): | 16
|  | Average Normalised Response: | 152807222.1808
|  | RSD: | 0.6137%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each tablet contains: Sulphamethoxazole B.P. 800 mg and Trimethoprim B.P. 160 mg.
Each Tablet contains | 800 | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg.
Average Tablet Content Weight (mg): | 1041.2015
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 1035.3 | 1 | 153094991 | 806.0754 | 100.8%
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 153741205 | 809.4778 | 101.2%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 153165273 | 806.4454 | 100.8%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1027.05 | 1 | 152285289 | 808.2529 | 101%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 152270029 | 808.1719 | 101%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 152717235 | 810.5454 | 101.3%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 5000 | Assay Smp C | 1013.43 | 1 | 148460305 | 798.5415 | 99.82%
Desired Sample Weight (mg): | 1041.2015 |  |  | 2 | 148705618 | 799.861 | 99.98%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 148660885 | 799.6204 | 99.95%
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 805.2213 | 100.7%
[5 empty] | RSD: | 0.5747% | 0.5747%
[5 empty] | n: | 9 | 9
Comment: | The content of | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg. |  | in the sample as a percentage of the stated label claim is |  | 100.7%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Sulfamethoxazole
Code: | S12-1
% age Purity: | 99.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 20 | 1 | 175079251 | 85586101.3404 | 191895736 | 84278017.354
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 174244602 | 85178089.8057 | 192421990 | 84509141.0083 |  | 1.179%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 174433307 | 85270336.7462 | 192482511 | 84535721.0147
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 174585720 | 85344842.6307 | 192266745.6667 | 84440959.7923
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 18.22 |  | 20.28
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 18.22 |  | 20.28
Standard Dilution Factor | 100 | Purity correction: | 18.1836 |  | 20.2394
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.18184 |  | 0.20239
|  | Desired Concentration (mg/mL): | 0.088889
|  | Desired Weight as free base (mg): | 8.8889
|  | Desired Weight as salt (mg): | 8.8889
|  | Average Normalised Peak Area: | 84892901.2115
|  | RSD: | 0.6137%
|  | n: | 6
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 5 | 1 | 87971681 | 829.0133 | 103.6%
1st Dilution Sample Final Volume (mL): | 50 | 2 | 89247951 | 841.0404 | 105.1%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 88484560 | 833.8465 | 104.2%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 87127453 | 821.0576 | 102.6%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 89798955 | 846.2329 | 105.8%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 83020802 | 782.358 | 97.79%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 825.5915 | 103.2%
Sample Dilution Factor | 9000 |  | RSD: | 2.78% | 2.78%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg. |  | dissolved as a percentage of the stated label claim is |  | 103.2%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## Trimethoprim
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | Sulfran DS Tablets
Laboratory Ref No: | NDQB201603837 | 29
Active Ingredient: | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg.
Label Claim: | Each tablet contains: Sulphamethoxazole B.P. 800 mg and Trimethoprim B.P. 160 mg.
Date Analysis Started: | 2016-04-06
Date Analysis Completed: | 2016-04-15
Analysis Data
Reference Substance: | Trimethoprim
Code: | T7-001
% age Purity: | 99.6
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.6
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 3 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 20 | 1 | 15439948 | 12275738.3406 | 13343998 | 11781336.2822
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 15330795 | 12188954.7798 | 13380090 | 11813201.6938 |  | 3.077%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 15345510 | 12200654.1385 | 13385407 | 11817896.0414
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 15372084.3333 | 12221782.4196 | 13369831.6667 | 11804144.6725
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 26.94 |  | 24.26
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 26.94 |  | 24.26
Standard Dilution Factor | 666.6667 | Purity correction (mg): | 26.8322 |  | 24.163
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.040248 |  | 0.036244
|  | Desired Concentration (mg/mL): | 0.032
|  | Desired Weight as free base (mg): | 21.3333
|  | Desired Weight as salt (mg): | 21.3333
|  | Average Normalised Response: | 12012963.5461
|  | RSD: | 1.923%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each tablet contains: Sulphamethoxazole B.P. 800 mg and Trimethoprim B.P. 160 mg.
Each Tablet contains | 160 | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg.
Average Tablet Content Weight (mg): | 1041.2015
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 1035.3 | 1 | 11630072 | 155.7833 | 97.36%
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 11682596 | 156.4868 | 97.8%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 11648819 | 156.0344 | 97.52%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1027.05 | 1 | 11759797 | 158.7862 | 99.24%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 11768050 | 158.8977 | 99.31%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 11803231 | 159.3727 | 99.61%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 5000 | Assay Smp C | 1013.43 | 1 | 11627669 | 159.1122 | 99.45%
Desired Sample Weight (mg): | 1041.2015 |  |  | 2 | 11651197 | 159.4342 | 99.65%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 11647550 | 159.3843 | 99.62%
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 158.1435 | 98.84%
[5 empty] | RSD: | 0.9847% | 0.9847%
[5 empty] | n: | 9 | 9
Comment: | The content of | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg. |  | in the sample as a percentage of the stated label claim is |  | 98.84%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Trimethoprim
Code: | T7-001
% age Purity: | 99.6
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.6
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 3 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 20 | 1 | 15439948 | 6819854.6337 | 13343998 | 6545186.8234
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 15330795 | 6771641.5443 | 13380090 | 6562889.8299 |  | 3.077%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 15345510 | 6778141.188 | 13385407 | 6565497.8008
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 15372084.3333 | 6789879.122 | 13369831.6667 | 6557858.1514
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 26.94 |  | 24.26
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 26.94 |  | 24.26
Standard Dilution Factor | 666.6667 | Purity correction: | 26.8322 |  | 24.163
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.040248 |  | 0.036244
|  | Desired Concentration (mg/mL): | 0.017778
|  | Desired Weight as free base (mg): | 11.8519
|  | Desired Weight as salt (mg): | 11.8519
|  | Average Normalised Peak Area: | 6673868.6367
|  | RSD: | 1.923%
|  | n: | 6
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 5 | 1 | 6646638 | 159.3472 | 99.59%
1st Dilution Sample Final Volume (mL): | 50 | 2 | 6779350 | 162.5288 | 101.6%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 6627568 | 158.89 | 99.31%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 6554071 | 157.128 | 98.2%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 6695692 | 160.5232 | 100.3%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 6210931 | 148.9015 | 93.06%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 157.8864 | 98.68%
Sample Dilution Factor | 9000 |  | RSD: | 3.01% | 3.01%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg. |  | dissolved as a percentage of the stated label claim is |  | 98.68%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5