## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | SULFRAN -DS TABLETS
Laboratory Ref No: |  | NDQB201604855
Active Ingredient: |  | Sulfamethoxazole BP & Trimethoprim BP
Label Claim: |  | Each tablet contains: Sulphamethoxazole B.P. 800 mg and Trimethoprim B.P. 160 mg.
Date Analysis Started: |  | 2016-04-08 14:11:09
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 1041.84 | 0.2286%
|  | 1046.98 | 0.7231%
|  | 1040.14 | 0.06503%
|  | 1036.05 | -0.3284%
|  | 1036.82 | -0.2544%
|  | 1039.24 | -0.02155%
|  | 1043.15 | 0.3546%
|  | 1041.23 | 0.1699%
|  | 1040.6 | 0.1093%
|  | 1057.07 | 1.694%
|  | 1023.19 | -1.566%
|  | 1055.68 | 1.56%
|  | 1033.59 | -0.5651%
|  | 1032.01 | -0.7171%
|  | 1031.33 | -0.7825%
|  | 1037.21 | -0.2168%
|  | 1047.96 | 0.8173%
|  | 1023.86 | -1.501%
|  | 1033.99 | -0.5266%
|  | 1047.34 | 0.7577%
| Total | 20789.28
| Average | 1039.464
| Average | % Deviation from mean
| 1039.464 | -5% | 987.4908
|  | 5% | 1091.4372
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## SST
HPLC System Suitability Report
Analysis Data | Assay & Dissolution
Sample(s) | Sulfran DS Tablets
Reference Substance: | Sulfamethoxazole
% age Purity: | 99.8
Weight (mg): | 23.06
Standard Conc (mg/mL): | 0.2306
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min) | Resolution
1 | 194291563 | 7351.95 | 0.99 | 9.85 | 13.71
2 | 193963921 | 7348.07 | 0.99 | 9.84 | 13.7
3 | 194604538 | 7346.1 | 0.98 | 9.83 | 13.69
4 | 194461276 | 7347.53 | 0.99 | 9.83 | 13.69
5 | 194547550 | 7392.34 | 0.99 | 9.94 | 13.77
6 | 194582477 | 7369.58 | 0.98 | 9.92 | 13.75
Averages: | 194408554.1667 | 7359.2617 | 0.98667 | 9.8683 | 13.7183
RSD: | 0.1264%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Resolution - NLT than 5.0 between sulfamethoxazole and trimethoprim
Analysis Data | Assay & Dissolution
Reference Substance: | Trimethoprim
% age Purity: | 99.66
Weight (mg): | 29.3
Standard Conc (mg/mL): | 0.04395
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 14321874 | 6765.44 | 1.1 | 5.19
2 | 14294676 | 6742.96 | 1.11 | 5.2
3 | 14324946 | 6749.56 | 1.11 | 5.19
4 | 14320854 | 6752.04 | 1.11 | 5.19
5 | 14336350 | 6706.13 | 1.11 | 5.19
6 | 14357212 | 6732.51 | 1.09 | 5.19
Averages: | 14325985.3333 | 6741.44 | 1.105 | 5.1917
RSD: | 0.1433%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date |  | Signature
Analysed by: | Dr. Sarah Mwangi |  |  | 27th April 2016
Reviewed By:

## Sulfamethoxazole
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | Sulfran DS Tablets
Laboratory Ref No: | NDQB201603855 | 29
Active Ingredient: | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg.
Label Claim: | Each tablet contains: Sulphamethoxazole B.P. 800 mg and Trimethoprim B.P. 160 mg.
Date Analysis Started: | 2016-04-06
Date Analysis Completed: | 2016-04-27
Analysis Data
Reference Substance: | Sulfamethoxazole
Code: | S12-1
% age Purity: | 99.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 20 | 1 | 194267455 | 135061070.9711 | 186933118 | 135240240.7703
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 194313421 | 135093028.0335 | 186579096 | 134984116.9704 |  | 0.03307%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 194412786 | 135162109.8224 | 186535200 | 134952359.5928
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 194331220.6667 | 135105402.9423 | 186682471.3333 | 135058905.7779
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 23.06 |  | 22.16
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 23.06 |  | 22.16
Standard Dilution Factor | 100 | Purity correction (mg): | 23.0139 |  | 22.1157
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.23014 |  | 0.22116
|  | Desired Concentration (mg/mL): | 0.16
|  | Desired Weight as free base (mg): | 16
|  | Desired Weight as salt (mg): | 16
|  | Average Normalised Response: | 135082154.3601
|  | RSD: | 0.08001%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each tablet contains: Sulphamethoxazole B.P. 800 mg and Trimethoprim B.P. 160 mg.
Each Tablet contains | 800 | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg.
Average Tablet Content Weight (mg): | 1039.464
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 1042.42 | 1 | 135184849 | 798.3379 | 99.79%
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 135031226 | 797.4307 | 99.68%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 135065606 | 797.6337 | 99.7%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1043.68 | 1 | 134645138 | 794.1907 | 99.27%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 134275535 | 792.0106 | 99%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 134332663 | 792.3476 | 99.04%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 5000 | Assay Smp C | 1047.5 | 1 | 135421681 | 795.8581 | 99.48%
Desired Sample Weight (mg): | 1039.464 |  |  | 2 | 135773458 | 797.9254 | 99.74%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 135670459 | 797.3201 | 99.67%
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 795.895 | 99.49%
[5 empty] | RSD: | 0.308% | 0.308%
[5 empty] | n: | 9 | 9
Comment: | The content of | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg. |  | in the sample as a percentage of the stated label claim is |  | 99.49%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Sulfamethoxazole
Code: | S12-1
% age Purity: | 99.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 20 | 1 | 194267455 | 150067856.6345 | 186933118 | 150266934.1893
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 194313421 | 150103364.4817 | 186579096 | 149982352.1893 |  | 0.03307%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 194412786 | 150180122.0249 | 186535200 | 149947066.2143
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 194331220.6667 | 150117114.3804 | 186682471.3333 | 150065450.8643
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 23.06 |  | 22.16
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 23.06 |  | 22.16
Standard Dilution Factor | 100 | Purity correction: | 23.0139 |  | 22.1157
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.23014 |  | 0.22116
|  | Desired Concentration (mg/mL): | 0.17778
|  | Desired Weight as free base (mg): | 17.7778
|  | Desired Weight as salt (mg): | 17.7778
|  | Average Normalised Peak Area: | 150091282.6223
|  | RSD: | 0.08001%
|  | n: | 6
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 10 | 1 | 151066305 | 805.197 | 100.6%
1st Dilution Sample Final Volume (mL): | 50 | 2 | 150350829 | 801.3834 | 100.2%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 152188649 | 811.1792 | 101.4%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 151934459 | 809.8243 | 101.2%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 151003239 | 804.8608 | 100.6%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 150985199 | 804.7647 | 100.6%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 806.2015 | 100.8%
Sample Dilution Factor | 4500 |  | RSD: | 0.4506% | 0.4506%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg. |  | dissolved as a percentage of the stated label claim is |  | 100.8%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## Trimethoprim
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | Sulfran DS Tablets
Laboratory Ref No: | NDQB201603855 | 29
Active Ingredient: | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg.
Label Claim: | Each tablet contains: Sulphamethoxazole B.P. 800 mg and Trimethoprim B.P. 160 mg.
Date Analysis Started: | 2016-04-06
Date Analysis Completed: | 2016-04-27
Analysis Data
Reference Substance: | Trimethoprim
Code: | T7-2
% age Purity: | 99.66
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.66
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 3 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 20 | 1 | 14292336 | 10441753.4292 | 14337234 | 10619531.7366
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 14289902 | 10439975.1875 | 14295206 | 10588401.7655 |  | 1.497%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 14284707 | 10436179.8031 | 14291198 | 10585433.056
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 14288981.6667 | 10439302.8066 | 14307879.3333 | 10597788.8527
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 29.3 |  | 28.9
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 29.3 |  | 28.9
Standard Dilution Factor | 666.6667 | Purity correction (mg): | 29.2004 |  | 28.8017
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.043801 |  | 0.043203
|  | Desired Concentration (mg/mL): | 0.032
|  | Desired Weight as free base (mg): | 21.3333
|  | Desired Weight as salt (mg): | 21.3333
|  | Average Normalised Response: | 10518545.8297
|  | RSD: | 0.8332%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each tablet contains: Sulphamethoxazole B.P. 800 mg and Trimethoprim B.P. 160 mg.
Each Tablet contains | 160 | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg.
Average Tablet Content Weight (mg): | 1039.464
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 1042.42 | 1 | 10634693 | 161.308 | 100.8%
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 10613966 | 160.9936 | 100.6%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 10606583 | 160.8816 | 100.6%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1043.68 | 1 | 10566415 | 160.0789 | 100%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 10521118 | 159.3926 | 99.62%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 10515832 | 159.3126 | 99.57%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 5000 | Assay Smp C | 1047.5 | 1 | 10499968 | 158.4921 | 99.06%
Desired Sample Weight (mg): | 1039.464 |  |  | 2 | 10512269 | 158.6778 | 99.17%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 10496477 | 158.4394 | 99.02%
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 159.7307 | 99.83%
[5 empty] | RSD: | 0.7044% | 0.7044%
[5 empty] | n: | 9 | 9
Comment: | The content of | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg. |  | in the sample as a percentage of the stated label claim is |  | 99.83%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Trimethoprim
Code: | T7-2
% age Purity: | 99.66
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.66
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 3 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 20 | 1 | 14292336 | 11601948.2547 | 14337234 | 11799479.7074
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 14289902 | 11599972.4306 | 14295206 | 11764890.8506 |  | 1.497%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 14284707 | 11595755.3368 | 14291198 | 11761592.2845
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 14288981.6667 | 11599225.3407 | 14307879.3333 | 11775320.9475
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 29.3 |  | 28.9
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 29.3 |  | 28.9
Standard Dilution Factor | 666.6667 | Purity correction: | 29.2004 |  | 28.8017
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.043801 |  | 0.043203
|  | Desired Concentration (mg/mL): | 0.035556
|  | Desired Weight as free base (mg): | 23.7037
|  | Desired Weight as salt (mg): | 23.7037
|  | Average Normalised Peak Area: | 11687273.1441
|  | RSD: | 0.8332%
|  | n: | 6
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 10 | 1 | 11962419 | 163.7668 | 102.4%
1st Dilution Sample Final Volume (mL): | 50 | 2 | 11913687 | 163.0996 | 101.9%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 11981625 | 164.0297 | 102.5%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 11966200 | 163.8185 | 102.4%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 11929899 | 163.3216 | 102.1%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 11932189 | 163.3529 | 102.1%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 163.5649 | 102.2%
Sample Dilution Factor | 4500 |  | RSD: | 0.219% | 0.219%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | each tablets contains sulphamethoxazole 800mg Trimethoprim 160mg. |  | dissolved as a percentage of the stated label claim is |  | 102.2%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5