## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Laboratory Ref No: |  | NDQB201609124
Active Ingredient: |  | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Label Claim: |  | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Date Analysis Started: |  | 2016-09-30 12:19:40
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 1867.68 | -2.14%
|  | 1913.76 | 0.2746%
|  | 1891.24 | -0.9053%
|  | 1871.95 | -1.916%
|  | 1913.83 | 0.2783%
|  | 1908.71 | 0.01003%
|  | 1906.61 | -0.1%
|  | 1927.02 | 0.9694%
|  | 1895.92 | -0.6601%
|  | 1945.14 | 1.919%
|  | 1888.07 | -1.071%
|  | 1902.43 | -0.319%
|  | 1948.48 | 2.094%
|  | 1917.84 | 0.4884%
|  | 1914.03 | 0.2888%
|  | 1905.68 | -0.1487%
|  | 1911.81 | 0.1725%
|  | 1918.73 | 0.535%
|  | 1914.1 | 0.2925%
|  | 1907.34 | -0.06175%
| Total | 38170.37
| Average | 1908.5185
| Average | % Deviation from mean
| 1908.5185 | -5% | 1813.0926
|  | 5% | 2003.9444
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## SST Lam
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Reference Substance: | Lamivudine
% age Purity: | 99.3
Weight (mg): | 17.85
Standard Conc (mg/mL): | 0.1428
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 86851998 | 12096.8 | 1.1 | 2.2
2 | 86812502 | 11951.5 | 1.2 | 2.2
3 | 87008605 | 12072.7 | 1.1 | 2.2
4 | 86816494 | 12120.7 | 1.1 | 2.2
5 | 86978023 | 12141.3 | 1.1 | 2.2
6 | 86818615 | 12007.8 | 1.1 | 2.2
Averages: | 86881039.5 | 12065.1333 | 1.1167 | 2.2
RSD: | 0.102%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Lamivudine
% age Purity: | 99.3
Weight (mg): | 12.88
Standard Conc (mg/mL): | 0.2576
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 42927880 | 17497.6 | 1.3 | 2.6
2 | 42492230 | 17645.5 | 1.2 | 2.6
3 | 42541843 | 17721.2 | 1.2 | 2.6
4 | 42463639 | 17633.1 | 1.2 | 2.6
5 | 43052804 | 17612.5 | 1.2 | 2.6
6 | 42590464 | 17621.4 | 1.2 | 2.6
Averages: | 42678143.3333 | 17621.8833 | 1.2167 | 2.6
RSD: | 0.583%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## SST Teno
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Reference Substance: | Tenofovir DF
% age Purity: | 98.8
Weight (mg): | 13.88
Standard Conc (mg/mL): | 0.11104
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 25745894 | 119507.5 | 1.1 | 6.7
2 | 25698532 | 119634.1 | 1.1 | 6.7
3 | 25806823 | 120380.1 | 1.1 | 6.7
4 | 25741654 | 120678.7 | 1.1 | 6.7
5 | 25793136 | 120418 | 1.1 | 6.7
6 | 25748008 | 120762.6 | 1.1 | 6.7
Averages: | 25755674.5 | 120230.1667 | 1.1 | 6.7
RSD: | 0.1517%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Tenofovir DF
% age Purity: | 98.8
Weight (mg): | 13.02
Standard Conc (mg/mL): | 0.2604
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 60515392 | 122355 | 1.1 | 6.8
2 | 60718249 | 121063.6 | 1.1 | 6.8
3 | 60659300 | 122629.6 | 1.1 | 6.8
4 | 60456985 | 121718.5 | 1 | 6.8
5 | 60494185 | 121932.9 | 1.1 | 6.8
6 | 60473296 | 120772.3 | 1.1 | 6.8
Averages: | 60552901.1667 | 121745.3167 | 1.0833 | 6.8
RSD: | 0.1795%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## SST Efv
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Reference Substance: | Efavirenz
% age Purity: | 99.7
Weight (mg): | 27.92
Standard Conc (mg/mL): | 0.22336
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 10775712 | 100944.9 | 1.1 | 7.8
2 | 10781184 | 99784.2 | 1.1 | 7.8
3 | 10817283 | 100478.5 | 1.1 | 7.8
4 | 10799030 | 100748.6 | 1 | 7.8
5 | 10795712 | 100959.6 | 1 | 7.8
6 | 10805522 | 100028.8 | 1.1 | 7.8
Averages: | 10795740.5 | 100490.7667 | 1.0667 | 7.8
RSD: | 0.1425%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 10000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Efavirenz
% age Purity: | 99.7
Weight (mg): | 24.24
Standard Conc (mg/mL): | 0.4848
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 36668421 | 90950.5 | 1 | 8.2
2 | 36691754 | 91479.2 | 1.1 | 8.2
3 | 36723692 | 90754.1 | 1 | 8.2
4 | 36749838 | 91202.6 | 1 | 8.2
5 | 36754871 | 90873.7 | 1 | 8.2
6 | 36743835 | 91422.5 | 1.1 | 8.2
Averages: | 36722068.5 | 91113.7667 | 1.0333 | 8.2
RSD: | 0.09528%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## Lamivudine
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Laboratory Ref No: | NDQB201609124 | 1
Active Ingredient: | Tenofovir Disoproxil Fumarate, Lamivudine & Efavirenz
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Date Analysis Started: | 2016-10-12
Date Analysis Completed: | 2016-11-15
Analysis Data
Reference Substance: | Lamivudine
Code: | L 10M388
% age Purity: | 99.3
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.3
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 | 86973335 | 73602050.4879 | 73753629 | 75532417.4305
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 86930636 | 73565916.0341 | 74147100 | 75935378.1556 |  | 2.462%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 86924071 | 73560360.3375 | 74049778 | 75835708.9457
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 86942680.6667 | 73576108.9531 | 73983502.3333 | 75767834.8439
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 17.85 |  | 14.75
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 17.85 |  | 14.75
Standard Dilution Factor | 125 | Purity correction (mg): | 17.725 |  | 14.6467
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.1418 |  | 0.11717
|  | Desired Concentration (mg/mL): | 0.12
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Response: | 74671971.8985
|  | RSD: | 1.618%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Each Tablet contains | 300 | Tenofovir Disoproxil Fumarate, Lamivudine & Efavirenz
Average Tablet Content Weight (mg): | 1908.5185
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 1909.74 | 1 | 76146288 | 305.7275 | 101.9092
1st Dilution Sample Final Volume (mL): | 25 |  |  | 2 | 77099253 | 309.5537 | 103.1846
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 77133069 | 309.6894 | 103.2298
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1934.16 | 1 | 77550999 | 307.4362 | 102.4787
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 77389844 | 306.7973 | 102.2658
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 76405550 | 302.8953 | 100.9651
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 2500 | Assay Smp C | 1921.52 | 1 |  | - | -
Desired Sample Weight (mg): | 1908.5185 |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | - | -
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 307.0166 | 102.3389
[5 empty] | RSD: | 0.8298% | 0.8298%
[5 empty] | n: | 6 | 6
Comment: | The content of | Lamivudine |  | in the sample as a percentage of the stated label claim is |  | 102.3389
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Lamivudine
Code: | L 10M388
% age Purity: | 99.3
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.3
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 42655878 | 50027066.0149 | 44803635 | 49837413.0697
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 42265757 | 49569529.7987 | 44637746 | 49652886.1085 |  | 0.03707%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 42488997 | 49831346.991 | 44846516 | 49885111.8359
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 42470210.6667 | 49809314.2682 | 44762632.3333 | 49791803.6714
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 12.88 |  | 13.58
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 12.88 |  | 13.58
Standard Dilution Factor | 50 | Purity correction: | 12.7898 |  | 13.4849
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.2558 |  | 0.2697
|  | Desired Concentration (mg/mL): | 0.3
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Peak Area: | 49800558.9698
|  | RSD: | 0.3311%
|  | n: | 6
Medium Volume (mL): | 1000 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 49941096 | 300.8466 | 100.2822
1st Dilution Sample Final Volume (mL): | 1 | 2 | 49566368 | 298.5892 | 99.5297
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 49870106 | 300.419 | 100.1397
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 49633689 | 298.9948 | 99.6649
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 49680429 | 299.2763 | 99.7588
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 49811262 | 300.0645 | 100.0215
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 299.6984 | 99.8995
Sample Dilution Factor | 1000 |  | RSD: | 0.2937% | 0.2937%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 298.5892 | 99.5297
|  |  | Maximum: | 300.8466 | 100.2822
Comment: | The amount of | Lamivudine |  | dissolved as a percentage of the stated label claim is |  | 99.8995
| Range: | Minimum | 99.5297 | Maximum | 100.2822
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Tenofovir DF
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Laboratory Ref No: | NDQB201609124 | 1
Active Ingredient: | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Date Analysis Started: | 2016-10-12
Date Analysis Completed: | 2016-11-15
Analysis Data
Reference Substance: | Tenofovir DF
Code: | T11-8
% age Purity: | 98.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 | 25788256 | 28207644.4714 | 27013314 | 28740095.5829
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 25769917 | 28187584.9532 | 27138977 | 28873791.3831 |  | 2.267%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 25777612 | 28196001.8784 | 27109850 | 28842802.4876
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 25778595 | 28197077.101 | 27087380.3333 | 28818896.4845
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 13.88 |  | 14.27
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 13.88 |  | 14.27
Standard Dilution Factor | 125 | Purity correction (mg): | 13.7134 |  | 14.0988
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.10971 |  | 0.11279
|  | Desired Concentration (mg/mL): | 0.12
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Response: | 28507986.7928
|  | RSD: | 1.205%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Each Tablet contains | 300 | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Average Tablet Content Weight (mg): | 1908.5185
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 1909.74 | 1 | 29564478 | 310.9188 | 103.6396
1st Dilution Sample Final Volume (mL): | 25 |  |  | 2 | 29938043 | 314.8475 | 104.9492
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 29949457 | 314.9675 | 104.9892
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1934.16 | 1 | 29785235 | 309.2856 | 103.0952
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 29731568 | 308.7283 | 102.9094
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 29334551 | 304.6058 | 101.5353
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 2500 | Assay Smp C | 1921.52 | 1 |  | - | -
Desired Sample Weight (mg): | 1908.5185 |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | - | -
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 310.5589 | 103.5196
[5 empty] | RSD: | 1.275% | 1.275%
[5 empty] | n: | 6 | 6
Comment: | The content of | Tenofovir DF |  | in the sample as a percentage of the stated label claim is |  | 103.5196
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Tenofovir DF
Code: | T11-8
% age Purity: | 98.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 60296334 | 70309537.0249 | 73711348 | 70162972.5991
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 60270590 | 70279517.8082 | 73867049 | 70311178.3407 |  | 0.1321%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 60408517 | 70440349.8666 | 73884365 | 70327660.7694
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 60325147 | 70343134.8999 | 73820920.6667 | 70267270.5697
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 13.02 |  | 15.95
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 13.02 |  | 15.95
Standard Dilution Factor | 50 | Purity correction: | 12.8638 |  | 15.7586
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.25728 |  | 0.31517
|  | Desired Concentration (mg/mL): | 0.3
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Peak Area: | 70305202.7348
|  | RSD: | 0.1268%
|  | n: | 6
Medium Volume (mL): | 1000 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 69569576 | 296.861 | 98.9537
1st Dilution Sample Final Volume (mL): | 1 | 2 | 69120377 | 294.9442 | 98.3147
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 69432293 | 296.2752 | 98.7584
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 69369754 | 296.0083 | 98.6694
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 68824909 | 293.6834 | 97.8945
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 68886562 | 293.9465 | 97.9822
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 295.2864 | 98.4288
Sample Dilution Factor | 1000 |  | RSD: | 0.4405% | 0.4405%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 293.6834 | 97.8945
|  |  | Maximum: | 296.861 | 98.9537
Comment: | The amount of | Tenofovir DF |  | dissolved as a percentage of the stated label claim is |  | 98.4288
| Range: | Minimum | 97.8945 | Maximum | 98.9537
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Efavirenz
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Laboratory Ref No: | NDQB201609124 | 1
Active Ingredient: | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Date Analysis Started: | 2016-10-12
Date Analysis Completed: | 2016-11-15
Analysis Data
Reference Substance: | Efavirenz
Code: | E35-1
% age Purity: | 99.7
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.7
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 | 10831975 | 11673963.5094 | 10219114 | 11909214.0869
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 10823231 | 11664539.8229 | 10256447 | 11952721.4486 |  | 2.254%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 10801724 | 11641361.0459 | 10271854 | 11970676.5533
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 10818976.6667 | 11659954.7927 | 10249138.3333 | 11944204.0296
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 27.92 |  | 25.82
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 27.92 |  | 25.82
Standard Dilution Factor | 125 | Purity correction (mg): | 27.8362 |  | 25.7425
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.22269 |  | 0.20594
|  | Desired Concentration (mg/mL): | 0.24
|  | Desired Weight as free base (mg): | 30
|  | Desired Weight as salt (mg): | 30
|  | Average Normalised Response: | 11802079.4112
|  | RSD: | 1.333%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Each Tablet contains | 600 | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Average Tablet Content Weight (mg): | 1908.5185
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 1909.74 | 1 | 12036084 | 611.5051 | 101.9175
1st Dilution Sample Final Volume (mL): | 25 |  |  | 2 | 12170027 | 618.3102 | 103.0517
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 12188753 | 619.2616 | 103.2103
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1934.16 | 1 | 12110352 | 607.51 | 101.2517
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 12043828 | 604.1729 | 100.6955
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 11895704 | 596.7423 | 99.4571
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 2500 | Assay Smp C | 1921.52 | 1 | 12283755 | 620.2622 | 103.377
Desired Sample Weight (mg): | 1908.5185 |  |  | 2 | 12120821 | 612.0349 | 102.0058
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 12134363 | 612.7187 | 102.1198
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 611.3909 | 101.8985
[5 empty] | RSD: | 1.257% | 1.257%
[5 empty] | n: | 9 | 9
Comment: | The content of | Efavirenz |  | in the sample as a percentage of the stated label claim is |  | 101.8985
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Efavirenz
Code: | E35-1
% age Purity: | 99.7
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.7
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 36606538 | 45441445.624 | 37139183 | 45262376.4367
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 36606066 | 45440859.7078 | 37181406 | 45313834.5779 |  | 0.3251%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 36628015 | 45468106.0508 | 37202030 | 45338969.521
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 36613539.6667 | 45450137.1276 | 37174206.3333 | 45305060.1785
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 24.24 |  | 24.69
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 24.24 |  | 24.69
Standard Dilution Factor | 50 | Purity correction: | 24.1673 |  | 24.6159
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.48335 |  | 0.49232
|  | Desired Concentration (mg/mL): | 0.6
|  | Desired Weight as free base (mg): | 30
|  | Desired Weight as salt (mg): | 30
|  | Average Normalised Peak Area: | 45377598.653
|  | RSD: | 0.1847%
|  | n: | 6
Medium Volume (mL): | 1000 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 45107357 | 596.4268 | 99.4045
1st Dilution Sample Final Volume (mL): | 1 | 2 | 44752035 | 591.7286 | 98.6214
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 45075511 | 596.0057 | 99.3343
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 44874330 | 593.3456 | 98.8909
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 44678447 | 590.7555 | 98.4593
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 44728925 | 591.423 | 98.5705
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 593.2809 | 98.8801
Sample Dilution Factor | 1000 |  | RSD: | 0.4099% | 0.4099%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 590.7555 | 98.4593
|  |  | Maximum: | 596.4268 | 99.4045
Comment: | The amount of | Efavirenz |  | dissolved as a percentage of the stated label claim is |  | 98.8801
| Range: | Minimum | 98.4593 | Maximum | 99.4045
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0