## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG /600 MG
Laboratory Ref No: |  | NDQB201609125
Active Ingredient: |  | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Label Claim: |  | Each film coated tablet contains: Tenofovir disoproxil fumarate 300 mg, Lamivudine USP 300 mg, Efavirenz USP 600 mg.
Date Analysis Started: |  | 2016-09-30 12:24:38
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 1884.24 | -0.5441%
|  | 1905.09 | 0.5564%
|  | 1901.19 | 0.3506%
|  | 1897.33 | 0.1468%
|  | 1893.3 | -0.0659%
|  | 1864.98 | -1.561%
|  | 1894.64 | 0.00483%
|  | 1866.4 | -1.486%
|  | 1893.85 | -0.03687%
|  | 1911.67 | 0.9037%
|  | 1901.66 | 0.3754%
|  | 1875.87 | -0.9859%
|  | 1923.07 | 1.505%
|  | 1892.75 | -0.09493%
|  | 1897.48 | 0.1547%
|  | 1908.48 | 0.7353%
|  | 1886.09 | -0.4465%
|  | 1909.63 | 0.796%
|  | 1892.55 | -0.1055%
|  | 1890.7 | -0.2031%
| Total | 37890.97
| Average | 1894.5485
| Average | % Deviation from mean
| 1894.5485 | -5% | 1799.8211
|  | 5% | 1989.2759
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## SST Lam
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 mg/300 mg/ 600 mg
Reference Substance: | Lamivudine
% age Purity: | 99.3
Weight (mg): | 17.85
Standard Conc (mg/mL): | 0.1428
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 86851998 | 12096.8 | 1.1 | 2.2
2 | 86812502 | 11951.5 | 1.2 | 2.2
3 | 87008605 | 12072.7 | 1.1 | 2.2
4 | 86816494 | 12120.7 | 1.1 | 2.2
5 | 86978023 | 12141.3 | 1.1 | 2.2
6 | 86818615 | 12007.8 | 1.1 | 2.2
Averages: | 86881039.5 | 12065.1333 | 1.1167 | 2.2
RSD: | 0.102%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Lamivudine
% age Purity: | 99.3
Weight (mg): | 12.88
Standard Conc (mg/mL): | 0.2576
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 42927880 | 17497.6 | 1.3 | 2.6
2 | 42492230 | 17645.5 | 1.2 | 2.6
3 | 42541843 | 17721.2 | 1.2 | 2.6
4 | 42463639 | 17633.1 | 1.2 | 2.6
5 | 43052804 | 17612.5 | 1.2 | 2.6
6 | 42590464 | 17621.4 | 1.2 | 2.6
Averages: | 42678143.3333 | 17621.8833 | 1.2167 | 2.6
RSD: | 0.583%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## SST Teno
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Reference Substance: | Tenofovir
% age Purity: | 98.8
Weight (mg): | 13.88
Standard Conc (mg/mL): | 0.11104
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 25745894 | 119507.5 | 1.1 | 6.7
2 | 25698532 | 119634.1 | 1.1 | 6.7
3 | 25806823 | 120380.1 | 1.1 | 6.7
4 | 25741654 | 120678.7 | 1.1 | 6.7
5 | 25793136 | 120418 | 1.1 | 6.7
6 | 25748008 | 120762.6 | 1.1 | 6.7
Averages: | 25755674.5 | 120230.1667 | 1.1 | 6.7
RSD: | 0.1517%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Tenofovir DF
% age Purity: | 98.8
Weight (mg): | 13.02
Standard Conc (mg/mL): | 0.2604
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 60515392 | 122355 | 1.1 | 6.8
2 | 60718249 | 121063.6 | 1.1 | 6.8
3 | 60659300 | 122629.6 | 1.1 | 6.8
4 | 60456985 | 121718.5 | 1 | 6.8
5 | 60494185 | 121932.9 | 1.1 | 6.8
6 | 60473296 | 120772.3 | 1.1 | 6.8
Averages: | 60552901.1667 | 121745.3167 | 1.0833 | 6.8
RSD: | 0.1795%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## SST Efv
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Reference Substance: | Efavirenz
% age Purity: | 99.7
Weight (mg): | 27.92
Standard Conc (mg/mL): | 0.22336
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 10775712 | 100944.9 | 1.1 | 7.8
2 | 10781184 | 99784.2 | 1.1 | 7.8
3 | 10817283 | 100478.5 | 1.1 | 7.8
4 | 10799030 | 100748.6 | 1 | 7.8
5 | 10795712 | 100959.6 | 1 | 7.8
6 | 10805522 | 100028.8 | 1.1 | 7.8
Averages: | 10795740.5 | 100490.7667 | 1.0667 | 7.8
RSD: | 0.1425%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Efavirenz
% age Purity: | 99.7
Weight (mg): | 24.24
Standard Conc (mg/mL): | 0.4848
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 36668421 | 90950.5 | 1 | 8.2
2 | 36691754 | 91479.2 | 1.1 | 8.2
3 | 36723692 | 90754.1 | 1 | 8.2
4 | 36749838 | 91202.6 | 1 | 8.2
5 | 36754871 | 90873.7 | 1 | 8.2
6 | 36743835 | 91422.5 | 1.1 | 8.2
Averages: | 36722068.5 | 91113.7667 | 1.0333 | 8.2
RSD: | 0.09528%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Lamivudine
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Laboratory Ref No: | NDQB201609125 | 1
Active Ingredient: | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Date Analysis Started: | 2016-10-12
Date Analysis Completed: | 2016-11-15
Analysis Data
Reference Substance: | Lamivudine
Code: | L 10M388
% age Purity: | 99.3
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.3
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 | 86973335 | 73602050.4879 | 73753629 | 75532417.4305
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 86930636 | 73565916.0341 | 74147100 | 75935378.1556 |  | 2.462%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 86924071 | 73560360.3375 | 74049778 | 75835708.9457
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 86942680.6667 | 73576108.9531 | 73983502.3333 | 75767834.8439
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 17.85 |  | 14.75
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 17.85 |  | 14.75
Standard Dilution Factor | 125 | Purity correction (mg): | 17.725 |  | 14.6467
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.1418 |  | 0.11717
|  | Desired Concentration (mg/mL): | 0.12
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Response: | 74671971.8985
|  | RSD: | 1.618%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Each Tablet contains | 300 | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Average Tablet Content Weight (mg): | 1894.5485
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 1928.38 | 1 | 77522736 | 305.989 | 101.9963
1st Dilution Sample Final Volume (mL): | 25 |  |  | 2 | 77487063 | 305.8482 | 101.9494
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 78736077 | 310.7782 | 103.5927
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1914.64 | 1 | 77654466 | 308.7086 | 102.9029
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 77810323 | 309.3282 | 103.1094
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 79552438 | 316.2538 | 105.4179
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 2500 | Assay Smp C | 1895.82 | 1 | 76796925 | 308.3302 | 102.7767
Desired Sample Weight (mg): | 1894.5485 |  |  | 2 | 76812519 | 308.3928 | 102.7976
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 77375630 | 310.6536 | 103.5512
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 309.3647 | 103.1216
[5 empty] | RSD: | 1.005% | 1.005%
[5 empty] | n: | 9 | 9
Comment: | The content of | Lamivudine |  | in the sample as a percentage of the stated label claim is |  | 103.1216
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Lamivudine
Code: | L 10M388
% age Purity: | 99.3
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.3
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 42655878 | 50027066.0149 | 44803635 | 49837413.0697
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 42265757 | 49569529.7987 | 44637746 | 49652886.1085 |  | 0.03707%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 42488997 | 49831346.991 | 44846516 | 49885111.8359
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 42470210.6667 | 49809314.2682 | 44762632.3333 | 49791803.6714
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 12.88 |  | 13.58
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 12.88 |  | 13.58
Standard Dilution Factor | 50 | Purity correction: | 12.7898 |  | 13.4849
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.2558 |  | 0.2697
|  | Desired Concentration (mg/mL): | 0.3
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Peak Area: | 49800558.9698
|  | RSD: | 0.3311%
|  | n: | 6
Medium Volume (mL): | 1000 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 50382465 | 303.5054 | 101.1685
1st Dilution Sample Final Volume (mL): | 1 | 2 | 50583003 | 304.7135 | 101.5712
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 50609695 | 304.8743 | 101.6248
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 50489894 | 304.1526 | 101.3842
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 50218086 | 302.5152 | 100.8384
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 49996564 | 301.1807 | 100.3936
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 303.4903 | 101.1634
Sample Dilution Factor | 1000 |  | RSD: | 0.4691% | 0.4691%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 301.1807 | 100.3936
|  |  | Maximum: | 304.8743 | 101.6248
Comment: | The amount of | Lamivudine |  | dissolved as a percentage of the stated label claim is |  | 101.1634
| Range: | Minimum | 100.3936 | Maximum | 101.6248
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Tenofovir DF
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Laboratory Ref No: | NDQB201609125 | 1
Active Ingredient: | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Date Analysis Started: | 2016-10-12
Date Analysis Completed: | 2016-11-15
Analysis Data
Reference Substance: | Tenofovir DF
Code: | T11-8
% age Purity: | 98.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 | 25788256 | 28207644.4714 | 27013314 | 28740095.5829
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 25769917 | 28187584.9532 | 27138977 | 28873791.3831 |  | 2.267%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 25777612 | 28196001.8784 | 27109850 | 28842802.4876
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 25778595 | 28197077.101 | 27087380.3333 | 28818896.4845
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 13.88 |  | 14.27
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 13.88 |  | 14.27
Standard Dilution Factor | 125 | Purity correction (mg): | 13.7134 |  | 14.0988
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.10971 |  | 0.11279
|  | Desired Concentration (mg/mL): | 0.12
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Response: | 28507986.7928
|  | RSD: | 1.205%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Each Tablet contains | 300 | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Average Tablet Content Weight (mg): | 1894.5485
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 1928.38 | 1 | 29349898 | 303.4411 | 101.147
1st Dilution Sample Final Volume (mL): | 25 |  |  | 2 | 29346742 | 303.4085 | 101.1362
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 29830835 | 308.4134 | 102.8045
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1914.64 | 1 | 28800860 | 299.9016 | 99.9672
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 28866098 | 300.5809 | 100.1936
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 29521678 | 307.4074 | 102.4691
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 2500 | Assay Smp C | 1895.82 | 1 | 28079246 | 295.29 | 98.43
Desired Sample Weight (mg): | 1894.5485 |  |  | 2 | 28080405 | 295.3022 | 98.4341
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 28283889 | 297.4421 | 99.1474
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 301.243 | 100.4143
[5 empty] | RSD: | 1.602% | 1.602%
[5 empty] | n: | 9 | 9
Comment: | The content of | Tenofovir DF |  | in the sample as a percentage of the stated label claim is |  | 100.4143
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Tenofovir DF
Code: | T11-8
% age Purity: | 98.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 60296334 | 70309537.0249 | 73711348 | 70162972.5991
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 60270590 | 70279517.8082 | 73867049 | 70311178.3407 |  | 0.1321%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 60408517 | 70440349.8666 | 73884365 | 70327660.7694
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 60325147 | 70343134.8999 | 73820920.6667 | 70267270.5697
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 13.02 |  | 15.95
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 13.02 |  | 15.95
Standard Dilution Factor | 50 | Purity correction: | 12.8638 |  | 15.7586
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.25728 |  | 0.31517
|  | Desired Concentration (mg/mL): | 0.3
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Peak Area: | 70305202.7348
|  | RSD: | 0.1268%
|  | n: | 6
Medium Volume (mL): | 1000 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 68385446 | 291.8082 | 97.2694
1st Dilution Sample Final Volume (mL): | 1 | 2 | 68365855 | 291.7246 | 97.2415
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 68814090 | 293.6373 | 97.8791
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 68968635 | 294.2967 | 98.0989
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 68523286 | 292.3964 | 97.4655
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 68490479 | 292.2564 | 97.4188
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 292.6866 | 97.5622
Sample Dilution Factor | 1000 |  | RSD: | 0.3571% | 0.3571%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 291.7246 | 97.2415
|  |  | Maximum: | 294.2967 | 98.0989
Comment: | The amount of | Tenofovir DF |  | dissolved as a percentage of the stated label claim is |  | 97.5622
| Range: | Minimum | 97.2415 | Maximum | 98.0989
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Efavirenz
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Laboratory Ref No: | NDQB201609125 | 1
Active Ingredient: | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Date Analysis Started: | 2016-10-12
Date Analysis Completed: | 2016-11-15
Analysis Data
Reference Substance: | Efavirenz
Code: | E35-1
% age Purity: | 99.7
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.7
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 | 10831975 | 11673963.5094 | 10219114 | 11909214.0869
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 10823231 | 11664539.8229 | 10256447 | 11952721.4486 |  | 2.254%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 10801724 | 11641361.0459 | 10271854 | 11970676.5533
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 10818976.6667 | 11659954.7927 | 10249138.3333 | 11944204.0296
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 27.92 |  | 25.82
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 27.92 |  | 25.82
Standard Dilution Factor | 125 | Purity correction (mg): | 27.8362 |  | 25.7425
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.22269 |  | 0.20594
|  | Desired Concentration (mg/mL): | 0.24
|  | Desired Weight as free base (mg): | 30
|  | Desired Weight as salt (mg): | 30
|  | Average Normalised Response: | 11802079.4112
|  | RSD: | 1.333%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Each Tablet contains | 600 | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Average Tablet Content Weight (mg): | 1894.5485
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 1928.38 | 1 | 12350367 | 616.8587 | 102.8098
1st Dilution Sample Final Volume (mL): | 25 |  |  | 2 | 12323899 | 615.5367 | 102.5895
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 12527044 | 625.6831 | 104.2805
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1914.64 | 1 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 2500 | Assay Smp C | 1895.82 | 1 | 12243230 | 622.01 | 103.6683
Desired Sample Weight (mg): | 1894.5485 |  |  | 2 | 12254057 | 622.56 | 103.76
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 12301346 | 624.9625 | 104.1604
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 621.2685 | 103.5448
[5 empty] | RSD: | 0.6739% | 0.6739%
[5 empty] | n: | 6 | 6
Comment: | The content of | Efavirenz |  | in the sample as a percentage of the stated label claim is |  | 103.5448
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Efavirenz
Code: | E35-1
% age Purity: | 99.7
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.7
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 36606538 | 45441445.624 | 37139183 | 45262376.4367
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 36606066 | 45440859.7078 | 37181406 | 45313834.5779 |  | 0.3251%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 36628015 | 45468106.0508 | 37202030 | 45338969.521
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 36613539.6667 | 45450137.1276 | 37174206.3333 | 45305060.1785
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 24.24 |  | 24.69
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 24.24 |  | 24.69
Standard Dilution Factor | 50 | Purity correction: | 24.1673 |  | 24.6159
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.48335 |  | 0.49232
|  | Desired Concentration (mg/mL): | 0.6
|  | Desired Weight as free base (mg): | 30
|  | Desired Weight as salt (mg): | 30
|  | Average Normalised Peak Area: | 45377598.653
|  | RSD: | 0.1847%
|  | n: | 6
Medium Volume (mL): | 1000 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 45058726 | 595.7837 | 99.2973
1st Dilution Sample Final Volume (mL): | 1 | 2 | 45008055 | 595.1138 | 99.1856
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 45108304 | 596.4393 | 99.4065
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 45031248 | 595.4204 | 99.2367
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 44735865 | 591.5148 | 98.5858
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 44705024 | 591.107 | 98.5178
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 594.2298 | 99.0383
Sample Dilution Factor | 1000 |  | RSD: | 0.3883% | 0.3883%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 591.107 | 98.5178
|  |  | Maximum: | 596.4393 | 99.4065
Comment: | The amount of | Efavirenz |  | dissolved as a percentage of the stated label claim is |  | 99.0383
| Range: | Minimum | 98.5178 | Maximum | 99.4065
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0