## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Laboratory Ref No: |  | NDQB201609124
Active Ingredient: |  | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Label Claim: |  | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Date Analysis Started: |  | 2016-09-30 12:19:40
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 1881.24 | -0.757%
|  | 1920.29 | 1.303%
|  | 1876.42 | -1.011%
|  | 1879.52 | -0.8477%
|  | 1870.6 | -1.318%
|  | 1938.85 | 2.282%
|  | 1896.77 | 0.0623%
|  | 1895.3 | -0.01525%
|  | 1887.05 | -0.4505%
|  | 1884.51 | -0.5845%
|  | 1885.33 | -0.5412%
|  | 1888.24 | -0.3877%
|  | 1894.9 | -0.03635%
|  | 1925.18 | 1.561%
|  | 1878.68 | -0.892%
|  | 1925.27 | 1.566%
|  | 1881.25 | -0.7564%
|  | 1908.28 | 0.6695%
|  | 1918.94 | 1.232%
|  | 1875.16 | -1.078%
| Total | 37911.78
| Average | 1895.589
| Average | % Deviation from mean
| 1895.589 | -5% | 1800.8096
|  | 5% | 1990.3685
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## SST Lam
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Reference Substance: | Lamivudine
% age Purity: | 99.3
Weight (mg): | 17.85
Standard Conc (mg/mL): | 0.1428
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 86851998 | 12096.8 | 1.1 | 2.2
2 | 86812502 | 11951.5 | 1.2 | 2.2
3 | 87008605 | 12072.7 | 1.1 | 2.2
4 | 86816494 | 12120.7 | 1.1 | 2.2
5 | 86978023 | 12141.3 | 1.1 | 2.2
6 | 86818615 | 12007.8 | 1.1 | 2.2
Averages: | 86881039.5 | 12065.1333 | 1.1167 | 2.2
RSD: | 0.102%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Lamivudine
% age Purity: | 99.3
Weight (mg): | 12.88
Standard Conc (mg/mL): | 0.2576
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 42927880 | 17497.6 | 1.3 | 2.6
2 | 42492230 | 17645.5 | 1.2 | 2.6
3 | 42541843 | 17721.2 | 1.2 | 2.6
4 | 42463639 | 17633.1 | 1.2 | 2.6
5 | 43052804 | 17612.5 | 1.2 | 2.6
6 | 42590464 | 17621.4 | 1.2 | 2.6
Averages: | 42678143.3333 | 17621.8833 | 1.2167 | 2.6
RSD: | 0.583%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## SST Teno
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Reference Substance: | Tenofovir DF
% age Purity: | 98.8
Weight (mg): | 13.88
Standard Conc (mg/mL): | 0.11104
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 25745894 | 119507.5 | 1.1 | 6.7
2 | 25698532 | 119634.1 | 1.1 | 6.7
3 | 25806823 | 120380.1 | 1.1 | 6.7
4 | 25741654 | 120678.7 | 1.1 | 6.7
5 | 25793136 | 120418 | 1.1 | 6.7
6 | 25748008 | 120762.6 | 1.1 | 6.7
Averages: | 25755674.5 | 120230.1667 | 1.1 | 6.7
RSD: | 0.1517%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Tenofovir DF
% age Purity: | 98.8
Weight (mg): | 13.02
Standard Conc (mg/mL): | 0.2604
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 60515392 | 122355 | 1.1 | 6.8
2 | 60718249 | 121063.6 | 1.1 | 6.8
3 | 60659300 | 122629.6 | 1.1 | 6.8
4 | 60456985 | 121718.5 | 1 | 6.8
5 | 60494185 | 121932.9 | 1.1 | 6.8
6 | 60473296 | 120772.3 | 1.1 | 6.8
Averages: | 60552901.1667 | 121745.3167 | 1.0833 | 6.8
RSD: | 0.1795%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## SST Efv
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Reference Substance: | Efavirenz
% age Purity: | 99.7
Weight (mg): | 27.92
Standard Conc (mg/mL): | 0.22336
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 10775712 | 100944.9 | 1.1 | 7.8
2 | 10781184 | 99784.2 | 1.1 | 7.8
3 | 10817283 | 100478.5 | 1.1 | 7.8
4 | 10799030 | 100748.6 | 1 | 7.8
5 | 10795712 | 100959.6 | 1 | 7.8
6 | 10805522 | 100028.8 | 1.1 | 7.8
Averages: | 10795740.5 | 100490.7667 | 1.0667 | 7.8
RSD: | 0.1425%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 10000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Efavirenz
% age Purity: | 99.7
Weight (mg): | 24.24
Standard Conc (mg/mL): | 0.4848
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 36668421 | 90950.5 | 1 | 8.2
2 | 36691754 | 91479.2 | 1.1 | 8.2
3 | 36723692 | 90754.1 | 1 | 8.2
4 | 36749838 | 91202.6 | 1 | 8.2
5 | 36754871 | 90873.7 | 1 | 8.2
6 | 36743835 | 91422.5 | 1.1 | 8.2
Averages: | 36722068.5 | 91113.7667 | 1.0333 | 8.2
RSD: | 0.09528%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## Lamivudine
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Laboratory Ref No: | NDQB201609126 | 1
Active Ingredient: | Tenofovir Disoproxil Fumarate, Lamivudine & Efavirenz
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Date Analysis Started: | 2016-10-12
Date Analysis Completed: | 2016-11-15
Analysis Data
Reference Substance: | Lamivudine
Code: | L 10M388
% age Purity: | 99.3
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.3
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 | 86973335 | 73602050.4879 | 73753629 | 75532417.4305
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 86930636 | 73565916.0341 | 74147100 | 75935378.1556 |  | 2.462%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 86924071 | 73560360.3375 | 74049778 | 75835708.9457
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 86942680.6667 | 73576108.9531 | 73983502.3333 | 75767834.8439
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 17.85 |  | 14.75
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 17.85 |  | 14.75
Standard Dilution Factor | 125 | Purity correction (mg): | 17.725 |  | 14.6467
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.1418 |  | 0.11717
|  | Desired Concentration (mg/mL): | 0.12
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Response: | 74671971.8985
|  | RSD: | 1.618%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Each Tablet contains | 300 | Tenofovir Disoproxil Fumarate, Lamivudine & Efavirenz
Average Tablet Content Weight (mg): | 1895.589
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 1864.09 | 1 | 71032746 | 290.2014 | 96.7338
1st Dilution Sample Final Volume (mL): | 25 |  |  | 2 | 72418998 | 295.8649 | 98.6216
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 70717890 | 288.9151 | 96.305
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1898.63 | 1 | 73994149 | 296.8007 | 98.9336
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 74177911 | 297.5377 | 99.1792
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 74069681 | 297.1036 | 99.0345
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 2500 | Assay Smp C | 1900.38 | 1 | 75993932 | 304.5414 | 101.5138
Desired Sample Weight (mg): | 1895.589 |  |  | 2 | 74805051 | 299.777 | 99.9257
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 75796631 | 303.7507 | 101.2502
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 297.1658 | 99.0553
[5 empty] | RSD: | 1.777% | 1.777%
[5 empty] | n: | 9 | 9
Comment: | The content of | Lamivudine |  | in the sample as a percentage of the stated label claim is |  | 99.0553
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Lamivudine
Code: | L 10M388
% age Purity: | 99.3
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.3
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 42655878 | 50027066.0149 | 44803635 | 49837413.0697
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 42265757 | 49569529.7987 | 44637746 | 49652886.1085 |  | 0.03707%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 42488997 | 49831346.991 | 44846516 | 49885111.8359
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 42470210.6667 | 49809314.2682 | 44762632.3333 | 49791803.6714
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 12.88 |  | 13.58
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 12.88 |  | 13.58
Standard Dilution Factor | 50 | Purity correction: | 12.7898 |  | 13.4849
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.2558 |  | 0.2697
|  | Desired Concentration (mg/mL): | 0.3
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Peak Area: | 49800558.9698
|  | RSD: | 0.3311%
|  | n: | 6
Medium Volume (mL): | 1000 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 46436532 | 279.735 | 93.245
1st Dilution Sample Final Volume (mL): | 1 | 2 | 46343266 | 279.1732 | 93.0577
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 46519357 | 280.2339 | 93.4113
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 46488998 | 280.0511 | 93.3504
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 46401483 | 279.5239 | 93.1746
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 46272656 | 278.7478 | 92.9159
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 279.5775 | 93.1925
Sample Dilution Factor | 1000 |  | RSD: | 0.1982% | 0.1982%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 278.7478 | 92.9159
|  |  | Maximum: | 280.2339 | 93.4113
Comment: | The amount of | Lamivudine |  | dissolved as a percentage of the stated label claim is |  | 93.1925
| Range: | Minimum | 92.9159 | Maximum | 93.4113
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Tenofovir DF
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Laboratory Ref No: | NDQB201609126 | 1
Active Ingredient: | Tenofovir Disoproxil Fumarate, Lamivudine & Efavirenz
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Date Analysis Started: | 2016-10-12
Date Analysis Completed: | 2016-11-15
Analysis Data
Reference Substance: | Tenofovir DF
Code: | T11-8
% age Purity: | 98.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 | 25788256 | 28207644.4714 | 27013314 | 28740095.5829
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 25769917 | 28187584.9532 | 27138977 | 28873791.3831 |  | 2.267%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 25777612 | 28196001.8784 | 27109850 | 28842802.4876
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 25778595 | 28197077.101 | 27087380.3333 | 28818896.4845
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 13.88 |  | 14.27
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 13.88 |  | 14.27
Standard Dilution Factor | 125 | Purity correction (mg): | 13.7134 |  | 14.0988
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.10971 |  | 0.11279
|  | Desired Concentration (mg/mL): | 0.12
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Response: | 28507986.7928
|  | RSD: | 1.205%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Each Tablet contains | 300 | Tenofovir Disoproxil Fumarate, Lamivudine & Efavirenz
Average Tablet Content Weight (mg): | 1895.589
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 1864.09 | 1 | 27071487 | 289.6971 | 96.5657
1st Dilution Sample Final Volume (mL): | 25 |  |  | 2 | 27629409 | 295.6675 | 98.5558
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 26963433 | 288.5408 | 96.1803
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1898.63 | 1 | 27214511 | 285.9296 | 95.3099
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 27277282 | 286.5891 | 95.5297
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 27226178 | 286.0522 | 95.3507
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 2500 | Assay Smp C | 1900.38 | 1 | 28536597 | 299.544 | 99.848
Desired Sample Weight (mg): | 1895.589 |  |  | 2 | 28136271 | 295.3418 | 98.4473
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 28503993 | 299.2018 | 99.7339
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 291.8404 | 97.2801
[5 empty] | RSD: | 1.923% | 1.923%
[5 empty] | n: | 9 | 9
Comment: | The content of | Tenofovir DF |  | in the sample as a percentage of the stated label claim is |  | 97.2801
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Tenofovir DF
Code: | T11-8
% age Purity: | 98.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 60296334 | 70309537.0249 | 73711348 | 70162972.5991
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 60270590 | 70279517.8082 | 73867049 | 70311178.3407 |  | 0.1321%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 60408517 | 70440349.8666 | 73884365 | 70327660.7694
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 60325147 | 70343134.8999 | 73820920.6667 | 70267270.5697
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 13.02 |  | 15.95
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 13.02 |  | 15.95
Standard Dilution Factor | 50 | Purity correction: | 12.8638 |  | 15.7586
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.25728 |  | 0.31517
|  | Desired Concentration (mg/mL): | 0.3
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Peak Area: | 70305202.7348
|  | RSD: | 0.1268%
|  | n: | 6
Medium Volume (mL): | 1000 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 63265297 | 269.96 | 89.9867
1st Dilution Sample Final Volume (mL): | 1 | 2 | 63750246 | 272.0293 | 90.6764
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 63658892 | 271.6395 | 90.5465
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 63609615 | 271.4292 | 90.4764
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 63625786 | 271.4982 | 90.4994
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 63152831 | 269.48 | 89.8267
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 271.006 | 90.3353
Sample Dilution Factor | 1000 |  | RSD: | 0.3796% | 0.3796%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 269.48 | 89.8267
|  |  | Maximum: | 272.0293 | 90.6764
Comment: | The amount of | Tenofovir DF |  | dissolved as a percentage of the stated label claim is |  | 90.3353
| Range: | Minimum | 89.8267 | Maximum | 90.6764
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Efavirenz
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Laboratory Ref No: | NDQB201609126 | 1
Active Ingredient: | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Date Analysis Started: | 2016-10-12
Date Analysis Completed: | 2016-11-15
Analysis Data
Reference Substance: | Efavirenz
Code: | E35-1
% age Purity: | 99.7
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.7
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 | 10831975 | 11673963.5094 | 10219114 | 11909214.0869
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 10823231 | 11664539.8229 | 10256447 | 11952721.4486 |  | 2.254%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 10801724 | 11641361.0459 | 10271854 | 11970676.5533
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 10818976.6667 | 11659954.7927 | 10249138.3333 | 11944204.0296
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 27.92 |  | 25.82
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 27.92 |  | 25.82
Standard Dilution Factor | 125 | Purity correction (mg): | 27.8362 |  | 25.7425
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.22269 |  | 0.20594
|  | Desired Concentration (mg/mL): | 0.24
|  | Desired Weight as free base (mg): | 30
|  | Desired Weight as salt (mg): | 30
|  | Average Normalised Response: | 11802079.4112
|  | RSD: | 1.333%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Each Tablet contains | 600 | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Average Tablet Content Weight (mg): | 1895.589
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 1864.09 | 1 | 12077598 | 624.3823 | 104.0637
1st Dilution Sample Final Volume (mL): | 25 |  |  | 2 | 12266936 | 634.1706 | 105.6951
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1898.63 | 1 | 12410953 | 629.9436 | 104.9906
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 12442489 | 631.5443 | 105.2574
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 2500 | Assay Smp C | 1900.38 | 1 | 11987201 | 607.8749 | 101.3125
Desired Sample Weight (mg): | 1895.589 |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 11977107 | 607.3631 | 101.2272
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 622.5465 | 103.7577
[5 empty] | RSD: | 1.928% | 1.928%
[5 empty] | n: | 6 | 6
Comment: | The content of | Efavirenz |  | in the sample as a percentage of the stated label claim is |  | 103.7577
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Efavirenz
Code: | E35-1
% age Purity: | 99.7
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.7
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 36606538 | 45441445.624 | 37139183 | 45262376.4367
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 36606066 | 45440859.7078 | 37181406 | 45313834.5779 |  | 0.3251%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 36628015 | 45468106.0508 | 37202030 | 45338969.521
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 36613539.6667 | 45450137.1276 | 37174206.3333 | 45305060.1785
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 24.24 |  | 24.69
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 24.24 |  | 24.69
Standard Dilution Factor | 50 | Purity correction: | 24.1673 |  | 24.6159
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.48335 |  | 0.49232
|  | Desired Concentration (mg/mL): | 0.6
|  | Desired Weight as free base (mg): | 30
|  | Desired Weight as salt (mg): | 30
|  | Average Normalised Peak Area: | 45377598.653
|  | RSD: | 0.1847%
|  | n: | 6
Medium Volume (mL): | 1000 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 44995325 | 594.9454 | 99.1576
1st Dilution Sample Final Volume (mL): | 1 | 2 | 45185677 | 597.4623 | 99.5771
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 45260763 | 598.4552 | 99.7425
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 45239908 | 598.1794 | 99.6966
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 45225868 | 597.9938 | 99.6656
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 44815236 | 592.5642 | 98.7607
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 596.6001 | 99.4333
Sample Dilution Factor | 1000 |  | RSD: | 0.3941% | 0.3941%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 592.5642 | 98.7607
|  |  | Maximum: | 598.4552 | 99.7425
Comment: | The amount of | Efavirenz |  | dissolved as a percentage of the stated label claim is |  | 99.4333
| Range: | Minimum | 98.7607 | Maximum | 99.7425
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0