## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Laboratory Ref No: |  | NDQB201609124
Active Ingredient: |  | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Label Claim: |  | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Date Analysis Started: |  | 2016-09-30 12:19:40
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 1882.51 | -0.6416%
|  | 1853.46 | -2.175%
|  | 1929.03 | 1.814%
|  | 1815.43 | -4.182%
|  | 1891.21 | -0.1824%
|  | 1956.35 | 3.256%
|  | 1834.64 | -3.168%
|  | 1912.4 | 0.936%
|  | 1835.54 | -3.121%
|  | 1851.84 | -2.26%
|  | 1926.12 | 1.66%
|  | 1921.17 | 1.399%
|  | 1942.96 | 2.549%
|  | 1923.33 | 1.513%
|  | 1886.15 | -0.4495%
|  | 1847.82 | -2.473%
|  | 1946.84 | 2.754%
|  | 1860.53 | -1.802%
|  | 1990.71 | 5.069%
|  | 1885.29 | -0.4949%
| Total | 37893.33
| Average | 1894.6665
| Average | % Deviation from mean
| 1894.6665 | -5% | 1799.9332
|  | 5% | 1989.3998
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## SST Lam
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 mg/300 mg/ 600 mg
Reference Substance: | Lamivudine
% age Purity: | 99.3
Weight (mg): | 17.85
Standard Conc (mg/mL): | 0.1428
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 86851998 | 12096.8 | 1.1 | 2.2
2 | 86812502 | 11951.5 | 1.2 | 2.2
3 | 87008605 | 12072.7 | 1.1 | 2.2
4 | 86816494 | 12120.7 | 1.1 | 2.2
5 | 86978023 | 12141.3 | 1.1 | 2.2
6 | 86818615 | 12007.8 | 1.1 | 2.2
Averages: | 86881039.5 | 12065.1333 | 1.1167 | 2.2
RSD: | 0.102%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Lamivudine
% age Purity: | 99.3
Weight (mg): | 12.88
Standard Conc (mg/mL): | 0.2576
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 42927880 | 17497.6 | 1.3 | 2.6
2 | 42492230 | 17645.5 | 1.2 | 2.6
3 | 42541843 | 17721.2 | 1.2 | 2.6
4 | 42463639 | 17633.1 | 1.2 | 2.6
5 | 43052804 | 17612.5 | 1.2 | 2.6
6 | 42590464 | 17621.4 | 1.2 | 2.6
Averages: | 42678143.3333 | 17621.8833 | 1.2167 | 2.6
RSD: | 0.583%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## SST Teno
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Reference Substance: | Tenofovir DF
% age Purity: | 98.8
Weight (mg): | 13.88
Standard Conc (mg/mL): | 0.11104
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 25745894 | 119507.5 | 1.1 | 6.7
2 | 25698532 | 119634.1 | 1.1 | 6.7
3 | 25806823 | 120380.1 | 1.1 | 6.7
4 | 25741654 | 120678.7 | 1.1 | 6.7
5 | 25793136 | 120418 | 1.1 | 6.7
6 | 25748008 | 120762.6 | 1.1 | 6.7
Averages: | 25755674.5 | 120230.1667 | 1.1 | 6.7
RSD: | 0.1517%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Tenofovir DF
% age Purity: | 98.8
Weight (mg): | 13.02
Standard Conc (mg/mL): | 0.2604
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 60515392 | 122355 | 1.1 | 6.8
2 | 60718249 | 121063.6 | 1.1 | 6.8
3 | 60659300 | 122629.6 | 1.1 | 6.8
4 | 60456985 | 121718.5 | 1 | 6.8
5 | 60494185 | 121932.9 | 1.1 | 6.8
6 | 60473296 | 120772.3 | 1.1 | 6.8
Averages: | 60552901.1667 | 121745.3167 | 1.0833 | 6.8
RSD: | 0.1795%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## SST Efv
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 mg/300 mg/ 600 mg
Reference Substance: | Efavirenz
% age Purity: | 99.7
Weight (mg): | 27.92
Standard Conc (mg/mL): | 0.22336
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 10775712 | 100944.9 | 1.1 | 7.8
2 | 10781184 | 99784.2 | 1.1 | 7.8
3 | 10817283 | 100478.5 | 1.1 | 7.8
4 | 10799030 | 100748.6 | 1 | 7.8
5 | 10795712 | 100959.6 | 1 | 7.8
6 | 10805522 | 100028.8 | 1.1 | 7.8
Averages: | 10795740.5 | 100490.7667 | 1.0667 | 7.8
RSD: | 0.1425%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 10000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Efavirenz
% age Purity: | 99.7
Weight (mg): | 24.24
Standard Conc (mg/mL): | 0.4848
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 36668421 | 90950.5 | 1 | 8.2
2 | 36691754 | 91479.2 | 1.1 | 8.2
3 | 36723692 | 90754.1 | 1 | 8.2
4 | 36749838 | 91202.6 | 1 | 8.2
5 | 36754871 | 90873.7 | 1 | 8.2
6 | 36743835 | 91422.5 | 1.1 | 8.2
Averages: | 36722068.5 | 91113.7667 | 1.0333 | 8.2
RSD: | 0.09528%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## Lamivudine
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Laboratory Ref No: | NDQB201609127 | 1
Active Ingredient: | Tenofovir Disoproxil Fumarate, Lamivudine & Efavirenz
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Date Analysis Started: | 2016-10-12
Date Analysis Completed: | 2016-11-15
Analysis Data
Reference Substance: | Lamivudine
Code: | L 10M388
% age Purity: | 99.3
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.3
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 | 86973335 | 73602050.4879 | 73753629 | 75532417.4305
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 86930636 | 73565916.0341 | 74147100 | 75935378.1556 |  | 2.462%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 86924071 | 73560360.3375 | 74049778 | 75835708.9457
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 86942680.6667 | 73576108.9531 | 73983502.3333 | 75767834.8439
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 17.85 |  | 14.75
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 17.85 |  | 14.75
Standard Dilution Factor | 125 | Purity correction (mg): | 17.725 |  | 14.6467
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.1418 |  | 0.11717
|  | Desired Concentration (mg/mL): | 0.12
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Response: | 74671971.8985
|  | RSD: | 1.618%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Each Tablet contains | 300 | Tenofovir Disoproxil Fumarate, Lamivudine & Efavirenz
Average Tablet Content Weight (mg): | 1894.6665
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 1828.76 | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 25 |  |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1956.71 | 1 | 78466714 | 305.2498 | 101.7499
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 79644446 | 309.8314 | 103.2771
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 80118025 | 311.6737 | 103.8912
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 2500 | Assay Smp C | 1847.82 | 1 | 76634676 | 315.6909 | 105.2303
Desired Sample Weight (mg): | 1894.6665 |  |  | 2 | 76442906 | 314.9009 | 104.967
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 77248093 | 318.2178 | 106.0726
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 312.5941 | 104.198
[5 empty] | RSD: | 1.493% | 1.493%
[5 empty] | n: | 6 | 6
Comment: | The content of | Lamivudine |  | in the sample as a percentage of the stated label claim is |  | 104.198
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Lamivudine
Code: | L 10M388
% age Purity: | 99.3
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.3
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 42655878 | 50027066.0149 | 44803635 | 49837413.0697
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 42265757 | 49569529.7987 | 44637746 | 49652886.1085 |  | 0.03707%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 42488997 | 49831346.991 | 44846516 | 49885111.8359
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 42470210.6667 | 49809314.2682 | 44762632.3333 | 49791803.6714
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 12.88 |  | 13.58
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 12.88 |  | 13.58
Standard Dilution Factor | 50 | Purity correction: | 12.7898 |  | 13.4849
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.2558 |  | 0.2697
|  | Desired Concentration (mg/mL): | 0.3
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Peak Area: | 49800558.9698
|  | RSD: | 0.3311%
|  | n: | 6
Medium Volume (mL): | 1000 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 44820457 | 269.9997 | 89.9999
1st Dilution Sample Final Volume (mL): | 1 | 2 | 45628207 | 274.8656 | 91.6219
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 45438835 | 273.7248 | 91.2416
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 45561535 | 274.464 | 91.488
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 45213076 | 272.3649 | 90.7883
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 45243471 | 272.548 | 90.8493
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 272.9945 | 90.9982
Sample Dilution Factor | 1000 |  | RSD: | 0.6503% | 0.6503%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 269.9997 | 89.9999
|  |  | Maximum: | 274.8656 | 91.6219
Comment: | The amount of | Lamivudine |  | dissolved as a percentage of the stated label claim is |  | 90.9982
| Range: | Minimum | 89.9999 | Maximum | 91.6219
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Tenofovir DF
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Laboratory Ref No: | NDQB201609127 | 1
Active Ingredient: | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Date Analysis Started: | 2016-10-12
Date Analysis Completed: | 2016-11-15
Analysis Data
Reference Substance: | Tenofovir DF
Code: | T11-8
% age Purity: | 98.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 | 25788256 | 28207644.4714 | 27013314 | 28740095.5829
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 25769917 | 28187584.9532 | 27138977 | 28873791.3831 |  | 2.267%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 25777612 | 28196001.8784 | 27109850 | 28842802.4876
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 25778595 | 28197077.101 | 27087380.3333 | 28818896.4845
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 13.88 |  | 14.27
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 13.88 |  | 14.27
Standard Dilution Factor | 125 | Purity correction (mg): | 13.7134 |  | 14.0988
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.10971 |  | 0.11279
|  | Desired Concentration (mg/mL): | 0.12
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Response: | 28507986.7928
|  | RSD: | 1.205%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Each Tablet contains | 300 | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Average Tablet Content Weight (mg): | 1894.6665
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 1828.76 | 1 | 25287936 | 275.7047 | 91.9016
1st Dilution Sample Final Volume (mL): | 25 |  |  | 2 | 26400178 | 287.831 | 95.9437
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 25582334 | 278.9144 | 92.9715
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1956.71 | 1 | 28482758 | 290.2305 | 96.7435
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 29415014 | 299.7299 | 99.91
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 29577590 | 301.3865 | 100.4622
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 2500 | Assay Smp C | 1847.82 | 1 | 27581883 | 297.6129 | 99.2043
Desired Sample Weight (mg): | 1894.6665 |  |  | 2 | 27514232 | 296.8829 | 98.961
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 27886132 | 300.8958 | 100.2986
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 297.7898 | 99.2633
[5 empty] | RSD: | 1.379% | 1.379%
[5 empty] | n: | 9 | 6
Comment: | The content of | Tenofovir DF |  | in the sample as a percentage of the stated label claim is |  | 99.2633
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Tenofovir DF
Code: | T11-8
% age Purity: | 98.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 60296334 | 70309537.0249 | 73711348 | 70162972.5991
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 60270590 | 70279517.8082 | 73867049 | 70311178.3407 |  | 0.1321%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 60408517 | 70440349.8666 | 73884365 | 70327660.7694
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 60325147 | 70343134.8999 | 73820920.6667 | 70267270.5697
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 13.02 |  | 15.95
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 13.02 |  | 15.95
Standard Dilution Factor | 50 | Purity correction: | 12.8638 |  | 15.7586
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.25728 |  | 0.31517
|  | Desired Concentration (mg/mL): | 0.3
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Peak Area: | 70305202.7348
|  | RSD: | 0.1268%
|  | n: | 6
Medium Volume (mL): | 1000 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 59361288 | 253.3011 | 84.4337
1st Dilution Sample Final Volume (mL): | 1 | 2 | 60730384 | 259.1432 | 86.3811
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 60467785 | 258.0227 | 86.0076
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 60354753 | 257.5403 | 85.8468
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 60255632 | 257.1174 | 85.7058
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 60463969 | 258.0064 | 86.0021
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 257.1885 | 85.7295
Sample Dilution Factor | 1000 |  | RSD: | 0.7859% | 0.7859%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 253.3011 | 84.4337
|  |  | Maximum: | 259.1432 | 86.3811
Comment: | The amount of | Tenofovir DF |  | dissolved as a percentage of the stated label claim is |  | 85.7295
| Range: | Minimum | 84.4337 | Maximum | 86.3811
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Efavirenz
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG/ 600 MG
Laboratory Ref No: | NDQB201609127 | 1
Active Ingredient: | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Date Analysis Started: | 2016-10-12
Date Analysis Completed: | 2016-11-15
Analysis Data
Reference Substance: | Efavirenz
Code: | E35-1
% age Purity: | 99.7
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.7
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 | 10831975 | 11673963.5094 | 10219114 | 11909214.0869
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 10823231 | 11664539.8229 | 10256447 | 11952721.4486 |  | 2.254%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 10801724 | 11641361.0459 | 10271854 | 11970676.5533
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 10818976.6667 | 11659954.7927 | 10249138.3333 | 11944204.0296
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 27.92 |  | 25.82
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 27.92 |  | 25.82
Standard Dilution Factor | 125 | Purity correction (mg): | 27.8362 |  | 25.7425
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.22269 |  | 0.20594
|  | Desired Concentration (mg/mL): | 0.24
|  | Desired Weight as free base (mg): | 30
|  | Desired Weight as salt (mg): | 30
|  | Average Normalised Response: | 11802079.4112
|  | RSD: | 1.333%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets
Each Tablet contains | 600 | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Average Tablet Content Weight (mg): | 1894.6665
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 1828.76 | 1 | 11701943 | 616.3491 | 102.7248
1st Dilution Sample Final Volume (mL): | 25 |  |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 11746237 | 618.6821 | 103.1137
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1956.71 | 1 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 12127266 | 596.983 | 99.4972
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 12191494 | 600.1447 | 100.0241
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 2500 | Assay Smp C | 1847.82 | 1 | 11434112 | 596.0302 | 99.3384
Desired Sample Weight (mg): | 1894.6665 |  |  | 2 | 11432779 | 595.9607 | 99.3268
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 11569356 | 603.0801 | 100.5134
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 603.89 | 100.6483
[5 empty] | RSD: | 1.601% | 1.601%
[5 empty] | n: | 7 | 7
Comment: | The content of | Efavirenz |  | in the sample as a percentage of the stated label claim is |  | 100.6483
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Efavirenz
Code: | E35-1
% age Purity: | 99.7
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.7
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 36606538 | 45441445.624 | 37139183 | 45262376.4367
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 36606066 | 45440859.7078 | 37181406 | 45313834.5779 |  | 0.3251%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 36628015 | 45468106.0508 | 37202030 | 45338969.521
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 36613539.6667 | 45450137.1276 | 37174206.3333 | 45305060.1785
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 24.24 |  | 24.69
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 24.24 |  | 24.69
Standard Dilution Factor | 50 | Purity correction: | 24.1673 |  | 24.6159
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.48335 |  | 0.49232
|  | Desired Concentration (mg/mL): | 0.6
|  | Desired Weight as free base (mg): | 30
|  | Desired Weight as salt (mg): | 30
|  | Average Normalised Peak Area: | 45377598.653
|  | RSD: | 0.1847%
|  | n: | 6
Medium Volume (mL): | 1000 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 43424363 | 574.1736 | 95.6956
1st Dilution Sample Final Volume (mL): | 1 | 2 | 44481300 | 588.1488 | 98.0248
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 44217980 | 584.6671 | 97.4445
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 44200903 | 584.4413 | 97.4069
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 44117551 | 583.3392 | 97.2232
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 44287107 | 585.5811 | 97.5969
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 583.3918 | 97.232
Sample Dilution Factor | 1000 |  | RSD: | 0.8225% | 0.8225%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 574.1736 | 95.6956
|  |  | Maximum: | 588.1488 | 98.0248
Comment: | The amount of | Efavirenz |  | dissolved as a percentage of the stated label claim is |  | 97.232
| Range: | Minimum | 95.6956 | Maximum | 98.0248
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0