## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | FLUCONAZOLE 200 MG TABLETS
Reference Substance: | Fluconazole
% age Purity: | 99.58
Weight (mg): | 10.7
Standard Conc (mg/mL): | 0.214
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 7679182 | 8271.3 | 1.1 | 6.9
2 | 7673494 | 8298.2 | 1.1 | 6.9
3 | 7671688 | 8357.5 | 1.1 | 6.9
4 | 7678027 | 8100 | 1 | 6.9
5 | 7676693 | 7861.3 | 1 | 6.9
6 | 7682227 | 7795.5 | 1 | 6.9
Averages: | 7676885.1667 | 8113.9667 | 1.05 | 6.9
RSD: | 0.05%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is NLT 1100
The Assymetry of all peaks is NMT 3.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is NLT 1100
The Assymetry of all peaks is NMT 3.0
| Name |  |  | Date | Signature
Analysed by: | RUTTO
Reviewed By:

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | FLUCONAZOLE 200 MG TABLETS
Laboratory Ref No: |  | NDQB201609139
Active Ingredient: |  | Fluconazole USP
Label Claim: |  | Each tablet contains Fluconazole USP. 200mg
Date Analysis Started: |  | 2016-09-30 14:50:22
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 463.94 | 1.003%
|  | 458.83 | -0.1097%
|  | 463.74 | 0.9592%
|  | 462.16 | 0.6152%
|  | 455.46 | -0.8434%
|  | 461.61 | 0.4955%
|  | 460.4 | 0.2321%
|  | 467.79 | 1.841%
|  | 461.22 | 0.4106%
|  | 455.01 | -0.9414%
|  | 455.97 | -0.7324%
|  | 451.47 | -1.712%
|  | 460.25 | 0.1994%
|  | 461.91 | 0.5608%
|  | 450.92 | -1.832%
|  | 459.88 | 0.1189%
|  | 458.83 | -0.1097%
|  | 463.52 | 0.9113%
|  | 453.94 | -1.174%
|  | 459.83 | 0.108%
| Total | 9186.68
| Average | 459.334
| Average | % Deviation from mean
| 459.334 | -5% | 436.3673
|  | 5% | 482.3007
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## FLUCONAZOLE
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | FLUCONAZOLE 200 MG TABLETS
Laboratory Ref No: | NDQB201609139 | 1
Active Ingredient: | Fluconazole
Label Claim: | Each tablet contains Fluconazole USP. 200mg
Date Analysis Started: | 2016-10-11
Date Analysis Completed: | 2016-10-12
Analysis Data
Reference Substance: | Fluconazole
Code: | F1-9
% age Purity: | 99.58
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.58
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 7672202 | 7200524.4457 | 9571278 | 7422121.1715
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 7662352 | 7191280.0116 | 9571529 | 7422315.8113 |  | 3.726%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 7672639 | 7200934.5794 | 9559651 | 7413104.9249
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 7669064.3333 | 7197579.6789 | 9567486 | 7419180.6359
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 10.7 |  | 12.95
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 10.7 |  | 12.95
Standard Dilution Factor | 50 | Purity correction (mg): | 10.6551 |  | 12.8956
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.2131 |  | 0.25791
|  | Desired Concentration (mg/mL): | 0.2
|  | Desired Weight as free base (mg): | 10
|  | Desired Weight as salt (mg): | 10
|  | Average Normalised Response: | 7308380.1574
|  | RSD: | 1.662%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each tablet contains Fluconazole USP. 200mg
Each Tablet contains | 200 | Fluconazole
Average Tablet Content Weight (mg): | 459.334
Initial Sample dilution Volume (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 5 | Assay Smp A | 456.11 | 1 | 7467967 | 205.8118 | 102.9059
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 7470363 | 205.8778 | 102.9389
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 7463582 | 205.6909 | 102.8455
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 459.69 | 1 | 7530027 | 205.906 | 102.953
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 7519540 | 205.6192 | 102.8096
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 7526848 | 205.819 | 102.9095
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1000 | Assay Smp C | 460.18 | 1 | 7590311 | 207.3334 | 103.6667
Desired Sample Weight (mg): | 459.334 |  |  | 2 | 7592224 | 207.3857 | 103.6928
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 7586074 | 207.2177 | 103.6088
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 206.2957 | 103.1479
[5 empty] | RSD: | 0.3726% | 0.3726%
[5 empty] | n: | 9 | 9
Comment: | The content of | Fluconazole |  | in the sample as a percentage of the stated label claim is |  | 10315%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Fluconazole
Code: | F1-9
% age Purity: | 99.58
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.58
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 7672202 | 8000582.7174 | 9571278 | 8246801.3016
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 7662352 | 7990311.124 | 9571529 | 8247017.5682 |  | 3.726%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 7672639 | 8001038.4216 | 9559651 | 8236783.2498
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 7669064.3333 | 7997310.7543 | 9567486 | 8243534.0399
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 10.7 |  | 12.95
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 10.7 |  | 12.95
Standard Dilution Factor | 50 | Purity correction: | 10.6551 |  | 12.8956
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.2131 |  | 0.25791
|  | Desired Concentration (mg/mL): | 0.22222
|  | Desired Weight as free base (mg): | 11.1111
|  | Desired Weight as salt (mg): | 11.1111
|  | Average Normalised Peak Area: | 8120422.3971
|  | RSD: | 1.662%
|  | n: | 6
Medium Volume (mL): | 900 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 7864974 | 193.7085 | 96.8542
1st Dilution Sample Final Volume (mL): | 1 | 2 | 7637733 | 188.1117 | 94.0559
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 7708569 | 189.8564 | 94.9282
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 7664363 | 188.7676 | 94.3838
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 8027039 | 197.7 | 98.85
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 7791913 | 191.9091 | 95.9545
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 191.6755 | 95.8378
Sample Dilution Factor | 900 |  | RSD: | 1.88% | 1.88%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 188.1117 | 94.0559
|  |  | Maximum: | 197.7 | 98.85
Comment: | The amount of | Fluconazole |  | dissolved as a percentage of the stated label claim is |  | 95.8378
| Range: | Minimum | 94.0559 | Maximum | 98.85
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0