## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | LAMIVUDINE 150MG & ZIDOVUDINE 300MG
Laboratory Ref No: |  | NDQB201612276
Active Ingredient: |  | LAMIVUDINE & ZIDOVUDINE
Label Claim: |  | LAMIVUDINE 150mg & ZIDOVUDINE 300mg
Date Analysis Started: |  | 2016-12-15 09:27:38
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 765.52 | -0.2607%
|  | 769.75 | 0.2904%
|  | 770.19 | 0.3477%
|  | 768.96 | 0.1875%
|  | 776.99 | 1.234%
|  | 768.26 | 0.09628%
|  | 768.65 | 0.1471%
|  | 765.06 | -0.3206%
|  | 761.36 | -0.8027%
|  | 772.6 | 0.6617%
|  | 769.99 | 0.3217%
|  | 767.37 | -0.01967%
|  | 773.27 | 0.749%
|  | 770.27 | 0.3582%
|  | 761.9 | -0.7324%
|  | 763.13 | -0.5721%
|  | 765.87 | -0.2151%
|  | 765.16 | -0.3076%
|  | 765.95 | -0.2047%
|  | 760.17 | -0.9578%
| Total | 15350.42
| Average | 767.521
| Average | % Deviation from mean
| 767.521 | -5% | 729.1449
|  | 5% | 805.8971
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## SST Lam
HPLC System Suitability Report
Analysis Data | Assay & Dissolution
Sample(s) | LAMIVUDINE, NEVIRAPINE & ZIDOVUDINE TABS
Reference Substance: | Lamivudine
% age Purity: | 99.8
Weight (mg): | 9.43
Standard Conc (mg/mL): | 0.15088
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 1696955 | 7513 | 1.18 | 2.95
2 | 1690481 | 7544 | 1.18 | 2.95
3 | 1693205 | 7544 | 1.18 | 2.95
4 | 1691056 | 7551 | 1.17 | 2.95
5 | 1700352 | 7457 | 1.17 | 2.95
6 | 1703083 | 7506 | 1.17 | 2.95
Averages: | 1695855.3333 | 7519.1667 | 1.175 | 2.95
RSD: | 0.3037%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by: | Bugigi |  |  | 2016-12-19
Reviewed By: | S. Mwangi |  |  | 2017-03-23

## SST Zid
HPLC System Suitability Report
Analysis Data | Assay & Dissolution
Sample(s) | LAMIVUDINE, NEVIRAPINE & ZIDOVUDINE TABS
Reference Substance: | Zidovudine
% age Purity: | 99
Weight (mg): | 14.85
Standard Conc (mg/mL): | 0.2376
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 2362231 | 8066 | 1.13 | 4.23
2 | 2362827 | 8032 | 1.13 | 4.23
3 | 2355768 | 8096 | 1.13 | 4.23
4 | 2353370 | 8124 | 1.12 | 4.23
5 | 2355817 | 8112 | 1.12 | 4.23
6 | 2359169 | 8144 | 1.12 | 4.24
Averages: | 2358197 | 8095.6667 | 1.125 | 4.2317
RSD: | 0.1626%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by: | Bugigi |  |  | 2016-12-19
Reviewed By: | S. Mwangi |  |  | 2017-03-23

## Lamivudine
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | LAMIVUDINE 150 MG & ZIDOVUDINE 300 MG TABLETS
Laboratory Ref No: | NDQB201612276 | 1
Active Ingredient: | LAMIVUDINE
Label Claim: | Each film coated tablet contains: Lamivudine USP 150 mg , Nevirapine 200mg and Zidovudine USP 300 mg.
Date Analysis Started: | 2016-12-15
Date Analysis Completed: | 2016-12-19
Analysis Data
Reference Substance: | Lamivudine
Code: | L42 3
% age Purity: | 99.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 10 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 |  | - | 1459220 | 1679853.2727
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 1694101 | 1687595.4321 | 1459220 | 1679853.2727 |  | 0.395%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 1692866 | 1686365.1747 | 1457726 | 1678133.3807
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 1693483.5 | 1686980.3034 | 1458722 | 1679279.9754
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 9.43 |  | 8.16
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 9.43 |  | 8.16
Standard Dilution Factor | 62.5 | Purity correction (mg): | 9.4111 |  | 8.1437
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.15058 |  | 0.1303
|  | Desired Concentration (mg/mL): | 0.15
|  | Desired Weight as free base (mg): | 9.375
|  | Desired Weight as salt (mg): | 9.375
|  | Average Normalised Response: | 1682360.1066
|  | RSD: | 0.2555%
|  | n: | 5
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains: Lamivudine USP 150 mg , Nevirapine 200mg and Zidovudine USP 300 mg.
Each Tablet contains | 150 | LAMIVUDINE
Average Tablet Content Weight (mg): | 767.521
Initial Sample dilution Volume (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 5 | Assay Smp A | 765.92 | 1 | 1697275 | 151.6461 | 101.0974
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 1689930 | 150.9899 | 100.6599
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 1677048 | 149.8389 | 99.8926
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 767.38 | 1 | 1645246 | 146.7178 | 97.8119
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 1645377 | 146.7295 | 97.8197
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 1650871 | 147.2195 | 98.1463
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1000 | Assay Smp C | 767.28 | 1 |  | - | -
Desired Sample Weight (mg): | 767.521 |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 1609594 | 143.5572 | 95.7048
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 148.0999 | 98.7332
[5 empty] | RSD: | 1.933% | 1.933%
[5 empty] | n: | 7 | 7
Comment: | The content of | Lamivudine |  | in the sample as a percentage of the stated label claim is |  | 9873%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Lamivudine
Code: | L42 3
% age Purity: | 99.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 10 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 |  | - | 1459220 | 1866503.6364
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 1694101 | 1875106.0357 | 1459220 | 1866503.6364 |  | 0.395%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 1692866 | 1873739.083 | 1457726 | 1864592.6453
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 1693483.5 | 1874422.5593 | 1458722 | 1865866.6393
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 9.43 |  | 8.16
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 9.43 |  | 8.16
Standard Dilution Factor | 62.5 | Purity correction: | 9.4111 |  | 8.1437
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.15058 |  | 0.1303
|  | Desired Concentration (mg/mL): | 0.16667
|  | Desired Weight as free base (mg): | 10.4167
|  | Desired Weight as salt (mg): | 10.4167
|  | Average Normalised Peak Area: | 1869289.0073
|  | RSD: | 0.2555%
|  | n: | 5
Medium Volume (mL): | 900 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 1840886 | 147.7208 | 98.4805
1st Dilution Sample Final Volume (mL): | 1 | 2 | 1847468 | 148.249 | 98.8327
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 1864147 | 149.5874 | 99.7249
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 1852027 | 148.6148 | 99.0765
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 1850427 | 148.4864 | 98.991
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 1847123 | 148.2213 | 98.8142
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 148.48 | 98.9866
Sample Dilution Factor | 900 |  | RSD: | 0.4196% | 0.4196%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 147.7208 | 98.4805
|  |  | Maximum: | 149.5874 | 99.7249
Comment: | The amount of | Lamivudine |  | dissolved as a percentage of the stated label claim is |  | 98.9866
| Range: | Minimum | 98.4805 | Maximum | 99.7249
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Zidovudine
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | LAMIVUDINE 150 MG & ZIDOVUDINE 300 MG TABLETS
Laboratory Ref No: | NDQB201612276 | 1
Active Ingredient: | LAMIVUDINE & ZIDOVUDINE
Label Claim: | Each film coated tablet contains: Lamivudine USP 150 mg and Zidovudine USP 300 mg.
Date Analysis Started: | 2016-12-15 11:25:05
Date Analysis Completed:
Analysis Data
Reference Substance: | Zidovudine
Code: | USP
% age Purity: | 99
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 10 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 |  | - | 2287803 | 3011091.1934
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 2356464 | 3005387.2054 | 2286533 | 3009419.6833 |  | 0.1194%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 2357115 | 3006217.4778 | 2285463 | 3008011.4031
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 2356789.5 | 3005802.3416 | 2286599.6667 | 3009507.4266
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 14.85 |  | 14.39
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 14.85 |  | 14.39
Standard Dilution Factor | 62.5 | Purity correction (mg): | 14.7015 |  | 14.2461
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.23522 |  | 0.22794
|  | Desired Concentration (mg/mL): | 0.3
|  | Desired Weight as free base (mg): | 18.75
|  | Desired Weight as salt (mg): | 18.75
|  | Average Normalised Response: | 3008025.3926
|  | RSD: | 0.0772%
|  | n: | 5
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains: Lamivudine USP 150 mg and Zidovudine USP 300 mg.
Each Tablet contains | 300 | LAMIVUDINE & ZIDOVUDINE
Average Tablet Content Weight (mg): | 767.521
Initial Sample dilution Volume (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 5 | Assay Smp A | 765.92 | 1 | 3035702 | 303.3931 | 101.131
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 3024465 | 302.2701 | 100.7567
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 3001878 | 300.0127 | 100.0042
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 767.38 | 1 | 2963614 | 295.625 | 98.5417
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 2964613 | 295.7247 | 98.5749
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 2974871 | 296.7479 | 98.916
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1000 | Assay Smp C | 767.28 | 1 |  | - | -
Desired Sample Weight (mg): | 767.521 |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 2884936 | 287.8143 | 95.9381
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 297.3697 | 99.1232
[5 empty] | RSD: | 1.762% | 1.762%
[5 empty] | n: | 7 | 7
Comment: | The content of | Zidovudine |  | in the sample as a percentage of the stated label claim is |  | 9912%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Zidovudine
Code: | USP
% age Purity: | 99
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 10 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 |  | - | 2287803 | 3345656.8815
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 2356464 | 3339319.1171 | 2286533 | 3343799.6481 |  | 0.1194%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 2357115 | 3340241.642 | 2285463 | 3342234.8924
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 2356789.5 | 3339780.3796 | 2286599.6667 | 3343897.1407
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 14.85 |  | 14.39
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 14.85 |  | 14.39
Standard Dilution Factor | 62.5 | Purity correction: | 14.7015 |  | 14.2461
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.23522 |  | 0.22794
|  | Desired Concentration (mg/mL): | 0.33333
|  | Desired Weight as free base (mg): | 20.8333
|  | Desired Weight as salt (mg): | 20.8333
|  | Average Normalised Peak Area: | 3342250.4362
|  | RSD: | 0.0772%
|  | n: | 5
Medium Volume (mL): | 900 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 3297392 | 295.9735 | 98.6578
1st Dilution Sample Final Volume (mL): | 1 | 2 | 3309736 | 297.0815 | 99.0272
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 3335470 | 299.3914 | 99.7971
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 3316241 | 297.6654 | 99.2218
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 3315337 | 297.5843 | 99.1948
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 3308569 | 296.9768 | 98.9923
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 297.4455 | 99.1485
Sample Dilution Factor | 900 |  | RSD: | 0.3796% | 0.3796%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 295.9735 | 98.6578
|  |  | Maximum: | 299.3914 | 99.7971
Comment: | The amount of | Zidovudine |  | dissolved as a percentage of the stated label claim is |  | 99.1485
| Range: | Minimum | 98.6578 | Maximum | 99.7971
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0