## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | LAMIVUDINE 150MG & ZIDOVUDINE 300MG TABLETS
Laboratory Ref No: |  | NDQB201612277
Active Ingredient: |  | LAMIVUDINE & ZIDOVUDINE
Label Claim: |  | LAMIVUDINE 150mg & ZIDOVUDINE 300mg
Date Analysis Started: |  | 2016-12-15 09:55:23
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 737.45 | -0.06092%
|  | 740.87 | 0.4026%
|  | 738.43 | 0.07189%
|  | 729.07 | -1.197%
|  | 740.47 | 0.3484%
|  | 742.81 | 0.6655%
|  | 729.99 | -1.072%
|  | 747.35 | 1.281%
|  | 735.47 | -0.3292%
|  | 742.41 | 0.6113%
|  | 733.06 | -0.6558%
|  | 737.85 | -0.006708%
|  | 748.75 | 1.47%
|  | 741.31 | 0.4622%
|  | 743.93 | 0.8173%
|  | 731.57 | -0.8578%
|  | 732.08 | -0.7887%
|  | 735.65 | -0.3049%
|  | 737.28 | -0.08395%
|  | 732.19 | -0.7738%
| Total | 14757.99
| Average | 737.8995
| Average | % Deviation from mean
| 737.8995 | -5% | 701.0045
|  | 5% | 774.7945
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## SST Lam
HPLC System Suitability Report
Analysis Data | Assay & Dissolution
Sample(s) | LAMIVUDINE, NEVIRAPINE & ZIDOVUDINE TABS
Reference Substance: | Lamivudine
% age Purity: | 99.8
Weight (mg): | 9.43
Standard Conc (mg/mL): | 0.15088
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 1696955 | 7513 | 1.18 | 2.95
2 | 1690481 | 7544 | 1.18 | 2.95
3 | 1693205 | 7544 | 1.18 | 2.95
4 | 1691056 | 7551 | 1.17 | 2.95
5 | 1700352 | 7457 | 1.17 | 2.95
6 | 1703083 | 7506 | 1.17 | 2.95
Averages: | 1695855.3333 | 7519.1667 | 1.175 | 2.95
RSD: | 0.3037%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by: | Bugigi |  |  | 2016-12-19
Reviewed By: | S. Mwangi |  |  | 2017-03-23

## SST Zid
HPLC System Suitability Report
Analysis Data | Assay & Dissolution
Sample(s) | LAMIVUDINE, NEVIRAPINE & ZIDOVUDINE TABS
Reference Substance: | Zidovudine
% age Purity: | 99
Weight (mg): | 14.85
Standard Conc (mg/mL): | 0.2376
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 2362231 | 8066 | 1.13 | 4.23
2 | 2362827 | 8032 | 1.13 | 4.23
3 | 2355768 | 8096 | 1.13 | 4.23
4 | 2353370 | 8124 | 1.12 | 4.23
5 | 2355817 | 8112 | 1.12 | 4.23
6 | 2359169 | 8144 | 1.12 | 4.24
Averages: | 2358197 | 8095.6667 | 1.125 | 4.2317
RSD: | 0.1626%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by: | Bugigi |  |  | 2016-12-19
Reviewed By: | S. Mwangi |  |  | 2017-03-23

## Lamivudine
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | LAMIVUDINE 150 MG & ZIDOVUDINE 300 MG TABLETS
Laboratory Ref No: | NDQB201612277 | 1
Active Ingredient: | LAMIVUDINE
Label Claim: | Each film coated tablet contains: Lamivudine USP 150 mg , Nevirapine 200mg and Zidovudine USP 300 mg.
Date Analysis Started: | 2016-12-15
Date Analysis Completed: | 2016-12-19
Analysis Data
Reference Substance: | Lamivudine
Code: | L42 3
% age Purity: | 99.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 10 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 |  | - | 1459220 | 1679853.2727
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 1694101 | 1687595.4321 | 1459220 | 1679853.2727 |  | 0.395%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 1692866 | 1686365.1747 | 1457726 | 1678133.3807
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 1693483.5 | 1686980.3034 | 1458722 | 1679279.9754
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 9.43 |  | 8.16
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 9.43 |  | 8.16
Standard Dilution Factor | 62.5 | Purity correction (mg): | 9.4111 |  | 8.1437
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.15058 |  | 0.1303
|  | Desired Concentration (mg/mL): | 0.15
|  | Desired Weight as free base (mg): | 9.375
|  | Desired Weight as salt (mg): | 9.375
|  | Average Normalised Response: | 1682360.1066
|  | RSD: | 0.2555%
|  | n: | 5
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains: Lamivudine USP 150 mg , Nevirapine 200mg and Zidovudine USP 300 mg.
Each Tablet contains | 150 | LAMIVUDINE
Average Tablet Content Weight (mg): | 737.8995
Initial Sample dilution Volume (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 5 | Assay Smp A | 737.87 | 1 | 1618908 | 144.3484 | 96.2322
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 1611437 | 143.6822 | 95.7881
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 1622604 | 144.6779 | 96.4519
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 742.36 | 1 | 1637654 | 145.1367 | 96.7578
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 1639567 | 145.3062 | 96.8708
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 1638670 | 145.2267 | 96.8178
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1000 | Assay Smp C | 732.19 | 1 | 1608090 | 144.4961 | 96.3307
Desired Sample Weight (mg): | 737.8995 |  |  | 2 | 1625064 | 146.0213 | 97.3475
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 1610854 | 144.7444 | 96.4963
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 144.8489 | 96.5659
[5 empty] | RSD: | 0.4622% | 0.4622%
[5 empty] | n: | 9 | 9
Comment: | The content of | Lamivudine |  | in the sample as a percentage of the stated label claim is |  | 9657%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Lamivudine
Code: | L42 3
% age Purity: | 99.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 10 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 |  | - | 1459220 | 1866503.6364
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 1694101 | 1875106.0357 | 1459220 | 1866503.6364 |  | 0.395%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 1692866 | 1873739.083 | 1457726 | 1864592.6453
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 1693483.5 | 1874422.5593 | 1458722 | 1865866.6393
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 9.43 |  | 8.16
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 9.43 |  | 8.16
Standard Dilution Factor | 62.5 | Purity correction: | 9.4111 |  | 8.1437
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.15058 |  | 0.1303
|  | Desired Concentration (mg/mL): | 0.16667
|  | Desired Weight as free base (mg): | 10.4167
|  | Desired Weight as salt (mg): | 10.4167
|  | Average Normalised Peak Area: | 1869289.0073
|  | RSD: | 0.2555%
|  | n: | 5
Medium Volume (mL): | 900 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 1784108 | 143.1647 | 95.4431
1st Dilution Sample Final Volume (mL): | 1 | 2 | 1777595 | 142.6421 | 95.0947
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 1826985 | 146.6053 | 97.7369
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 1793374 | 143.9082 | 95.9388
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 1783748 | 143.1358 | 95.4239
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 1779033 | 142.7575 | 95.1716
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 143.7023 | 95.8015
Sample Dilution Factor | 900 |  | RSD: | 1.037% | 1.037%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 142.6421 | 95.0947
|  |  | Maximum: | 146.6053 | 97.7369
Comment: | The amount of | Lamivudine |  | dissolved as a percentage of the stated label claim is |  | 95.8015
| Range: | Minimum | 95.0947 | Maximum | 97.7369
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Zidovudine
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | LAMIVUDINE 150 MG & ZIDOVUDINE 300 MG TABLETS
Laboratory Ref No: | NDQB201612277 | 1
Active Ingredient: | LAMIVUDINE & ZIDOVUDINE
Label Claim: | Each film coated tablet contains: Lamivudine USP 150 mg and Zidovudine USP 300 mg.
Date Analysis Started: | 2016-12-15 11:25:05
Date Analysis Completed:
Analysis Data
Reference Substance: | Zidovudine
Code: | USP
% age Purity: | 99
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 10 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 |  | - | 2287803 | 3011091.1934
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 2356464 | 3005387.2054 | 2286533 | 3009419.6833 |  | 0.1194%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 2357115 | 3006217.4778 | 2285463 | 3008011.4031
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 2356789.5 | 3005802.3416 | 2286599.6667 | 3009507.4266
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 14.85 |  | 14.39
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 14.85 |  | 14.39
Standard Dilution Factor | 62.5 | Purity correction (mg): | 14.7015 |  | 14.2461
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.23522 |  | 0.22794
|  | Desired Concentration (mg/mL): | 0.3
|  | Desired Weight as free base (mg): | 18.75
|  | Desired Weight as salt (mg): | 18.75
|  | Average Normalised Response: | 3008025.3926
|  | RSD: | 0.0772%
|  | n: | 5
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains: Lamivudine USP 150 mg and Zidovudine USP 300 mg.
Each Tablet contains | 300 | LAMIVUDINE & ZIDOVUDINE
Average Tablet Content Weight (mg): | 737.8995
Initial Sample dilution Volume (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 5 | Assay Smp A | 737.87 | 1 | 2913641 | 290.5984 | 96.8661
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 2901092 | 289.3468 | 96.4489
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 2919174 | 291.1502 | 97.0501
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 742.36 | 1 | 2955611 | 293.0014 | 97.6671
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 2958096 | 293.2477 | 97.7492
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 2957519 | 293.1905 | 97.7302
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1000 | Assay Smp C | 732.19 | 1 | 2897757 | 291.2562 | 97.0854
Desired Sample Weight (mg): | 737.8995 |  |  | 2 | 2927671 | 294.2629 | 98.0876
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 2902857 | 291.7688 | 97.2563
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 291.9803 | 97.3268
[5 empty] | RSD: | 0.5337% | 0.5337%
[5 empty] | n: | 9 | 9
Comment: | The content of | Zidovudine |  | in the sample as a percentage of the stated label claim is |  | 9733%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Zidovudine
Code: | USP
% age Purity: | 99
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 10 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 |  | - | 2287803 | 3345656.8815
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 2356464 | 3339319.1171 | 2286533 | 3343799.6481 |  | 0.1194%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 2357115 | 3340241.642 | 2285463 | 3342234.8924
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 2356789.5 | 3339780.3796 | 2286599.6667 | 3343897.1407
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 14.85 |  | 14.39
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 14.85 |  | 14.39
Standard Dilution Factor | 62.5 | Purity correction: | 14.7015 |  | 14.2461
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.23522 |  | 0.22794
|  | Desired Concentration (mg/mL): | 0.33333
|  | Desired Weight as free base (mg): | 20.8333
|  | Desired Weight as salt (mg): | 20.8333
|  | Average Normalised Peak Area: | 3342250.4362
|  | RSD: | 0.0772%
|  | n: | 5
Medium Volume (mL): | 900 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 3200436 | 287.2708 | 95.7569
1st Dilution Sample Final Volume (mL): | 1 | 2 | 3198028 | 287.0546 | 95.6849
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 3256648 | 292.3163 | 97.4388
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 3210246 | 288.1513 | 96.0504
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 3197940 | 287.0467 | 95.6822
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 3191225 | 286.444 | 95.4813
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 288.0473 | 96.0158
Sample Dilution Factor | 900 |  | RSD: | 0.751% | 0.751%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 286.444 | 95.4813
|  |  | Maximum: | 292.3163 | 97.4388
Comment: | The amount of | Zidovudine |  | dissolved as a percentage of the stated label claim is |  | 96.0158
| Range: | Minimum | 95.4813 | Maximum | 97.4388
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0