## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | LOPINAVIR / RITONAVIR TABLETS 200 MG / 50 MG
Laboratory Ref No: |  | NDQB201612300r1
Active Ingredient: |  | Lopinavir USP 200 mg Ritonavir USP 50 mg
Label Claim: |  | Each film coated tablets contains lopinavir USP 200 mg ritonavir USP 50 mg
Date Analysis Started: |  | 2016-12-15 10:45:55
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 1259.1 | 0.1685%
|  | 1266.74 | 0.7763%
|  | 1242.09 | -1.185%
|  | 1241.63 | -1.221%
|  | 1270.97 | 1.113%
|  | 1248.96 | -0.6382%
|  | 1261.02 | 0.3213%
|  | 1248.07 | -0.709%
|  | 1263.85 | 0.5464%
|  | 1255.86 | -0.08922%
|  | 1264.33 | 0.5846%
|  | 1260.95 | 0.3157%
|  | 1253.32 | -0.2913%
|  | 1258.43 | 0.1152%
|  | 1261.45 | 0.3555%
|  | 1276.57 | 1.558%
|  | 1242.04 | -1.189%
|  | 1269.9 | 1.028%
|  | 1250.44 | -0.5204%
|  | 1243.91 | -1.04%
| Total | 25139.63
| Average | 1256.9815
| Average | % Deviation from mean
| 1256.9815 | -5% | 1194.1324
|  | 5% | 1319.8306
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | LOPINAVIR/ RITONAVIR 200 MG/50 MG TABLETS
Reference Substance: | LOPINAVIR
% age Purity: | 99.8
Weight (mg): | 18.02
Standard Conc (mg/mL): | 0.901
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 53706861 | 3728.77 | 0.85 | 5.57
2 | 53910884 | 3712.96 | 0.84 | 5.58
3 | 53911233 | 3680.94 | 0.85 | 5.58
4 | 53921585 | 3687.73 | 0.84 | 5.58
5 | 53913907 | 3702.09 | 0.84 | 5.58
6 | 53848158 | 3718.53 | 0.85 | 5.58
Averages: | 53868771.3333 | 3705.17 | 0.845 | 5.5783
RSD: | 0.1554%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data
Reference Substance: | RITONAVIR
% age Purity: | 99.4
Weight (mg): | 11.16
Standard Conc (mg/mL): | 0.2232
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 12884223 | 5225.71 | 0.95 | 7.41
2 | 12919354 | 5215.75 | 0.94 | 7.42
3 | 12906755 | 5234.66 | 0.95 | 7.41
4 | 12908685 | 5245.42 | 0.94 | 7.41
5 | 12886016 | 5257.3 | 0.94 | 7.42
6 | 12893026 | 5264.49 | 0.94 | 7.41
Averages: | 12899676.5 | 5240.555 | 0.94333 | 7.4133
RSD: | 0.109%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Lopinavir
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | LOPINAVIR / RITONAVIR TABLETS 200 MG / 50 MG
Laboratory Ref No: | NDQB201612300r1 | 1
Active Ingredient: | Lopinavir USP 200 mg
Label Claim: | Each film coated tablets contains lopinavir USP 200 mg ritonavir USP 50 mg
Date Analysis Started: | 2016-12-15 10:45:55
Date Analysis Completed:
Analysis Data
Reference Substance: | LOPINAVIR
Code: | L20 2
% age Purity: | 99.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 20 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 53938581 | 59819230.0484 | 61213478 | 61428292.7397
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 53798934 | 59664358.0465 | 61269212 | 61484222.3255 |  | 3.173%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 53826910 | 59695384.1274 | 61195359 | 61410110.1552
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 53854808.3333 | 59726324.0741 | 61226016.3333 | 61440875.0735
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 18.07 |  | 19.97
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 18.07 |  | 19.97
Standard Dilution Factor | 20 | Purity correction (mg): | 18.0339 |  | 19.9301
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.90169 |  | 0.9965
|  | Desired Concentration (mg/mL): | 1
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 20
|  | Average Normalised Response: | 60583599.5738
|  | RSD: | 1.553%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablets contains lopinavir USP 200 mg ritonavir USP 50 mg
Each Tablet contains | 200 | Lopinavir USP 200 mg
Average Tablet Content Weight (mg): | 1256.9815
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 1 | Assay Smp A | 1264.06 | 1 | 61476428 | 201.811 | 100.9055
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 61401265 | 201.5642 | 100.7821
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 61313886 | 201.2774 | 100.6387
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1242.14 | 1 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 61980841 | 207.0574 | 103.5287
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 200 | Assay Smp C | 1250.58 | 1 | 62215575 | 206.4389 | 103.2194
Desired Sample Weight (mg): | 1256.9815 |  |  | 2 | 62580216 | 207.6488 | 103.8244
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 62472014 | 207.2898 | 103.6449
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 204.7268 | 102.3634
[5 empty] | RSD: | 1.464% | 1.464%
[5 empty] | n: | 7 | 7
Comment: | The content of | LOPINAVIR |  | in the sample as a percentage of the stated label claim is |  | 10236%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | LOPINAVIR
Code: | L20 2
% age Purity: | 99.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 20 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 2 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 10 | 1 | 11120674 | 13703449.4495 | 12530862 | 13972040.2247
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 11119964 | 13702574.552 | 12551316 | 13994846.6454 |  | 2.168%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 11122020 | 13705108.0578 | 12511759 | 13950740.1829
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 11120886 | 13703710.6865 | 12531312.3333 | 13972542.351
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 18.07 |  | 19.97
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 18.07 |  | 19.97
Standard Dilution Factor | 100 | Purity correction: | 18.0339 |  | 19.9301
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.18034 |  | 0.1993
|  | Desired Concentration (mg/mL): | 0.22222
|  | Desired Weight as free base (mg): | 22.2222
|  | Desired Weight as salt (mg): | 22.2222
|  | Average Normalised Peak Area: | 13838126.5187
|  | RSD: | 1.069%
|  | n: | 6
Medium Volume (mL): | 900 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 13813153 | 199.6391 | 99.8195
1st Dilution Sample Final Volume (mL): | 1 | 2 | 13191795 | 190.6587 | 95.3293
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 13309663 | 192.3622 | 96.1811
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 13133032 | 189.8094 | 94.9047
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 13784110 | 199.2193 | 99.6097
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 13742247 | 198.6143 | 99.3071
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 195.0505 | 97.5252
Sample Dilution Factor | 900 |  | RSD: | 2.351% | 2.351%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 189.8094 | 94.9047
|  |  | Maximum: | 199.6391 | 99.8195
Comment: | The amount of | LOPINAVIR |  | dissolved as a percentage of the stated label claim is |  | 97.5252
| Range: | Minimum | 94.9047 | Maximum | 99.8195
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Ritonavir
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | LOPINAVIR / RITONAVIR TABLETS 200 MG / 50 MG
Laboratory Ref No: | NDQB201612300r1 | 1
Active Ingredient: | Ritonavir USP 50 mg
Label Claim: | Each film coated tablets contains lopinavir USP 200 mg ritonavir USP 50 mg
Date Analysis Started: | 2016-12-15 10:45:55
Date Analysis Completed:
Analysis Data
Reference Substance: | RITONAVIR
Code: | R14 2
% age Purity: | 99.4
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.4
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 20 | 1 | 12913622 | 14551491.2954 | 14077581 | 14276770.502
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 12898951 | 14534959.5332 | 14099261 | 14298757.2613 |  | 2.067%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 12964544 | 14608871.8692 | 14107408 | 14307019.5366
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 12925705.6667 | 14565107.5659 | 14094750 | 14294182.4333
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 11.16 |  | 12.4
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 11.16 |  | 12.4
Standard Dilution Factor | 50 | Purity correction (mg): | 11.093 |  | 12.3256
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.22186 |  | 0.24651
|  | Desired Concentration (mg/mL): | 0.25
|  | Desired Weight as free base (mg): | 12.5
|  | Desired Weight as salt (mg): | 12.5
|  | Average Normalised Response: | 14429644.9996
|  | RSD: | 1.045%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablets contains lopinavir USP 200 mg ritonavir USP 50 mg
Each Tablet contains | 50 | Ritonavir USP 50 mg
Average Tablet Content Weight (mg): | 1256.9815
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 1 | Assay Smp A | 1264.06 | 1 | 15327673 | 52.8143 | 105.6287
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 15230670 | 52.4801 | 104.9602
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 15220567 | 52.4453 | 104.8906
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1242.14 | 1 |  | #VALUE! | #VALUE!
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 15283063 | 53.5899 | 107.1798
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 200 | Assay Smp C | 1250.58 | 1 | 15214960 | 52.9911 | 105.9821
Desired Sample Weight (mg): | 1256.9815 |  |  | 2 | 15203862 | 52.9524 | 105.9048
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 15258670 | 53.1433 | 106.2866
|  |  |  | 4 |  | - | -
[5 empty] | Average: | #VALUE! | #VALUE!
[5 empty] | RSD: | #VALUE! | #VALUE!
[5 empty] | n: | 7 | 7
Comment: | The content of | RITONAVIR |  | in the sample as a percentage of the stated label claim is |  | #VALUE!
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | RITONAVIR
Code: | R14 2
% age Purity: | 99.4
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.4
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 20 | 1 | 2687177 | 3364443.1804 | 2901093 | 3269046.4021
2nd Dilution Standard Transfer Volume (mL): | 2 | 2 | 2683142 | 3359391.2139 | 2899312 | 3267039.5131 |  | 2.999%
2nd Dilution Standard Final Volume (mL): | 10 | 3 | 2679040 | 3354255.3609 | 2901893 | 3269947.8682
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 2683119.6667 | 3359363.2517 | 2900766 | 3268677.9278
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 11.16 |  | 12.4
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 11.16 |  | 12.4
Standard Dilution Factor | 250 | Purity correction: | 11.093 |  | 12.3256
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.044372 |  | 0.049302
|  | Desired Concentration (mg/mL): | 0.055556
|  | Desired Weight as free base (mg): | 13.8889
|  | Desired Weight as salt (mg): | 13.8889
|  | Average Normalised Peak Area: | 3314020.5898
|  | RSD: | 1.502%
|  | n: | 6
Medium Volume (mL): | 900 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 3394642 | 51.2164 | 102.4327
1st Dilution Sample Final Volume (mL): | 1 | 2 | 3238538 | 48.8612 | 97.7223
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 3259790 | 49.1818 | 98.3636
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 3221488 | 48.6039 | 97.2078
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 3380058 | 50.9963 | 101.9927
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 3367187 | 50.8021 | 101.6043
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 49.9436 | 99.8872
Sample Dilution Factor | 900 |  | RSD: | 2.371% | 2.371%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 48.6039 | 97.2078
|  |  | Maximum: | 51.2164 | 102.4327
Comment: | The amount of | RITONAVIR |  | dissolved as a percentage of the stated label claim is |  | 99.8872
| Range: | Minimum | 97.2078 | Maximum | 102.4327
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0