## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | LABMOX-250 CAPSULES
% age Purity: | NDQF201803361
Weight (mg): | Amoxicillin Trihydrate BP
Standard Conc (mg/mL): | Each hard gelatin capsule contains amoxicillin Trihydrate BP equivalent to Amoxicillin 250 mg.
2018-03-22 12:00:24
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Amoxicillin
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | LABMOX-250 CAPSULES
Laboratory Ref No: | NDQF201803361 | 1
Active Ingredient: | Amoxicillin Trihydrate BP
Label Claim: | Each capsule contains:Amoxycillin 250mg as Amoxycillin Trihydrate BP
Date Analysis Started: | 2018-03-22 12:00:24
Date Analysis Completed:
Analysis Data
Reference Substance: | AMOXICILLIN TRIHYDRATE
Code: | WS1606019
% age Purity: | 99.95
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.95
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 200 | 1 | 52522362 | 52297607.8007 | 53289728 | 51703244.9506
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 52553125 | 52328239.1594 | 53121237 | 51539770.079 |  | 0.9166%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 52565096 | 52340158.933 | 54057613 | 52448269.3247
3rd Dilution Standard Volume (mL: | 1 | 4 | 52522362 | 52297607.8007 | 53289728 | 51703244.9506
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 52540736.25 | 52315903.4234 | 53439576.5 | 51848632.3262
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 25.12 |  | 25.78
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 25.12 |  | 25.78
Standard Dilution Factor | 1250 | Purity correction (mg): | 25.1074 |  | 25.7671
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.020086 |  | 0.020614
|  | Desired Concentration (mg/mL): | 0.02
|  | Desired Weight as free base (mg): | 25
|  | Desired Weight as salt (mg): | 25
|  | Average Normalised Response: | 52082267.8748
|  | RSD: | 0.7018%
|  | n: | 8
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each capsule contains:Amoxycillin 250mg as Amoxycillin Trihydrate BP
Each Tablet/Capsule contains | 250 | Amoxicillin Trihydrate BP
Average Tablet/Capsule Content Weight (mg): | 1
Initial Sample dilution Volume (mL): | 1 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 1 | Assay Smp A |  | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B |  | 1 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1 | Assay Smp C |  | 1 |  | - | -
Desired Sample Weight (mg): | 8e-05 |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | - | -
|  |  |  | 4 |  | - | -
[5 empty] | Average: | #DIV/0! | #DIV/0!
[5 empty] | RSD: | #DIV/0! | #DIV/0!
[5 empty] | n: | 0 | 0
Comment: | The content of | AMOXICILLIN TRIHYDRATE |  | in the sample as a percentage of the stated label claim is |  | #DIV/0!
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | AMOXICILLIN TRIHYDRATE
Code: | WS1606019
% age Purity: | 99.95
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.95
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 0.402 | 0.38525 | 0.352 | 0.38214
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.402 | 0.38525 | 0.352 | 0.38214 |  | 0.8691%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.403 | 0.38621 | 0.351 | 0.38105
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.40233 | 0.38557 | 0.35167 | 0.38177
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 5.8 |  | 5.12
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 5.8 |  | 5.12
Standard Dilution Factor | 50 | Purity correction: | 5.7971 |  | 5.1174
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.11594 |  | 0.10235
|  | Desired Concentration (mg/mL): | 0.11111
|  | Desired Weight as free base (mg): | 5.5556
|  | Desired Weight as salt (mg): | 5.5556
|  | Average Normalised Peak Area: | 0.38367
|  | RSD: | 0.5591%
|  | n: | 6
Medium Volume (mL): | 900 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 10 | 1 | 0.437 | 284.7487 | 113.8995
1st Dilution Sample Final Volume (mL): | 25 | 2 | 0.425 | 276.9295 | 110.7718
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.416 | 271.0652 | 108.4261
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.425 | 276.9295 | 110.7718
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.427 | 278.2327 | 111.2931
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.417 | 271.7168 | 108.6867
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 276.6037 | 110.6415
Sample Dilution Factor | 2250 |  | RSD: | 1.799% | 1.799%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 271.0652 | 108.4261
|  |  | Maximum: | 284.7487 | 113.8995
Comment: | The amount of | AMOXICILLIN TRIHYDRATE |  | dissolved as a percentage of the stated label claim is |  | 110.6415
| Range: | Minimum | 108.4261 | Maximum | 113.8995
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0