## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | UNIXIL 250 MG
% age Purity: | NDQF201803362
Weight (mg): | Amoxicillin Trihydrate BP
Standard Conc (mg/mL): | Amoxicillin 250 mg
2018-03-22 12:13:31
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Amoxicillin
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | UNIXIL 250 MG
Laboratory Ref No: | NDQF201803362 | 1
Active Ingredient: | Amoxicillin Trihydrate BP
Label Claim: | Each capsule contains:Amoxycillin 250mg as Amoxycillin Trihydrate BP
Date Analysis Started: | 2018-03-22 12:13:31
Date Analysis Completed:
Analysis Data
Reference Substance: | AMOXICILLI TRIHYDRATE
Code: | WS1606019
% age Purity: | 99.95
% Water content: | 1 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.95
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | - |  | #DIV/0!
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 25.12 |  | 25.78
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 25.12 |  | 25.78
Standard Dilution Factor | 1 | Purity correction (mg): | 24.8562 |  | 25.5093
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 24.8562 |  | 25.5093
|  | Desired Concentration (mg/mL): | 0.02
|  | Desired Weight as free base (mg): | 0.02
|  | Desired Weight as salt (mg): | 0.02
|  | Average Normalised Response: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each capsule contains:Amoxycillin 250mg as Amoxycillin Trihydrate BP
Each Tablet/Capsule contains | 250 | Amoxicillin Trihydrate BP
Average Tablet/Capsule Content Weight (mg): | 1
Initial Sample dilution Volume (mL): | 1 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 1 | Assay Smp A |  | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B |  | 1 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1 | Assay Smp C |  | 1 |  | - | -
Desired Sample Weight (mg): | 8e-05 |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | - | -
|  |  |  | 4 |  | - | -
[5 empty] | Average: | #DIV/0! | #DIV/0!
[5 empty] | RSD: | #DIV/0! | #DIV/0!
[5 empty] | n: | 0 | 0
Comment: | The content of | AMOXICILLI TRIHYDRATE |  | in the sample as a percentage of the stated label claim is |  | #DIV/0!
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Amoxicillin trihydrate
Code: | ws16060119
% age Purity: | 99.95
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.95
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 0.312 | 0.33286 | 0.307 | 0.33006
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.315 | 0.33606 | 0.31 | 0.33329 |  | 0.6123%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.315 | 0.33606 | 0.312 | 0.33544
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.314 | 0.33499 | 0.30967 | 0.33293
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 5.21 |  | 5.17
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 5.21 |  | 5.17
Standard Dilution Factor | 50 | Purity correction: | 5.2074 |  | 5.1674
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.10415 |  | 0.10335
|  | Desired Concentration (mg/mL): | 0.11111
|  | Desired Weight as free base (mg): | 5.5556
|  | Desired Weight as salt (mg): | 5.5556
|  | Average Normalised Peak Area: | 0.33396
|  | RSD: | 0.7071%
|  | n: | 6
Medium Volume (mL): | 900 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 4 | 1 | 0.357 | 267.2474 | 106.899
1st Dilution Sample Final Volume (mL): | 10 | 2 | 0.346 | 259.0129 | 103.6052
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.356 | 266.4988 | 106.5995
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.377 | 282.2193 | 112.8877
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.377 | 282.2193 | 112.8877
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.351 | 262.7559 | 105.1023
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 269.9923 | 107.9969
Sample Dilution Factor | 2250 |  | RSD: | 3.673% | 3.673%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 259.0129 | 103.6052
|  |  | Maximum: | 282.2193 | 112.8877
Comment: | The amount of | AMOXICILLI TRIHYDRATE |  | dissolved as a percentage of the stated label claim is |  | 107.9969
| Range: | Minimum | 103.6052 | Maximum | 112.8877
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0