## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE / EFAVIRENZ TABLETS 300 mg/300 mg/600 mg
Laboratory Ref No: |  | NDQB201712280
Active Ingredient: |  | Tenofovir Disoproxil Fumarate 300mg, Lamivudine 300mg & Efavirenz 600mg tablets
Label Claim: |  | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets.
Date Analysis Started: |  | 2017-12-11 11:44:19
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 1911.18 | 0.7973%
|  | 1898.62 | 0.1349%
|  | 1890.76 | -0.2797%
|  | 1904.14 | 0.426%
|  | 1876.65 | -1.024%
|  | 1915.85 | 1.044%
|  | 1906.62 | 0.5568%
|  | 1927.68 | 1.668%
|  | 1923.61 | 1.453%
|  | 1920.95 | 1.313%
|  | 1884.2 | -0.6256%
|  | 1925.49 | 1.552%
|  | 1909.57 | 0.7124%
|  | 1838.26 | -3.049%
|  | 1911.19 | 0.7978%
|  | 1885.67 | -0.5481%
|  | 1865.01 | -1.638%
|  | 1927.3 | 1.647%
|  | 1873.2 | -1.206%
|  | 1825.3 | -3.732%
| Total | 37921.25
| Average | 1896.0625
| Average | % Deviation from mean
| 1896.0625 | -5% | 1801.2594
|  | 5% | 1990.8656
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## SST TDF
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE / EFAVIRENZ TABLETS 300 mg/300 mg/600 mg
Reference Substance: | Tenofovir Disoproxil Fumarate
% age Purity: | 99.54
Weight (mg): | 11.56
Standard Conc (mg/mL): | 0.1156
Injection Number | Peak Areas | Theoretical Plates (USP) | Resolution(USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 11102956 | 64005.35 | 54.41 | 1.06 | 17.83
2 | 11176089 | 66041.4 | 56.08 | 1.07 | 17.86
3 | 11264461 | 64652.45 | 54.33 | 1.05 | 17.87
4 | 11135806 | 65280.23 | 54.41 | 1.06 | 17.87
5 | 11306195 | 65561.29 | 53.36 | 1.05 | 17.89
6 | 11165053 | 65342.3 | 53.33 | 1.06 | 17.87
Averages: | 11191760 | 65147.17 | 54.32 | 1.0583 | 17.865
RSD: | 0.6962%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for Lamivudine,TDF & Efavirenz peaks should be NLT 2000,10000 & 10000.
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Tenofovir Disoproxil Fumarate
% age Purity: | 99.54
Weight (mg): | 14.4
Standard Conc (mg/mL): | 0.288
Injection Number | Peak Areas | Theoretical Plates (USP) | Resolution(USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 3544166 | 30122 | 14.65 | 1.21 | 9.75
2 | 3542021 | 30393 | 14.66 | 1.22 | 9.75
3 | 3543220 | 30291 | 14.65 | 1.17 | 9.75
4 | 3540117 | 30299 | 14.65 | 1.2 | 9.74
5 | 3542278 | 30396 | 14.65 | 1.19 | 9.75
6 | 3538569 | 30587 | 14.64 | 1.19 | 9.74
Averages: | 3541728.5 | 30348 | 14.65 | 1.1967 | 9.7467
RSD: | 0.05805%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for Lamivudine,TDF & Efavirenz peaks should be NLT 2000,10000 & 10000.
The Assymetry of all peaks were below 2.0
| Name |  |  |  | Date | Signature
Analysed by: | RUTTO KENNEDY
Reviewed By:

## SST Lam
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE / EFAVIRENZ TABLETS 300 mg/300 mg/600 mg
Reference Substance: | Lamivudine
% age Purity: | 99.39
Weight (mg): | 12.193
Standard Conc (mg/mL): | 0.1219
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 17611237 | 11672.71 | 1.03 | 5.06
2 | 17389917 | 11036.73 | 1.02 | 4.87
3 | 17363113 | 10566.22 | 1 | 4.97
4 | 17427333 | 10817.29 | 1.02 | 5.01
5 | 17525457 | 10458.23 | 1 | 5.11
6 | 17545248 | 10757.34 | 1.01 | 5.13
Averages: | 17477050.8333 | 10884.7533 | 1.0133 | 5.025
RSD: | 0.5609%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for Lamivudine,TDF & Efavirenz peaks should be NLT 2000,10000 & 10000.
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Lamivudine
% age Purity: | 99.39
Weight (mg): | 15.25
Standard Conc (mg/mL): | 0.305
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 5169558 | 3581 | 1.13 | 5.44
2 | 5168722 | 3599 | 1.12 | 5.45
3 | 5170789 | 3596 | 1.1 | 5.45
4 | 5165324 | 3586 | 1.12 | 5.44
5 | 5166026 | 3589 | 1.1 | 5.45
6 | 5168882 | 3558 | 1.11 | 5.44
Averages: | 5168216.8333 | 3584.8333 | 1.1133 | 5.445
RSD: | 0.04084%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for Lamivudine,TDF & Efavirenz peaks should be NLT 2000,10000 & 10000.
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by: | RUTTO KENNEDY
Reviewed By:

## SST Efv
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE / EFAVIRENZ TABLETS 300 mg/300 mg/600 mg
Reference Substance: | Efavirenz
% age Purity: | 97.21
Weight (mg): | 24.39
Standard Conc (mg/mL): | 0.2439
Injection Number | Peak Areas | Theoretical Plates (USP) | Resolution(USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 5001377 | 860055.38 | 38.9 | 1.11 | 25.47
2 | 4944672 | 864405 | 39.2 | 1.14 | 25.47
3 | 4973860 | 862874.69 | 38.9 | 1.18 | 25.47
4 | 4935679 | 878343.75 | 39.11 | 1.11 | 25.47
5 | 5114699 | 859532.56 | 38.96 | 1.12 | 25.48
6 | 5002806 | 862851.5 | 39.04 | 1.12 | 25.48
Averages: | 4995515.5 | 864677.1467 | 39.0183 | 1.13 | 25.4733
RSD: | 1.295%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for Lamivudine,TDF & Efavirenz peaks should be NLT 2000,10000 & 10000.
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Efavirenz
% age Purity: | 97.21
Weight (mg): | 29.61
Standard Conc (mg/mL): | 0.5922
Injection Number | Peak Areas | Theoretical Plates (USP) | Resolution(USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 2250458 | 12326 | 19.68 | 1.39 | 13.97
2 | 2250597 | 12467 | 19.74 | 1.42 | 13.97
3 | 2249913 | 12397 | 19.69 | 1.43 | 13.96
4 | 2250183 | 12423 | 19.7 | 1.4 | 13.95
5 | 2250310 | 12522 | 19.73 | 1.42 | 13.95
6 | 2248187 | 12547 | 19.72 | 1.41 | 13.95
Averages: | 2249941.3333 | 12447 | 19.71 | 1.4117 | 13.9583
RSD: | 0.0396%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for Lamivudine,TDF & Efavirenz peaks should be NLT 2000,10000 & 10000.
The Assymetry of all peaks were below 2.0
| Name |  |  |  | Date | Signature
Analysed by: | RUTTO KENNEDY
Reviewed By:

## Tenofovir Disoproxil Fumarate
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE / EFAVIRENZ TABLETS 300 mg/300 mg/600 mg
Laboratory Ref No: | NDQB201712280 | 1
Active Ingredient: | Tenofovir Disoproxil Fumarate
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets.
Date Analysis Started: | 2018-01-04
Date Analysis Completed: | 2018-01-08
Analysis Data
Reference Substance: | Tenofovir Disoproxil Fumarate
Code: | T11-8
% age Purity: | 99.54
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.54
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 11446342 | 11936925.7755 | 11724396 | 11710267.5622
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 11250378 | 11732562.8688 | 11905338 | 11890991.5187 |  | 0.9072%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 11529474 | 12023620.7663 | 11795926 | 11781711.3652
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 11408731.3333 | 11897703.1369 | 11808553.3333 | 11794323.4821
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 11.56 |  | 12.07
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 11.56 |  | 12.07
Standard Dilution Factor | 100 | Purity correction (mg): | 11.5068 |  | 12.0145
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.11507 |  | 0.12014
|  | Desired Concentration (mg/mL): | 0.12
|  | Desired Weight as free base (mg): | 12
|  | Desired Weight as salt (mg): | 12
|  | Average Normalised Response: | 11846013.3095
|  | RSD: | 1.049%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets.
Each Tablet contains | 300 | Tenofovir Disoproxil Fumarate
Average Tablet Content Weight (mg): | 1896.0625
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 4 | Assay Smp A | 1903.71 | 1 | 11717348 | 295.5495 | 98.5165
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 11803901 | 297.7326 | 99.2442
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 11657649 | 294.0437 | 98.0146
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1882.2 | 1 | 11811007 | 301.3165 | 100.4388
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 11816039 | 301.4448 | 100.4816
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 11762354 | 300.0752 | 100.0251
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 2500 | Assay Smp C | 1893.5 | 1 |  | - | -
Desired Sample Weight (mg): | 1896.0625 |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | - | -
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 298.3604 | 99.4535
[5 empty] | RSD: | 1.04% | 1.04%
[5 empty] | n: | 6 | 6
Comment: | The content of | Tenofovir Disoproxil Fumarate |  | in the sample as a percentage of the stated label claim is |  | 99.4535
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Tenofovir Disoproxil Fumarate
Code: | T11-8
% age Purity: | 99.54
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.54
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 3531546 | 3695693.9421 | 3871726 | 3702047.821
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 3529970 | 3694044.6889 | 3867545 | 3698050.0531 |  | 0.06435%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 3531489 | 3695634.2927 | 3861001 | 3691792.8435
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 3531001.6667 | 3695124.3079 | 3866757.3333 | 3697296.9059
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 14.4 |  | 15.76
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 14.4 |  | 15.76
Standard Dilution Factor | 50 | Purity correction: | 14.3338 |  | 15.6875
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.28668 |  | 0.31375
|  | Desired Concentration (mg/mL): | 0.3
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Peak Area: | 3696210.6069
|  | RSD: | 0.09547%
|  | n: | 6
Medium Volume (mL): | 1000 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 3326229 | 269.9707 | 89.9902
1st Dilution Sample Final Volume (mL): | 1 | 2 | 3122516 | 253.4365 | 84.4788
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 3310488 | 268.6931 | 89.5644
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 3580530 | 290.6109 | 96.8703
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 3803444 | 308.7035 | 102.9012
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 3312723 | 268.8745 | 89.6248
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 276.7149 | 92.2383
Sample Dilution Factor | 1000 |  | RSD: | 7.099% | 7.099%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 253.4365 | 84.4788
|  |  | Maximum: | 308.7035 | 102.9012
Comment: | The amount of | Tenofovir Disoproxil Fumarate |  | dissolved as a percentage of the stated label claim is |  | 92.2383
| Range: | Minimum | 84.4788 | Maximum | 102.9012
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Lamivudine
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE / EFAVIRENZ TABLETS 300 mg/300 mg/600 mg
Laboratory Ref No: | NDQB201712280 | 1
Active Ingredient: | Lamivudine
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets.
Date Analysis Started: | 2018-01-04
Date Analysis Completed: | 2018-01-08
Analysis Data
Reference Substance: | Lamivudine
Code: | L3-10
% age Purity: | 99.39
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.39
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 17905141 | 17734240.5573 | 16148330 | 17042768.5806
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 17680301 | 17511546.6033 | 16280293 | 17182040.8689 |  | 2.936%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 18029178 | 17857093.6527 | 16313295 | 17216870.8141
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 17871540 | 17700960.2711 | 16247306 | 17147226.7545
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 12.19 |  | 11.44
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 12.19 |  | 11.44
Standard Dilution Factor | 100 | Purity correction (mg): | 12.1156 |  | 11.3702
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.12116 |  | 0.1137
|  | Desired Concentration (mg/mL): | 0.12
|  | Desired Weight as free base (mg): | 12
|  | Desired Weight as salt (mg): | 12
|  | Average Normalised Response: | 17424093.5128
|  | RSD: | 1.883%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets.
Each Tablet contains | 300 | Lamivudine
Average Tablet Content Weight (mg): | 1896.0625
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 4 | Assay Smp A | 1903.71 | 1 | 16534687 | 283.543 | 94.5143
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 16556731 | 283.921 | 94.6403
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 16475351 | 282.5255 | 94.1752
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1882.2 | 1 | 15821510 | 274.4138 | 91.4713
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 15920588 | 276.1322 | 92.0441
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 15772279 | 273.5599 | 91.1866
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 2500 | Assay Smp C | 1893.5 | 1 |  | - | -
Desired Sample Weight (mg): | 1896.0625 |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | - | -
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 279.0159 | 93.0053
[5 empty] | RSD: | 1.727% | 1.727%
[5 empty] | n: | 6 | 6
Comment: | The content of | Lamivudine |  | in the sample as a percentage of the stated label claim is |  | 93.0053
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Lamivudine
Code: | L3-10
% age Purity: | 99.39
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.39
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 5164150 | 5110666.8712 | 4840064 | 5072676.661
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 5165174 | 5111680.266 | 4835980 | 5068396.3846 |  | 0.8299%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 5171815 | 5118252.4877 | 4832450 | 5064696.7334
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 5167046.3333 | 5113533.2083 | 4836164.6667 | 5068589.9263
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 15.25 |  | 14.4
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 15.25 |  | 14.4
Standard Dilution Factor | 50 | Purity correction: | 15.157 |  | 14.3122
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.30314 |  | 0.28624
|  | Desired Concentration (mg/mL): | 0.3
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Peak Area: | 5091061.5673
|  | RSD: | 0.4887%
|  | n: | 6
Medium Volume (mL): | 1000 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 4847680 | 285.6583 | 95.2194
1st Dilution Sample Final Volume (mL): | 1 | 2 | 5056828 | 297.9827 | 99.3276
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 5083337 | 299.5448 | 99.8483
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 5091472 | 300.0242 | 100.0081
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 5267836 | 310.4168 | 103.4723
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 4943877 | 291.3269 | 97.109
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 297.4923 | 99.1641
Sample Dilution Factor | 1000 |  | RSD: | 2.836% | 2.836%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 285.6583 | 95.2194
|  |  | Maximum: | 310.4168 | 103.4723
Comment: | The amount of | Lamivudine |  | dissolved as a percentage of the stated label claim is |  | 99.1641
| Range: | Minimum | 95.2194 | Maximum | 103.4723
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Efavirenz
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE / EFAVIRENZ TABLETS 300 mg/300 mg/600 mg
Laboratory Ref No: | NDQB201712280 | 1
Active Ingredient: | Efavirenz
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets.
Date Analysis Started: | 2018-01-04
Date Analysis Completed: | 2018-01-08
Analysis Data
Reference Substance: | Efavirenz
Code: | E15-6
% age Purity: | 97.21
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 97.21
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 4991970 | 5053129.9264 | 4844654 | 5057453.7416
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 4957915 | 5018657.6961 | 4909518 | 5125166.8703 |  | 1.255%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 5008431 | 5069792.601 | 4937983 | 5154882.1855
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 4986105.3333 | 5047193.4078 | 4897385 | 5112500.9325
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 24.39 |  | 23.65
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 24.39 |  | 23.65
Standard Dilution Factor | 100 | Purity correction (mg): | 23.7095 |  | 22.9902
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.2371 |  | 0.2299
|  | Desired Concentration (mg/mL): | 0.24
|  | Desired Weight as free base (mg): | 24
|  | Desired Weight as salt (mg): | 24
|  | Average Normalised Response: | 5079847.1702
|  | RSD: | 0.9939%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300mg, Lamivudine USP 300 mg & Efavirenz USP 600 mg tablets.
Each Tablet contains | 600 | Efavirenz
Average Tablet Content Weight (mg): | 1896.0625
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 4 | Assay Smp A | 1903.71 | 1 | 4666947 | 549.0164 | 91.5027
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 4711391 | 554.2448 | 92.3741
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 4687516 | 551.4361 | 91.906
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1882.2 | 1 | 4668836 | 555.5154 | 92.5859
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 4664133 | 554.9558 | 92.4926
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 4652828 | 553.6107 | 92.2685
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 2500 | Assay Smp C | 1893.5 | 1 | 4802438 | 568.0018 | 94.667
Desired Sample Weight (mg): | 1896.0625 |  |  | 2 | 4821122 | 570.2116 | 95.0353
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 4836293 | 572.006 | 95.3343
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 558.7776 | 93.1296
[5 empty] | RSD: | 1.566% | 1.566%
[5 empty] | n: | 9 | 9
Comment: | The content of | Efavirenz |  | in the sample as a percentage of the stated label claim is |  | 93.1296
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Efavirenz
Code: | E15-6
% age Purity: | 97.21
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 97.21
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 2250622 | 2345710.7817 | 2299397 | 2364603.2196
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 2249742 | 2344793.6017 | 2294275 | 2359335.9701 |  | 0.6552%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 2253138 | 2348333.0827 | 2295313 | 2360403.4056
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 2251167.3333 | 2346279.1553 | 2296328.3333 | 2361447.5318
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 29.61 |  | 30.01
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 29.61 |  | 30.01
Standard Dilution Factor | 50 | Purity correction: | 28.7839 |  | 29.1727
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.57568 |  | 0.58345
|  | Desired Concentration (mg/mL): | 0.6
|  | Desired Weight as free base (mg): | 30
|  | Desired Weight as salt (mg): | 30
|  | Average Normalised Peak Area: | 2353863.3435
|  | RSD: | 0.3642%
|  | n: | 6
Medium Volume (mL): | 1000 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 2239337 | 570.8072 | 95.1345
1st Dilution Sample Final Volume (mL): | 1 | 2 | 2215435 | 564.7146 | 94.1191
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 2228214 | 567.972 | 94.662
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 2300450 | 586.3849 | 97.7308
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 2244206 | 572.0483 | 95.3414
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 2295108 | 585.0233 | 97.5039
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 574.4917 | 95.7486
Sample Dilution Factor | 1000 |  | RSD: | 1.576% | 1.576%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 564.7146 | 94.1191
|  |  | Maximum: | 586.3849 | 97.7308
Comment: | The amount of | Efavirenz |  | dissolved as a percentage of the stated label claim is |  | 95.7486
| Range: | Minimum | 94.1191 | Maximum | 97.7308
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0