## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | VIREAD(TM) TABLETS
% age Purity: | NDQB201805397
Weight (mg): | Tenofovir Disoproxil Fumarate 300 mg
Standard Conc (mg/mL): | Each tablet contains 300 mg of Tenofovir Disoproxil Fumarate, which is equivalent to 245 mg of Tenofovir Disoproxil.
2018-05-07 09:59:21
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | VIREAD(TM) TABLETS
Laboratory Ref No: |  | NDQB201805397
Active Ingredient: |  | Tenofovir Disoproxil Fumarate 300 mg
Label Claim: |  | Each tablet contains 300 mg of Tenofovir Disoproxil Fumarate, which is equivalent to 245 mg of Tenofovir Disoproxil.
Date Analysis Started: |  | 2018-05-07 09:59:21
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 696.75 | 0.5882%
|  | 704.91 | 1.766%
|  | 682.88 | -1.414%
|  | 694.09 | 0.2042%
|  | 691.36 | -0.1899%
|  | 688.94 | -0.5393%
|  | 685.17 | -1.084%
|  | 690.63 | -0.2953%
|  | 706.22 | 1.955%
|  | 693.07 | 0.05695%
|  | 692.98 | 0.04396%
|  | 686.8 | -0.8482%
|  | 693.4 | 0.1046%
|  | 692.05 | -0.0903%
|  | 689.69 | -0.431%
|  | 689.56 | -0.4498%
|  | 686.57 | -0.8814%
|  | 704.14 | 1.655%
|  | 689.92 | -0.3978%
|  | 694.38 | 0.2461%
| Total | 13853.51
| Average | 692.6755
| Average | % Deviation from mean
| 692.6755 | -5% | 658.0417
|  | 5% | 727.3093
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## tenofovir disoproxyl fumarate 1
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | VIREAD(TM) TABLETS
Laboratory Ref No: | NDQB201805397 | 1
Active Ingredient: | Tenofovir Disoproxil Fumarate 300 mg
Label Claim: | Each tablet contains 300 mg of Tenofovir Disoproxil Fumarate, which is equivalent to 245 mg of Tenofovir Disoproxil.
Date Analysis Started: | 9THMAY2018
Date Analysis Completed: | 10THMAY2019
Analysis Data
Reference Substance: | tenofovir disoproxil fumarate
Code: | T11-10
% age Purity: | 99.54
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.54
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 5 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 100 | 1 | 0.562 | 0.60064 | 0.62 | 0.60332
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.564 | 0.60277 | 0.62 | 0.60332 |  | 0.2234%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.565 | 0.60384 | 0.621 | 0.60429
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.56367 | 0.60242 | 0.62033 | 0.60364
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 23.5 |  | 25.81
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 23.5 |  | 25.81
Standard Dilution Factor | 1000 | Purity correction (mg): | 23.3919 |  | 25.6913
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.023392 |  | 0.025691
|  | Desired Concentration (mg/mL): | 0.025
|  | Desired Weight as free base (mg): | 25
|  | Desired Weight as salt (mg): | 25
|  | Average Normalised Response: | 0.60303
|  | RSD: | 0.2126%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each tablet contains 300 mg of Tenofovir Disoproxil Fumarate, which is equivalent to 245 mg of Tenofovir Disoproxil.
Each Tablet contains | 300 | Tenofovir Disoproxil Fumarate 300 mg
Average Tablet Content Weight (mg): | 692.6755
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 5 | Assay Smp A | 232.69 | 1 | 0.629 | 310.502 | 103.5007
1st Dilution Sample Final Volume (mL): | 100 |  |  | 2 | 0.629 | 310.502 | 103.5007
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 0.632 | 311.9829 | 103.9943
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 242.63 | 1 | 0.655 | 310.0903 | 103.3634
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 0.657 | 311.0372 | 103.6791
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 0.656 | 310.5638 | 103.5213
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 4000 | Assay Smp C | 228.32 | 1 | 0.62 | 311.9171 | 103.9724
Desired Sample Weight (mg): | 230.8918 |  |  | 2 | 0.62 | 311.9171 | 103.9724
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 0.62 | 311.9171 | 103.9724
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 311.1588 | 103.7196
[5 empty] | RSD: | 0.2484% | 0.2484%
[5 empty] | n: | 9 | 9
Comment: | The content of | tenofovir disoproxil fumarate |  | in the sample as a percentage of the stated label claim is |  | 103.7196
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | tenofovir disoproxil fumarate
Code: | T11-10
% age Purity: | 99.54
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.54
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 5 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 100 | 1 | 0.562 | 0.64068 | 0.62 | 0.64354
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.564 | 0.64296 | 0.62 | 0.64354 |  | 0.2234%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.565 | 0.6441 | 0.621 | 0.64458
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.56367 | 0.64258 | 0.62033 | 0.64388
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 23.5 |  | 25.81
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 23.5 |  | 25.81
Standard Dilution Factor | 1000 | Purity correction: | 23.3919 |  | 25.6913
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.023392 |  | 0.025691
|  | Desired Concentration (mg/mL): | 0.026667
|  | Desired Weight as free base (mg): | 26.6667
|  | Desired Weight as salt (mg): | 26.6667
|  | Average Normalised Peak Area: | 0.64323
|  | RSD: | 0.2126%
|  | n: | 6
Medium Volume (mL): | 900 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 4 | 1 | 0.601 | 280.3036 | 93.4345
1st Dilution Sample Final Volume (mL): | 50 | 2 | 0.591 | 275.6396 | 91.8799
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.61 | 284.5011 | 94.8337
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.595 | 277.5052 | 92.5017
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.591 | 275.6396 | 91.8799
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.589 | 274.7068 | 91.5689
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 278.0493 | 92.6831
Sample Dilution Factor | 11250 |  | RSD: | 1.344% | 1.344%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 274.7068 | 91.5689
|  |  | Maximum: | 284.5011 | 94.8337
Comment: | The amount of | tenofovir disoproxil fumarate |  | dissolved as a percentage of the stated label claim is |  | 92.6831
| Range: | Minimum | 91.5689 | Maximum | 94.8337
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0