## SST Estradiol
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | POLIO SABIN MONO TWO ORAL VIALS
Reference Substance: | ESTRADIOL
% age Purity:
Weight (mg): | 10.28
Standard Conc (mg/mL): | 0.001028
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 2184880 | 10198.32 | 1.08 | 11.01
2 | 2174842 | 10239.83 | 1.08 | 11.01
3 | 2182089 | 10254.65 | 1.07 | 11.02
4 | 2184465 | 10379.06 | 1.06 | 11.03
5 | 2183503 | 10499.29 | 1.06 | 11.02
6 | 2184577 | 10557.38 | 1.06 | 11.04
Averages: | 2182392.6667 | 10354.755 | 1.0683 | 11.0217
RSD: | 0.1758%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by: | RUTTO KENNEDY
Reviewed By:

## SST Estrone
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | POLIO SABIN MONO TWO ORAL VIALS
Reference Substance: | ESTRONE USPRS
% age Purity: | 99.9
Weight (mg): | 9.3
Standard Conc (mg/mL): | 0.00093
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 1956178 | 11219.43 | 1.07 | 12.97
2 | 1951233 | 11322.32 | 1.08 | 12.97
3 | 1955841 | 11342.86 | 1.07 | 12.98
4 | 1964572 | 11490.78 | 1.07 | 12.99
5 | 1965370 | 11610.21 | 1.07 | 12.98
6 | 1959312 | 11695.2 | 1.05 | 13
Averages: | 1958751 | 11446.8 | 1.0683 | 12.9817
RSD: | 0.2793%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by: | RUTTO KENNEDY
Reviewed By:

## SST Ethinyl Estradiol
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | POLIO SABIN MONO TWO ORAL VIALS
Reference Substance: | ETHINYL ESTRADIOL USPRS
% age Purity: | 99.8
Weight (mg): | 9.28
Standard Conc (mg/mL): | 0.000928
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 1740319 | 10670.51 | 1.08 | 14.45
2 | 1738551 | 10709.12 | 1.07 | 14.46
3 | 1741106 | 10792.4 | 1.07 | 14.46
4 | 1749511 | 10863.85 | 1.07 | 14.47
5 | 1748254 | 11013.58 | 1.06 | 14.47
6 | 1750783 | 11067.1 | 1.07 | 14.48
Averages: | 1744754 | 10852.76 | 1.07 | 14.465
RSD: | 0.3062%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Reference Substance: | ESTRONE USPRS
% age Purity: | 99.9
Weight (mg): | 9.3
Standard Conc (mg/mL): | 0.00093
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 1956178 | 11219.43 | 1.07 | 12.97
2 | 1951233 | 11322.32 | 1.08 | 12.97
3 | 1955841 | 11342.86 | 1.07 | 12.98
4 | 1964572 | 11490.78 | 1.07 | 12.99
5 | 1965370 | 11610.21 | 1.07 | 12.98
6 | 1959312 | 11695.2 | 1.05 | 13
Averages: | 1958751 | 11446.8 | 1.0683 | 12.9817
RSD: | 0.2793%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Reference Substance: | ESTRADIOL USPRS
% age Purity:
Weight (mg): | 10.28
Standard Conc (mg/mL): | 0.001028
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 2184880 | 10198.32 | 1.08 | 11.01
2 | 2174842 | 10239.83 | 1.08 | 11.01
3 | 2182089 | 10254.65 | 1.07 | 11.02
4 | 2184465 | 10379.06 | 1.06 | 11.03
5 | 2183503 | 10499.29 | 1.06 | 11.02
6 | 2184577 | 10557.38 | 1.06 | 11.04
Averages: | 2182392.6667 | 10354.755 | 1.0683 | 11.0217
RSD: | 0.1758%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  | Date | Signature
Analysed by: | RUTTO KENNEDY
Reviewed By:

## SST Levonorgestrel
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | POLIO SABIN MONO TWO ORAL VIALS
Reference Substance: | LEVONORGESTREL USPRS
% age Purity: | 99.4
Weight (mg): | 9.49
Standard Conc (mg/mL): | 0.000949
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 256514 | 8118.8 | 1.06 | 8.41
2 | 249452 | 8249.4 | 1.05 | 8.44
3 | 257007 | 8178.9 | 1.07 | 8.41
4 | 256700 | 8295.8 | 1.09 | 8.39
5 | 253683 | 8345.9 | 1.08 | 8.39
6 | 254095 | 8257.3 | 1.07 | 8.39
Averages: | 254575.1667 | 8241.0167 | 1.07 | 8.405
RSD: | 1.131%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by: | RUTTO KENNEDY
Reviewed By:

## CHROMATOGRAMS FOR EEE
STANDARD CHROMATOGRAM | SAMPLE CHROMATOGRAM
OVERLAY OF STD AND SAMPLE CHROMATOGRAMS |  | SPIKED SAMPLE CHROMATOGRAM
BLANK CHROMATOGRAM

## CHROMATOGRAMS FOR LEVONO
STANDARD CHROMATOGRAM |  | SAMPLE CHROMATOGRAM
OVERLAY OF STANDARD AND SAMPLE CHROMATOGRAMS | SPIKED SAMPLE CHROMATOGRAM
BLANK CHROMATOGRAM