## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | Stpase Injection
Laboratory Ref No: |  | NDQD201406494
Active Ingredient: |  | Streptokinase injection BP-1500000 iv/vial
Label Claim: |  | Each vials contains Streptokinase injection BP-1500000 iv/vials
Date Analysis Started: |  | 2014-07-28 07:33:18
Date Analysis Completed: |  | 2015-09-25 10:50:17
Analysis Data |  | Uniformity of weight
Capsule No. | Intact Capsule (mg) | Empty Shell (mg) | Capsule Content (mg) | % Deviation
1 | 13196.94 | 12902.04 | 294.9 | -0.7877%
2 | 13304.16 | 13006.94 | 297.22 | -0.007233%
3 | 13316.28 | 13013.68 | 302.6 | 1.803%
4 | 13200.93 | 12892.03 | 308.9 | 3.922%
5 | 13326.3 | 13030.72 | 295.58 | -0.559%
6 | 13232.65 | 12927.57 | 305.08 | 2.637%
7 | 13230.95 | 12941.37 | 289.58 | -2.578%
8 | 13070.34 | 12777.81 | 292.53 | -1.585%
9 | 12849.64 | 12557.21 | 292.43 | -1.619%
10 | 13220.85 | 12926.27 | 294.58 | -0.8954%
11 | 13154.08 | 12855.89 | 298.19 | 0.3191%
12 | 13267.5 | 12977.86 | 289.64 | -2.557%
13 | 13188.79 | 12894.64 | 294.15 | -1.04%
14 | 13313.21 | 13018.27 | 294.94 | -0.7743%
15 | 13124.75 | 12832.49 | 292.26 | -1.676%
16 | 12993.54 | 12694.42 | 299.12 | 0.632%
17 | 13151.34 | 12845.7 | 305.64 | 2.825%
18 | 13163.36 | 12864.33 | 299.03 | 0.6017%
19 | 13107.39 | 12812.69 | 294.7 | -0.855%
20 | 12988.9 | 12685.14 | 303.76 | 2.193%
Total | 263401.9 | 257457.07 | 5944.83
Average | 13170.095 | 12872.8535 | 297.2415
| Average | % Deviation from mean
| 297.2415 | -10% | 267.5173
|  | 10% | 326.9656
| Name |  |  | Date | Signature
Analysed by:
Reviewed By: