## Uniformity
NDQD201406500
Tablet weight
291.71 | 0.04956%
279.28 | -4.214%
295.42 | 1.322%
290.22 | -0.4615%
294.39 | 0.9687%
291.76 | 0.06671%
301.84 | 3.524%
291.23 | -0.1151%
289.19 | -0.8147%
287.08 | -1.538%
286.96 | -1.58%
288.02 | -1.216%
302.38 | 3.709%
293.31 | 0.5983%
295.55 | 1.367%
288.68 | -0.9897%
288.75 | -0.9656%
300.16 | 2.948%
285.93 | -1.933%
289.45 | -0.7256%
5831.31
291.5655 | 276.9872
306.1438

## AD_Amlodipine
Analysis Report
Sample Name: | Avsar 80/5
Laboratory Ref No: | NDQD201406500
Active Ingredient: | Valsartan USP 80mg,Amlodipine(as besylate)USP 5mg
Label Claim: | Each tablets contains Valsartan USP 80mg,Amlodipine (as besylate USP 5mg.
Date Analysis Started: | 2014-07-28 11:55:08
Date Analysis Completed:
Analysis Data
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Mwt of compound in free base form: | 1 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 1 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 100 | 1 | 6584340 | 0 | 6196496 | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 6591202 | 0 | 6195337 | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 6575084 | 0 | 6196540 | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 6583542 | 0 | 6196124.3333 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 25.14 |  | 23.44
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 25.14 |  | 23.44
Standard Dilution Factor | 2500 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 0.01
|  | Desired Weight as free base (mg): | 25
|  | Desired Weight as salt (mg): | 25
|  | Average Normalised Response: | 0
|  | RSD: | 0
|  | n: | 0
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | 5 | Amlodipine
Each Capsule/Tablet contains | 5 | Valsartan USP 80mg,Amlodipine(as besylate)USP 5mg
Average Capsule/Tablet Content Weight (mg): | 0
Initial Sample dilution | 5 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 50 | Assay Smp A | 293.48 | 1 | 9302224 | 0 | 0
1st Dilution Sample Final Volume (mL): | 5 |  |  | 2 | 9291334 | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 50 |  |  | 3 | 9316514 | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 291.64 | 1 | 9215822 | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 9216277 | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 9212214 | 0 | 0
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
Sample Dilution Factor | 0.01 | Assay Smp C | 290.47 | 1 | 9049448 | 0 | 0
Desired Sample Weight (mg): | 0 |  |  | 2 | 9091605 | 0 | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 9059577 | 0 | 0
|  |  |  | 4 |  | 0 | 0
[6 empty] | Average: | 0
[6 empty] | RSD: | 0
[6 empty] | n: | 0
Analysis Data: | Determination of Active Ingredient Dissolved
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Initial Standard dilution | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 3 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 100 | 1 | 7949090 | 0 | 7429509 | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 8025823 | 0 | 7324029 | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 8041935 | 0 | 7363873 | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 8005616 | 0 | 7372470.3333 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 25.72 |  | 23.97
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 25.72 |  | 23.97
Standard Dilution Factor | 1666.6667 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 0.0055556
|  | Desired Weight as free base (mg): | 9.2593
|  | Desired Weight as salt (mg): | 9.2593
|  | Average Normalised Peak Area: | 0
|  | RSD: | 0
|  | n: | 0
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 3864955 | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 | 2 | 3706722 | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 3758570 | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 3636352 | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 3606350 | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 3992526 | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0
Sample Dilution Factor | 900 |  |  | RSD: | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Repeat Determination of Active Ingredient Dissolved
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | 0 |  | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | 0 |  | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | 0 |  | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0 | 0 | 0 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 5
|  | Desired Weight as free base (mg): | 5
|  | Desired Weight as salt (mg): | 5
|  | Average Normalised Peak Area: | 0
|  | RSD: | 0
|  | n: | 0
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0
Sample Dilution Factor | 1 |  |  | RSD: | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Dissolution Result Summary
Average: | 0
RSD: | 0
n: | 0
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:

## AD_Valsartan
Analysis Report
Sample Name: | Avsar 80/5
Laboratory Ref No: | NDQD201406500
Active Ingredient: | Valsartan USP 80mg,Amlodipine(as besylate)USP 5mg
Label Claim: | Each tablets contains Valsartan USP 80mg,Amlodipine (as besylate USP 5mg.
Date Analysis Started: | 2014-07-28 11:55:08
Date Analysis Completed:
Analysis Data
Reference Substance: | Valsartan
Code: | NQCL-WRS-V1-1
% age Purity: | 99.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.8
Mwt of compound in free base form: | 1 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 1 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 25 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 100 | 1 | 113939814 | 109645282.4015 | 109181167 | 111207082.0166
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 113966227 | 109670699.8631 | 109120294 | 111145079.4855
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 113796355 | 109507230.5475 | 109217835 | 111244430.411
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 113900798.6667 | 109607737.6041 | 109173098.6667 | 111198863.9711
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 33.32 |  | 31.48
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 33.32 |  | 31.48
Standard Dilution Factor | 200 | Purity correction: | 33.2534 |  | 31.417
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.16627 |  | 0.15709
|  | Desired Concetration (mg/mL): | 0.16
|  | Desired Weight as free base (mg): | 32
|  | Desired Weight as salt (mg): | 32
|  | Average Normalised Response: | 110403300.7876
|  | RSD: | 0.7915%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | 80 | Valsartan
Each Capsule/Tablet contains | 80 | Valsartan USP 80mg,Amlodipine(as besylate)USP 5mg
Average Capsule/Tablet Content Weight (mg): | 0
Initial Sample dilution | 80 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 50 | Assay Smp A | 293.48 | 1 | 109732497 | 0 | 0
1st Dilution Sample Final Volume (mL): | 5 |  |  | 2 | 109712499 | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 50 |  |  | 3 | 109731022 | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 291.64 | 1 | 108389813 | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 108293594 | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 108270173 | 0 | 0
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
Sample Dilution Factor | 0.16 | Assay Smp C | 290.47 | 1 | 107248775 | 0 | 0
Desired Sample Weight (mg): | 0 |  |  | 2 | 107350225 | 0 | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 107375883 | 0 | 0
|  |  |  | 4 |  | 0 | 0
[6 empty] | Average: | 0
[6 empty] | RSD: | 0
[6 empty] | n: | 0
Analysis Data: | Determination of Active Ingredient Dissolved
Reference Substance: | Valsartan
Code: | NQCL-WRS-V1-1
% age Purity: | 99.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.8
Initial Standard dilution | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 15 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 100 | 1 | 121867353 | 59724674.3956 | 118417663 | 60490414.6955
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 121916980 | 59748995.564 | 118330522 | 60445901.1061
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 121791627 | 59687562.6459 | 118401354 | 60482083.6902
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 121858653.3333 | 59720410.8685 | 118383179.6667 | 60472799.8306
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 30.29 |  | 29.06
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 30.29 |  | 29.06
Standard Dilution Factor | 166.6667 | Purity correction: | 30.2294 |  | 29.0019
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.18138 |  | 0.17401
|  | Desired Concetration (mg/mL): | 0.088889
|  | Desired Weight as free base (mg): | 14.8148
|  | Desired Weight as salt (mg): | 14.8148
|  | Average Normalised Peak Area: | 60096605.3495
|  | RSD: | 0.687%
|  | n: | 6
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 56798414 | 75.6095 | 94.51%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 51655515 | 68.7633 | 85.95%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 53610979 | 71.3664 | 89.21%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 54414728 | 72.4363 | 90.55%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 53531020 | 71.26 | 89.07%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 56089191 | 74.6654 | 93.33%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 90.44%
Sample Dilution Factor | 900 |  |  | RSD: | 3.442%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Analysis Data: | Repeat Determination of Active Ingredient Dissolved
Reference Substance: | Valsartan
Code: | NQCL-WRS-V1-1
% age Purity: | 99.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.8
Initial Standard dilution | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | 0 |  | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | 0 |  | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | 0 |  | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0 | 0 | 0 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 80
|  | Desired Weight as free base (mg): | 80
|  | Desired Weight as salt (mg): | 80
|  | Average Normalised Peak Area: | 0
|  | RSD: | 0
|  | n: | 0
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 0
Sample Dilution Factor | 1 |  |  | RSD: | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Dissolution Result Summary
Average: | 90.44%
RSD: | 3.442%
n: | 6
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:

## Uniformity 1
NDQD201406500
Tablet weight
291.71 | 0.04956%
279.28 | -4.214%
295.42 | 1.322%
290.22 | -0.4615%
294.39 | 0.9687%
291.76 | 0.06671%
301.84 | 3.524%
291.23 | -0.1151%
289.19 | -0.8147%
287.08 | -1.538%
286.96 | -1.58%
288.02 | -1.216%
302.38 | 3.709%
293.31 | 0.5983%
295.55 | 1.367%
288.68 | -0.9897%
288.75 | -0.9656%
300.16 | 2.948%
285.93 | -1.933%
289.45 | -0.7256%
5831.31
291.5655 | 276.9872
306.1438