## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | Inosita Plus 50/1000mg
Laboratory Ref No: |  | NDQD201406509
Active Ingredient: |  | Sitagliptin 50mg (as phosphate monohydrate) Metformin HCL USP 1000mg
Label Claim: |  | Each tablets contains sitagliptin 50mg,Metformin HCL USP 1000mg.
Date Analysis Started: |  | 2014-07-28 13:09:51
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 1393.29 | -1.083%
|  | 1466.87 | 4.141%
|  | 1417.06 | 0.6047%
|  | 1401.32 | -0.5127%
|  | 1353.14 | -3.933%
|  | 1464.08 | 3.943%
|  | 1410.23 | 0.1198%
|  | 1400.26 | -0.588%
|  | 1412.71 | 0.2959%
|  | 1415.79 | 0.5146%
|  | 1373.43 | -2.493%
|  | 1415.48 | 0.4926%
|  | 1425.98 | 1.238%
|  | 1429.48 | 1.487%
|  | 1388.9 | -1.394%
|  | 1413.55 | 0.3555%
|  | 1419.4 | 0.7709%
|  | 1393.18 | -1.091%
|  | 1343.05 | -4.65%
|  | 1433.64 | 1.782%
| Total | 28170.84
| Average | 1408.542
| Average | % Deviation from mean
| 1408.542 | -5% | 1338.1149
|  | 5% | 1478.9691
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## Sitagliptin
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | INOSITA PLUS
Laboratory Ref No: | NDQD201406509 | 1
Active Ingredient: | Sitagliptin
Label Claim: | Each uncoated tablet contains Sitagliptin 50 mg (as phosphate Monohydrate)
Date Analysis Started: | 2014-09-30
Date Analysis Completed: | 2015-05-06
Analysis Data
Reference Substance: | Sitagliptin
Code: | NQCL/WRS/S31-1
% age Purity: | 94.883
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 94.883
Mwt of compound in free base form: | 407.3136 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 523.32 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 0.77833 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 5 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 50 | 1 | 5845258 | 6356448.9949 | 5599500 | 6346057.8767
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 5846699 | 6358016.016 | 5596210 | 6342329.2348 |  | 0.1961%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 5844105 | 6355195.1604 | 5596179 | 6342294.1017
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 5845354 | 6356553.3904 | 5597296.3333 | 6343560.4044
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 31.13 |  | 29.87
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 24.2293 |  | 23.2486
Standard Dilution Factor | 500 | Purity correction (mg): | 22.9895 |  | 22.059
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.045979 |  | 0.044118
|  | Desired Concentration (mg/mL): | 0.05
|  | Desired Weight as free base (mg): | 25
|  | Desired Weight as salt (mg): | 32.1202
|  | Average Normalised Response: | 6350056.8974
|  | RSD: | 0.115%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each uncoated tablet contains Sitagliptin 50 mg (as phosphate Monohydrate)
Each Capsule contains | 50 | Sitagliptin
Average Capsule Content Weight (mg): | 1408.542
Initial Sample dilution Volume (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 5 | Assay Smp A | 1437.6 | 1 | 5923907 | 45.7017 | 91.4%
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 5950599 | 45.9076 | 91.82%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 5933283 | 45.774 | 91.55%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1438.74 | 1 | 6041377 | 46.571 | 93.14%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 6027894 | 46.4671 | 92.93%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 6024793 | 46.4432 | 92.89%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1000 | Assay Smp C | 1438.38 | 1 | 6098977 | 47.0268 | 94.05%
Desired Sample Weight (mg): | 1408.542 |  |  | 2 | 6096283 | 47.006 | 94.01%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 6095728 | 47.0018 | 94%
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 92.87%
[6 empty] | RSD: | 1.147%
[6 empty] | n: | 9
Comment: | The content of | Sitagliptin |  | in the sample as a percentage of the stated label claim is |  | 92.87%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Sitagliptin
Code: | NQCL/WRS/S31-1
% age Purity: | 94.883
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 94.883
Mwt of compound in free base form: | 407.3136 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 523.32 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 0.77833 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 5 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 50 | 1 | 5845258 | 7062721.1054 | 5599500 | 7051175.4186
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 5846699 | 7064462.24 | 5596210 | 7047032.4831 |  | 0.1961%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 5844105 | 7061327.956 | 5596179 | 7046993.4463
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 5845354 | 7062837.1005 | 5597296.3333 | 7048400.4494
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 31.13 |  | 29.87
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 24.2293 |  | 23.2486
Standard Dilution Factor | 500 | Purity correction: | 22.9895 |  | 22.059
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.045979 |  | 0.044118
|  | Desired Concentration (mg/mL): | 0.055556
|  | Desired Weight as free base (mg): | 27.7778
|  | Desired Weight as salt (mg): | 35.6891
|  | Average Normalised Peak Area: | 7055618.7749
|  | RSD: | 0.115%
|  | n: | 6
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 7045428 | 49.9278 | 99.86%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 7161505 | 50.7504 | 101.5%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 6940012 | 49.1807 | 98.36%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 7016600 | 49.7235 | 99.45%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 7042254 | 49.9053 | 99.81%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 7110936 | 50.392 | 100.8%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 99.96%
Sample Dilution Factor | 900 |  |  | RSD: | 1.087%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment: | The amount of | Sitagliptin |  | dissolved as a percentage of the stated label claim is |  | 99.96%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## Metformin
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | INOSITA PLUS 50/500 TABLETS
Laboratory Ref No: | NDQD201406509 | 1
Active Ingredient: | Metformin 500 mg
Label Claim: | Each film coated tablet contains Metformin Hcl
Date Analysis Started: | 2014-09-30
Date Analysis Completed: | 2015-05-06
Analysis Data
Reference Substance: | Metformin
Code: | NQCL/WRS/M 19-1
% age Purity: | 99.4
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.4
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 2265023 | 2178484.8671 | 2214350 | 2162831.3571
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 2304402 | 2216359.3415 | 2252819 | 2200405.3447 |  | 0.3738%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 2316155 | 2227663.303 | 2287348 | 2234130.9996
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 2295193.3333 | 2207502.5039 | 2251505.6667 | 2199122.5671
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 26.15 |  | 25.75
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 26.15 |  | 25.75
Standard Dilution Factor | 50 | Purity correction (mg): | 25.9931 |  | 25.5955
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.51986 |  | 0.51191
|  | Desired Concentration (mg/mL): | 0.5
|  | Desired Weight as free base (mg): | 25
|  | Desired Weight as salt (mg): | 25
|  | Average Normalised Response: | 2203312.5355
|  | RSD: | 1.28%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film coated tablet contains Metformin Hcl
Each Capsule contains | 1000 | Metformin 500 mg
Average Capsule Content Weight (mg): | 1408.542
Initial Sample dilution Volume (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 5 | Assay Smp A | 1437.6 | 1 | 4175654 | 928.4321 | 92.84%
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 4100527 | 911.728 | 91.17%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 4139316 | 920.3525 | 92.04%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1438.74 | 1 | 4162894 | 924.8616 | 92.49%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 4114924 | 914.2042 | 91.42%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 4126578 | 916.7933 | 91.68%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1000 | Assay Smp C | 1438.38 | 1 | 4219797 | 937.7382 | 93.77%
Desired Sample Weight (mg): | 704.271 |  |  | 2 | 4159560 | 924.3522 | 92.44%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 4179680 | 928.8233 | 92.88%
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 92.3%
[6 empty] | RSD: | 0.8867%
[6 empty] | n: | 9
Comment: | The content of | Metformin 500 mg |  | in the sample as a percentage of the stated label claim is |  | 92.3%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Metformin
Code: | NQCL/WRS/M 19-1
% age Purity: | 99.4
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.4
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 5000% |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 100% | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 2265023 | 4841077.4825 | 2214350 | 4806291.9046
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 2304402 | 4925242.9812 | 2252819 | 4889789.6549 |  | 0.3738%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 2316155 | 4950362.8955 | 2287348 | 4964735.5546
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 2295193.3333 | 4905561.1197 | 2251505.6667 | 4886939.038
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 26.15 |  | 25.75
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 26.15 |  | 25.75
Standard Dilution Factor | 50 | Purity correction: | 25.9931 |  | 25.5955
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.51986 |  | 0.51191
|  | Desired Concentration (mg/mL): | 1.1111
|  | Desired Weight as free base (mg): | 55.5556
|  | Desired Weight as salt (mg): | 55.5556
|  | Average Normalised Peak Area: | 4896250.0789
|  | RSD: | 1.28%
|  | n: | 6
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 4601483 | 939.7974 | 93.98%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 4640822 | 947.8319 | 94.78%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 4522381 | 923.6418 | 92.36%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 4637953 | 947.2459 | 94.72%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 4618899 | 943.3544 | 94.34%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 4688039 | 957.4754 | 95.75%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 94.32%
Sample Dilution Factor | 900 |  |  | RSD: | 1.195%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment: | The amount of | Metformin 500 mg |  | dissolved as a percentage of the stated label claim is |  | 94.32%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## SST(Met)
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | INOSITA PLUS 50/1000 TABLETS
Reference Substance: | Merformin
% age Purity: | 99.4
Weight (mg): | 26.15
Standard Conc (mg/mL): | 0.523
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 2299081 | 9352.4 | 0.9 | 3.7
2 | 2291526 | 9744.3 | 0.9 | 3.7
3 | 2292863 | 10298.4 | 0.8 | 3.7
4 | 2294370 | 9736.7 | 0.8 | 3.7
5 | 2331086 | 10341 | 0.8 | 3.7
6 | 2346267 | 10102.7 | 0.8 | 3.7
Averages: | 2309198.8333 | 9929.25 | 0.83333 | 3.7
RSD: | 1.016%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Merformin
% age Purity: | 99.4
Weight (mg): | 26.15
Standard Conc (mg/mL): | 0.523
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0

## SST (Sita)
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | INOSITA PLUS 50/1000 TABLETS
Reference Substance: | sitagliptin
% age Purity: | 99.6
Weight (mg): | 31.13
Standard Conc (mg/mL): | 0.06226
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 5844104 | 9382.4 | 1.1 | 5.2
2 | 5843049 | 9384.7 | 1.1 | 5.2
3 | 5850966 | 9427.2 | 1.1 | 5.2
4 | 5840289 | 9401 | 1.1 | 5.2
5 | 5843005 | 9456.4 | 1.1 | 5.2
6 | 5841965 | 9461.2 | 1.1 | 5.2
Averages: | 5843896.3333 | 9418.8167 | 1.1 | 5.2
RSD: | 0.06323%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | sitagliptin
% age Purity: | 99.6
Weight (mg): | 31.13
Standard Conc (mg/mL): | 0.06226
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0