## metformin HCL
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | METSAFE 1000 ER TABLETS
Laboratory Ref No: | NDQD201410882 | 24
Active Ingredient: | Metform Hydrochloride
Label Claim: | Each tablet contains Metformin USP 1000 mg (As extended release)
Date Analysis Started: | 2015-09-09 11:12
Date Analysis Completed: | 2015-09-10
Analysis Data
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 204740636 | #DIV/0! | 208454869 | #DIV/0!
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 204713624 | #DIV/0! | 207357270 | #DIV/0!
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 204746485 | #DIV/0! | 208112760 | #DIV/0!
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 204733581.6667 | #DIV/0! | 207974966.3333 | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 26.98 |  | 27.53
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 26.98 |  | 27.53
Standard Dilution Factor | 50 | Purity correction (mg): | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 0.5
|  | Desired Weight as free base (mg): | 25
|  | Desired Weight as salt (mg): | 25
|  | Average Normalised Response: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each tablet contains Metformin USP 1000 mg (As extended release)
Each tablet contains | 1000 | Metform Hydrochloride
Average tablet Content Weight (mg): | 750
Initial Sample dilution | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 25 | Assay Smp A | 287.3 | 1 | 225221861 | #DIV/0! | #DIV/0!
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 225522758 | #DIV/0! | #DIV/0!
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 226051930 | #DIV/0! | #DIV/0!
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 283.76 | 1 | 222533090 | #DIV/0! | #DIV/0!
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 222219107 | #DIV/0! | #DIV/0!
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 222118606 | #DIV/0! | #DIV/0!
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 200 | Assay Smp C | 286.78 | 1 | 226289106 | #DIV/0! | #DIV/0!
Desired Sample Weight (mg): | 75 |  |  | 2 | 226394200 | #DIV/0! | #DIV/0!
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 226217531 | #DIV/0! | #DIV/0!
|  |  |  | 4 |  | - | -
[6 empty] | Average: | #DIV/0!
[6 empty] | RSD: | #DIV/0!
[6 empty] | n: | 0
Comment | The amount of | Metform Hydrochloride |  | I the sample as a percentage of the stated label claim is |  | #DIV/0!
Analysis Data: | Determination of Active Ingredient Dissolved after |  | 1hr
Reference Substance: | Metformin HCL
Code: | M 19 4
% age Purity: | 99.19
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.19
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 3 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 50 | 1 | 0.812 | 0.80892 | 0.772 | 0.78808
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.809 | 0.80594 | 0.775 | 0.79114
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.813 | 0.80992 | 0.774 | 0.79012
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.81133 | 0.80826 | 0.77367 | 0.78978
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 25.3 |  | 24.69
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 25.3 |  | 24.69
Standard Dilution Factor | 416.6667 | Purity correction (mg): | 25.0951 |  | 24.49
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.060228 |  | 0.058776
|  | Desired Concetration (mg/mL): | 0.06
|  | Desired Weight as free base (mg): | 25
|  | Desired Weight as salt (mg): | 25
|  | Average Normalised Response: | 0.79902
|  | RSD: | 1.283%
|  | n: | 6
Medium Volume (mL): | 1000 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 3 | 1 | 0.256 | 320.393 | 32.04%
1st Dilution Sample Final Volume (mL): | 50 | 2 | 0.255 | 319.1415 | 31.91%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.249 | 311.6322 | 31.16%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.225 | 281.5954 | 28.16%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.23 | 287.8531 | 28.79%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.239 | 299.1169 | 29.91%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 30.33%
Sample Dilution Factor | 16666.6667 |  |  | RSD: | 5.397%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment | The amount of | Metform Hydrochloride |  | dissolved as a percentage of the stated label claim is |  | 30.33%
Analysis Data: | Determination of Active Ingredient Dissolved after |  | 3hrs
Medium Volume (mL): | 1000 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 3 | 1 | 0.516 | 645.7921 | 64.58%
1st Dilution Sample Final Volume (mL): | 50 | 2 | 0.499 | 624.516 | 62.45%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.504 | 630.7737 | 63.08%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.499 | 624.516 | 62.45%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.492 | 615.7553 | 61.58%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.49 | 613.2522 | 61.33%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 62.58%
Sample Dilution Factor | 16666.6667 |  |  | RSD: | 1.872%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment | The amount of | Metform Hydrochloride |  | dissolved as a percentage of the stated label claim is |  | 62.58%
Analysis Data: | Determination of Active Ingredient Dissolved after |  | 6
Medium Volume (mL): | 1000 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 3 | 1 | 0.658 | 823.5101 | 82.35%
1st Dilution Sample Final Volume (mL): | 50 | 2 | 0.647 | 809.7432 | 80.97%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.649 | 812.2463 | 81.22%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.641 | 802.234 | 80.22%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.658 | 823.5101 | 82.35%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.657 | 822.2586 | 82.23%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 81.56%
Sample Dilution Factor | 16666.6667 |  |  | RSD: | 1.088%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment | The amount of | Metform Hydrochloride |  | dissolved as a percentage of the stated label claim is |  | 81.56%
Analysis Data: | Determination of Active Ingredient Dissolved after |  | 10
Medium Volume (mL): | 1000 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 3 | 1 | 0.788 | 986.2097 | 98.62%
1st Dilution Sample Final Volume (mL): | 50 | 2 | 0.772 | 966.1851 | 96.62%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.742 | 928.6391 | 92.86%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.748 | 936.1483 | 93.61%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.753 | 942.4059 | 94.24%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.755 | 944.909 | 94.49%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 95.07%
Sample Dilution Factor | 16666.6667 |  |  | RSD: | 2.257%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment | The amount of | Metform Hydrochloride |  | dissolved as a percentage of the stated label claim is |  | 95.07%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0