## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | Ocid IV
Laboratory Ref No: |  | NDQD201406545
Active Ingredient: |  | Omeprazole BP 40mg
Label Claim: |  | Each vials contains Omeprazole BP 40 mg
Date Analysis Started: |  | 2014-08-06 09:59:28
Date Analysis Completed: |  | 2015-04-15 09:01:55
Analysis Data |  | Uniformity of weight
Capsule No. | Intact Capsule (mg) | Empty Shell (mg) | Capsule Content (mg) | % Deviation
1 | 13008 | 12933.83 | 74.17 | 0.153%
2 | 12795.95 | 12721.11 | 74.84 | 1.058%
3 | 13131.18 | 13056.27 | 74.91 | 1.152%
4 | 12677.6 | 12603.57 | 74.03 | -0.03601%
5 | 12866.05 | 12791.88 | 74.17 | 0.153%
6 | 12645.61 | 12573.39 | 72.22 | -2.48%
7 |  |  | 0 | 0
8 |  |  | 0 | 0
9 |  |  | 0 | 0
10 |  |  | 0 | 0
11 |  |  | 0 | 0
12 |  |  | 0 | 0
13 |  |  | 0 | 0
14 |  |  | 0 | 0
15 |  |  | 0 | 0
16 |  |  | 0 | 0
17 |  |  | 0 | 0
18 |  |  | 0 | 0
19 |  |  | 0 | 0
20 |  |  | 0 | 0
Total | 77124.39 | 76680.05 | 444.34
Average | 12854.065 | 12780.0083 | 74.0567
| Average | % Deviation from mean
| 74.0567 | -10% | 66.651
|  | 10% | 81.4623
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## OMEPRAZOLE
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | Ocid IV
Laboratory Ref No: | NDQD201406545 | 8
Active Ingredient: | Omeprazole BP 40mg
Label Claim: | Each vials contains Omeprazole BP 40 mg
Date Analysis Started: | 2014-08-06 09:59:28
Date Analysis Completed:
Analysis Data
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is NOT needed, enter 0
% Purity corrected for water: | 0
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | 0 |  | 0
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | 0 |  | 0
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | 0 |  | 0
3rd Dilution Standard Volume (mL: | 1 | 4 |  | 0 |  | 0
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0 | 0 | 0 | 0
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction (mg): | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0 |  | 0
Desired Concetration (mg/mL):
|  | Desired Weight as free base (mg): | 0
|  | Desired Weight as salt (mg): | 0
|  | Average Normalised Response: | 0
|  | RSD: | 0
|  | n: | 0
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim:
Each Vial contains
Average Vial Content Weight (mg):
Initial Sample dilution (mL): | 1 |  | Sample Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 1 | Assay Smp A |  | 1 |  | 0 | 0
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | 0 | 0
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | 0 | 0
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B |  | 1 |  | 0 | 0
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | 0 | 0
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | 0 | 0
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | 0 | 0
Sample Dilution Factor | 1 | Assay Smp C |  | 1 |  | 0 | 0
Desired Sample Weight (mg): | 0 |  |  | 2 |  | 0 | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | 0 | 0
|  |  |  | 4 |  | 0 | 0
[6 empty] | Average: | 0
[6 empty] | RSD: | 0
[6 empty] | n: | 0
Comment: | The content of |  |  | in the sample as a percentage of the stated label claim is |  | 0
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5