## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | LEVOGASTROL 25 mg TABLETS
% age Purity: | NDQD201503148
Weight (mg): | Levosulpiride
Standard Conc (mg/mL): | Each tablet contains: levosulpiride 25 mg
2015-03-24 11:40:43
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | LEVOGASTROL 25 mg TABLETS
Laboratory Ref No: |  | NDQD201503148
Active Ingredient: |  | Levosulpiride
Label Claim: |  | Each tablet contains: levosulpiride 25 mg
Date Analysis Started: |  | 2015-03-24 11:40:43
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 99.83 | -0.1505%
|  | 100.43 | 0.4496%
|  | 99.43 | -0.5506%
|  | 98.43 | -1.551%
|  | 101.19 | 1.21%
|  | 101.35 | 1.37%
|  | 99.58 | -0.4006%
|  | 100.96 | 0.9797%
|  | 98.17 | -1.811%
|  | 99.37 | -0.6106%
|  | 99.1 | -0.8807%
|  | 101.01 | 1.03%
|  | 98.83 | -1.151%
|  | 102.23 | 2.25%
|  | 101.07 | 1.09%
|  | 99.93 | -0.05051%
|  | 98.88 | -1.101%
|  | 98.06 | -1.921%
|  | 100.65 | 0.6696%
|  | 101.11 | 1.13%
| Total | 1999.61
| Average | 99.9805
| Average | % Deviation from mean
| 99.9805 | -7.5% | 92.482
|  | 7.5% | 107.479
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## Levosulpiride
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | LEVOGASTROL 25 mg TABLETS
Laboratory Ref No: | NDQD201503148 | 11
Active Ingredient: | Levosulpiride
Label Claim: | Each tablet contains: levosulpiride 25 mg
Date Analysis Started: | 2015-03-24 11:40:43
Date Analysis Completed:
Analysis Data
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is NOT needed please enter 0
% Purity corrected for water: | 0
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | -
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction (mg): | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0 |  | 0
Desired Concetration (mg/mL):
|  | Desired Weight as free base (mg): | 0
|  | Desired Weight as salt (mg): | 0
|  | Average Normalised Response: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each tablet contains: levosulpiride 25 mg
Each Tablet contains |  | Levosulpiride
Average Tablet Content Weight (mg): | 99.9805
Initial Sample dilution (mL): | 1 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 1 | Assay Smp A |  | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B |  | 1 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1 | Assay Smp C |  | 1 |  | - | -
Desired Sample Weight (mg) | #DIV/0! |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | - | -
|  |  |  | 4 |  | - | -
[6 empty] | Average: | #DIV/0!
[6 empty] | RSD: | #DIV/0!
[6 empty] | n: | 0
Comment | The content of | Levosulpiride |  | in the sample as a percentage of the stated label claim is |  | #DIV/0!
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | 0
Code: | 0
% age Purity: | 0
% Water content: | 0 | If correction for water content is NOT needed please enter 0
% Purity corrected for water: | 0
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | -
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction (mg): | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 0
|  | Desired Weight as free base (mg): | 0
|  | Desired Weight as salt (mg): | 0
|  | Average Normalised Peak Area: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Medium Volume (mL): | 1 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | #DIV/0!
Sample Dilution Factor | 1 |  |  | RSD: | #DIV/0!
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Repeat Determination of Active Ingredient Dissolved
Reference Substance:
Code:
% age Purity: | 1
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 1
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | -
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 25.12 |  | 25.78
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 25.12 |  | 25.78
Standard Dilution Factor | 1 | Purity correction: | 0.2512 |  | 0.2578
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.2512 |  | 0.2578
|  | Desired Concetration (mg/mL): | 0
|  | Desired Weight as free base (mg): | 0
|  | Desired Weight as salt (mg): | 0
|  | Average Normalised Peak Area: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Medium Volume (mL): | 1 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | #DIV/0!
Sample Dilution Factor | 1 |  |  | RSD: | #DIV/0!
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Dissolution Result Summary
Average: | #DIV/0!
RSD: | #DIV/0!
n: | 0
Comment | The amount of | Levosulpiride |  | dissolved as a percentage of the stated label claim is |  | #DIV/0!
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## Levosulpiride 1
National Quality Control Laoboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name:
Laboratory Ref No: |  | 1
Active Ingredient:
Label Claim:
Date Analysis Started:
Date Analysis Completed:
Analysis Data
Reference Substance:
Code: | 99.13
% age Purity: | 99.13
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.13
Mwt of compound in free base form: | 154.46 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 165.23 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 0.93482 | free base
Initial Standard dilution volume (mL): | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 200 | 1 | 52522362 | 56406920.2531 | 53289728 | 55765855.0248
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 52553125 | 56439958.4871 | 53121237 | 55589535.0278 |  | 0.9166%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 52565096 | 56452814.8633 | 54057613 | 56569420.0868
3rd Dilution Standard Volume (mL: | 1 | 4 | 52522362 | 56406920.2531 | 53289728 | 55765855.0248
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 52540736.25 | 56426653.4642 | 53439576.5 | 55922666.291
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 25.12 |  | 25.78
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 23.4826 |  | 24.0996
Standard Dilution Factor | 1250 | Purity correction (mg): | 23.2783 |  | 23.8899
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.018623 |  | 0.019112
|  | Desired Concentration (mg/mL): | 0.02
|  | Desired Weight as free base (mg): | 25
|  | Desired Weight as salt (mg): | 26.7432
|  | Average Normalised Response: | 56174659.8776
|  | RSD: | 0.7018%
|  | n: | 8
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | 0
Each Tablet contains | 300 | 0
Average Tablet Content Weight (mg): | 99.9805
Initial Sample dilution Volume (mL): | 50 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 4 | Assay Smp A | 90.52 | 1 | 55899703 | 54.9553 | 18.32%
1st Dilution Sample Final Volume (mL): | 200 |  |  | 2 | 56207803 | 55.2582 | 18.42%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 54857529 | 53.9308 | 17.98%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 | 55899703 | 54.9553 | 18.32%
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 87.21 | 1 | 54374410 | 55.4847 | 18.49%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 55245409 | 56.3735 | 18.79%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 54431185 | 55.5426 | 18.51%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 | 54374410 | 55.4847 | 18.49%
Sample Dilution Factor | 2500 | Assay Smp C | 105.17 | 1 | 63256003 | 53.5248 | 17.84%
Desired Sample Weight (mg): | 16.6634 |  |  | 2 | 63562552 | 53.7841 | 17.93%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 63968506 | 54.1277 | 18.04%
|  |  |  | 4 | 63256003 | 53.5248 | 17.84%
[6 empty] | Average: | 18.25%
[6 empty] | RSD: | 1.713%
[6 empty] | n: | 12
Comment: | The content of | 0 |  | in the sample as a percentage of the stated label claim is |  | 18.25%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | 0
Code: | 99.13
% age Purity: | 99.13
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.13
Mwt of compound in free base form: | 154.46 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 165.23 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 0.93482 | free base
Initial Standard dilution volume (mL): | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 200 | 1 | 52522362 | 94011533.7552 | 53289728 | 92943091.708
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 52553125 | 94066597.4786 | 53121237 | 92649225.0464 |  | 0.9166%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 52565096 | 94088024.7721 | 54057613 | 94282366.8113
3rd Dilution Standard Volume (mL: | 1 | 4 | 52522362 | 94011533.7552 | 53289728 | 92943091.708
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 52540736.25 | 94044422.4403 | 53439576.5 | 93204443.8184
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 25.12 |  | 25.78
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 23.4826 |  | 24.0996
Standard Dilution Factor | 1250 | Purity correction: | 23.2783 |  | 23.8899
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.018623 |  | 0.019112
|  | Desired Concentration (mg/mL): | 0.033333
|  | Desired Weight as free base (mg): | 41.6667
|  | Desired Weight as salt (mg): | 44.5719
|  | Average Normalised Peak Area: | 93624433.1293
|  | RSD: | 0.7018%
|  | n: | 8
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 5 | 1 | 87619284 | 280.7578 | 93.59%
1st Dilution Sample Final Volume (mL): | 50 | 2 | 87231228 | 279.5143 | 93.17%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 87224653 | 279.4932 | 93.16%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 86491264 | 277.1432 | 92.38%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 88080316 | 282.235 | 94.08%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 87568449 | 280.5949 | 93.53%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 93.32%
Sample Dilution Factor | 9000 |  |  | RSD: | 0.6097%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment: | The amount of | 0 |  | dissolved as a percentage of the stated label claim is |  | 93.32%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## Levosulpiride 2
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | LEVOGASTROL 25MG TABLETS
Laboratory Ref No: | NDQD201503148 | 21
Active Ingredient: | Levosulpiride
Label Claim: | Each Tablet Contains Levosulpiride 25mg
Date Analysis Started: | 22/09/2015
Date Analysis Completed: | 22/09/2015
Analysis Data
Reference Substance: | Levosulpiride
Code: | L13-1
% age Purity: | 99.9
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.9
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 181094063 | 184673327.5655 | 191405531 | 188135436.1038
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 180075792 | 183634930.7743 | 191461344 | 188190295.5587 |  | 2.45%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 180484078 | 184051286.4127 | 192362243 | 189075803.0222
3rd Dilution Standard Volume (mL: | 1 | 4
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 180551311 | 184119848.2509 | 191743039.3333 | 188467178.2282
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 24.54 |  | 25.46
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 24.54 |  | 25.46
Standard Dilution Factor | 50 | Purity correction (mg): | 24.5155 |  | 25.4345
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.49031 |  | 0.50869
|  | Desired Concentration (mg/mL): | 0.5
|  | Desired Weight as free base (mg): | 25
|  | Desired Weight as salt (mg): | 25
|  | Average Normalised Response: | 186293513.2396
|  | RSD: | 1.303%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each Tablet Contains 25mg Levosulpiride
Each Tablet contains | 25 | Levosulpiride
Average Tablet Content Weight (mg): | 99.9805
Initial Sample dilution Volume (mL): | 50 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 1 | Assay Smp A | 103.3 | 1 | 184848959 | 24.009 | 96.04%
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 184407198 | 23.9516 | 95.81%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 183709144 | 23.861 | 95.44%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 99.04 | 1 | 176899910 | 23.9648 | 95.86%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 175405164 | 23.7623 | 95.05%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 177047489 | 23.9848 | 95.94%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 50 | Assay Smp C | 98.83 | 1 | 169861768 | 23.0603 | 92.24%
Desired Sample Weight (mg): | 99.98 |  |  | 2 | 169524886 | 23.0145 | 92.06%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 170312851 | 23.1215 | 92.49%
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 94.55%
[6 empty] | RSD: | 1.843%
[6 empty] | n: | 9
Comment: | The content of | Levosulpiride |  | in the sample as a percentage of the stated label claim is |  | 94.55%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Levosulpiride
Code: | L13-1
% age Purity: | 99.9
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.9
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 5 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 100 | 1 | 0.185 | 0.17889 | 0.185 | 0.18615
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.188 | 0.18179 | 0.187 | 0.18817 |  | 2.482%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.19 | 0.18372 | 0.183 | 0.18414
3rd Dilution Standard Volume (mL: | 1 | 4
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.18767 | 0.18147 | 0.185 | 0.18615
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 25.88 |  | 24.87
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 25.88 |  | 24.87
Standard Dilution Factor | 1000 | Purity correction: | 25.8541 |  | 24.8451
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.025854 |  | 0.024845
|  | Desired Concentration (mg/mL): | 0.025
|  | Desired Weight as free base (mg): | 25
|  | Desired Weight as salt (mg): | 25
|  | Average Normalised Peak Area: | 0.18381
|  | RSD: | 1.769%
|  | n: | 6
Medium Volume (mL): | 1000 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 0.166 | 22.5777 | 90.31%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 0.166 | 22.5777 | 90.31%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.173 | 23.5297 | 94.12%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.172 | 23.3937 | 93.57%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.172 | 23.3937 | 93.57%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.174 | 23.6657 | 94.66%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 92.76%
Sample Dilution Factor | 1000 |  |  | RSD: | 2.09%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment: | The amount of | Levosulpiride |  | dissolved as a percentage of the stated label claim is |  | 92.76%
| Name |  |  | Date |  | Signature
Analysed by: | KEFA |  |  | 23/09/2015
Reviewed By:
0