## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | LORABIL PLUS CAPSULES
Laboratory Ref No: |  | NDQD201503149
Active Ingredient: |  | Rabeprazole sodium & Itopride hydrochloride
Label Claim: |  | Each hard gelatin capsule contains: Rabeprazole Sodium (enteric coated) 20 mg, Itopride hydrochloride (Sustained Release) 150 mg
Date Analysis Started: |  | 2015-03-25 07:26:21
Date Analysis Completed: |  | 2015-08-10 14:08:10
Analysis Data |  | Uniformity of weight
Capsule No. | Intact Capsule (mg) | Empty Shell (mg) | Capsule Content (mg) | % Deviation
1 | 431.48 | 76.33 | 355.15 | -0.4139%
2 | 440.53 | 76.96 | 363.57 | 1.947%
3 | 424.03 | 73.18 | 350.85 | -1.62%
4 | 428.16 | 73.18 | 354.98 | -0.4615%
5 | 429.78 | 77.71 | 352.07 | -1.278%
6 | 427.69 | 75.89 | 351.8 | -1.353%
7 | 416.22 | 76.32 | 339.9 | -4.69%
8 | 443.74 | 75.19 | 368.55 | 3.344%
9 | 423.73 | 77.66 | 346.07 | -2.96%
10 | 445 | 76.11 | 368.89 | 3.439%
11 | 426.96 | 77.9 | 349.06 | -2.122%
12 | 420.72 | 73.17 | 347.55 | -2.545%
13 | 435.1 | 77.53 | 357.57 | 0.2647%
14 | 435.24 | 74.75 | 360.49 | 1.083%
15 | 444.39 | 75.21 | 369.18 | 3.52%
16 | 438.62 | 75.22 | 363.4 | 1.899%
17 | 413.1 | 75.62 | 337.48 | -5.369%
18 | 442.76 | 78.72 | 364.04 | 2.079%
19 | 445.54 | 76.68 | 368.86 | 3.43%
20 | 440.11 | 77.05 | 363.06 | 1.804%
Total | 8652.9 | 1520.38 | 7132.52
Average | 432.645 | 76.019 | 356.626
| Average | % Deviation from mean
| 356.626 | -7.5% | 329.8791
|  | 7.5% | 383.3729
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## SST (RABEPRAZOLE)
Rabeprazole
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | LORABIL PLUS CAPSULES
Reference Substance: | Rabeprazole
% age Purity: | 92.5
Weight (mg): | 19.88
Standard Conc (mg/mL): | 0.05
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 15290487 | 12331.1 | 1 | 10.5
2 | 15317042 | 12270.1 | 1 | 10.5
3 | 15258673 | 12266 | 1 | 10.5
4 | 15204620 | 12268.5 | 1 | 10.5
5 | 15151279 | 12279.9 | 1 | 10.5
6 | 15119730 | 12297.1 | 1 | 10.5
Averages: | 15223638.5 | 12285.45 | 1 | 10.5
RSD: | 0.5157%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Rabeprazole
% age Purity: | 92.5
Weight (mg): | 24.27
Standard Conc (mg/mL): | 0.02
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 15256149 | 10272.7 | 1.1 | 4
2 | 15298943 | 10424.7 | 1.1 | 4
3 | 15253603 | 10414.4 | 1.1 | 4
4 | 15233375 | 10350.4 | 1.1 | 4
5 | 15221943 | 10274.7 | 1.1 | 4
6 | 15217751 | 10407.2 | 1.1 | 4
Averages: | 15246960.6667 | 10357.35 | 1.1 | 4
RSD: | 0.1966%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## SST (Itopride)
Itopride
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | LORABIL PLUS CAPSULES
Reference Substance: | Itopride
% age Purity: | 99.34
Weight (mg): | 35.54
Standard Conc (mg/mL): | 0.15
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 47736787 | 10427.6 | 1.1 | 4.6
2 | 47818722 | 10505.7 | 1.1 | 4.6
3 | 47916911 | 10443.3 | 1 | 4.6
4 | 47745013 | 10581.1 | 1.1 | 4.6
5 | 47832363 | 10546.9 | 1.1 | 4.6
6 | 47920180 | 10488.6 | 1 | 4.6
Averages: | 47828329.3333 | 10498.8667 | 1.0667 | 4.6
RSD: | 0.1665%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Itopride
% age Purity: | 99.34
Weight (mg): | 35.54
Standard Conc (mg/mL): | 0.15
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 47736787 | 10427.6 | 1.1 | 4.6
2 | 47818722 | 10505.7 | 1.1 | 4.6
3 | 47916911 | 10443.3 | 1 | 4.6
4 | 47745013 | 10581.1 | 1.1 | 4.6
5 | 47832363 | 10546.9 | 1.1 | 4.6
6 | 47920180 | 10488.6 | 1 | 4.6
Averages: | 47828329.3333 | 10498.8667 | 1.0667 | 4.6
RSD: | 0.1665%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## itopride (2)
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | LORABIL PLUS CAPSULES |  | LORABIL PLUS CAPSULES
Laboratory Ref No: | NDQD201503149 | 2
Active Ingredient: | Rabeprazole sodium & Itopride hydrochloride
Label Claim: | Each hard gelatin capsule contains: Rabeprazole Sodium (enteric coated) 20 mg, Itopride hydrochloride (Sustained Release) 150 mg
Date Analysis Started:
Date Analysis Completed:
Analysis Data
Reference Substance: | Itopride
Code: | ws-17/15-16
% age Purity: | 99.34
% Water content: | 0 | If correction for water content is NOT needed, enter 0
% Purity corrected for water: | 99.34
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 5 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 50 | 1 | 47754860 | 50723272.4728 | 50783069 | 50000453.8956
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 47869354 | 50844883.3488 | 50709357 | 49927877.8672
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 47827036 | 50799934.8882 | 50726689 | 49944942.7647
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 47817083.3333 | 50789363.57 | 50739705 | 49957758.1758
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 35.54 |  | 38.34
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 35.54 |  | 38.34
Standard Dilution Factor | 250 | Purity correction (mg): | 35.3054 |  | 38.087
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.14122 |  | 0.15235
|  | Desired Concetration (mg/mL): | 0.15
|  | Desired Weight as free base (mg): | 37.5
|  | Desired Weight as salt (mg): | 37.5
|  | Average Normalised Response: | 50373560.8729
|  | RSD: | 0.9088%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each hard gelatin capsule contains: Rabeprazole Sodium (enteric coated) 20 mg, Itopride hydrochloride (Sustained Release) 150 mg
Each Capsule/Tablet contains | 150 | Rabeprazole sodium & Itopride hydrochloride
Average Capsule/Tablet Content Weight (mg): | 356.626
Initial Sample dilution (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 5 | Assay Smp A | 353.81 | 1 | 47493304 | 142.5489 | 95.03%
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 47648384 | 143.0144 | 95.34%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 47584161 | 142.8216 | 95.21%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 346.51 | 1 | 48041811 | 147.233 | 98.16%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 48068907 | 147.3161 | 98.21%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 48130369 | 147.5044 | 98.34%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1000 | Assay Smp C | 331.49 | 1 | 45149607 | 144.6389 | 96.43%
Desired Sample Weight (mg): | 356.626 |  |  | 2 | 45158837 | 144.6685 | 96.45%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 44940036 | 143.9675 | 95.98%
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 96.57%
[6 empty] | RSD: | 1.39%
[6 empty] | n: | 9
Comment | The content of | Rabeprazole sodium & Itopride hydrochloride |  | in the sample as a percentage of the stated label claim is |  | 96.57%
Determination of Active Ingredient Dissolved
Reference Substance: | Itopride
Code: | ws-17/15-16
% age Purity: | 99.34
% Water content: | 0 | If correction for water content is NOT needed, enter 0
% Purity corrected for water: | 99.34
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 5 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 50 | 1 | 47754860 | 50723272.4728 | 50783069 | 50000453.8956
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 47869354 | 50844883.3488 | 50709357 | 49927877.8672
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 47827036 | 50799934.8882 | 50726689 | 49944942.7647
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 47817083.3333 | 50789363.57 | 50739705 | 49957758.1758
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 35.54 |  | 38.34
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 35.54 |  | 38.34
Standard Dilution Factor | 250 | Purity correction (mg): | 35.3054 |  | 38.087
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.14122 |  | 0.15235
|  | Desired Concetration (mg/mL): | 0.15
|  | Desired Weight as free base (mg): | 37.5
|  | Desired Weight as salt (mg): | 37.5
|  | Average Normalised Peak Area: | 50373560.8729
|  | RSD: | 0.9088%
|  | n: | 6
Analysis Data: 8 HOURS
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 41290833 | 110.6585 | 73.77%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 38134528 | 102.1997 | 68.13%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 39871842 | 106.8556 | 71.24%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 42819237 | 114.7546 | 76.5%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 40806234 | 109.3598 | 72.91%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 45033556 | 120.6889 | 80.46%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 73.84%
Sample Dilution Factor | 900 |  |  | RSD: | 5.782%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment: | The amount of | Rabeprazole sodium & Itopride hydrochloride |  | dissolved as a percentage of the stated label claim is |  | 73.84%
Analysis Data: 12 HOURS
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 42073479 | 112.756 | 75.17%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 42288469 | 113.3321 | 75.55%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 43373502 | 116.24 | 77.49%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 45290618 | 121.3778 | 80.92%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 44757501 | 119.9491 | 79.97%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 46812612 | 125.4567 | 83.64%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 78.79%
Sample Dilution Factor | 900 |  |  | RSD: | 4.197%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment: | The amount of | Rabeprazole sodium & Itopride hydrochloride |  | dissolved as a percentage of the stated label claim is |  | 78.79%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## itopride
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | LORABIL PLUS CAPSULES |  | LORABIL PLUS CAPSULES
Laboratory Ref No: | NDQD201503149 | 2
Active Ingredient: | Rabeprazole sodium & Itopride hydrochloride
Label Claim: | Each hard gelatin capsule contains: Rabeprazole Sodium (enteric coated) 20 mg, Itopride hydrochloride (Sustained Release) 150 mg
Date Analysis Started:
Date Analysis Completed:
Analysis Data
Reference Substance: | itopride
Code: | ws-17/15-16
% age Purity: | 99.34
% Water content: | 0 | If correction for water content is NOT needed, enter 0
% Purity corrected for water: | 99.34
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 5 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 50 | 1 | 47754860 | 50723272.4728 | 50783069 | 50000453.8956
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 47869354 | 50844883.3488 | 50709357 | 49927877.8672
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 47827036 | 50799934.8882 | 50726689 | 49944942.7647
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 47817083.3333 | 50789363.57 | 50739705 | 49957758.1758
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 35.54 |  | 38.34
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 35.54 |  | 38.34
Standard Dilution Factor | 250 | Purity correction (mg): | 35.3054 |  | 38.087
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.14122 |  | 0.15235
|  | Desired Concetration (mg/mL): | 0.15
|  | Desired Weight as free base (mg): | 37.5
|  | Desired Weight as salt (mg): | 37.5
|  | Average Normalised Response: | 50373560.8729
|  | RSD: | 0.9088%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each hard gelatin capsule contains: Rabeprazole Sodium (enteric coated) 20 mg, Itopride hydrochloride (Sustained Release) 150 mg
Each Capsule/Tablet contains | 150 | Rabeprazole sodium & Itopride hydrochloride
Average Capsule/Tablet Content Weight (mg): | 356.626
Initial Sample dilution (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 5 | Assay Smp A | 353.81 | 1 | 47493304 | 142.5489 | 95.03%
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 47648384 | 143.0144 | 95.34%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 47584161 | 142.8216 | 95.21%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 346.51 | 1 | 48041811 | 147.233 | 98.16%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 48068907 | 147.3161 | 98.21%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 48130369 | 147.5044 | 98.34%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1000 | Assay Smp C | 331.49 | 1 | 45149607 | 144.6389 | 96.43%
Desired Sample Weight (mg): | 356.626 |  |  | 2 | 45158837 | 144.6685 | 96.45%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 44940036 | 143.9675 | 95.98%
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 96.57%
[6 empty] | RSD: | 1.39%
[6 empty] | n: | 9
Comment | The content of | Rabeprazole sodium & Itopride hydrochloride |  | in the sample as a percentage of the stated label claim is |  | 96.57%
Determination of Active Ingredient Dissolved
Reference Substance: | Itopride
Code: | ws-17/15-16
% age Purity: | 99.34
% Water content: | 0 | If correction for water content is NOT needed, enter 0
% Purity corrected for water: | 99.34
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 5 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 50 | 1 | 47754860 | 50723272.4728 | 50783069 | 50000453.8956
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 47869354 | 50844883.3488 | 50709357 | 49927877.8672
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 47827036 | 50799934.8882 | 50726689 | 49944942.7647
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 47817083.3333 | 50789363.57 | 50739705 | 49957758.1758
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 35.54 |  | 38.34
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 35.54 |  | 38.34
Standard Dilution Factor | 250 | Purity correction (mg): | 35.3054 |  | 38.087
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.14122 |  | 0.15235
|  | Desired Concetration (mg/mL): | 0.15
|  | Desired Weight as free base (mg): | 37.5
|  | Desired Weight as salt (mg): | 37.5
|  | Average Normalised Peak Area: | 50373560.8729
|  | RSD: | 0.9088%
|  | n: | 6
Analysis Data: 1 HOUR
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 17667757 | 47.3492 | 31.57%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 14537305 | 38.9596 | 25.97%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 14900180 | 39.9321 | 26.62%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 17426304 | 46.7021 | 31.13%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 16450717 | 44.0875 | 29.39%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 20086707 | 53.8319 | 35.89%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 30.1%
Sample Dilution Factor | 900 |  |  | RSD: | 12.1%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment: | The amount of | Rabeprazole sodium & Itopride hydrochloride |  | dissolved as a percentage of the stated label claim is |  | 30.1%
Analysis Data: 4 HOURS
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 34676305 | 92.9317 | 61.95%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 31235324 | 83.71 | 55.81%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 31418042 | 84.1996 | 56.13%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 34938177 | 93.6335 | 62.42%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 33953206 | 90.9938 | 60.66%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 36240989 | 97.125 | 64.75%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 60.29%
Sample Dilution Factor | 900 |  |  | RSD: | 5.968%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment: | The amount of | Rabeprazole sodium & Itopride hydrochloride |  | dissolved as a percentage of the stated label claim is |  | 60.29%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## Rabeprazole
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | LORABIL PLUS CAPSULES |  | LORABIL PLUS CAPSULES
Laboratory Ref No: | NDQD201503149 | 2
Active Ingredient: | Rabeprazole sodium & Itopride hydrochloride
Label Claim: | Each hard gelatin capsule contains: Rabeprazole Sodium (enteric coated) 20 mg, Itopride hydrochloride (Sustained Release) 150 mg
Date Analysis Started:
Date Analysis Completed:
Analysis Data
Reference Substance: | Rabeprazole
Code: | Ws-16/15-16
% age Purity: | 99
% Water content: | 6.5 | If correction for water content is NOT needed, enter 0
% Purity corrected for water: | 92.5
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 5 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 100 | 1 | 15049951 | 81842139.3224 | 17083155 | 82337385.9816
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 14982243 | 81473940.943 | 17006662 | 81968705.0403
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 14942967 | 81260356.735 | 16913374 | 81519075.5624
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 14991720.3333 | 81525479.0001 | 17001063.6667 | 81941722.1948
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 19.88 |  | 22.43
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 19.88 |  | 22.43
Standard Dilution Factor | 2000 | Purity correction (mg): | 18.389 |  | 20.7477
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.0091945 |  | 0.010374
|  | Desired Concetration (mg/mL): | 0.05
|  | Desired Weight as free base (mg): | 100
|  | Desired Weight as salt (mg): | 100
|  | Average Normalised Response: | 81733600.5975
|  | RSD: | 0.4798%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each hard gelatin capsule contains: Rabeprazole Sodium (enteric coated) 20 mg, Itopride hydrochloride (Sustained Release) 150 mg
Each Capsule/Tablet contains | 20 | Rabeprazole sodium & Itopride hydrochloride
Average Capsule/Tablet Content Weight (mg): | 356.626
Initial Sample dilution (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 5 | Assay Smp A | 509.01 | 1 | 22353278 | 19.1614 | 95.81%
1st Dilution Sample Final Volume (mL): | 100 |  |  | 2 | 21978131 | 18.8398 | 94.2%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 21968709 | 18.8317 | 94.16%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 482.61 | 1 | 20775251 | 18.7829 | 93.91%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 20383848 | 18.429 | 92.15%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 20306199 | 18.3588 | 91.79%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 2000 | Assay Smp C | 471.48 | 1 | 20542771 | 19.0111 | 95.06%
Desired Sample Weight (mg): | 1783.13 |  |  | 2 | 20524930 | 18.9946 | 94.97%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 20398780 | 18.8779 | 94.39%
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 94.05%
[6 empty] | RSD: | 1.398%
[6 empty] | n: | 9
Comment | The content of | Rabeprazole sodium & Itopride hydrochloride |  | in the sample as a percentage of the stated label claim is |  | 94.05%
Determination of Active Ingredient Dissolved
Reference Substance: | Rabeprazole
Code: | Ws-16/15-16
% age Purity: | 99
% Water content: | 6.5 | If correction for water content is NOT needed, enter 0
% Purity corrected for water: | 92.5
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 5 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 50 | 1 | 15227036 | 13565439.2588 | 16909037 | 13490804.428
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 15172014 | 13516421.341 | 16905286 | 13487811.7084
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 15198012 | 13539582.4007 | 16910511 | 13491980.4528
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 15199020.6667 | 13540481.0002 | 16908278 | 13490198.8631
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 24.27 |  | 27.1
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 24.27 |  | 27.1
Standard Dilution Factor | 1000 | Purity correction (mg): | 22.4497 |  | 25.0675
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.02245 |  | 0.025067
|  | Desired Concetration (mg/mL): | 0.02
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 20
|  | Average Normalised Peak Area: | 13515339.9316
|  | RSD: | 0.2341%
|  | n: | 6
Analysis Data: Acid Stage
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 14268631 | 19.0032 | 95.02%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 14214175 | 18.9307 | 94.65%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 14250484 | 18.9791 | 94.9%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 14054744 | 18.7184 | 93.59%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 14232573 | 18.9552 | 94.78%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 14066493 | 18.734 | 93.67%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 94.43%
Sample Dilution Factor | 900 |  |  | RSD: | 0.6713%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment: | The amount of | Rabeprazole sodium & Itopride hydrochloride |  | dissolved as a percentage of the stated label claim is |  | 94.43%
Analysis Data: Buffer Stage
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 12775932 | 17.0152 | 85.08%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 11810208 | 15.7291 | 78.65%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 12715351 | 16.9346 | 84.67%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 12556857 | 16.7235 | 83.62%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 12817367 | 17.0704 | 85.35%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 11798242 | 15.7131 | 78.57%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 82.65%
Sample Dilution Factor | 900 |  |  | RSD: | 3.861%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment: | The amount of | Rabeprazole sodium & Itopride hydrochloride |  | dissolved as a percentage of the stated label claim is |  | 82.65%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## Sheet1
|  | 5 | 100
5
0.37 |  | 0.25 | 0.025
4.07
4.07
0.022222
0.05