## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | Miratan-50 Tablets
% age Purity: | NDQD201504171
Weight (mg): | Losartan Potassium USP
Standard Conc (mg/mL): | Losartan Potassium USP 50mg
2015-04-13 10:34:20
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | 0 | 0 | 0 | 0
RSD: | 0
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | 0 | 0 | 0 | 0
RSD: | 0
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | Miratan-50 Tablets
Laboratory Ref No: |  | NDQD201504171
Active Ingredient: |  | Losartan Potassium USP
Label Claim: |  | Losartan Potassium USP 50mg
Date Analysis Started: |  | 2015-04-13 10:34:20
Date Analysis Completed: |  | 0
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 139.66 | -2.075%
|  | 140.55 | -1.451%
|  | 142.18 | -0.3082%
|  | 146.97 | 3.05%
|  | 143.12 | 0.3509%
|  | 138.12 | -3.155%
|  | 145.62 | 2.104%
|  | 145.75 | 2.195%
|  | 138.93 | -2.587%
|  | 141.86 | -0.5325%
|  | 136.78 | -4.094%
|  | 140.9 | -1.206%
|  | 136.4 | -4.361%
|  | 150.9 | 5.806%
|  | 147.64 | 3.52%
|  | 144.12 | 1.052%
|  | 146.1 | 2.44%
|  | 145.36 | 1.922%
|  | 141.73 | -0.6237%
|  | 139.7 | -2.047%
| Total | 2852.39
| Average | 142.6195
| Average | % Deviation from mean
| 142.6195 | -7.5% | 131.923
|  | 7.5% | 153.316
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## Losartan Potassium
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | Miratan-50 Tablets
Laboratory Ref No: | NDQD201504171 | 1
Active Ingredient: | Losartan Potassium USP
Label Claim: | Losartan Potassium USP 50mg
Date Analysis Started: | 2015-04-13 10:34:20
Date Analysis Completed:
Analysis Data
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.13
Mwt of compound in free base form: | 154.46 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 165.23 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 0.93482 | free base
Initial Standard dilution volume (mL): | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 200 | 1 | 52522362 | 56406920.2531 | 53289728 | 55765855.0248
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 52553125 | 56439958.4871 | 53121237 | 55589535.0278 |  | 0.9166%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 52565096 | 56452814.8633 | 54057613 | 56569420.0868
3rd Dilution Standard Volume (mL: | 1 | 4 | 52522362 | 56406920.2531 | 53289728 | 55765855.0248
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 52540736.25 | 56426653.4642 | 53439576.5 | 55922666.291
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 25.12 |  | 25.78
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 23.4826 |  | 24.0996
Standard Dilution Factor | 1250 | Purity correction (mg): | 23.2783 |  | 23.8899
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.018623 |  | 0.019112
|  | Desired Concentration (mg/mL): | 0.02
|  | Desired Weight as free base (mg): | 25
|  | Desired Weight as salt (mg): | 26.7432
|  | Average Normalised Response: | 56174659.8776
|  | RSD: | 0.7018%
|  | n: | 8
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim:
Each Tablet contains | 300
Average Tablet Content Weight (mg): | 142.6195
Initial Sample dilution Volume (mL): | 50 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 4 | Assay Smp A | 90.52 | 1 | 55899703 | 78.3923 | 26.13%
1st Dilution Sample Final Volume (mL): | 200 |  |  | 2 | 56207803 | 78.8244 | 26.27%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 54857529 | 76.9308 | 25.64%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 | 55899703 | 78.3923 | 26.13%
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 87.21 | 1 | 54374410 | 79.1474 | 26.38%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 55245409 | 80.4152 | 26.81%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 54431185 | 79.2301 | 26.41%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 | 54374410 | 79.1474 | 26.38%
Sample Dilution Factor | 2500 | Assay Smp C | 105.17 | 1 | 63256003 | 76.3516 | 25.45%
Desired Sample Weight (mg): | 23.7699 |  |  | 2 | 63562552 | 76.7216 | 25.57%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 63968506 | 77.2116 | 25.74%
|  |  |  | 4 | 63256003 | 76.3516 | 25.45%
[6 empty] | Average: | 26.03%
[6 empty] | RSD: | 1.713%
[6 empty] | n: | 12
Comment: | The content of |  |  | in the sample as a percentage of the stated label claim is |  | 26.03%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance:
Code: | 99.13
% age Purity: | 99.13
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.13
Mwt of compound in free base form: | 154.46 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 165.23 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 0.93482 | free base
Initial Standard dilution volume (mL): | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 200 | 1 | 52522362 | 94011533.7552 | 53289728 | 92943091.708
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 52553125 | 94066597.4786 | 53121237 | 92649225.0464 |  | 0.9166%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 52565096 | 94088024.7721 | 54057613 | 94282366.8113
3rd Dilution Standard Volume (mL: | 1 | 4 | 52522362 | 94011533.7552 | 53289728 | 92943091.708
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 52540736.25 | 94044422.4403 | 53439576.5 | 93204443.8184
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 25.12 |  | 25.78
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 23.4826 |  | 24.0996
Standard Dilution Factor | 1250 | Purity correction: | 23.2783 |  | 23.8899
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.018623 |  | 0.019112
|  | Desired Concentration (mg/mL): | 0.033333
|  | Desired Weight as free base (mg): | 41.6667
|  | Desired Weight as salt (mg): | 44.5719
|  | Average Normalised Peak Area: | 93624433.1293
|  | RSD: | 0.7018%
|  | n: | 8
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 5 | 1 | 87619284 | 280.7578 | 93.59%
1st Dilution Sample Final Volume (mL): | 50 | 2 | 87231228 | 279.5143 | 93.17%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 87224653 | 279.4932 | 93.16%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 86491264 | 277.1432 | 92.38%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 88080316 | 282.235 | 94.08%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 87568449 | 280.5949 | 93.53%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 93.32%
Sample Dilution Factor | 9000 |  |  | RSD: | 0.6097%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment: | The amount of |  |  | dissolved as a percentage of the stated label claim is |  | 93.32%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5