## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | I - NEM 500 MG INJECTION
% age Purity: | NDQD201505237
Weight (mg): | IMEPENEM USP, CILASTATIN
Standard Conc (mg/mL): | Imipenem 500mg & Cilastatin 500mg per bottle
2015-05-19 10:43:01
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Uniformity 1
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | I - NEM 500 MG INJECTION
Laboratory Ref No: |  | NDQD201505237
Active Ingredient: |  | IMEPENEM USP, CILASTATIN
Label Claim: |  | Imipenem 500mg & Cilastatin 500mg per bottle
Date Analysis Started: |  | 2015-05-19 10:43:01
Date Analysis Completed: |  | 2015-05-27 11:19:25
Analysis Data |  | Uniformity of weight
Capsule No. | Intact Capsule (mg) | Empty Shell (mg) | Capsule Content (mg) | % Deviation
1 | 21442.59 | 20309.8 | 1132.79 | 1.072%
2 | 21044.6 | 19911.34 | 1133.26 | 1.114%
3 | 21659.01 | 20533.8 | 1125.21 | 0.3962%
4 | 21098.98 | 19967.44 | 1131.54 | 0.9609%
5 | 21134.35 | 20014.12 | 1120.23 | -0.04818%
6 | 21315.56 | 20191.28 | 1124.28 | 0.3132%
7 | 21262.68 | 20113.03 | 1149.65 | 2.577%
8 | 21172.43 | 19834.24 | 1338.19 | 19.4%
9 | 21304.13 | 20162.08 | 1142.05 | 1.899%
10 | 21127.09 | 20000.34 | 1126.75 | 0.5336%
11 | 21536.17 | 20571.13 | 965.04 | -13.89%
12 | 21493.19 | 20391.24 | 1101.95 | -1.679%
13 | 21328.63 | 20206.69 | 1121.94 | 0.1044%
14 | 21219.06 | 20082.02 | 1137.04 | 1.452%
15 | 21112.72 | 19991.38 | 1121.34 | 0.05086%
16 | 21279.53 | 20121.14 | 1158.39 | 3.357%
17 | 21135.69 | 20024.22 | 1111.47 | -0.8298%
18 | 20934.26 | 20035.13 | 899.13 | -19.78%
19 | 21505.52 | 20382.88 | 1122.64 | 0.1668%
20 | 21388.48 | 20235.97 | 1152.51 | 2.832%
Total | 425494.67 | 403079.27 | 22415.4
Average | 21274.7335 | 20153.9635 | 1120.77
| Average | % Deviation from mean
| 1120.77 | -7.5% | 1036.7122
|  | 7.5% | 1204.8277
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | I - NEM 500 MG INJECTION
Laboratory Ref No: |  | NDQD201505237
Active Ingredient: |  | IMEPENEM USP, CILASTATIN
Label Claim: |  | Imipenem 500mg & Cilastatin 500mg per bottle
Date Analysis Started: |  | 2015-05-19 10:43:01
Date Analysis Completed: |  | 2015-05-27 11:19:30
Analysis Data |  | Uniformity of weight
Capsule No. | Intact Capsule (mg) | Empty Shell (mg) | Capsule Content (mg) | % Deviation
1 | 21442.59 | 20309.8 | 1132.79 | 1.072%
2 | 21044.6 | 19911.34 | 1133.26 | 1.114%
3 | 21659.01 | 20533.8 | 1125.21 | 0.3962%
4 | 21098.98 | 19967.44 | 1131.54 | 0.9609%
5 | 21134.35 | 20014.12 | 1120.23 | -0.04818%
6 | 21315.56 | 20191.28 | 1124.28 | 0.3132%
7 | 21262.68 | 20113.03 | 1149.65 | 2.577%
8 | 21172.43 | 19834.24 | 1338.19 | 19.4%
9 | 21304.13 | 20162.08 | 1142.05 | 1.899%
10 | 21127.09 | 20000.34 | 1126.75 | 0.5336%
11 | 21536.17 | 20571.13 | 965.04 | -13.89%
12 | 21493.19 | 20391.24 | 1101.95 | -1.679%
13 | 21328.63 | 20206.69 | 1121.94 | 0.1044%
14 | 21219.06 | 20082.02 | 1137.04 | 1.452%
15 | 21112.72 | 19991.38 | 1121.34 | 0.05086%
16 | 21279.53 | 20121.14 | 1158.39 | 3.357%
17 | 21135.69 | 20024.22 | 1111.47 | -0.8298%
18 | 20934.26 | 20035.13 | 899.13 | -19.78%
19 | 21505.52 | 20382.88 | 1122.64 | 0.1668%
20 | 21388.48 | 20235.97 | 1152.51 | 2.832%
Total | 425494.67 | 403079.27 | 22415.4
Average | 21274.7335 | 20153.9635 | 1120.77
| Average | % Deviation from mean
| 1120.77 | -7.5% | 1036.7122
|  | 7.5% | 1204.8277
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## imipenem
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | I - NEM 500 MG INJECTION
Laboratory Ref No: | NDQD201505237 | 1
Active Ingredient: | IMEPENEM USP, CILASTATIN
Label Claim: | Imipenem 500mg & Cilastatin 500mg per bottle
Date Analysis Started: | 2015-05-19 10:43:01
Date Analysis Completed:
Analysis Data
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | - |  | #DIV/0!
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction (mg): | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0 |  | 0
|  | Desired Concentration (mg/mL): | 0.1
|  | Desired Weight as free base (mg): | 0.1
|  | Desired Weight as salt (mg): | 0.1
|  | Average Normalised Response: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Imipenem 500mg & Cilastatin 500mg per bottle
Each Capsule contains |  | IMEPENEM USP, CILASTATIN
Average Capsule Content Weight (mg):
Initial Sample dilution Volume (mL): | 1 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 1 | Assay Smp A |  | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B |  | 1 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1 | Assay Smp C |  | 1 |  | - | -
Desired Sample Weight (mg): | #DIV/0! |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | - | -
|  |  |  | 4 |  | - | -
[6 empty] | Average: | #DIV/0!
[6 empty] | RSD: | #DIV/0!
[6 empty] | n: | 0
Comment: | The content of | IMEPENEM USP, CILASTATIN |  | in the sample as a percentage of the stated label claim is |  | #DIV/0!
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | 0
Code: | 0
% age Purity: | 0
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | - |  | #DIV/0!
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concentration (mg/mL): | 0
|  | Desired Weight as free base (mg): | 0
|  | Desired Weight as salt (mg): | 0
|  | Average Normalised Peak Area: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | #DIV/0!
Sample Dilution Factor | 1 |  |  | RSD: | #DIV/0!
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Comment: | The amount of | IMEPENEM USP, CILASTATIN |  | dissolved as a percentage of the stated label claim is |  | #DIV/0!
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## cilastatin
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | I - NEM 500 MG INJECTION
Laboratory Ref No: | NDQD201505237 | 1
Active Ingredient: | IMEPENEM USP, CILASTATIN
Label Claim: | Imipenem 500mg & Cilastatin 500mg per bottle
Date Analysis Started: | 2015-05-19 10:43:01
Date Analysis Completed:
Analysis Data
Reference Substance:
Code:
% age Purity:
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | - |  | #DIV/0!
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction (mg): | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0 |  | 0
|  | Desired Concentration (mg/mL): | 0.1
|  | Desired Weight as free base (mg): | 0.1
|  | Desired Weight as salt (mg): | 0.1
|  | Average Normalised Response: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Imipenem 500mg & Cilastatin 500mg per bottle
Each Capsule contains |  | IMEPENEM USP, CILASTATIN
Average Capsule Content Weight (mg):
Initial Sample dilution Volume (mL): | 1 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 1 | Assay Smp A |  | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B |  | 1 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1 | Assay Smp C |  | 1 |  | - | -
Desired Sample Weight (mg): | #DIV/0! |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | - | -
|  |  |  | 4 |  | - | -
[6 empty] | Average: | #DIV/0!
[6 empty] | RSD: | #DIV/0!
[6 empty] | n: | 0
Comment: | The content of | IMEPENEM USP, CILASTATIN |  | in the sample as a percentage of the stated label claim is |  | #DIV/0!
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | 0
Code: | 0
% age Purity: | 0
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | - |  | #DIV/0!
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concentration (mg/mL): | 0
|  | Desired Weight as free base (mg): | 0
|  | Desired Weight as salt (mg): | 0
|  | Average Normalised Peak Area: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | #DIV/0!
Sample Dilution Factor | 1 |  |  | RSD: | #DIV/0!
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Comment: | The amount of | IMEPENEM USP, CILASTATIN |  | dissolved as a percentage of the stated label claim is |  | #DIV/0!
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## imipenem 1
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name:
Laboratory Ref No: |  | 8
Active Ingredient:
Label Claim:
Date Analysis Started:
Date Analysis Completed:
Analysis Data
Reference Substance:
Code:
% age Purity:
% Water content: | 0 | If correction for water content is NOT needed, enter 0
% Purity corrected for water: | 0
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | -
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction (mg): | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0 |  | 0
Desired Concetration (mg/mL):
|  | Desired Weight as free base (mg): | 0
|  | Desired Weight as salt (mg): | 0
|  | Average Normalised Response: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | 0
Each Vial contains |  | 0
Average Vial Content Weight (mg):
Initial Sample dilution (mL): | 1 |  | Sample Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 1 | Assay Smp A |  | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B |  | 1 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1 | Assay Smp C |  | 1 |  | - | -
Desired Sample Weight (mg): | #DIV/0! |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | - | -
|  |  |  | 4 |  | - | -
[6 empty] | Average: | #DIV/0!
[6 empty] | RSD: | #DIV/0!
[6 empty] | n: | 0
Comment: | The content of | 0 |  | in the sample as a percentage of the stated label claim is |  | #DIV/0!
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## cilastatin 1
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name:
Laboratory Ref No: |  | 8
Active Ingredient:
Label Claim:
Date Analysis Started:
Date Analysis Completed:
Analysis Data
Reference Substance:
Code:
% age Purity:
% Water content: | 0 | If correction for water content is NOT needed, enter 0
% Purity corrected for water: | 0
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | -
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction (mg): | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0 |  | 0
Desired Concetration (mg/mL):
|  | Desired Weight as free base (mg): | 0
|  | Desired Weight as salt (mg): | 0
|  | Average Normalised Response: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | 0
Each Vial contains |  | 0
Average Vial Content Weight (mg):
Initial Sample dilution (mL): | 1 |  | Sample Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 1 | Assay Smp A |  | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B |  | 1 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1 | Assay Smp C |  | 1 |  | - | -
Desired Sample Weight (mg): | #DIV/0! |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | - | -
|  |  |  | 4 |  | - | -
[6 empty] | Average: | #DIV/0!
[6 empty] | RSD: | #DIV/0!
[6 empty] | n: | 0
Comment: | The content of | 0 |  | in the sample as a percentage of the stated label claim is |  | #DIV/0!
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## imipenem 2
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name:
Laboratory Ref No: |  | 19
Active Ingredient:
Label Claim:
Date Analysis Started:
Date Analysis Completed:
Analysis Data | Determination of weight variation of the Sample
Label Claim: | 0
Each Tablet/Capsule/vial contains | 88.281 | 0 | Please enter the percentage amount determined from the Assay test
| Tablet/Capsule/Vial No. | Weight: | Content as % of the average content
| 1 | 259.02 | 88.3154
| 2 | 261.08 | 89.0178 |  | Calculation of acceptance value (AV)
| 3 | 260.09 | 88.6802 |  | Average | 88.281
| 4 | 257.73 | 87.8756 |  | k | 2.4
| 5 | 256.26 | 87.3744 |  | s | 0.52475
| 6 | 257.31 | 87.7324 |  | M | 98.5
| 7 | 258.41 | 88.1074 |  | AV (≤ 15) | 11.4784
| 8 | 259.33 | 88.4211
| 9 | 259.11 | 88.3461
| 10 | 260.85 | 88.9394
| Average tablet: | 258.919 | 88.281
| RSD: | 0.5944% | 0.5944%
| n: | 10 | 10
Analysis Data | Repeat Determination of Weight Variation of the Sample
| Tablet/Capsule/Vial No. | Weight: | Content as % of the average content
| 1 | 259.02 | 88.3154
| 2 | 261.08 | 89.0178 |  | Calculation of acceptance value (AV)
| 3 | 260.09 | 88.6802 |  | Average | 88.281
| 4 | 257.73 | 87.8756 |  | k | 2
| 5 | 256.26 | 87.3744 |  | s | 0.51075
| 6 | 257.31 | 87.7324 |  | M | 98.5
| 7 | 258.41 | 88.1074 |  | AV (≤ 15) and | 11.2405
| 8 | 259.33 | 88.4211 |  | No Unit Less than nor | 73.875
| % Deviation from mean | 259.11 | 88.3461 |  | No Unit greater than | 123.125
| 10 | 260.85 | 88.9394
| 11 | 259.02 | 88.3154
| 12 | 261.08 | 89.0178
| 13 | 260.09 | 88.6802
| 14 | 257.73 | 87.8756
| 15 | 256.26 | 87.3744
| 16 | 257.31 | 87.7324
| 17 | 258.41 | 88.1074
| 18 | 259.33 | 88.4211
| 19 | 259.11 | 88.3461
| 20 | 260.85 | 88.9394
| Average tablet: | 258.919 | 88.281
| RSD: | 0.5786% | 0.5786%
| n: | 20 | 20
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## cilastatin 2
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name:
Laboratory Ref No: |  | 19
Active Ingredient:
Label Claim:
Date Analysis Started:
Date Analysis Completed:
Analysis Data | Determination of weight variation of the Sample
Label Claim: | 0
Each Tablet/Capsule/vial contains | 88.281 | 0 | Please enter the percentage amount determined from the Assay test
| Tablet/Capsule/Vial No. | Weight: | Content as % of the average content
| 1 | 259.02 | 88.3154
| 2 | 261.08 | 89.0178 |  | Calculation of acceptance value (AV)
| 3 | 260.09 | 88.6802 |  | Average | 88.281
| 4 | 257.73 | 87.8756 |  | k | 2.4
| 5 | 256.26 | 87.3744 |  | s | 0.52475
| 6 | 257.31 | 87.7324 |  | M | 98.5
| 7 | 258.41 | 88.1074 |  | AV (≤ 15) | 11.4784
| 8 | 259.33 | 88.4211
| 9 | 259.11 | 88.3461
| 10 | 260.85 | 88.9394
| Average tablet: | 258.919 | 88.281
| RSD: | 0.5944% | 0.5944%
| n: | 10 | 10
Analysis Data | Repeat Determination of Weight Variation of the Sample
| Tablet/Capsule/Vial No. | Weight: | Content as % of the average content
| 1 | 259.02 | 88.3154
| 2 | 261.08 | 89.0178 |  | Calculation of acceptance value (AV)
| 3 | 260.09 | 88.6802 |  | Average | 88.281
| 4 | 257.73 | 87.8756 |  | k | 2
| 5 | 256.26 | 87.3744 |  | s | 0.51075
| 6 | 257.31 | 87.7324 |  | M | 98.5
| 7 | 258.41 | 88.1074 |  | AV (≤ 15) and | 11.2405
| 8 | 259.33 | 88.4211 |  | No Unit Less than nor | 73.875
| % Deviation from mean | 259.11 | 88.3461 |  | No Unit greater than | 123.125
| 10 | 260.85 | 88.9394
| 11 | 259.02 | 88.3154
| 12 | 261.08 | 89.0178
| 13 | 260.09 | 88.6802
| 14 | 257.73 | 87.8756
| 15 | 256.26 | 87.3744
| 16 | 257.31 | 87.7324
| 17 | 258.41 | 88.1074
| 18 | 259.33 | 88.4211
| 19 | 259.11 | 88.3461
| 20 | 260.85 | 88.9394
| Average tablet: | 258.919 | 88.281
| RSD: | 0.5786% | 0.5786%
| n: | 20 | 20
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0