## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | ALBUZOL 400 TABLETS
% age Purity: | NDQD201505250
Weight (mg): | Albendazole USP 400 mg
Standard Conc (mg/mL): | Each chewable tablet contains: Albendazole USP 400 mg
2015-05-27 07:10:20
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | ALBUZOL 400 TABLETS
Laboratory Ref No: |  | NDQD201505250
Active Ingredient: |  | Albendazole USP 400 mg
Label Claim: |  | Each chewable tablet contains: Albendazole USP 400 mg
Date Analysis Started: |  | 2015-05-27 07:10:20
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 653.17 | -0.8919%
|  | 657.19 | -0.2819%
|  | 660.94 | 0.2871%
|  | 659.39 | 0.05189%
|  | 663.28 | 0.6421%
|  | 669.32 | 1.559%
|  | 666.43 | 1.12%
|  | 670.76 | 1.777%
|  | 656.54 | -0.3805%
|  | 645.94 | -1.989%
|  | 662.24 | 0.4843%
|  | 665.8 | 1.025%
|  | 648.01 | -1.675%
|  | 653.68 | -0.8145%
|  | 657.25 | -0.2728%
|  | 655.95 | -0.4701%
|  | 659.38 | 0.05038%
|  | 658.65 | -0.06039%
|  | 660.67 | 0.2461%
|  | 656.37 | -0.4063%
| Total | 13180.96
| Average | 659.048
| Average | % Deviation from mean
| 659.048 | -5% | 626.0956
|  | 5% | 692.0004
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## albendazole 2
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | ALBUZOL 400 TABLETS
Laboratory Ref No: | NDQD201505250 | 11
Active Ingredient: | Albendazole USP 400 mg
Label Claim: | Each chewable tablet contains: Albendazole USP 400 mg
Date Analysis Started: | 2015-06-22
Date Analysis Completed: | 2015-06-23
Analysis Data
Reference Substance: | Albendazole
Code: | NQCL-PRS-A16-1
% age Purity: | 99.6
% Water content: | 0 | If correction for water content is NOT needed please enter 0
% Purity corrected for water: | 99.6
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 20 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 50 | 1 | 25632663 | 25010306.5323 | 21684198 | 25154573.2323
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 25668430 | 25045205.1159 | 21734134 | 25212501.073
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 25761623 | 25136135.4065 | 21718256 | 25194081.9314
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 25687572 | 25063882.3516 | 21712196 | 25187052.0789
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 20.58 |  | 17.31
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 20.58 |  | 17.31
Standard Dilution Factor | 100 | Purity correction (mg): | 20.4977 |  | 17.2408
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.20498 |  | 0.17241
|  | Desired Concetration (mg/mL): | 0.2
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 20
|  | Average Normalised Response: | 25125467.2152
|  | RSD: | 0.3231%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each chewable tablet contains: Albendazole USP 400 mg
Each Tablet contains | 400 | Albendazole USP 400 mg
Average Tablet Content Weight (mg): | 659.048
Initial Sample dilution (mL): | 50 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 5 | Assay Smp A | 211.19 | 1 | 31012948 | 385.1879 | 96.3%
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 30996909 | 384.9887 | 96.25%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 31260232 | 388.2592 | 97.06%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 254.78 | 1 | 37619663 | 387.3044 | 96.83%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 37432791 | 385.3805 | 96.35%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 37803661 | 389.1987 | 97.3%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 500 | Assay Smp C | 226.19 | 1 | 33492454 | 388.3975 | 97.1%
Desired Sample Weight (mg) | 164.762 |  |  | 2 | 33661138 | 390.3537 | 97.59%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 33628832 | 389.9791 | 97.49%
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 96.92%
[6 empty] | RSD: | 0.5355%
[6 empty] | n: | 9
Comment | The content of | Albendazole USP 400 mg |  | in the sample as a percentage of the stated label claim is |  | 96.92%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Albendazole
Code: | NQCL-PRS-A16-1
% age Purity: | 99.6
% Water content: | 0 | If correction for water content is NOT needed please enter 0
% Purity corrected for water: | 99.6
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 20 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 2 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 250 | 1 | 0.273 | 0.29597 | 0.229 | 0.29517
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.273 | 0.29597 | 0.23 | 0.29646
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.272 | 0.29488 |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.27267 | 0.29561 | 0.2295 | 0.29581
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 20.58 |  | 17.31
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 20.58 |  | 17.31
Standard Dilution Factor | 2500 | Purity correction (mg): | 20.4977 |  | 17.2408
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.0081991 |  | 0.0068963
|  | Desired Concetration (mg/mL): | 0.0088889
|  | Desired Weight as free base (mg): | 22.2222
|  | Desired Weight as salt (mg): | 22.2222
|  | Average Normalised Peak Area: | 0.29569
|  | RSD: | 0.2181%
|  | n: | 5
Medium Volume (mL): | 900 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 2 | 1 | 0.24 | 324.666 | 81.17%
1st Dilution Sample Final Volume (mL): | 100 | 2 | 0.258 | 349.0159 | 87.25%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.246 | 332.7826 | 83.2%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.259 | 350.3687 | 87.59%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.254 | 343.6048 | 85.9%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.244 | 330.0771 | 82.52%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 84.6%
Sample Dilution Factor | 45000 |  |  | RSD: | 3.162%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Analysis Data: | Repeat Determination of Active Ingredient Dissolved
Reference Substance: | Albendazole
Code:
% age Purity: | 99.6
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.6
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 3 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 200 | 1 | 0.667 | 0.62163 | 0.617 | 0.63293
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.667 | 0.62163 | 0.615 | 0.63088
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.667 | 0.62163 | 0.616 | 0.6319
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.667 | 0.62163 | 0.616 | 0.6319
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 15.96 |  | 14.5
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 15.96 |  | 14.5
Standard Dilution Factor | 1666.6667 | Purity correction: | 15.8962 |  | 14.442
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.0095377 |  | 0.0086652
|  | Desired Concetration (mg/mL): | 0.0088889
|  | Desired Weight as free base (mg): | 14.8148
|  | Desired Weight as salt (mg): | 14.8148
|  | Average Normalised Peak Area: | 0.62676
|  | RSD: | 0.9039%
|  | n: | 6
Medium Volume (mL): | 900 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 2 | 1 | 0.569 | 363.1349 | 90.78%
1st Dilution Sample Final Volume (mL): | 100 | 2 | 0.563 | 359.3057 | 89.83%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.573 | 365.6877 | 91.42%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.591 | 377.1752 | 94.29%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.582 | 371.4314 | 92.86%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.578 | 368.8787 | 92.22%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 91.9%
Sample Dilution Factor | 45000 |  |  | RSD: | 1.722%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Analysis Data: | Dissolution Result Summary
Average: | 88.25%
RSD: | 4.927%
n: | 12
Comment | The amount of | Albendazole USP 400 mg |  | dissolved as a percentage of the stated label claim is |  | 88.25%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
500%