## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | ASTAGRA - 50
% age Purity: | NDQD201507006
Weight (mg): | Sildenafil citrate
Standard Conc (mg/mL): | Each Film Coated Tablet Contains: Sildenafil Citrate Eq. to Sildenafil 50mg
2015-07-06 11:41:49
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | ASTAGRA - 50
Laboratory Ref No: |  | NDQD201507006
Active Ingredient: |  | Sildenafil citrate
Label Claim: |  | Each Film Coated Tablet Contains: Sildenafil Citrate Eq. to Sildenafil 50mg
Date Analysis Started: |  | 2015-07-06 11:41:49
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 486.46 | -1.166%
|  | 486.43 | -1.172%
|  | 496.77 | 0.9285%
|  | 495.76 | 0.7233%
|  | 499.57 | 1.497%
|  | 498.19 | 1.217%
|  | 478.49 | -2.785%
|  | 498.05 | 1.189%
|  | 492.06 | -0.02844%
|  | 484.78 | -1.508%
|  | 485.09 | -1.445%
|  | 491.39 | -0.1646%
|  | 495.18 | 0.6054%
|  | 491.14 | -0.2154%
|  | 500.64 | 1.715%
|  | 497.43 | 1.063%
|  | 499.91 | 1.566%
|  | 490.13 | -0.4206%
|  | 488.32 | -0.7883%
|  | 488.21 | -0.8106%
| Total | 9844
| Average | 492.2
| Average | % Deviation from mean
| 492.2 | -5% | 467.59
|  | 5% | 516.81
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## sildenafil
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | ASTAGRA - 50
Laboratory Ref No: | NDQD201507006 | 1
Active Ingredient: | Sildenafil citrate
Label Claim: | Each Film Coated Tablet Contains: Sildenafil Citrate Eq. to Sildenafil 50mg
Date Analysis Started: | 2015-07-06 11:41:49
Date Analysis Completed:
Analysis Data
Reference Substance: | SILDENAFIL CITRATE
Code: | WS/043
% age Purity: | 98.96
% Water content: | 0.76 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.2
Mwt of compound in free base form: | 474.58 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 666.69 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 0.71185 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 2 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 100 | 1 | 0.468 | 0.66418 | 0.465 | 0.66788
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.471 | 0.66844 | 0.461 | 0.66213 |  | 0.6772%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.467 | 0.66276 | 0.458 | 0.65782
3rd Dilution Standard Volume (mL: | 1 | 4 | 0.468 | 0.66418 | 0.455 | 0.65351
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.4685 | 0.66489 | 0.45975 | 0.66034
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 25.2 |  | 24.9
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 17.9385 |  | 17.7249
Standard Dilution Factor | 2500 | Purity correction (mg): | 17.6156 |  | 17.4059
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.0070462 |  | 0.0069624
|  | Desired Concentration (mg/mL): | 0.01
|  | Desired Weight as free base (mg): | 25
|  | Desired Weight as salt (mg): | 35.12
|  | Average Normalised Response: | 0.66262
|  | RSD: | 0.7494%
|  | n: | 8
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each Film Coated Tablet Contains: Sildenafil Citrate Eq. to Sildenafil 50mg
Each Tablet contains | 50 | Sildenafil citrate
Average Tablet Content Weight (mg): | 492.2
Initial Sample dilution Volume (mL): | 50 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 5 | Assay Smp A | 485.98 | 1 | 0.68 | 51.9686 | 103.9%
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 5 |  |  | 3 | 0.685 | 52.3507 | 104.7%
2nd Dilution Sample Final Volume (mL): | 50 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 493.2 | 1 | 0.702 | 52.8645 | 105.7%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 0.697 | 52.488 | 105%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 0.7 | 52.7139 | 105.4%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 5000 | Assay Smp C | 506.37 | 1 | 0.712 | 52.2231 | 104.4%
Desired Sample Weight (mg): | 492.2 |  |  | 2 | 0.715 | 52.4431 | 104.9%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 0.719 | 52.7365 | 105.5%
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 104.9%
[6 empty] | RSD: | 0.5643%
[6 empty] | n: | 8
Comment: | The content of | Sildenafil citrate |  | in the sample as a percentage of the stated label claim is |  | 104.9%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | SILDENAFIL CITRATE
Code: | WS/043
% age Purity: | 98.96
% Water content: | 0.76 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.2
Mwt of compound in free base form: | 474.58 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 666.69 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 0.71185 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 2 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 100 | 1 | 0.468 | 0.73798 | 0.465 | 0.74209
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.471 | 0.74271 | 0.461 | 0.7357 |  | 0.6772%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.467 | 0.73641 | 0.458 | 0.73091
3rd Dilution Standard Volume (mL: | 1 | 4 | 0.468 | 0.73798 | 0.455 | 0.72613
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.4685 | 0.73877 | 0.45975 | 0.73371
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 25.2 |  | 24.9
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 17.9385 |  | 17.7249
Standard Dilution Factor | 2500 | Purity correction: | 17.6156 |  | 17.4059
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.0070462 |  | 0.0069624
|  | Desired Concentration (mg/mL): | 0.011111
|  | Desired Weight as free base (mg): | 27.7778
|  | Desired Weight as salt (mg): | 39.0222
|  | Average Normalised Peak Area: | 0.73624
|  | RSD: | 0.7494%
|  | n: | 8
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 5 | 1 | 0.76 | 51.6137 | 103.2%
1st Dilution Sample Final Volume (mL): | 25 | 2 | 0.755 | 51.2741 | 102.5%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.788 | 53.5152 | 107%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.784 | 53.2436 | 106.5%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.758 | 51.4778 | 103%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.747 | 50.7308 | 101.5%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 104%
Sample Dilution Factor | 4500 |  |  | RSD: | 2.176%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment: | The amount of | Sildenafil citrate |  | dissolved as a percentage of the stated label claim is |  | 104%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5