## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | LINA
% age Purity: | NDQD201507020
Weight (mg): | Linagliptin
Standard Conc (mg/mL): | Each tablet contains: Linagliptin (Manufacturer's spec.) 5mg
2015-07-10 07:59:08
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | LINA
Laboratory Ref No: |  | NDQD201507020
Active Ingredient: |  | Linagliptin
Label Claim: |  | Each tablet contains: Linagliptin (Manufacturer's spec.) 5mg
Date Analysis Started: |  | 2015-07-10 07:59:08
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 157.55 | 0.8917%
|  | 157.48 | 0.8469%
|  | 158.65 | 1.596%
|  | 156.66 | 0.3218%
|  | 162.21 | 3.876%
|  | 151.94 | -2.701%
|  | 154.15 | -1.286%
|  | 157.92 | 1.129%
|  | 158.31 | 1.378%
|  | 153.7 | -1.574%
|  | 161.71 | 3.556%
|  | 153.79 | -1.516%
|  | 155.43 | -0.4659%
|  | 154.32 | -1.177%
|  | 154.68 | -0.9462%
|  | 155.83 | -0.2097%
|  | 154.03 | -1.362%
|  | 154.89 | -0.8117%
|  | 156.79 | 0.405%
|  | 153.11 | -1.952%
| Total | 3123.15
| Average | 156.1575
| Average | % Deviation from mean
| 156.1575 | -7.5% | 144.4457
|  | 7.5% | 167.8693
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## Linagliptin
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | LINA
Laboratory Ref No: | NDQD201507020 | 21
Active Ingredient: | Linagliptin
Label Claim: | Each tablet contains: Linagliptin (Manufacturer's spec.) 5mg
Date Analysis Started: | 2015-10-09
Date Analysis Completed: | 2015-10-09
Analysis Data
Reference Substance: | Linagliptin
Code: | L25-1
% age Purity: | 97.85
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 97.85
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | - |  | #DIV/0!
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction (mg): | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0 |  | 0
Desired Concentration (mg/mL):
|  | Desired Weight as free base (mg): | 0
|  | Desired Weight as salt (mg): | 0
|  | Average Normalised Response: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each tablet contains: Linagliptin (Manufacturer's spec.) 5mg
Each Tablet contains | 5 | Linagliptin
Average Tablet Content Weight (mg): | 156.1575
Initial Sample dilution Volume (mL): | 1 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 1 | Assay Smp A | 0 | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 0 | 1 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1 | Assay Smp C | 0 | 1 |  | - | -
Desired Sample Weight (mg): | 0 |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | - | -
|  |  |  | 4 |  | - | -
[6 empty] | Average: | #DIV/0!
[6 empty] | RSD: | #DIV/0!
[6 empty] | n: | 0
Comment: | The content of | Linagliptin |  | in the sample as a percentage of the stated label claim is |  | #DIV/0!
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Linagliptin
Code: | L25-1
% age Purity: | 97.85
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 97.85
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 100 | 1 | 0.402 | 0.43724 | 0.404 | 0.4451
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.403 | 0.43833 | 0.404 | 0.4451 |  | 1.608%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.403 | 0.43833 | 0.404 | 0.4451
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.40267 | 0.43797 | 0.404 | 0.4451
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 23.49 |  | 23.19
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 23.49 |  | 23.19
Standard Dilution Factor | 2500 | Purity correction: | 22.985 |  | 22.6914
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.009194 |  | 0.0090766
|  | Desired Concentration (mg/mL): | 0.01
|  | Desired Weight as free base (mg): | 25
|  | Desired Weight as salt (mg): | 25
|  | Average Normalised Peak Area: | 0.44153
|  | RSD: | 0.8896%
|  | n: | 6
Medium Volume (mL): | 500 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 0.508 | 5.7527 | 115.1%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 0.493 | 5.5828 | 111.7%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.456 | 5.1638 | 103.3%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.464 | 5.2544 | 105.1%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.492 | 5.5715 | 111.4%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.462 | 5.2318 | 104.6%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 108.5%
Sample Dilution Factor | 500 |  |  | RSD: | 4.426%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment: | The amount of | Linagliptin |  | dissolved as a percentage of the stated label claim is |  | 108.5%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0