## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | Novorin
% age Purity: | NDQD201508068
Weight (mg): | SODIUM CHLORIDE
Standard Conc (mg/mL): | Sodium Chloride BP 0.9% w/v
2015-08-07 11:57:56
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## sodium chloride
National Quality Control Laoboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | Novorin
Laboratory Ref No: | NDQD201508068 | 20
Active Ingredient: | SODIUM CHLORIDE
Label Claim: | Sodium Chloride BP 0.9% w/v
Date Analysis Started: | 2015-08-07 11:57:56
Date Analysis Completed: | 2015-09-04
Analysis Data | Standardisation of Silver Nitrate
Reference Substance: | Sodium chloride
Molecular Weight: | 58.44
Target Concentration | 0.1
Reaction Ratio (Titrant:Standard) | 1 | : | 1
Standard | Standard Weight (mg) | mMoles of titrant | mL Titrant | Molarity (mM/mL) | Deviation from true Value | Correction Factor
A | 101.19 | 1.7315 | 17.989 | 0.096254 | -3.746% | 0.96254
B | 96.48 | 1.6509 | 16.637 | 0.099232 | -0.7679% | 0.99232
C | 99.29 | 1.699 | 17.283 | 0.098305 | -1.695% | 0.98305
D |  | - |  | - | - | -
|  |  | Average : | 0.097931 | -2.069% | 0.97931
|  |  | RSD: | 1.556%
|  |  | n: | 3
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Sodium Chloride BP 0.9% w/v
Each | 100 | contains | 900 | SODIUM CHLORIDE
Each mL of 0.1 M Silver Nitrate VS is Equivalent to | 5.844 | SODIUM CHLORIDE
Actual Amount (mg)
Sample | Volume (mL) | Titre Vol. (mL) | Blank | Blank Correction | Corrected Titre | In sample | Per Label Claim | Percentage content
A | 5 | 8.244 | 0 | 8.244 | 8.0734 | 47.1809 | 943.618 | 104.8%
B | 5 | 8.274 | 0 | 8.274 | 8.1028 | 47.3526 | 947.0519 | 105.2%
C | 5 | 8.002 | 0 | 8.002 | 7.8364 | 45.7959 | 915.9184 | 101.8%
D |  |  |  | - | - | - | - | -
|  | Average : | 0 |  | Average : | 46.7765 | 935.5295 | 103.9%
|  | RSD: | - |  | RSD: |  | 1.825% | 1.825%
|  | n: | 3 |  | n: | 3 | 3 | 3
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0