## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | POSTINOR-2
% age Purity: | NDQD201508073
Weight (mg): | Levonorgestrel BP 0.75MG
Standard Conc (mg/mL): | Each tablets contains Levonorgestrel BP 0.75mg
2015-08-07 12:16:19
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Levonorgestrel
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | POSTINOR-2
Laboratory Ref No: | NDQD201508073 | 12
Active Ingredient: | Levonorgestrel BP 0.75MG
Label Claim: | Each tablets contains Levonorgestrel BP 0.75mg
Date Analysis Started: | 2015-08-07 12:16:19
Date Analysis Completed:
Analysis Data
Reference Substance: | Levonorgestrel
Code: | L4-3
% age Purity: | 99.4
% Water content: |  | If correction for water content is NOT needed, enter 0
% Purity corrected for water: | 99.4
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 5 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 50 | 1 | 6880007 | 6953988.1621 | 7123536 | 7016842.5698
2nd Dilution Standard Transfer Volume (mL): | 2 | 2 | 6882425 | 6956432.163 | 7122330 | 7015654.6328
2nd Dilution Standard Final Volume (mL): | 50 | 3 | 6897750 | 6971921.9537 | 7116075 | 7009493.3176
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 6886727.3333 | 6960780.7596 | 7120647 | 7013996.84
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 14.93 |  | 15.32
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 14.93 |  | 15.32
Standard Dilution Factor | 25000 | Purity correction (mg): | 14.8404 |  | 15.2281
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.00059362 |  | 0.00060912
|  | Desired Concetration (mg/mL): | 0.0006
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Response: | 6987388.7998
|  | RSD: | 0.4278%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each tablets contains Levonorgestrel BP 0.75mg
Each Tablet/Capsule contains | 0.75 | Levonorgestrel BP 0.75MG
Initial Sample dilution (mL): | 50 | Tablet No. | Peak Area: | Actual Content | Content as % of the average content | Content as % of Label Claim
1st Dilution Standard transfer Volume (mL: | 2 | 1 | 7009718 | 0.7524 | 99.1647 | 100.3196
1st Dilution Standard Final Volume (mL): | 50 | 2 | 7114740 | 0.76367 | 100.6504 | 101.8226
2nd Dilution Standard Transfer Volume (mL): | 1 | 3 | 6961215 | 0.74719 | 98.4785 | 99.6254
2nd Dilution Standard Final Volume (mL): | 1 | 4 | 7155787 | 0.76808 | 101.2311 | 102.41
3rd Dilution Standard Volume (mL: | 1 | 5 | 7053134 | 0.75706 | 99.7789 | 100.9409
3rd Dilution Standard Final Volume (mL): | 1 | 6 | 6932997 | 0.74416 | 98.0794 | 99.2216
4th Dilution Standard Transfer Volume (mL): | 1 | 7 | 7092461 | 0.76128 | 100.3352 | 101.5037
4th Dilution Standard Final Volume (mL): | 1 | 8 | 7101553 | 0.76225 | 100.4639 | 101.6339
Standard Dilution Factor | 1250 | 9 | 7093439 | 0.76138 | 100.3491 | 101.5177
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | 10 | 7172587 | 0.76988 | 101.4688 | 102.6505
|  | Average tablet: |  | 0.75873 | 100 | 101.1646
|  |  |  | 1.12% | 1.12% | 1.12%
|  |  |  | 10 | 10 | 10
Comment | The content of | Levonorgestrel BP 0.75MG |  | in the sample as a percentage of the stated label claim is |  | 101.1646
Analysis Data | Determination of the Acceptance Value (AV)
Calculation of acceptance value (AV)
| Average | 101.1646
| k | 2.4
| s | 1.1333
| M | 101.1646
| AV (≤ 15) | 2.72
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance:
Code:
% age Purity: | 1
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 1
Mwt of compound in free base form: | 1 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 1 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | -
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction (mg): | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 0.75
|  | Desired Weight as free base (mg): | 0.75
|  | Desired Weight as salt (mg): | 0.75
|  | Average Normalised Response: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Medium Volume (mL): | 1 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | #DIV/0!
Sample Dilution Factor | 1 |  |  | RSD: | #DIV/0!
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Comment | The amount of | Levonorgestrel BP 0.75MG |  | dissolved as a percentage of the stated label claim is |  | #DIV/0!
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5