## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | Ciprodac 500
% age Purity: | NDQD201508074
Weight (mg): | CIPROFLOXACIN
Standard Conc (mg/mL): | Each Tablet Contains: Ciprofloxacin Hydrochloride USP 583mg equivalent tp Ciprofloxacin 500mg
2015-08-07 12:19:50
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Ciprofloxacin
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | Ciprodac 500
Laboratory Ref No: | NDQD201508074 | 15
Active Ingredient: | CIPROFLOXACIN
Label Claim: | Each Tablet Contains: Ciprofloxacin Hydrochloride USP 583mg equivalent tp Ciprofloxacin 500mg
Date Analysis Started: | 2015-08-07 12:19:50
Date Analysis Completed:
Analysis Data
Reference Substance: | Ciprofloxacin
Code: | C28-6
% age Purity: | 84.3
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 84.3
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 174197742 | 204493085.9428 | 161520433 | 206467604.6652
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 174489919 | 204836076.4758 | 161311141 | 206200071.8391
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 174621381 | 204990401.496 | 161899620 | 206952310.0994
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 174436347.3333 | 204773187.9715 | 161577064.6667 | 206539995.5346
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 20.21 |  | 18.56
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 20.21 |  | 18.56
Standard Dilution Factor | 100 | Purity correction (mg): | 17.037 |  | 15.6461
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.17037 |  | 0.15646
|  | Desired Concetration (mg/mL): | 0.2
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 20
|  | Average Normalised Response: | 205656591.753
|  | RSD: | 0.4912%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each Tablet Contains: Ciprofloxacin Hydrochloride USP 583mg equivalent tp Ciprofloxacin 500mg
Each tablet contains | 500 | CIPROFLOXACIN
Average tablet Content Weight (mg): | 748.2255
Initial Sample dilution | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 5 | Assay Smp A | 295.6 | 1 | 194180247 | 477.9918 | 95.6%
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 195080650 | 480.2083 | 96.04%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 195153610 | 480.3879 | 96.08%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 300.12 | 1 | 199869123 | 484.5857 | 96.92%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 200626264 | 486.4214 | 97.28%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 200805689 | 486.8565 | 97.37%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1000 | Assay Smp C | 302.8 | 1 | 201153620 | 483.3835 | 96.68%
Desired Sample Weight (mg): | 299.2902 |  |  | 2 | 202284854 | 486.1019 | 97.22%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 201835141 | 485.0213 | 97%
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 96.69%
[6 empty] | RSD: | 0.6578%
[6 empty] | n: | 9
Comment | The amount of | CIPROFLOXACIN |  | in the sample as a percentage of the stated label claim is |  | 96.69%
Analysis Data: | Determination of Active Ingredient Dissolved after |  | 30
Reference Substance: | Ciprofloxacin
Code: | C28-6
% age Purity: | 84.3
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 84.3
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 3 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 100 | 1 | 0.651 | 0.70761 | 0.604 | 0.71489
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.65 | 0.70652 | 0.602 | 0.71252
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.65 | 0.70652 | 0.602 | 0.71252
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.65033 | 0.70688 | 0.60267 | 0.71331
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 20.21 |  | 18.56
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 20.21 |  | 18.56
Standard Dilution Factor | 3333.3333 | Purity correction (mg): | 17.037 |  | 15.6461
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.0051111 |  | 0.0046938
|  | Desired Concetration (mg/mL): | 0.0055556
|  | Desired Weight as free base (mg): | 18.5185
|  | Desired Weight as salt (mg): | 18.5185
|  | Average Normalised Peak Area: | 0.7101
|  | RSD: | 0.5134%
|  | n: | 6
Medium Volume (mL): | 900 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 5 | 1 | 0.667 | 469.6543 | 93.93%
1st Dilution Sample Final Volume (mL): | 50 | 2 | 0.67 | 471.7667 | 94.35%
2nd Dilution Sample Transfer Volume (mL): | 5 | 3 | 0.672 | 473.1749 | 94.63%
2nd Dilution Sample Final Volume (mL): | 50 | 4 | 0.683 | 480.9203 | 96.18%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.685 | 482.3286 | 96.47%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.674 | 474.5832 | 94.92%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 95.08%
Sample Dilution Factor | 90000 |  |  | RSD: | 1.074%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment | The amount of | CIPROFLOXACIN |  | dissolved as a percentage of the stated label claim is |  | 95.08%
Analysis Data: | Determination of Active Ingredient Dissolved after |  | 3hrs
Medium Volume (mL): | 900 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 97763407 | 688380837.3831 | 137676167%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 113462831 | 798925088.7669 | 159785018%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 107674311 | 758166420.8043 | 151633284%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 93648936 | 659409639.6795 | 131881928%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 102586228 | 722339735.3021 | 144467947%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 93380627 | 657520397.2752 | 131504079%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 142824737%
Sample Dilution Factor | 900 |  |  | RSD: | 7.936%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment | The amount of | CIPROFLOXACIN |  | dissolved as a percentage of the stated label claim is |  | 142824737%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | Ciprodac 500
Laboratory Ref No: |  | NDQD201508074
Active Ingredient: |  | CIPROFLOXACIN
Label Claim: |  | Each Tablet Contains: Ciprofloxacin Hydrochloride USP 583mg equivalent tp Ciprofloxacin 500mg
Date Analysis Started: |  | 2015-08-07 12:19:50
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 751.77 | 0.4737%
|  | 739.04 | -1.228%
|  | 739.39 | -1.181%
|  | 742.87 | -0.7158%
|  | 759.52 | 1.51%
|  | 745.77 | -0.3282%
|  | 745.97 | -0.3014%
|  | 742.66 | -0.7438%
|  | 751.83 | 0.4817%
|  | 752.79 | 0.61%
|  | 758.9 | 1.427%
|  | 756.74 | 1.138%
|  | 745.66 | -0.3429%
|  | 756.8 | 1.146%
|  | 749.21 | 0.1316%
|  | 750.51 | 0.3053%
|  | 750.65 | 0.324%
|  | 749.54 | 0.1757%
|  | 731.91 | -2.181%
|  | 742.98 | -0.7011%
| Total | 14964.51
| Average | 748.2255
| Average | % Deviation from mean
| 748.2255 | -5% | 710.8142
|  | 5% | 785.6368
| Name |  | Date | Signature
Analysed by:
Reviewed By: