## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | CEF-OD DS suspension 200mg/5ml
Reference Substance: | Cefixime trihydrate USP
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
2015-09-04 11:36:27
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Day 7
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## RD
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Relative Density Test Report
Sample Name: | CEF-OD DS suspension 200mg/5ml
Laboratory Ref No: | NDQD201508244
Active Ingredient: | Cefixime trihydrate USP
Label Claim: | Cefixime trihydrate USP equivalent to cefixime 200mg
Date Analysis Started:
Date Analysis Completed:
|  | Pyknometer + Water (g) | Pyknometer + Sample (g)
| 23.111 | 48.0872 | 52.9544
|  | 48.0868 | 52.9542
|  | 48.0866 | 52.9542
| 23.111 | 48.0869 | 52.9543
| Mass of Water (g): | 24.9759
| Mass of Sample (g): | 29.8433
| Relative Density of Sample: | 1.1949
| Name |  | Date | Signature
Analysed by: | Kefa |  | 9th Feb 2016
Reviewed By:
0

## Cefixime D7
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | CEF-OD DS SUSPESION (Day 7)
Laboratory Ref No: | NDQD201508244 | 8
Active Ingredient: | Cefixime trihydrate USP
Label Claim: | Cefixime trihydrate USP equivalent to cefixime 200mg
Date Analysis Started:
Date Analysis Completed:
Analysis Data
Reference Substance: | Cefixime trihydrate USP
Code: | C49-1
% age Purity: | 99.536
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.536
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 47309075 | 36844660.7764 | 43454099 | 37154609.3021
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 47489176 | 36984924.7797 | 43840090 | 37484643.6401
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 47204214 | 36762994.2468 | 43654943 | 37326337.1833
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 53019830 | 36864193.2676 | 55718108.3333 | 37321863.3751
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 25.8 |  | 23.5
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 25.8 |  | 23.5
Standard Dilution Factor | 100 | Purity correction (mg): | 25.6803 |  | 23.391
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.2568 |  | 0.23391
|  | Desired Concentration (mg/mL): | 0.2
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 20
|  | Average Normalised Response: | 37093028.3214
|  | RSD: | 0.7567%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Cefixime trihydrate USP equivalent to cefixime 200mg
Each | 5 | contains | 200 | Cefixime trihydrate USP
Relative Density of sample: | 1.1949
Each | 5 | is equivalent to | 5.9744
Initial Sample dilution (mL): | 100 |  | Powder Weight (g) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 4 | Assay Smp A | 3.7853 | 1 | 43468039 | 231.1975 | 115.6%
1st Dilution Sample Final Volume (mL): | 25 |  |  | 2 | 43320827 | 230.4145 | 115.2%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 43342912 | 230.532 | 115.3%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 4.0831 | 1 | 45961472 | 226.63 | 113.3%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 46027723 | 226.9566 | 113.5%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 45848873 | 226.0748 | 113%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 625 | Assay Smp C | 4.04 | 1 | 46631670 | 232.3876 | 116.2%
Desired Powder Weight (g): | 3.734 |  |  | 2 | 46983066 | 234.1388 | 117.1%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 46711614 | 232.786 | 116.4%
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 115.1%
[6 empty] | RSD: | 1.27%
[6 empty] | n: | 9
Comment: | The content of | Cefixime trihydrate USP |  | in the sample as a percentage of the stated label claim is |  | 115.1%
| Name |  |  | Date |  | Signature
Analysed by: | Kefa |  |  | 9th Feb 2016
Reviewed By:
0

## Cefixime
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | CEF-OD DS SUSPESION (Day 1)
Laboratory Ref No: | NDQD201508244 | 8
Active Ingredient: | Cefixime trihydrate USP
Label Claim: | Cefixime trihydrate USP equivalent to cefixime 200mg
Date Analysis Started:
Date Analysis Completed:
Analysis Data
Reference Substance: | Cefixime trihydrate USP
Code: | C49-1
% age Purity: | 99.536
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.536
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 52838644 | 55937785.254 | 55499625 | 56435570.5616
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 52801487 | 55898448.8871 | 55429841 | 56364609.7243
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 53419359 | 56552560.8899 | 56224859 | 57173034.9063
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 53019830 | 56129598.3437 | 55718108.3333 | 56657738.3974
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 18.98 |  | 19.76
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 18.98 |  | 19.76
Standard Dilution Factor | 100 | Purity correction (mg): | 18.8919 |  | 19.6683
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.18892 |  | 0.19668
|  | Desired Concentration (mg/mL): | 0.2
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 20
|  | Average Normalised Response: | 56393668.3705
|  | RSD: | 0.8273%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Cefixime trihydrate USP equivalent to cefixime 200mg
Each | 5 | contains | 200 | Cefixime trihydrate USP
Relative Density of sample: | 1.1949
Each | 5 | is equivalent to | 5.9744
Initial Sample dilution (mL): | 50 |  | Powder Weight (g) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 5 | Assay Smp A | 2.0587 | 1 | 109224245 | 224.8329 | 112.4%
1st Dilution Sample Final Volume (mL): | 20 |  |  | 2 | 108485142 | 223.3115 | 111.7%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 108047712 | 222.411 | 111.2%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 2.084 | 1 | 110038388 | 223.7545 | 111.9%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 109981879 | 223.6396 | 111.8%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 108060458 | 219.7326 | 109.9%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 200 | Assay Smp C | 2.0932 | 1 | 112083330 | 226.9111 | 113.5%
Desired Powder Weight (g): | 1.1949 |  |  | 2 | 111305389 | 225.3361 | 112.7%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 111784119 | 226.3053 | 113.2%
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 112%
[6 empty] | RSD: | 0.9685%
[6 empty] | n: | 9
Comment: | The content of | Cefixime trihydrate USP |  | in the sample as a percentage of the stated label claim is |  | 112%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0