## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | NORMAL SALINE DILUENT FOR POX VACCINE
% age Purity: | NDQD201509247
Weight (mg): | SODIUM CHLORIDE
Standard Conc (mg/mL): | SODIUM CHLORIDE 0.9%
2015-09-04 12:02:12
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## NORMAL SALINE
National Quality Control Laoboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | NORMAL SALINE DILUENT FOR POX VACCINE
Laboratory Ref No: | NDQD201509247 | 22
Active Ingredient: | SODIUM CHLORIDE
Label Claim: | SODIUM CHLORIDE 0.9%
Date Analysis Started: | 2015-09-24
Date Analysis Completed: | 2015-10-26
Analysis Data | Standardisation of Silver Nitrate
Reference Substance: | Sodium Chloride
Molecular Weight: | 58.44
Target Concentration | 0.1
Reaction Ratio (Titrant:Standard) | 1 | : | 1
Standard | Standard Weight (mg) | mMoles of titrant | mL Titrant | Molarity (mM/mL) | Deviation from true Value | Correction Factor
A | 50.99 | 0.87252 | 8.7 | 0.10029 | 0.2895% | 1.0029
B | 59.13 | 1.0118 | 10.1 | 0.10018 | 0.1789% | 1.0018
C | 48.49 | 0.82974 | 8.3 | 0.099969 | -0.03134% | 0.99969
D |  | - |  | - | - | -
|  |  | Average : | 0.10015 | 0.1457% | 1.0015
|  |  | RSD: | 0.1627%
|  |  | n: | 3
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | SODIUM CHLORIDE 0.9%
Each | 100 | contains | 900 | SODIUM CHLORIDE
Each mL of 0.1 M Silver Nitrate VS is Equivalent to | 5.844 | SODIUM CHLORIDE
Actual Amount (mg)
Sample | Volume (mL) | Titre Vol. (mL) | Blank | Blank Correction | Corrected Titre | In sample | Per Label Claim | Percentage content
A | 5 | 7.8 | 0 | 7.8 | 7.8114 | 45.6496 | 912.9923 | 101.4%
B | 5 | 7.8 | 0 | 7.8 | 7.8114 | 45.6496 | 912.9923 | 101.4%
C | 5 | 7.7 | 0 | 7.7 | 7.7112 | 45.0644 | 901.2872 | 100.1%
D |  |  |  | - | - | - | - | -
|  | Average : | 0 |  | Average : | 45.4545 | 909.0906 | 101%
|  | RSD: | - |  | RSD: |  | 0.7434% | 0.7434%
|  | n: | 3 |  | n: | 3 | 3 | 3
| Name |  |  | Date |  | Signature
Analysed by: | Bugigi |  |  | 2015-10-26
Reviewed By: | REBECCA |  |  | 2015-10-28
0