## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | DIALON 1000 mg TABLETS
% age Purity: | NDQD201512636
Weight (mg): | Metform Hydrochloride
Standard Conc (mg/mL): | Metformin Hydrochloride 1000mg
2015-12-18 07:37:03
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | DIALON 1000 mg TABLETS
Laboratory Ref No: |  | NDQD201512636
Active Ingredient: |  | Metform Hydrochloride
Label Claim: |  | Metformin Hydrochloride 1000mg
Date Analysis Started: |  | 2015-12-18 07:37:03
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 1161.14 | 1.942%
|  | 1138.21 | -0.07116%
|  | 1159.1 | 1.763%
|  | 1147.78 | 0.769%
|  | 1113.14 | -2.272%
|  | 1138.99 | -0.002678%
|  | 1119.76 | -1.691%
|  | 1138.52 | -0.04394%
|  | 1132.67 | -0.5575%
|  | 1111.54 | -2.413%
|  | 1117.93 | -1.852%
|  | 1143.88 | 0.4266%
|  | 1152.66 | 1.197%
|  | 1152.94 | 1.222%
|  | 1147.06 | 0.7058%
|  | 1134.11 | -0.4311%
|  | 1139.31 | 0.02542%
|  | 1173.77 | 3.051%
|  | 1136.41 | -0.2292%
|  | 1121.49 | -1.539%
| Total | 22780.41
| Average | 1139.0205
| Average | % Deviation from mean
| 1139.0205 | -5% | 1082.0695
|  | 5% | 1195.9715
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## Metformin Hydrochloride
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | DIALON 1000 mg TABLETS
Laboratory Ref No: | NDQD201512636 | 29
Active Ingredient: | Metform Hydrochloride
Label Claim: | Metformin Hydrochloride 1000mg
Date Analysis Started: | 2016-06-09 10:13
Date Analysis Completed: | 2016-06-16 00:23
Analysis Data
Reference Substance: | Metform Hydrochloride
Code: | M19-4
% age Purity: | 99.19
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.19
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 5 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 100 | 1 | 0.8111 | 0.79468 | 0.7484 | 0.78513
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.8107 | 0.79429 | 0.7484 | 0.78513 |  | 1.261%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.8141 | 0.79762 | 0.7474 | 0.78408
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.81197 | 0.79553 | 0.74807 | 0.78478
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 20.58 |  | 19.22
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 20.58 |  | 19.22
Standard Dilution Factor | 2000 | Purity correction (mg): | 20.4133 |  | 19.0643
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.010207 |  | 0.0095322
|  | Desired Concentration (mg/mL): | 0.01
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 20
|  | Average Normalised Response: | 0.79015
|  | RSD: | 0.7605%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Metformin Hydrochloride 1000mg
Each Tablet contains | 1000 | Metform Hydrochloride
Average Tablet Content Weight (mg): | 1139.0205
Initial Sample dilution Volume (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 5 | Assay Smp A | 122.59 | 1 | 0.8482 | 997.3848 | 99.74%
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 0.8419 | 989.9767 | 99%
2nd Dilution Sample Transfer Volume (mL): | 5 |  |  | 3 | 0.8377 | 985.038 | 98.5%
2nd Dilution Sample Final Volume (mL): | 50 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 119.29 | 1 | 0.8209 | 991.9864 | 99.2%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 0.8144 | 984.1318 | 98.41%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 0.8109 | 979.9023 | 97.99%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 10000 | Assay Smp C | 120.55 | 1 | 0.8276 | 989.6299 | 98.96%
Desired Sample Weight (mg): | 113.9021 |  |  | 2 | 0.8151 | 974.6826 | 97.47%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 0.8152 | 974.8021 | 97.48%
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 985.2816 | 98.53%
[5 empty] | RSD: | 0.7901% | 0.7901%
[5 empty] | n: | 9 | 9
Comment: | The content of | Metform Hydrochloride |  | in the sample as a percentage of the stated label claim is |  | 98.53%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Metform Hydrochloride
Code: | M19-4
% age Purity: | 99.19
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.19
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 5 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 100 | 1 | 0.8286 | 0.81182 | 0.7896 | 0.82835
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.8293 | 0.81251 | 0.7857 | 0.82426 |  | 1.211%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.8285 | 0.81173 | 0.7769 | 0.81503
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.8288 | 0.81202 | 0.78407 | 0.82255
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 20.58 |  | 19.22
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 20.58 |  | 19.22
Standard Dilution Factor | 2000 | Purity correction: | 20.4133 |  | 19.0643
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.010207 |  | 0.0095322
|  | Desired Concentration (mg/mL): | 0.01
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 20
|  | Average Normalised Peak Area: | 0.81728
|  | RSD: | 0.882%
|  | n: | 6
Medium Volume (mL): | 1000 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 5 | 1 | 0.7794 | 953.6462 | 95.36%
1st Dilution Sample Final Volume (mL): | 50 | 2 | 0.7738 | 946.7943 | 94.68%
2nd Dilution Sample Transfer Volume (mL): | 5 | 3 | 0.7872 | 963.19 | 96.32%
2nd Dilution Sample Final Volume (mL): | 50 | 4 | 0.7819 | 956.7051 | 95.67%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.7947 | 972.3668 | 97.24%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.8 | 978.8517 | 97.89%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 961.9257 | 96.19%
Sample Dilution Factor | 100000 |  | RSD: | 1.249% | 1.249%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | Metform Hydrochloride |  | dissolved as a percentage of the stated label claim is |  | 96.19%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5