## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | PEDZIC DISPERSIBLE TABLETS
% age Purity: | NDQD201602765
Weight (mg): | Zinc sulfate Monohydrate BP
Standard Conc (mg/mL): | Each dispersible tablet contains Zinc Sulfate mon hydrate U,SP 54.9 mg equivalent to elemental Zinc 20 mg
2016-02-19 09:12:24
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## zinc sulfate
National Quality Control Laoboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | PEDZIC DISPERSIBLE TABLETS
Laboratory Ref No: | NDQD201602765 | 16
Active Ingredient: | Zinc sulfate Monohydrate BP
Label Claim: | Each dispersible tablet contains Zinc Sulfate mon hydrate U,SP 54.9 mg equivalent to elemental Zinc 20 mg
Date Analysis Started: | 2016-02-19 09:12:24
Date Analysis Completed: | 2011-03-11
Analysis Data | Standardisation of Perchloric Acid
Reference Substance: | zinc
Molecular Weight: | 65.38
Target Concentration | 0.1
Reaction Ratio (Titrant:Standard) | 1 | : | 1
Standard | Standard Weight (mg) | mMoles of titrant | mL Titrant | Molarity (mM/mL) | Deviation from true Value | Correction Factor
A | 119.3 | 1.8247 | 18.4 | 0.099169 | -0.8306% | 0.99169
B | 118.5 | 1.8125 | 18.3 | 0.099043 | -0.9573% | 0.99043
C | 122.6 | 1.8752 | 18.9 | 0.099216 | -0.7835% | 0.99216
D |  | - |  | - | - | -
|  |  | Average : | 0.099143 | -0.8572% | 0.99143
|  |  | RSD: | 0.09067%
|  |  | n: | 3
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each dispersible tablet contains Zinc Sulfate mon hydrate U,SP 54.9 mg equivalent to elemental Zinc 20 mg
Each tablet contains | 54.9 | Zinc sulfate Monohydrate BP
Average tablet Content Weight (mg): | 331.8595
Each mL of 0.1M EDTA VS is Equivalent to | 17.95 | Zinc sulfate Monohydrate BP
Actual Amount (mg)
Sample | Weight (mg) | Titre Vol. (mL) | Blank | Blank Correction | Corrected Titre | In sample | Per Tablet | Percentage content
A | 165.5 | 1.6 | 0 | 1.6 | 1.5863 | 28.4738 | 57.0955 | 104%
B | 164 | 1.6 | 0 | 1.6 | 1.5863 | 28.4738 | 57.6177 | 105%
C | 162.5 | 1.6 | 0 | 1.6 | 1.5863 | 28.4738 | 58.1496 | 105.9%
D |  |  |  | - | - | - | - | -
|  | Average : | 0 |  | Average : | 28.4738 | 57.621 | 105%
|  | RSD: | - |  | RSD: |  | 0.9147% | 0.9147%
|  | n: | 3 |  | n: | 3 | 3 | 3
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | PEDZIC DISPERSIBLE TABLETS
Laboratory Ref No: |  | NDQD201602765
Active Ingredient: |  | Zinc sulfate Monohydrate BP
Label Claim: |  | Each dispersible tablet contains Zinc Sulfate mon hydrate U,SP 54.9 mg equivalent to elemental Zinc 20 mg
Date Analysis Started: |  | 2016-02-19 09:12:24
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 335.71 | 1.16%
|  | 330.72 | -0.3434%
|  | 327.2 | -1.404%
|  | 331.38 | -0.1445%
|  | 340.12 | 2.489%
|  | 329.26 | -0.7833%
|  | 326.03 | -1.757%
|  | 342.18 | 3.11%
|  | 331.49 | -0.1113%
|  | 331.96 | 0.03028%
|  | 327.61 | -1.281%
|  | 331.4 | -0.1385%
|  | 334.23 | 0.7143%
|  | 341.38 | 2.869%
|  | 339.07 | 2.173%
|  | 328.2 | -1.103%
|  | 330.21 | -0.497%
|  | 326.98 | -1.47%
|  | 329.91 | -0.5874%
|  | 322.15 | -2.926%
| Total | 6637.19
| Average | 331.8595
| Average | % Deviation from mean
| 331.8595 | -5% | 315.2665
|  | 5% | 348.4525
| Name |  | Date | Signature
Analysed by:
Reviewed By: