## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | PEDZIC DISPERSIBLE TABLETS
% age Purity: | NDQD201602767
Weight (mg): | Zinc sulfate Monohydrate BP
Standard Conc (mg/mL): | Each dispersible tablet contains Zinc Sulfate mon hydrate U,SP 54.9 mg equivalent to elemental Zinc 20 mg
2016-02-19 09:27:45
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | PEDZIC DISPERSIBLE TABLETS
Laboratory Ref No: |  | NDQD201602767
Active Ingredient: |  | Zinc sulfate Monohydrate BP
Label Claim: |  | Each dispersible tablet contains Zinc Sulfate mon hydrate U,SP 54.9 mg equivalent to elemental Zinc 20 mg
Date Analysis Started: |  | 2016-02-19 09:27:45
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 329.32 | -0.4488%
|  | 325.62 | -1.567%
|  | 326.23 | -1.383%
|  | 325.55 | -1.588%
|  | 332.98 | 0.6576%
|  | 335.36 | 1.377%
|  | 315.77 | -4.545%
|  | 317.67 | -3.97%
|  | 327.83 | -0.8992%
|  | 333.47 | 0.8058%
|  | 344.21 | 4.052%
|  | 331.75 | 0.2858%
|  | 339.87 | 2.74%
|  | 334.8 | 1.208%
|  | 334.69 | 1.175%
|  | 334.23 | 1.036%
|  | 342.56 | 3.554%
|  | 315.81 | -4.533%
|  | 335.25 | 1.344%
|  | 333.12 | 0.7%
| Total | 6616.09
| Average | 330.8045
| Average | % Deviation from mean
| 330.8045 | -5% | 314.2643
|  | 5% | 347.3447
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## zinc sulfate
National Quality Control Laoboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | PEDZIC DISPERSIBLE TABLETS
Laboratory Ref No: | NDQD201602767 | 16
Active Ingredient: | Zinc sulfate Monohydrate BP
Label Claim: | Each dispersible tablet contains Zinc Sulfate mon hydrate U,SP 54.9 mg equivalent to elemental Zinc 20 mg
Date Analysis Started: | 2016-02-19 09:27:45
Date Analysis Completed: | 2011-03-11
Analysis Data | Standardisation of EDTA
Reference Substance: | Zinc
Molecular Weight: | 65.38
Target Concentration | 0.1
Reaction Ratio (Titrant:Standard) | 1 | : | 1
Standard | Standard Weight (mg) | mMoles of titrant | mL Titrant | Molarity (mM/mL) | Deviation from true Value | Correction Factor
A | 119.3 | 1.8247 | 18.4 | 0.099169 | -0.8306% | 0.99169
B | 118.5 | 1.8125 | 18.3 | 0.099043 | -0.9573% | 0.99043
C | 122.6 | 1.8752 | 18.9 | 0.099216 | -0.7835% | 0.99216
D |  | - |  | - | - | -
|  |  | Average : | 0.099143 | -0.8572% | 0.99143
|  |  | RSD: | 0.09067%
|  |  | n: | 3
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each dispersible tablet contains Zinc Sulfate mon hydrate U,SP 54.9 mg equivalent to elemental Zinc 20 mg
Each tablet contains | 54.9 | Zinc sulfate Monohydrate BP
Average tablet Content Weight (mg): | 330.8045
Each mL of 0.1M EDTA VS is Equivalent to | 17.95 | Zinc sulfate Monohydrate BP
Actual Amount (mg)
Sample | Weight (mg) | Titre Vol. (mL) | Blank | Blank Correction | Corrected Titre | In sample | Per Tablet | Percentage content
A | 159.2 | 1.5 | 0 | 1.5 | 1.4871 | 26.6942 | 55.4684 | 101%
B | 161 | 1.5 | 0 | 1.5 | 1.4871 | 26.6942 | 54.8482 | 99.91%
C | 161.7 | 1.5 | 0 | 1.5 | 1.4871 | 26.6942 | 54.6108 | 99.47%
Each Tablet contains |  |  |  | - | - | - | - | -
Average Tablet Content Weight (mg): | 330.8045 | Average : | 0 |  | Average : | 26.6942 | 54.9758 | 100.1%
|  | RSD: | - |  | RSD: |  | 0.8054% | 0.8054%
|  | n: | 3 |  | n: | 3 | 3 | 3
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Sheet1
|  | 330 | 54.9
161
26.7845
3.1371
3.0585