## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | SODIUM HYPOCHLORITE SOLUTION USP
% age Purity: | NDQD201511563
Weight (mg): | SODIUM HYPOCHLORITE 4-6%
Standard Conc (mg/mL): | SODIUM CHLORIDE 4.0-6.0%w/v
2015-11-18 12:55:18
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## POVIDONE
National Quality Control Laoboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | SODIUM HYPOCHLORITE SOLUTION USP
Laboratory Ref No: | NDQD201603788 | 22
Active Ingredient: | IODINE
Label Claim: | POVIDONE IODINE 10%
Date Analysis Started: | 2016-04-12
Date Analysis Completed: | 2016-04-12
Analysis Data | Standardisation of Sodium thiosulphate
Reference Substance: | Potassium Bromate
Molecular Weight: | 167.01
Target Concentration | 0.02
Reaction Ratio (Titrant:Standard) | 6 | : | 1
Standard | Standard Weight (mg) | mMoles of titrant | mL Titrant | Molarity (mM/mL) | Deviation from true Value | Correction Factor
A | 13.912 | 0.4998 | 25.1 | 0.019912 | -0.4378% | 0.99562
B | 13.912 | 0.4998 | 25.1 | 0.019912 | -0.4378% | 0.99562
C | 13.912 | 0.4998 | 25.1 | 0.019912 | -0.4378% | 0.99562
D |  | - |  | - | - | -
|  |  | Average : | 0.019912 | -0.4378% | 0.99562
|  |  | RSD: | 0%
|  |  | n: | 3
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | POVIDONE IODINE 10%
Each | 1 | contains | 100 | IODINE
Each mL of 0.1 M Sodium thiosulfate VS is Equivalent to | 2.538 | IODINE
[6 empty] | Actual Amount (mg) |  | Percentage content
Sample | Volume (mL) | Titre Vol. (mL) | Blank | Blank Correction | Corrected Titre | In sample | Per Label Claim | % W/V
A | 10 | 37.1 | 0 | 37.1 | 36.9376 | 93.7476 | 9.3748 | 0.93748
B | 10 | 37.2 | 0 | 37.2 | 37.0372 | 94.0003 | 9.4 | 0.94
C | 10 | 37 | 0 | 37 | 36.838 | 93.4949 | 9.3495 | 0.93495
D |  |  |  | - | - | - | - | -
|  | Average : | 0 |  | Average : | 93.7476 | 9.3748 | 0.93748
|  | RSD: | - |  | RSD: |  | 0.2695% | 0.2695%
|  | n: | 3 |  | n: | 3 | 3 | 3
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Sheet1
[7 empty] | PYK+Water | PYK+Smp
[5 empty] | 23.259 | 48.1184 | 48.1212 | 48.9417
[6 empty] | 48.1244 | 48.1258 | 48.9565
[6 empty] | 48.1315 | 48.1193 | 48.9486
3.24 | [5 empty] | 48.1248 | 48.1221 | 48.949
3.265
3.281 |  |  |  |  | Mass of
3.262 |  |  |  |  | Water |  | 24.863
[5 empty] | Sample |  |  | 25.6899
[5 empty] | RD of Smp |  | 1.0333
|  | 33.25 | 36.75
| 278.34 | 100
20
19.9928
55.668