## Uniformity (2)
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | LARTEM DS TABLETS
Laboratory Ref No: |  | NDQD201603840
Active Ingredient: |  | Artemether 400mg, Lumefantrine 240mg
Label Claim: |  | Artemether 400mg, Lumefantrine 240mg
Date Analysis Started: |  | 2016-04-01 12:52:55
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 415.32 | 0.05939%
|  | 408.28 | -1.637%
|  | 413.08 | -0.4803%
|  | 422.99 | 1.907%
|  | 414.29 | -0.1888%
|  | 418.89 | 0.9195%
|  | 412.48 | -0.6248%
|  | 417.43 | 0.5677%
|  | 413.23 | -0.4441%
|  | 419.74 | 1.124%
|  | 412.85 | -0.5357%
|  | 416.83 | 0.4232%
|  | 413.15 | -0.4634%
|  | 413.49 | -0.3815%
|  | 413.23 | -0.4441%
|  | 417.14 | 0.4979%
|  | 418.75 | 0.8857%
|  | 417.45 | 0.5725%
|  | 403.14 | -2.875%
|  | 419.71 | 1.117%
| Total | 8301.47
| Average | 415.0735
| Average | % Deviation from mean
| 415.0735 | -5% | 394.3198
|  | 5% | 435.8272
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## SST A
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | #REF!
Reference Substance: | Artemether
% age Purity: | 99.65
Weight (mg): | 10.55
Standard Conc (mg/mL): | 0.211
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 922265 | 11462.6 | 1 | 5
2 | 919717 | 11443.5 | 1 | 5
3 | 918738 | 11438.3 | 1 | 5
4 | 917951 | 11455.3 | 1 | 5
5 | 922422 | 11482.1 | 1 | 5
6 | 923820 | 11466.7 | 1 | 5
Averages: | 920818.8333 | 11458.0833 | 1 | 5
RSD: | 0.2544%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 330639 | 11704 | 1.2 | 3
2 | 317599 | 11738.9 | 1.1 | 3
3 | 311710 | 11935.4 | 1 | 3
4 | 321202 | 11771.7 | 1.2 | 3
5 | 318362 | 11547.8 | 1.2 | 3
6 | 322391 | 11662.6 | 1.2 | 3
Averages: | 320317.1667 | 11726.7333 | 1.15 | 3
RSD: | 1.959%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by: | Bugigi |  |  | 4/1/2017
Reviewed By:

## SST L
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | #REF!
Reference Substance: | Lumefantrine
% age Purity: | 100.46
Weight (mg): | 61.33
Standard Conc (mg/mL): | 1.2266
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 403919898 | 1932.5 | 2.9 | 10.8
2 | 403126111 | 1941.5 | 2.9 | 10.8
3 | 403066767 | 1948.1 | 2.9 | 10.8
4 | 402916972 | 1951.2 | 2.9 | 10.8
5 | 404758609 | 1950.3 | 2.9 | 10.8
6 | 405410488 | 1952.7 | 2.9 | 10.8
Averages: | 403866474.1667 | 1946.05 | 2.9 | 10.8
RSD: | 0.2543%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by: | Bugigi |  |  | 4/1/2017
Reviewed By:

## Lumefantrine
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | COARTEM 20 mg/ 120 mg Tablets
Laboratory Ref No: | NDQA201511470 | 1
Active Ingredient: | Lumefantrine
Label Claim: | lumefantrine 120 mg
Date Analysis Started:
Date Analysis Completed:
Analysis Data
Reference Substance: | Lumefantrine
Code: | L1 0
% age Purity: | 100.46
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 100.46
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 403743160 | 393178978.2004 | 392572720 | 394855325.9922
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 407145302 | 396492101.1156 | 394615541 | 396910024.9328 |  | 0.2269%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 404030469 | 393458769.5882 | 391858514 | 394136967.2561
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 404972977 | 394376616.3014 | 393015591.6667 | 395300772.727
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 61.33 |  | 59.38
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 61.33 |  | 59.38
Standard Dilution Factor | 50 | Purity correction (mg): | 61.6121 |  | 59.6531
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 1.2322 |  | 1.1931
|  | Desired Concentration (mg/mL): | 1.2
|  | Desired Weight as free base (mg): | 60
|  | Desired Weight as salt (mg): | 60
|  | Average Normalised Response: | 394838694.5142
|  | RSD: | 0.3952%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | lumefantrine 120 mg
Each Tablet contains | 240 | Lumefantrine
Average Tablet Content Weight (mg): | 415.0735
Initial Sample dilution Volume (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 10 | Assay Smp A | 418.09 | 1 | 389654325 | 235.1399 | 97.9749
1st Dilution Sample Final Volume (mL): | 20 |  |  | 2 | 391102966 | 236.0141 | 98.3392
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 393116219 | 237.229 | 98.8454
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 413.91 | 1 | 379165433 | 231.121 | 96.3004
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 381252181 | 232.393 | 96.8304
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 383358855 | 233.6771 | 97.3655
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 200 | Assay Smp C | 418.85 | 1 | 383915229 | 231.2562 | 96.3567
Desired Sample Weight (mg): | 415.0735 |  |  | 2 | 385583829 | 232.2613 | 96.7755
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 385768327 | 232.3724 | 96.8218
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 233.496 | 97.29
[5 empty] | RSD: | 0.9294% | 0.9294%
[5 empty] | n: | 9 | 9
Comment: | The content of | Lumefantrine |  | in the sample as a percentage of the stated label claim is |  | 9729%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Lumefantrine
Code: | L1 0
% age Purity: | 100.46
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 100.46
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 3 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 5 | 1 | 0.382 | 0.46429 | 0.378 | 0.46597
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.388 | 0.47158 | 0.382 | 0.4709 |  | 0.2796%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.386 | 0.46915 | 0.383 | 0.47213
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.38533 | 0.46834 | 0.381 | 0.46967
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 16.38 |  | 16.15
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 16.38 |  | 16.15
Standard Dilution Factor | 83.3333 | Purity correction: | 16.4553 |  | 16.2243
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.19746 |  | 0.19469
|  | Desired Concentration (mg/mL): | 0.24
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 20
|  | Average Normalised Peak Area: | 0.469
|  | RSD: | 0.6843%
|  | n: | 6
Medium Volume (mL): | 1000 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 0.389 | 199.0609 | 82.9421
1st Dilution Sample Final Volume (mL): | 1 | 2 | 0.394 | 201.6195 | 84.0081
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.388 | 198.5492 | 82.7288
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.386 | 197.5258 | 82.3024
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.388 | 198.5492 | 82.7288
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.386 | 197.5258 | 82.3024
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 198.8051 | 82.8354
Sample Dilution Factor | 1000 |  | RSD: | 0.7592% | 0.7592%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 197.5258 | 82.3024
|  |  | Maximum: | 201.6195 | 84.0081
Comment: | The amount of | Lumefantrine |  | dissolved as a percentage of the stated label claim is |  | 82.8354
| Range: | Minimum | 82.3024 | Maximum | 84.0081
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Artemether1
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | LARTEM DS
Laboratory Ref No: | NDQD201603840 | 24
Active Ingredient: | Artemether
Label Claim: | Each tablets contains 40mg Artemether
Date Analysis Started: | 2016-12-15
Date Analysis Completed: | 2016-12-19
Analysis Data
Reference Substance: | Artemether
Code: | A5 5
% age Purity: | 99.65
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.65
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 920441 | 875520.245 | 907900 | 895859.2044
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 928063 | 882770.2646 | 912556 | 900453.4553
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 919972 | 875074.1339 | 904027 | 892037.5691
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 922825.3333 | 877788.2145 | 908161 | 896116.7429
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 10.55 |  | 10.17
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 10.55 |  | 10.17
Standard Dilution Factor | 50 | Purity correction (mg): | 10.5131 |  | 10.1344
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.21026 |  | 0.20269
|  | Desired Concetration (mg/mL): | 0.2
|  | Desired Weight as free base (mg): | 10
|  | Desired Weight as salt (mg): | 10
|  | Average Normalised Response: | 886952.4787
|  | RSD: | 1.211%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each tablets contains 40mg Artemether
Each tablet contains | 40 | Artemether
Average tablet Content Weight (mg): | 415.0735
Initial Sample dilution | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 10 | Assay Smp A | 418.09 | 1 | 858160 | 38.4223 | 96.06%
1st Dilution Sample Final Volume (mL): | 20 |  |  | 2 | 858695 | 38.4462 | 96.12%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 861092 | 38.5536 | 96.38%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 413.91 | 1 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 200 | Assay Smp C | 418.85 | 1 | 832667 | 37.2132 | 93.03%
Desired Sample Weight (mg): | 415.0735 |  |  | 2 | 832890 | 37.2232 | 93.06%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 833704 | 37.2596 | 93.15%
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 94.63%
[6 empty] | RSD: | 1.801%
[6 empty] | n: | 6
Comment | The amount of | Artemether |  | I the sample as a percentage of the stated label claim is |  | 94.63%
Analysis Data: | Determination of Active Ingredient Dissolved after |  | 60
Reference Substance: | Artemether
Code: | A5 5
% age Purity: | 99.65
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.65
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 5 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 20 | 1 | 322391 | 278599.2092 | 328467 | 274970.321
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 322944 | 279077.0928 | 335760 | 281075.5266
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 312376 | 269944.5908 | 339546 | 284244.9093
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 319237 | 275873.6309 | 334591 | 280096.919
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 9.29 |  | 9.59
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 9.29 |  | 9.59
Standard Dilution Factor | 200 | Purity correction (mg): | 9.2575 |  | 9.5564
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.046287 |  | 0.047782
|  | Desired Concetration (mg/mL): | 0.04
|  | Desired Weight as free base (mg): | 8
|  | Desired Weight as salt (mg): | 8
|  | Average Normalised Response: | 277985.2749
|  | RSD: | 1.792%
|  | n: | 6
Medium Volume (mL): | 1000 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 183142 | 26.3528 | 65.88%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 169567 | 24.3994 | 61%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 164792 | 23.7123 | 59.28%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 168695 | 24.2739 | 60.68%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 168682 | 24.2721 | 60.68%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 174976 | 25.1777 | 62.94%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 61.75%
Sample Dilution Factor | 1000 |  |  | RSD: | 3.794%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment | The amount of | Artemether |  | dissolved as a percentage of the stated label claim is |  | 61.75%
Analysis Data: | Determination of Active Ingredient Dissolved after |  | 180
Medium Volume (mL): | 1000 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 255499 | 36.7644 | 91.91%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 262768 | 37.8103 | 94.53%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 256992 | 36.9792 | 92.45%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 260967 | 37.5512 | 93.88%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 250482 | 36.0425 | 90.11%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 252479 | 36.3298 | 90.82%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 92.28%
Sample Dilution Factor | 1000 |  |  | RSD: | 1.852%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment | The amount of | Artemether |  | dissolved as a percentage of the stated label claim is |  | 92.28%
Analysis Data: | Determination of Active Ingredient Dissolved after
Medium Volume (mL): |  | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: |  | 1 |  | - | -
1st Dilution Sample Final Volume (mL): |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: |  | 5 |  | - | -
3rd Dilution Sample Final Volume (mL): |  | 6 |  | - | -
4th Dilution Sample Transfer Volume (mL):
4th Dilution Sample Final Volume (mL): |  |  |  | Average: | #DIV/0!
Sample Dilution Factor |  |  |  | RSD: | #DIV/0!
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Comment | The amount of | Artemether |  | dissolved as a percentage of the stated label claim is |  | #DIV/0!
Analysis Data: | Determination of Active Ingredient Dissolved after
Medium Volume (mL): |  | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: |  | 1 |  | - | -
1st Dilution Sample Final Volume (mL): |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: |  | 5 |  | - | -
3rd Dilution Sample Final Volume (mL): |  | 6 |  | - | -
4th Dilution Sample Transfer Volume (mL):
4th Dilution Sample Final Volume (mL): |  |  |  | Average: | #DIV/0!
Sample Dilution Factor |  |  |  | RSD: | #DIV/0!
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Comment | The amount of | Artemether |  | dissolved as a percentage of the stated label claim is |  | #DIV/0!
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Sheet3
0.04
0.2