## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | LARTEM FORTE TABLETS
Laboratory Ref No: |  | NDQD201603841
Active Ingredient: |  | Artemether 80mg, Lumefantrine 480mg
Label Claim: |  | artemether80 mg & lumefantrine 480 mg
Date Analysis Started: |  | 2016-04-01 12:56:19
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 760.66 | 1.948%
|  | 733.99 | -1.627%
|  | 748.53 | 0.3221%
|  | 732.24 | -1.861%
|  | 750.57 | 0.5955%
|  | 751.93 | 0.7777%
|  | 745.16 | -0.1296%
|  | 742.26 | -0.5183%
|  | 732.99 | -1.761%
|  | 738.94 | -0.9632%
|  | 742.92 | -0.4298%
|  | 734.51 | -1.557%
|  | 743.43 | -0.3615%
|  | 751.7 | 0.7469%
|  | 742.01 | -0.5518%
|  | 746.56 | 0.05803%
|  | 753.87 | 1.038%
|  | 753.36 | 0.9694%
|  | 758.2 | 1.618%
|  | 758.71 | 1.686%
| Total | 14922.54
| Average | 746.127
| Average | % Deviation from mean
| 746.127 | -5% | 708.8207
|  | 5% | 783.4334
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## SST A
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | #REF!
Reference Substance: | Artemether
% age Purity: | 99.65
Weight (mg): | 10.55
Standard Conc (mg/mL): | 0.211
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 922265 | 11462.6 | 1 | 5
2 | 919717 | 11443.5 | 1 | 5
3 | 918738 | 11438.3 | 1 | 5
4 | 917951 | 11455.3 | 1 | 5
5 | 922422 | 11482.1 | 1 | 5
6 | 923820 | 11466.7 | 1 | 5
Averages: | 920818.8333 | 11458.0833 | 1 | 5
RSD: | 0.2544%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 330639 | 11704 | 1.2 | 3
2 | 317599 | 11738.9 | 1.1 | 3
3 | 311710 | 11935.4 | 1 | 3
4 | 321202 | 11771.7 | 1.2 | 3
5 | 318362 | 11547.8 | 1.2 | 3
6 | 322391 | 11662.6 | 1.2 | 3
Averages: | 320317.1667 | 11726.7333 | 1.15 | 3
RSD: | 1.959%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by: | Bugigi |  |  | 4/1/2017
Reviewed By:

## SST L
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | #REF!
Reference Substance: | Lumefantrine
% age Purity: | 100.46
Weight (mg): | 61.33
Standard Conc (mg/mL): | 1.2266
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 403919898 | 1932.5 | 2.9 | 10.8
2 | 403126111 | 1941.5 | 2.9 | 10.8
3 | 403066767 | 1948.1 | 2.9 | 10.8
4 | 402916972 | 1951.2 | 2.9 | 10.8
5 | 404758609 | 1950.3 | 2.9 | 10.8
6 | 405410488 | 1952.7 | 2.9 | 10.8
Averages: | 403866474.1667 | 1946.05 | 2.9 | 10.8
RSD: | 0.2543%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by: | Bugigi |  |  | 4/1/2017
Reviewed By:

## Lumefantrine
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | LARTEM DS
Laboratory Ref No: | NDQD201603840 | 1
Active Ingredient: | Lumefantrine
Label Claim: | lumefantrine 120 mg
Date Analysis Started:
Date Analysis Completed:
Analysis Data
Reference Substance: | Lumefantrine
Code: | L1 0
% age Purity: | 100.46
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 100.46
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 403743160 | 393178978.2004 | 392572720 | 394855325.9922
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 407145302 | 396492101.1156 | 394615541 | 396910024.9328 |  | 0.2269%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 404030469 | 393458769.5882 | 391858514 | 394136967.2561
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 404972977 | 394376616.3014 | 393015591.6667 | 395300772.727
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 61.33 |  | 59.38
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 61.33 |  | 59.38
Standard Dilution Factor | 50 | Purity correction (mg): | 61.6121 |  | 59.6531
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 1.2322 |  | 1.1931
|  | Desired Concentration (mg/mL): | 1.2
|  | Desired Weight as free base (mg): | 60
|  | Desired Weight as salt (mg): | 60
|  | Average Normalised Response: | 394838694.5142
|  | RSD: | 0.3952%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | lumefantrine 120 mg
Each Tablet contains | 240 | Lumefantrine
Average Tablet Content Weight (mg): | 746.127
Initial Sample dilution Volume (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 10 | Assay Smp A | 747.24 | 1 | 393616222 | 238.9006 | 99.5419
1st Dilution Sample Final Volume (mL): | 20 |  |  | 2 | 394669617 | 239.5399 | 99.8083
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 394465344 | 239.4159 | 99.7566
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 751.08 | 1 | 395900582 | 239.0585 | 99.6077
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 396801152 | 239.6023 | 99.8343
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 400173489 | 241.6387 | 100.6828
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 200 | Assay Smp C | 750.82 | 1 | 394217345 | 238.1246 | 99.2186
Desired Sample Weight (mg): | 746.127 |  |  | 2 | 396781278 | 239.6733 | 99.8639
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 397285727 | 239.978 | 99.9908
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 239.548 | 99.8117
[5 empty] | RSD: | 0.3981% | 0.3981%
[5 empty] | n: | 9 | 9
Comment: | The content of | Lumefantrine |  | in the sample as a percentage of the stated label claim is |  | 9981%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Lumefantrine
Code: | L1 0
% age Purity: | 100.46
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 100.46
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 3 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 5 | 1 | 0.382 | 0.46429 | 0.378 | 0.46597
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.388 | 0.47158 | 0.382 | 0.4709 |  | 0.2796%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.386 | 0.46915 | 0.383 | 0.47213
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.38533 | 0.46834 | 0.381 | 0.46967
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 16.38 |  | 16.15
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 16.38 |  | 16.15
Standard Dilution Factor | 83.3333 | Purity correction: | 16.4553 |  | 16.2243
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.19746 |  | 0.19469
|  | Desired Concentration (mg/mL): | 0.24
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 20
|  | Average Normalised Peak Area: | 0.469
|  | RSD: | 0.6843%
|  | n: | 6
Medium Volume (mL): | 1000 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 0.393 | 201.1078 | 83.7949
1st Dilution Sample Final Volume (mL): | 1 | 2 | 0.395 | 202.1313 | 84.2214
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.409 | 209.2954 | 87.2064
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.396 | 202.643 | 84.4346
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.404 | 206.7368 | 86.1403
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.408 | 208.7837 | 86.9932
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 205.1163 | 85.4651
Sample Dilution Factor | 1000 |  | RSD: | 1.753% | 1.753%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 201.1078 | 83.7949
|  |  | Maximum: | 209.2954 | 87.2064
Comment: | The amount of | Lumefantrine |  | dissolved as a percentage of the stated label claim is |  | 85.4651
| Range: | Minimum | 83.7949 | Maximum | 87.2064
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Artemether1
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | LARTEM DS
Laboratory Ref No: | NDQD201603840 | 24
Active Ingredient: | Artemether
Label Claim: | Each tablets contains 40mg Artemether
Date Analysis Started:
Date Analysis Completed:
Analysis Data
Reference Substance: | Artemether
Code: | A5 5
% age Purity: | 99.65
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.65
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 920441 | 875520.245 | 907900 | 895859.2044
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 928063 | 882770.2646 | 912556 | 900453.4553
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 919972 | 875074.1339 | 904027 | 892037.5691
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 922825.3333 | 877788.2145 | 908161 | 896116.7429
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 10.55 |  | 10.17
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 10.55 |  | 10.17
Standard Dilution Factor | 50 | Purity correction (mg): | 10.5131 |  | 10.1344
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.21026 |  | 0.20269
|  | Desired Concetration (mg/mL): | 0.2
|  | Desired Weight as free base (mg): | 10
|  | Desired Weight as salt (mg): | 10
|  | Average Normalised Response: | 886952.4787
|  | RSD: | 1.211%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each tablets contains 40mg Artemether
Each tablet contains | 40 | Artemether
Average tablet Content Weight (mg): | 746.127
Initial Sample dilution | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 10 | Assay Smp A | 747.24 | 1 | 802788 | 36.1504 | 90.38%
1st Dilution Sample Final Volume (mL): | 20 |  |  | 2 | 813213 | 36.6199 | 91.55%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 813410 | 36.6287 | 91.57%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 751.08 | 1 | 823195 | 36.8798 | 92.2%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 828915 | 37.1361 | 92.84%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 835814 | 37.4452 | 93.61%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 200 | Assay Smp C | 750.82 | 1 | 808602 | 36.2386 | 90.6%
Desired Sample Weight (mg): | 746.127 |  |  | 2 | 815766 | 36.5597 | 91.4%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 819099 | 36.709 | 91.77%
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 91.77%
[6 empty] | RSD: | 1.108%
[6 empty] | n: | 9
Comment | The amount of | Artemether |  | I the sample as a percentage of the stated label claim is |  | 91.77%
Analysis Data: | Determination of Active Ingredient Dissolved after |  | 60
Reference Substance: | Artemether
Code: | A5 5
% age Purity: | 99.65
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.65
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 5 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 20 | 1 | 322391 | 278599.2092 | 328467 | 274970.321
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 322944 | 279077.0928 | 335760 | 281075.5266
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 312376 | 269944.5908 | 339546 | 284244.9093
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 319237 | 275873.6309 | 334591 | 280096.919
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 9.29 |  | 9.59
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 9.29 |  | 9.59
Standard Dilution Factor | 200 | Purity correction (mg): | 9.2575 |  | 9.5564
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.046287 |  | 0.047782
|  | Desired Concetration (mg/mL): | 0.04
|  | Desired Weight as free base (mg): | 8
|  | Desired Weight as salt (mg): | 8
|  | Average Normalised Response: | 277985.2749
|  | RSD: | 1.792%
|  | n: | 6
Medium Volume (mL): | 1000 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 148785 | 21.409 | 53.52%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 140745 | 20.2522 | 50.63%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 139422 | 20.0618 | 50.15%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 141046 | 20.2955 | 50.74%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 142959 | 20.5707 | 51.43%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 149103 | 21.4548 | 53.64%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 51.68%
Sample Dilution Factor | 1000 |  |  | RSD: | 2.948%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment | The amount of | Artemether |  | dissolved as a percentage of the stated label claim is |  | 51.68%
Analysis Data: | Determination of Active Ingredient Dissolved after |  | 180
Medium Volume (mL): | 1000 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 198320 | 28.5368 | 71.34%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 214985 | 30.9347 | 77.34%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 209026 | 30.0773 | 75.19%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 219548 | 31.5913 | 78.98%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 215433 | 30.9992 | 77.5%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 223383 | 32.1431 | 80.36%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 76.78%
Sample Dilution Factor | 1000 |  |  | RSD: | 4.141%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment | The amount of | Artemether |  | dissolved as a percentage of the stated label claim is |  | 76.78%
Analysis Data: | Determination of Active Ingredient Dissolved after
Medium Volume (mL): |  | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: |  | 1 |  | - | -
1st Dilution Sample Final Volume (mL): |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: |  | 5 |  | - | -
3rd Dilution Sample Final Volume (mL): |  | 6 |  | - | -
4th Dilution Sample Transfer Volume (mL):
4th Dilution Sample Final Volume (mL): |  |  |  | Average: | #DIV/0!
Sample Dilution Factor |  |  |  | RSD: | #DIV/0!
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Comment | The amount of | Artemether |  | dissolved as a percentage of the stated label claim is |  | #DIV/0!
Analysis Data: | Determination of Active Ingredient Dissolved after
Medium Volume (mL): |  | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: |  | 1 |  | - | -
1st Dilution Sample Final Volume (mL): |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: |  | 5 |  | - | -
3rd Dilution Sample Final Volume (mL): |  | 6 |  | - | -
4th Dilution Sample Transfer Volume (mL):
4th Dilution Sample Final Volume (mL): |  |  |  | Average: | #DIV/0!
Sample Dilution Factor |  |  |  | RSD: | #DIV/0!
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Comment | The amount of | Artemether |  | dissolved as a percentage of the stated label claim is |  | #DIV/0!
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0