## Uniformity (2)
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 MG/300 MG /600 MG
Laboratory Ref No: |  | NDQD2016061052
Active Ingredient: |  | Tenofovir Disoproxil Fumarate , Lamivudine & Efavirenz
Label Claim: |  | Tenofovir Disoproxil Fumarate 300mg/Lamivudine 300mg/Efavirenz 600mg
Date Analysis Started: |  | 2016-06-10 15:22:34
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 1895.91 | 0.004246%
|  | 1921.45 | 1.351%
|  | 1925.96 | 1.589%
|  | 1891.62 | -0.222%
|  | 1894.21 | -0.08542%
|  | 1890.88 | -0.2611%
|  | 1863.49 | -1.706%
|  | 1904.59 | 0.4621%
|  | 1894.85 | -0.05167%
|  | 1877.67 | -0.9579%
|  | 1819.61 | -4.02%
|  | 1890.94 | -0.2579%
|  | 1899.72 | 0.2052%
|  | 1923.15 | 1.441%
|  | 1898.54 | 0.143%
|  | 1904.48 | 0.4563%
|  | 1935.82 | 2.109%
|  | 1881.62 | -0.7495%
|  | 1903.76 | 0.4183%
|  | 1898.32 | 0.1314%
| Total | 37916.59
| Average | 1895.8295
| Average | % Deviation from mean
| 1895.8295 | -5% | 1801.038
|  | 5% | 1990.621
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## Efa SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | Tenofovir DF, Lamivudine & Efavirenz Tablets
Reference Substance: | Efavirenz
% age Purity: | 99.3
Weight (mg): | 33.39
Standard Conc (mg/mL): | 0.16027
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 106319119 | 87776.8 | 1.1 | 7.8
2 | 106634491 | 87582.9 | 1 | 7.8
3 | 106284869 | 87982.3 | 1.1 | 7.8
4 | 105969118 | 87552.6 | 1.2 | 7.8
5 | 106251700 | 87977.5 | 1 | 7.8
6 | 106624058 | 88236.2 | 1.1 | 7.8
Averages: | 106347225.8333 | 87851.3833 | 1.0833 | 7.8
RSD: | 0.2364%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Efavirenz
% age Purity: | 99.3
Weight (mg): | 33.39
Standard Conc (mg/mL): | 0.16027
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 13900989 | 74086.6 | 1 | 6.9
2 | 13903091 | 74157 | 1 | 6.9
3 | 13914885 | 74306.4 | 1.1 | 6.9
4 | 13894782 | 74307.7 | 1.1 | 6.9
5 | 13924401 | 74561.7 | 1.1 | 6.9
6 | 13906607 | 74755.1 | 1 | 6.9
Averages: | 13907459.1667 | 74362.4167 | 1.05 | 6.9
RSD: | 0.0764%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by: | Bugigi |  |  | 2016-05-07
Reviewed By:

## TDF SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | Tenofovir DF, Lamivudine & Efavirenz Tablets
Reference Substance: | Tenofovir DF
% age Purity: | 98.8
Weight (mg): | 13.62
Standard Conc (mg/mL): | 0.065376
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 25861612 | 111157.6 | 1.1 | 6.7
2 | 25952947 | 110861.6 | 1.1 | 6.7
3 | 25852804 | 110771.1 | 1.1 | 6.7
4 | 25751017 | 110687.6 | 1 | 6.7
5 | 25851801 | 111104.5 | 1.1 | 6.7
6 | 25972151 | 111581.4 | 1.1 | 6.7
Averages: | 25873722 | 111027.3 | 1.0833 | 6.7
RSD: | 0.3096%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Tenofovir DF
% age Purity: | 98.8
Weight (mg): | 13.62
Standard Conc (mg/mL): | 0.065376
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 3087001 | 35592.9 | 0.9 | 5.9
2 | 3088896 | 41405.1 | 0.8 | 5.9
3 | 3086337 | 42517.9 | 0.9 | 5.9
4 | 3088984 | 39679.1 | 0.9 | 5.9
5 | 3085042 | 39147.4 | 0.8 | 5.9
6 | 3085664 | 36095.8 | 0.9 | 5.9
Averages: | 3086987.3333 | 39073.0333 | 0.86667 | 5.9
RSD: | 0.0534%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by: | Bugigi |  |  | 2016-05-07
Reviewed By:

## Lam SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | Tenofovir DF, Lamivudine & Efavirenz Tablets
Reference Substance: | Lamivudine
% age Purity: | 100.4
Weight (mg): | 13.81
Standard Conc (mg/mL): | 0.044192
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 42704578 | 11448 | 1.1 | 2.2
2 | 42852755 | 11504.8 | 1.1 | 2.2
3 | 42704507 | 11574.8 | 1.1 | 2.2
4 | 42544195 | 11517.7 | 1.1 | 2.2
5 | 42710573 | 11542.6 | 1.1 | 2.2
6 | 42898640 | 11557.3 | 1.1 | 2.2
Averages: | 42735874.6667 | 11524.2 | 1.1 | 2.2
RSD: | 0.2951%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Lamivudine
% age Purity: | 100.4
Weight (mg): | 13.81
Standard Conc (mg/mL): | 0.044192
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 5147090 | 10931.7 | 1.1 | 2.1
2 | 5153880 | 10613 | 1.1 | 2.1
3 | 5152618 | 10579.5 | 1.1 | 2.1
4 | 5161717 | 10410.8 | 1.1 | 2.1
5 | 5150480 | 10551.8 | 1.1 | 2.1
6 | 5153826 | 10549.1 | 1 | 2.1
Averages: | 5153268.5 | 10605.9833 | 1.0833 | 2.1
RSD: | 0.09444%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by: | Bugigi |  |  | 2016-05-07
Reviewed By:

## Lam
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | Tenofovir DF, Lamivudine & Efavirenz Tablets
Laboratory Ref No: | NDQD2016061056 | 29
Active Ingredient: | Lamivudine
Label Claim: | Lamivudine 300mg
Date Analysis Started: | 2016-07-01
Date Analysis Completed: | 2016-07-05
Analysis Data
Reference Substance: | Lamivudine
Code: | L3 7
% age Purity: | 100.4
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 100.4
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 20 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 5 | 1 | 42467769 | 57429274.1236 | 40307370 | 57726394.0786
2nd Dilution Standard Transfer Volume (mL): | 4 | 2 | 42746526 | 57806237.9375 | 40207029 | 57582690.2322 |  | 0.1028%
2nd Dilution Standard Final Volume (mL): | 50 | 3 | 42810514 | 57892769.0758 | 40240507 | 57630635.9111
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 42674936.3333 | 57709427.0456 | 40251635.3333 | 57646573.4073
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 13.81 |  | 13.04
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 13.81 |  | 13.04
Standard Dilution Factor | 312.5 | Purity correction (mg): | 13.8652 |  | 13.0922
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.044369 |  | 0.041895
|  | Desired Concentration (mg/mL): | 0.06
|  | Desired Weight as free base (mg): | 18.75
|  | Desired Weight as salt (mg): | 18.75
|  | Average Normalised Response: | 57678000.2265
|  | RSD: | 0.2881%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Lamivudine 300mg
Each Tablet contains | 300 | Lamivudine
Average Tablet Content Weight (mg): | 1895.829
Initial Sample dilution Volume (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 5 | Assay Smp A | 1935.65 | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 10 |  |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 50 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1903.02 | 1 | 55628561 | 288.2469 | 96.08%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 57007639 | 295.3928 | 98.46%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 56114721 | 290.766 | 96.92%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 5000 | Assay Smp C | 1896.48 | 1 | 55449038 | 288.3075 | 96.1%
Desired Sample Weight (mg): | 1895.829 |  |  | 2 | 56148040 | 291.942 | 97.31%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 56821159 | 295.4419 | 98.48%
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 291.6829 | 97.23%
[5 empty] | RSD: | 1.106% | 1.106%
[5 empty] | n: | 6 | 6
Comment: | The content of | Lamivudine |  | in the sample as a percentage of the stated label claim is |  | 97.23%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Lamivudine
Code: | L3 7
% age Purity: | 100.4
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 100.4
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 20 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 3 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 10 | 1 | 5155652 | 7436801.6709 | 4876530 | 7449542.3215
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 5157306 | 7439187.4933 | 4858860 | 7422549.0675 |  | 0.03954%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 5155786 | 7436994.9601 | 4876984 | 7450235.8664
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 5156248 | 7437661.3748 | 4870791.3333 | 7440775.7518
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 13.81 |  | 13.04
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 13.81 |  | 13.04
Standard Dilution Factor | 66.6667 | Purity correction: | 13.8652 |  | 13.0922
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.20798 |  | 0.19638
|  | Desired Concentration (mg/mL): | 0.3
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 20
|  | Average Normalised Peak Area: | 7439218.5633
|  | RSD: | 0.1366%
|  | n: | 6
Medium Volume (mL): | 1000 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 6410905 | 258.5314 | 86.18%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 6385368 | 257.5016 | 85.83%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 6387811 | 257.6001 | 85.87%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 6390178 | 257.6955 | 85.9%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 6405429 | 258.3106 | 86.1%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 6385689 | 257.5145 | 85.84%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 257.8589 | 85.95%
Sample Dilution Factor | 1000 |  | RSD: | 0.1731% | 0.1731%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | Lamivudine |  | dissolved as a percentage of the stated label claim is |  | 85.95%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## TDF
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | Tenofovir DF, Lamivudine & Efavirenz Tablets
Laboratory Ref No: | NDQD2016061056 | 29
Active Ingredient: | Tenofovir DF
Label Claim: | Tenofovir DF 300mg
Date Analysis Started: | 2016-07-01
Date Analysis Completed: | 2016-07-05
Analysis Data
Reference Substance: | Tenofovir Df
Code: | T11 8
% age Purity: | 98.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 20 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 50 | 1 | 25716256 | 28665858.1391 | 28472523 | 29227528.5166
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 25898186 | 28868655.1392 | 28413301 | 29166736.1276 |  | 1.346%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 25953789 | 28930635.69 | 28389916 | 29142731.0279
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 25856077 | 28821716.3227 | 28425246.6667 | 29178998.5574
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 13.62 |  | 14.79
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 13.62 |  | 14.79
Standard Dilution Factor | 250 | Purity correction (mg): | 13.4566 |  | 14.6125
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.053826 |  | 0.05845
|  | Desired Concentration (mg/mL): | 0.06
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Response: | 29000357.4401
|  | RSD: | 0.7454%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Tenofovir DF 300mg
Each Tablet contains | 300 | Tenofovir DF
Average Tablet Content Weight (mg): | 1895.829
Initial Sample dilution Volume (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 5 | Assay Smp A | 1935.65 | 1 | 27668914 | 280.3382 | 93.45%
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 26906196 | 272.6105 | 90.87%
2nd Dilution Sample Transfer Volume (mL): | 10 |  |  | 3 | 27190914 | 275.4952 | 91.83%
2nd Dilution Sample Final Volume (mL): | 50 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1903.02 | 1 | 26167688 | 269.674 | 89.89%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 26744401 | 275.6174 | 91.87%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 26368928 | 271.7479 | 90.58%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 5000 | Assay Smp C | 1896.48 | 1 |  | - | -
Desired Sample Weight (mg): | 1895.829 |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | - | -
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 274.2472 | 91.42%
[5 empty] | RSD: | 1.368% | 1.368%
[5 empty] | n: | 6 | 6
Comment: | The content of | Tenofovir DF |  | in the sample as a percentage of the stated label claim is |  | 91.42%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Tenofovir Df
Code: | T11 8
% age Purity: | 98.8
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.8
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 20 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 10 | 1 | 3087125 | 3441211.9442 | 3382193 | 3471878.5671
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 3087142 | 3441230.8941 | 3383919 | 3473650.3355 |  | 0.9916%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 3085949 | 3439901.0594 | 3381408 | 3471072.7513
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 3086738.6667 | 3440781.2992 | 3382506.6667 | 3472200.5513
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 13.62 |  | 14.79
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 13.62 |  | 14.79
Standard Dilution Factor | 50 | Purity correction: | 13.4566 |  | 14.6125
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.26913 |  | 0.29225
|  | Desired Concentration (mg/mL): | 0.3
|  | Desired Weight as free base (mg): | 15
|  | Desired Weight as salt (mg): | 15
|  | Average Normalised Peak Area: | 3456490.9253
|  | RSD: | 0.4987%
|  | n: | 6
Medium Volume (mL): | 1000 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 3235337 | 280.8053 | 93.6%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 3226030 | 279.9976 | 93.33%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 3228927 | 280.249 | 93.42%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 3217809 | 279.284 | 93.09%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 3203742 | 278.0631 | 92.69%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 3207698 | 278.4065 | 92.8%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 279.4676 | 93.16%
Sample Dilution Factor | 1000 |  | RSD: | 0.3858% | 0.3858%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | Tenofovir DF |  | dissolved as a percentage of the stated label claim is |  | 93.16%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## Efa
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | Tenofovir DF, Lamivudine & Efavirenz Tablets
Laboratory Ref No: | NDQD2016061056 | 29
Active Ingredient: | Efavirenz
Label Claim: | Efavirenz 600mg
Date Analysis Started: | 2016-07-01
Date Analysis Completed: | 2016-07-05
Analysis Data
Reference Substance: | Efavirenz
Code: | E15 3
% age Purity: | 99.3
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.3
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 5 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 10 | 1 | 105750699 | 79736576.9732 | 92157039 | 83041057.4451
2nd Dilution Standard Transfer Volume (mL): | 3 | 2 | 106285640 | 80139925.269 | 91875897 | 82787725.4237 |  | 2.937%
2nd Dilution Standard Final Volume (mL): | 50 | 3 | 106465038 | 80275192.2939 | 91835680 | 82751486.6052
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 106167125.6667 | 80050564.8454 | 91956205.3333 | 82860089.8247
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 33.39 |  | 27.94
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 33.39 |  | 27.94
Standard Dilution Factor | 208.3333 | Purity correction (mg): | 33.1563 |  | 27.7444
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.15915 |  | 0.13317
|  | Desired Concentration (mg/mL): | 0.12
|  | Desired Weight as free base (mg): | 25
|  | Desired Weight as salt (mg): | 25
|  | Average Normalised Response: | 81455327.335
|  | RSD: | 1.906%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Efavirenz 600mg
Each Tablet contains | 600 | Efavirenz
Average Tablet Content Weight (mg): | 1895.829
Initial Sample dilution Volume (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 5 | Assay Smp A | 1935.65 | 1 | 89518549 | 645.8284 | 107.6%
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 87255211 | 629.4996 | 104.9%
2nd Dilution Sample Transfer Volume (mL): | 10 |  |  | 3 | 88131844 | 635.824 | 106%
2nd Dilution Sample Final Volume (mL): | 50 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1903.02 | 1 | 85769611 | 629.3917 | 104.9%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 87442051 | 641.6643 | 106.9%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 86334403 | 633.5362 | 105.6%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 5000 | Assay Smp C | 1896.48 | 1 | 83256012 | 613.0533 | 102.2%
Desired Sample Weight (mg): | 1895.829 |  |  | 2 | 84156254 | 619.6822 | 103.3%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 85052577 | 626.2823 | 104.4%
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 630.5291 | 105.1%
[5 empty] | RSD: | 1.624% | 1.624%
[5 empty] | n: | 9 | 9
Comment: | The content of | Efavirenz |  | in the sample as a percentage of the stated label claim is |  | 105.1%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Efavirenz
Code: | E15 3
% age Purity: | 99.3
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.3
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 5 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 10 | 1 | 13945415 | 12617898.5151 | 11885488 | 12851760.4621
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 13958514 | 12629750.5721 | 11840472 | 12803084.7284 |  | 1.649%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 13796122 | 12482817.2771 | 11855326 | 12819146.3365
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 13900017 | 12576822.1214 | 11860428.6667 | 12824663.8423
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 33.39 |  | 27.94
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 33.39 |  | 27.94
Standard Dilution Factor | 50 | Purity correction: | 33.1563 |  | 27.7444
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.66313 |  | 0.55489
|  | Desired Concentration (mg/mL): | 0.6
|  | Desired Weight as free base (mg): | 30
|  | Desired Weight as salt (mg): | 30
|  | Average Normalised Peak Area: | 12700742.9819
|  | RSD: | 1.15%
|  | n: | 6
Medium Volume (mL): | 1000 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 12217689 | 577.1799 | 96.2%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 12207927 | 576.7187 | 96.12%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 12020683 | 567.8731 | 94.65%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 12098524 | 571.5504 | 95.26%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 12085707 | 570.9449 | 95.16%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 12086569 | 570.9856 | 95.16%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 572.5421 | 95.42%
Sample Dilution Factor | 1000 |  | RSD: | 0.638% | 0.638%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | Efavirenz |  | dissolved as a percentage of the stated label claim is |  | 95.42%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5