## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | EFAVIRENZ 600MG, LAMIVUDINE 300MG AND TENOFOVIR DISOPROXIL FUMARATE 300MG TABLETS
% age Purity: | NDQD2016061060
Weight (mg): | Efavirenz 600mg, Lamivudine 300mg and Tenofovir Disoproxil Fumarate 300mg Tablets
Standard Conc (mg/mL): | Each film-coated tablet contains Efavirenz 600mg, Lamivudine USP 300mg, Tenofovir Disoproxil Fumarate 300mg euivalent to tenofovir disoproxil 245mg
2016-06-10 15:47:28
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | EFAVIRENZ 600MG, LAMIVUDINE 300MG AND TENOFOVIR DISOPROXIL FUMARATE 300MG TABLETS
Laboratory Ref No: |  | NDQD2016061060
Active Ingredient: |  | Efavirenz 600mg, Lamivudine 300mg and Tenofovir Disoproxil Fumarate 300mg Tablets
Label Claim: |  | Each film-coated tablet contains Efavirenz 600mg, Lamivudine USP 300mg, Tenofovir Disoproxil Fumarate 300mg euivalent to tenofovir disoproxil 245mg
Date Analysis Started: |  | 2016-06-10 15:47:28
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 1885.01 | -0.4127%
|  | 1885.32 | -0.3963%
|  | 1903.7 | 0.5747%
|  | 1863.34 | -1.558%
|  | 1888.09 | -0.25%
|  | 1892.68 | -0.007476%
|  | 1906.36 | 0.7153%
|  | 1882.68 | -0.5358%
|  | 1905.88 | 0.6899%
|  | 1906.38 | 0.7163%
|  | 1895.81 | 0.1579%
|  | 1903.35 | 0.5562%
|  | 1896.23 | 0.1801%
|  | 1925.28 | 1.715%
|  | 1868.79 | -1.27%
|  | 1885.95 | -0.363%
|  | 1907.05 | 0.7517%
|  | 1902.72 | 0.5229%
|  | 1884.76 | -0.4259%
|  | 1867.05 | -1.362%
| Total | 37856.43
| Average | 1892.8215
| Average | % Deviation from mean
| 1892.8215 | -5% | 1798.1804
|  | 5% | 1987.4626
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## Lamivudine
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | EFAVIRENZ 600MG, LAMIVUDINE 300MG AND TENOFOVIR DISOPROXIL FUMARATE 300MG TABLETS
Laboratory Ref No: | NDQD2016061060 | 29
Active Ingredient: | Lamivudine
Label Claim: | Each film-coated tablet contains Efavirenz 600mg, Lamivudine USP 300mg, Tenofovir Disoproxil Fumarate 300mg euivalent to tenofovir disoproxil 245mg
Date Analysis Started: | 2016-06-10 15:47:28
Date Analysis Completed:
Analysis Data
Reference Substance:
Code:
% age Purity: | 100.4
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 100.4
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 20 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 5 | 1 | 42467769 | 57429274.1236 | 40307370 | 57726394.0786
2nd Dilution Standard Transfer Volume (mL): | 4 | 2 | 42746526 | 57806237.9375 | 40207029 | 57582690.2322 |  | 0.1028%
2nd Dilution Standard Final Volume (mL): | 50 | 3 | 42810514 | 57892769.0758 | 40240507 | 57630635.9111
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 42674936.3333 | 57709427.0456 | 40251635.3333 | 57646573.4073
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 13.81 |  | 13.04
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 13.81 |  | 13.04
Standard Dilution Factor | 312.5 | Purity correction (mg): | 13.8652 |  | 13.0922
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.044369 |  | 0.041895
|  | Desired Concentration (mg/mL): | 0.06
|  | Desired Weight as free base (mg): | 18.75
|  | Desired Weight as salt (mg): | 18.75
|  | Average Normalised Response: | 57678000.2265
|  | RSD: | 0.2881%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film-coated tablet contains Efavirenz 600mg, Lamivudine USP 300mg, Tenofovir Disoproxil Fumarate 300mg euivalent to tenofovir disoproxil 245mg
Each Tablet contains | 300 | Lamivudine
Average Tablet Content Weight (mg): | 1892.8215
Initial Sample dilution Volume (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 5 | Assay Smp A | 1905.91 | 1 | 60085272 | 310.3747 | 103.5%
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 | 57635428 | 297.7199 | 99.24%
2nd Dilution Sample Transfer Volume (mL): | 10 |  |  | 3 | 57596346 | 297.518 | 99.17%
2nd Dilution Sample Final Volume (mL): | 50 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1903.73 | 1 | 58155901 | 300.7524 | 100.3%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 57842214 | 299.1302 | 99.71%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 5000 | Assay Smp C | 1907.13 | 1 |  | - | -
Desired Sample Weight (mg): | 1892.8215 |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 58722535 | 303.1414 | 101%
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 301.4394 | 100.5%
[5 empty] | RSD: | 1.61% | 1.61%
[5 empty] | n: | 6 | 6
Comment: | The content of | Lamivudine |  | in the sample as a percentage of the stated label claim is |  | 100.5%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Lamivudine
Code: | L3 7
% age Purity: | 100.4
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 100.4
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 20 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 3 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 10 | 1 | 5155652 | 7436801.6709 | 4876530 | 7449542.3215
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 5157306 | 7439187.4933 | 4858860 | 7422549.0675 |  | 0.03954%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 5155786 | 7436994.9601 | 4876984 | 7450235.8664
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 5156248 | 7437661.3748 | 4870791.3333 | 7440775.7518
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 13.81 |  | 13.04
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 13.81 |  | 13.04
Standard Dilution Factor | 66.6667 | Purity correction: | 13.8652 |  | 13.0922
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.20798 |  | 0.19638
|  | Desired Concentration (mg/mL): | 0.3
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 20
|  | Average Normalised Peak Area: | 7439218.5633
|  | RSD: | 0.1366%
|  | n: | 6
Medium Volume (mL): | 1000 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 6790575 | 273.8423 | 91.28%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 6901943 | 278.3334 | 92.78%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 6913721 | 278.8084 | 92.94%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 6074596 | 244.9691 | 81.66%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 6059587 | 244.3639 | 81.45%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 6418131 | 258.8228 | 86.27%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 263.19 | 87.73%
Sample Dilution Factor | 1000 |  | RSD: | 6.108% | 6.108%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | Lamivudine |  | dissolved as a percentage of the stated label claim is |  | 87.73%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## Efavirenz
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | EFAVIRENZ 600MG, LAMIVUDINE 300MG AND TENOFOVIR DISOPROXIL FUMARATE 300MG TABLETS
Laboratory Ref No: | NDQD2016061060 | 11
Active Ingredient: | Efavirenz
Label Claim: | Each film-coated tablet contains Efavirenz 600mg, Lamivudine USP 300mg, Tenofovir Disoproxil Fumarate 300mg euivalent to tenofovir disoproxil 245mg
Date Analysis Started: | 2016-06-10 15:47:28
Date Analysis Completed:
Analysis Data
Reference Substance: | Efavirenz
Code: | E15-3
% age Purity: | 99.3
% Water content: | 0 | If correction for water content is NOT needed please enter 0
% Purity corrected for water: | 99.3
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 5 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 10 | 1 | 105750699 | 79736576.9732 | 92157039 | 83041057.4451
2nd Dilution Standard Transfer Volume (mL): | 3 | 2 | 106285640 | 80139925.269 | 91875897 | 82787725.4237
2nd Dilution Standard Final Volume (mL): | 50 | 3 | 106465038 | 80275192.2939 | 91835680 | 82751486.6052
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 106167125.6667 | 80050564.8454 | 91956205.3333 | 82860089.8247
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 33.39 |  | 27.94
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 33.39 |  | 27.94
Standard Dilution Factor | 208.3333 | Purity correction (mg): | 33.1563 |  | 27.7444
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.15915 |  | 0.13317
|  | Desired Concetration (mg/mL): | 0.12
|  | Desired Weight as free base (mg): | 25
|  | Desired Weight as salt (mg): | 25
|  | Average Normalised Response: | 81455327.335
|  | RSD: | 1.906%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each film-coated tablet contains Efavirenz 600mg, Lamivudine USP 300mg, Tenofovir Disoproxil Fumarate 300mg euivalent to tenofovir disoproxil 245mg
Each tablet contains | 600 | Efavirenz
Average tablet Content Weight (mg): | 1892.821
Initial Sample dilution (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 5 | Assay Smp A | 1905.91 | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 50 |  |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 10 |  |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 50 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1903.73 | 1 | 86060953 | 630.2924 | 105%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 87149836 | 638.2672 | 106.4%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 85380062 | 625.3057 | 104.2%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 5000 | Assay Smp C | 1907.13 | 1 | 89905641 | 657.2763 | 109.5%
Desired Sample Weight (mg) | 1892.821 |  |  | 2 | 88831226 | 649.4215 | 108.2%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 86497366 | 632.3593 | 105.4%
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 106.5%
[6 empty] | RSD: | 1.918%
[6 empty] | n: | 6
Comment | The content of | Efavirenz |  | in the sample as a percentage of the stated label claim is |  | 106.5%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Effavirenz
Code: | E15-3
% age Purity: | 99.3
% Water content: | 0 | If correction for water content is NOT needed please enter 0
% Purity corrected for water: | 99.3
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 5 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 10 | 1 | 13945415 | 12617898.5151 | 11885488 | 12851760.4621
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 13958514 | 12629750.5721 | 11840472 | 12803084.7284
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 13796122 | 12482817.2771 | 11855326 | 12819146.3365
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 13900017 | 12576822.1214 | 11860428.6667 | 12824663.8423
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 33.39 |  | 27.94
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 33.39 |  | 27.94
Standard Dilution Factor | 50 | Purity correction (mg): | 33.1563 |  | 27.7444
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.66313 |  | 0.55489
|  | Desired Concetration (mg/mL): | 0.6
|  | Desired Weight as free base (mg): | 30
|  | Desired Weight as salt (mg): | 30
|  | Average Normalised Peak Area: | 12700742.9819
|  | RSD: | 1.15%
|  | n: | 6
Medium Volume (mL): | 1000 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 10879722 | 513.9725 | 85.66%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 11193113 | 528.7776 | 88.13%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 10990824 | 519.2212 | 86.54%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 9195218 | 434.3943 | 72.4%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 9211738 | 435.1748 | 72.53%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 10190795 | 481.4267 | 80.24%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 80.92%
Sample Dilution Factor | 1000 |  |  | RSD: | 8.73%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Analysis Data: | Repeat Determination of Active Ingredient Dissolved
Reference Substance: | Effavirenz
Code: | E15-3
% age Purity: | 99.3
% Water content: |  | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.3
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 20 | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | -
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 50 | Purity correction: | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 0.6
|  | Desired Weight as free base (mg): | 30
|  | Desired Weight as salt (mg): | 30
|  | Average Normalised Peak Area: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Medium Volume (mL): | 1000 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | #DIV/0!
Sample Dilution Factor | 1000 |  |  | RSD: | #DIV/0!
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Analysis Data: | Dissolution Result Summary
Average: | 80.92%
RSD: | 8.73%
n: | 6
Comment | The amount of | Efavirenz |  | dissolved as a percentage of the stated label claim is |  | 80.92%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0