## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCL
Laboratory Ref No: |  | NDQD2016061088
Active Ingredient: |  | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCl
Label Claim: |  | RIFAMPICIN 150mg, ISONIAZID 75mg, PYRAZINAMIDE 400mg & ETHAMBUTOL HCl 275mg
Date Analysis Started: |  | 2016-06-09 15:10:32
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 1154.57 | 0.7603%
|  | 1155.19 | 0.8145%
|  | 1124.58 | -1.857%
|  | 1150.06 | 0.3668%
|  | 1139.67 | -0.54%
|  | 1147.95 | 0.1826%
|  | 1146.31 | 0.03949%
|  | 1130.16 | -1.37%
|  | 1166.32 | 1.786%
|  | 1140.14 | -0.499%
|  | 1145.59 | -0.02334%
|  | 1128.04 | -1.555%
|  | 1124.8 | -1.838%
|  | 1143.1 | -0.2406%
|  | 1171.95 | 2.277%
|  | 1148.07 | 0.1931%
|  | 1132.45 | -1.17%
|  | 1168.38 | 1.966%
|  | 1164.62 | 1.637%
|  | 1135.2 | -0.9301%
| Total | 22917.15
| Average | 1145.8575
| Average | % Deviation from mean
| 1145.8575 | -5% | 1088.5646
|  | 5% | 1203.1504
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## Rifampicin
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCL
Laboratory Ref No: | NDQD2016061088 | 29
Active Ingredient: | RIFAMPICIN
Label Claim: | RIFAMPICIN 150mg
Date Analysis Started: | 2016-06-10
Date Analysis Completed: | 2016-06-14
Analysis Data
Reference Substance: | RIFAMPICIN
Code: | R5 1
% age Purity: | 99.6
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.6
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 4277210 | 3868817.6128 | 3823598 | 3924809.0124
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 4271808 | 3863931.4013 | 3821973 | 3923140.9985 |  | 1.373%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 4260390 | 3853603.6036 | 3817848 | 3918906.8093
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 4269802.6667 | 3862117.5392 | 3821139.6667 | 3922285.6068
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 17.76 |  | 15.65
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 17.76 |  | 15.65
Standard Dilution Factor | 100 | Purity correction (mg): | 17.689 |  | 15.5874
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.17689 |  | 0.15587
|  | Desired Concentration (mg/mL): | 0.16
|  | Desired Weight as free base (mg): | 16
|  | Desired Weight as salt (mg): | 16
|  | Average Normalised Response: | 3892201.573
|  | RSD: | 0.8575%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | RIFAMPICIN 150mg
Each Tablet contains | 150 | RIFAMPICIN
Average Tablet Content Weight (mg): | 1145.8575
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 4 | Assay Smp A | 1146.6 | 1 | 3427544 | 140.8077 | 93.87%
1st Dilution Sample Final Volume (mL): | 20 |  |  | 2 | 3401336 | 139.731 | 93.15%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 3368197 | 138.3696 | 92.25%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1138.15 | 1 | 3354365 | 138.8245 | 92.55%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 3347067 | 138.5225 | 92.35%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 3356258 | 138.9028 | 92.6%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1000 | Assay Smp C | 1153.56 | 1 | 3349559 | 136.7737 | 91.18%
Desired Sample Weight (mg): | 1222.248 |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | - | -
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 138.8474 | 92.56%
[5 empty] | RSD: | 0.8948% | 0.8948%
[5 empty] | n: | 7 | 7
Comment: | The content of | RIFAMPICIN |  | in the sample as a percentage of the stated label claim is |  | 92.56%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | RIFAMPICIN
Code: | R5 1
% age Purity: | 99.6
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.6
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 4277210 | 4030018.3467 | 3823598 | 4088342.7213
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 4271808 | 4024928.543 | 3821973 | 4086605.2068 |  | 1.373%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 4260390 | 4014170.4204 | 3817848 | 4082194.5931
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 4269802.6667 | 4023039.1034 | 3821139.6667 | 4085714.1737
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 17.76 |  | 15.65
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 17.76 |  | 15.65
Standard Dilution Factor | 100 | Purity correction: | 17.689 |  | 15.5874
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.17689 |  | 0.15587
|  | Desired Concentration (mg/mL): | 0.16667
|  | Desired Weight as free base (mg): | 16.6667
|  | Desired Weight as salt (mg): | 16.6667
|  | Average Normalised Peak Area: | 4054376.6385
|  | RSD: | 0.8575%
|  | n: | 6
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 3290724 | 121.7471 | 81.16%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 3311870 | 122.5294 | 81.69%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 3391504 | 125.4757 | 83.65%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 3296699 | 121.9682 | 81.31%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 3265477 | 120.813 | 80.54%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 3284632 | 121.5217 | 81.01%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 122.3425 | 81.56%
Sample Dilution Factor | 900 |  | RSD: | 1.336% | 1.336%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | RIFAMPICIN |  | dissolved as a percentage of the stated label claim is |  | 81.56%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## SST I
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCL
Reference Substance: | Isoniazid
% age Purity: | NDQD2016061088
Weight (mg): | 9.86
Standard Conc (mg/mL): | 0.0986
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 4035731 | 8316 | 1.1 | 2.68
2 | 4037643 | 8309.5 | 1.1 | 2.68
3 | 4035748 | 8321 | 1.1 | 2.68
4 | 4035223 | 8398.1 | 1 | 2.687
5 | 4034715 | 8367.7 | 1.1 | 2.68
6 | 4036553 | 8363.2 | 1.1 | 2.68
Averages: | 4035935.5 | 8345.9167 | 1.0833 | 2.6812
RSD: | 0.02568%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 4035731 | 8316 | 1.1 | 2.68
2 | 4037643 | 8309.5 | 1.1 | 2.68
3 | 4035748 | 8321 | 1.1 | 2.68
4 | 4035223 | 8398.1 | 1 | 2.687
5 | 4034715 | 8367.7 | 1.1 | 2.68
6 | 4036553 | 8363.2 | 1.1 | 2.68
Averages: | 4035935.5 | 8345.9167 | 1.0833 | 2.6812
RSD: | 0.02568%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Isoniazid
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCL
Laboratory Ref No: | NDQD2016061088 | 29
Active Ingredient: | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCl
Label Claim: | RIFAMPICIN 150mg, ISONIAZID 75mg, PYRAZINAMIDE 400mg & ETHAMBUTOL HCl 275mg
Date Analysis Started: | 2016-06-09 15:10:32
Date Analysis Completed:
Analysis Data
Reference Substance: | ISONIAZID
Code: | I8 2
% age Purity: | 98.5
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.5
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 4029917 | 3319502.0644 | 3300605 | 3301347.8033
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 4037888 | 3326067.8947 | 3308864 | 3309608.6619 |  | 0.4392%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 4037264 | 3325553.8967 | 3306250 | 3306994.0737
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 4035023 | 3323707.9519 | 3305239.6667 | 3305983.513
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 9.86 |  | 8.12
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 9.86 |  | 8.12
Standard Dilution Factor | 100 | Purity correction (mg): | 9.7121 |  | 7.9982
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.097121 |  | 0.079982
|  | Desired Concentration (mg/mL): | 0.08
|  | Desired Weight as free base (mg): | 8
|  | Desired Weight as salt (mg): | 8
|  | Average Normalised Response: | 3314845.7324
|  | RSD: | 0.3116%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | RIFAMPICIN 150mg, ISONIAZID 75mg, PYRAZINAMIDE 400mg & ETHAMBUTOL HCl 275mg
Each Tablet contains | 75 | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCl
Average Tablet Content Weight (mg): | 1145.8575
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 4 | Assay Smp A | 1146.6 | 1 | 3082705 | 74.3494 | 99.13%
1st Dilution Sample Final Volume (mL): | 20 |  |  | 2 | 3100038 | 74.7674 | 99.69%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 3093863 | 74.6185 | 99.49%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1138.15 | 1 | 2995822 | 72.7903 | 97.05%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 2993503 | 72.734 | 96.98%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 2992780 | 72.7164 | 96.96%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1000 | Assay Smp C | 1153.56 | 1 | 3041808 | 72.9204 | 97.23%
Desired Sample Weight (mg): | 1222.248 |  |  | 2 | 3035908 | 72.7789 | 97.04%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 3029407 | 72.6231 | 96.83%
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 73.3665 | 97.82%
[5 empty] | RSD: | 1.252% | 1.252%
[5 empty] | n: | 9 | 9
Comment: | The content of | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCl |  | in the sample as a percentage of the stated label claim is |  | 97.82%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | ISONIAZID
Code: | I8 2
% age Purity: | 98.5
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 98.5
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 4029917 | 3457814.6505 | 3300605 | 3438903.9617
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 4037888 | 3464654.057 | 3308864 | 3447509.0229 |  | 0.4392%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 4037264 | 3464118.6424 | 3306250 | 3444785.4934
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 4035023 | 3462195.7833 | 3305239.6667 | 3443732.826
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 9.86 |  | 8.12
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 9.86 |  | 8.12
Standard Dilution Factor | 100 | Purity correction: | 9.7121 |  | 7.9982
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.097121 |  | 0.079982
|  | Desired Concentration (mg/mL): | 0.083333
|  | Desired Weight as free base (mg): | 8.3333
|  | Desired Weight as salt (mg): | 8.3333
|  | Average Normalised Peak Area: | 3452964.3046
|  | RSD: | 0.3116%
|  | n: | 6
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 2984683 | 64.8287 | 86.44%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 2990446 | 64.9539 | 86.61%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 3022347 | 65.6468 | 87.53%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 2994144 | 65.0342 | 86.71%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 2987689 | 64.894 | 86.53%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 2985017 | 64.836 | 86.45%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 65.0323 | 86.71%
Sample Dilution Factor | 900 |  | RSD: | 0.4779% | 0.4779%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCl |  | dissolved as a percentage of the stated label claim is |  | 86.71%
| Name |  |  | Date |  | Signature
Analysed by: | michael
Reviewed By:
5

## SST P
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCL
Reference Substance: | Pyrazinamide
% age Purity: | NDQD2016061088
Weight (mg): | 43.25
Standard Conc (mg/mL): | 0.4325
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 10712237 | 9206.5 | 1.1 | 3.1
2 | 10710060 | 9206.1 | 1.1 | 3.1
3 | 10711877 | 9225.1 | 1.1 | 3.1
4 | 10711860 | 9293.7 | 1 | 3.1
5 | 10709634 | 9273.2 | 1.1 | 3.1
6 | 10711142 | 9262.5 | 1.1 | 3.1
Averages: | 10711135 | 9244.5167 | 1.0833 | 3.1
RSD: | 0.009968%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than10000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date
Analysed by:
Reviewed By:

## Pyrazinamide
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCL
Laboratory Ref No: | NDQD2016061088 | 29
Active Ingredient: | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCl
Label Claim: | RIFAMPICIN 150mg, ISONIAZID 75mg, PYRAZINAMIDE 400mg & ETHAMBUTOL HCl 275mg
Date Analysis Started: | 2016-06-09 15:10:32
Date Analysis Completed:
Analysis Data
Reference Substance: | PYRAZINAMIDE
Code: | P19 1
% age Purity: | 99.5
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.5
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 10711068 | 10702667.6504 | 10217238 | 10688670.5131
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 10714601 | 10706197.8796 | 10221231 | 10692847.7537 |  | 0.1291%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 10712043 | 10703641.8857 | 10216193 | 10687577.2958
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 10712570.6667 | 10704169.1386 | 10218220.6667 | 10689698.5208
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 43.25 |  | 41.31
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 43.25 |  | 41.31
Standard Dilution Factor | 100 | Purity correction (mg): | 43.0337 |  | 41.1035
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.43034 |  | 0.41103
|  | Desired Concentration (mg/mL): | 0.43
|  | Desired Weight as free base (mg): | 43
|  | Desired Weight as salt (mg): | 43
|  | Average Normalised Response: | 10696933.8297
|  | RSD: | 0.07666%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | RIFAMPICIN 150mg, ISONIAZID 75mg, PYRAZINAMIDE 400mg & ETHAMBUTOL HCl 275mg
Each Tablet contains | 400 | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCl
Average Tablet Content Weight (mg): | 1145.8575
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 4 | Assay Smp A | 1146.6 | 1 | 10665103 | 428.4428 | 107.1%
1st Dilution Sample Final Volume (mL): | 20 |  |  | 2 | 10721097 | 430.6922 | 107.7%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 10695703 | 429.6721 | 107.4%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1138.15 | 1 | 10618744 | 429.7475 | 107.4%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 10617119 | 429.6818 | 107.4%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 10622712 | 429.9081 | 107.5%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1000 | Assay Smp C | 1153.56 | 1 | 10603242 | 423.3877 | 105.8%
Desired Sample Weight (mg): | 1231.7968 |  |  | 2 | 10587225 | 422.7481 | 105.7%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 10569187 | 422.0279 | 105.5%
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 427.3676 | 106.8%
[5 empty] | RSD: | 0.8301% | 0.8301%
[5 empty] | n: | 9 | 9
Comment: | The content of | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCl |  | in the sample as a percentage of the stated label claim is |  | 106.8%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | PYRAZINAMIDE
Code: | P19 1
% age Purity: | 99.5
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.5
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 10711068 | 11062188.7859 | 10217238 | 11047721.4605
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 10714601 | 11065837.6016 | 10221231 | 11052039.0219 |  | 0.1291%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 10712043 | 11063195.7475 | 10216193 | 11046591.5202
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 10712570.6667 | 11063740.7117 | 10218220.6667 | 11048784.0009
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 43.25 |  | 41.31
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 43.25 |  | 41.31
Standard Dilution Factor | 100 | Purity correction: | 43.0337 |  | 41.1035
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.43034 |  | 0.41103
|  | Desired Concentration (mg/mL): | 0.44444
|  | Desired Weight as free base (mg): | 44.4444
|  | Desired Weight as salt (mg): | 44.4444
|  | Average Normalised Peak Area: | 11056262.3563
|  | RSD: | 0.07666%
|  | n: | 6
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 10594960 | 383.3107 | 95.83%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 10615279 | 384.0458 | 96.01%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 10815736 | 391.2981 | 97.82%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 10636031 | 384.7966 | 96.2%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 10613661 | 383.9873 | 96%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 10609193 | 383.8257 | 95.96%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 385.2107 | 96.3%
Sample Dilution Factor | 900 |  | RSD: | 0.7841% | 0.7841%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCl |  | dissolved as a percentage of the stated label claim is |  | 96.3%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## Ethambutol hydrochloride
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCL
Laboratory Ref No: | NDQD2016061088 | 29
Active Ingredient: | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCl
Label Claim: | RIFAMPICIN 150mg, ISONIAZID 75mg, PYRAZINAMIDE 400mg & ETHAMBUTOL HCl 275mg
Date Analysis Started: | 2016-06-09 15:10:32
Date Analysis Completed:
Analysis Data
Reference Substance: | ETHAMBUTOL HYDROCHLORIDE
Code: | E12 3
% age Purity: | 100
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 100
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 42008024 | 37890580.8779 | 32866256 | 37475776.5108
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 42127875 | 37998684.6061 | 32921128 | 37538344.3558 |  | 0.928%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 42166793 | 38033788.0337 | 32951087 | 37572505.1311
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 42100897.3333 | 37974351.1726 | 32912823.6667 | 37528875.3326
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 33.26 |  | 26.31
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 33.26 |  | 26.31
Standard Dilution Factor | 100 | Purity correction (mg): | 33.26 |  | 26.31
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.3326 |  | 0.2631
|  | Desired Concentration (mg/mL): | 0.3
|  | Desired Weight as free base (mg): | 30
|  | Desired Weight as salt (mg): | 30
|  | Average Normalised Response: | 37751613.2526
|  | RSD: | 0.6634%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | RIFAMPICIN 150mg, ISONIAZID 75mg, PYRAZINAMIDE 400mg & ETHAMBUTOL HCl 275mg
Each Tablet contains | 275 | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCl
Average Tablet Content Weight (mg): | 1145.8575
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 4 | Assay Smp A | 1146.6 | 1 | 37527198 | 298.0235 | 108.4%
1st Dilution Sample Final Volume (mL): | 20 |  |  | 2 | 37693088 | 299.3409 | 108.9%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 37672493 | 299.1774 | 108.8%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 1138.15 | 1 | 37474258 | 299.8126 | 109%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 37544562 | 300.3751 | 109.2%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 37489746 | 299.9365 | 109.1%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1000 | Assay Smp C | 1153.56 | 1 | 37222165 | 293.8176 | 106.8%
Desired Sample Weight (mg): | 1250.0264 |  |  | 2 | 37281756 | 294.288 | 107%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 37121511 | 293.0231 | 106.6%
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 297.5327 | 108.2%
[5 empty] | RSD: | 0.9938% | 0.9938%
[5 empty] | n: | 9 | 9
Comment: | The content of | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCl |  | in the sample as a percentage of the stated label claim is |  | 108.2%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | ETHAMBUTOL HYDROCHLORIDE
Code: | E12 3
% age Purity: | 100
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 100
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 42008024 | 38592258.3016 | 32866256 | 38169772.3721
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 42127875 | 38702363.9507 | 32921128 | 38233498.8809 |  | 0.928%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 42166793 | 38738117.4417 | 32951087 | 38268292.2632
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 42100897.3333 | 38677579.898 | 32912823.6667 | 38223854.5054
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 33.26 |  | 26.31
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 33.26 |  | 26.31
Standard Dilution Factor | 100 | Purity correction: | 33.26 |  | 26.31
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.3326 |  | 0.2631
|  | Desired Concentration (mg/mL): | 0.30556
|  | Desired Weight as free base (mg): | 30.5556
|  | Desired Weight as salt (mg): | 30.5556
|  | Average Normalised Peak Area: | 38450717.2017
|  | RSD: | 0.6634%
|  | n: | 6
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 37553437 | 268.5826 | 97.67%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 37330474 | 266.988 | 97.09%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 37446570 | 267.8183 | 97.39%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 37223416 | 266.2223 | 96.81%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 37103063 | 265.3616 | 96.5%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 37017359 | 264.7486 | 96.27%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 266.6202 | 96.95%
Sample Dilution Factor | 900 |  | RSD: | 0.5478% | 0.5478%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCl |  | dissolved as a percentage of the stated label claim is |  | 96.95%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## SST R
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCL
Reference Substance: | RIFAMPICIN
% age Purity: | NDQD2016061088
Weight (mg): | 17
Standard Conc (mg/mL): | 0.17
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 4326118 | 49706.4 | 1.1 | 6.367
2 | 4293979 | 49827.5 | 1.1 | 6.36
3 | 4299448 | 49721.4 | 1.1 | 6.36
4 | 4292853 | 49863.1 | 1.1 | 6.36
5 | 4286665 | 49368.2 | 1.2 | 6.353
6 | 4275204 | 49887.3 | 1.1 | 6.353
Averages: | 4295711.1667 | 49728.9833 | 1.1167 | 6.3588
RSD: | 0.3967%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 4326118 | 49706.4 | 1.1 | 6.367
2 | 4293979 | 49827.5 | 1.1 | 6.36
3 | 4299448 | 49721.4 | 1.1 | 6.36
4 | 4292853 | 49863.1 | 1.1 | 6.36
5 | 4286665 | 49368.2 | 1.2 | 6.353
6 | 4275204 | 49887.3 | 1.1 | 6.353
Averages: | 4295711.1667 | 49728.9833 | 1.1167 | 6.3588
RSD: | 0.3967%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## SST E
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | RIFAMPICIN, ISONIAZID, PYRAZINAMIDE & ETHAMBUTOL HCL
Reference Substance: | Ethambutol
% age Purity: | NDQD2016061088
Weight (mg): | 33.26
Standard Conc (mg/mL): | 0.3326
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 41438804 | 10050.7 | 0.9 | 3.7
2 | 41689014 | 10147.7 | 0.9 | 3.8
3 | 41884935 | 10236.6 | 0.9 | 3.8
4 | 41982752 | 10286.7 | 0.9 | 3.8
5 | 42008024 | 10348.3 | 0.9 | 3.8
6 | 42127875 | 10419.7 | 0.9 | 3.9
Averages: | 41855234 | 10248.2833 | 0.9 | 3.8
RSD: | 0.6005%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 41438804 | 10050.7 | 0.9 | 3.7
2 | 41689014 | 10147.7 | 0.9 | 3.8
3 | 41884935 | 10236.6 | 0.9 | 3.8
4 | 41982752 | 10286.7 | 0.9 | 3.8
5 | 42008024 | 10348.3 | 0.9 | 3.8
6 | 42127875 | 10419.7 | 0.9 | 3.9
Averages: | 41855234 | 10248.2833 | 0.9 | 3.8
RSD: | 0.6005%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By: