## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | EMB-FATOL TABLETS
% age Purity: | NDQD2016061119
Weight (mg): | Ethambutol
Standard Conc (mg/mL): | Ethambutol 100mg
2016-06-10 14:37:59
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | EMB-FATOL TABLETS
Laboratory Ref No: |  | NDQD2016061119
Active Ingredient: |  | Ethambutol
Label Claim: |  | Ethambutol 100mg
Date Analysis Started: |  | 2016-06-10 14:37:59
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 144.3 | 0.9907%
|  | 142.81 | -0.05214%
|  | 141.9 | -0.689%
|  | 142.18 | -0.4931%
|  | 141.32 | -1.095%
|  | 142.78 | -0.07314%
|  | 142.33 | -0.3881%
|  | 143.12 | 0.1648%
|  | 143.4 | 0.3608%
|  | 139.95 | -2.054%
|  | 144.48 | 1.117%
|  | 144.9 | 1.411%
|  | 140.85 | -1.424%
|  | 145.09 | 1.544%
|  | 144.58 | 1.187%
|  | 144.58 | 1.187%
|  | 142.34 | -0.3811%
|  | 142.37 | -0.3601%
|  | 141.58 | -0.913%
|  | 142.83 | -0.03814%
| Total | 2857.69
| Average | 142.8845
| Average | % Deviation from mean
| 142.8845 | -7.5% | 132.1682
|  | 7.5% | 153.6008
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## Ethambutol HCL
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | EMB-FATOL TABLETS
Laboratory Ref No: | NDQD2016061119 | 29
Active Ingredient: | Ethambutol
Label Claim: | Ethambutol 100mg
Date Analysis Started: | 2016-06-10 14:37:59
Date Analysis Completed:
Analysis Data
Reference Substance: | Ethambutol
Code: | E12 3
% age Purity: | 100
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 100
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 3246653 | 2928430.2465 | 2530413 | 2885305.5872
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 3243670 | 2925739.6272 | 2527029 | 2881446.9783 |  | 1.182%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 3239308 | 2921805.1714 | 2524038 | 2878036.488
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 3243210.3333 | 2925325.015 | 2527160 | 2881596.3512
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 33.26 |  | 26.31
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 33.26 |  | 26.31
Standard Dilution Factor | 100 | Purity correction (mg): | 33.26 |  | 26.31
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.3326 |  | 0.2631
|  | Desired Concentration (mg/mL): | 0.3
|  | Desired Weight as free base (mg): | 30
|  | Desired Weight as salt (mg): | 30
|  | Average Normalised Response: | 2903460.6831
|  | RSD: | 0.8319%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Ethambutol 100mg
Each Tablet contains | 100 | Ethambutol
Average Tablet Content Weight (mg): | 142.8845
Initial Sample dilution Volume (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 3 | Assay Smp A | 143.51 | 1 | 2793055 | 95.7782 | 95.78%
1st Dilution Sample Final Volume (mL): | 10 |  |  | 2 | 2754637 | 94.4607 | 94.46%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 2736648 | 93.8439 | 93.84%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 142.99 | 1 | 2813954 | 96.8457 | 96.85%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 2750231 | 94.6526 | 94.65%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 2733662 | 94.0824 | 94.08%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 333.3333 | Assay Smp C | 140.56 | 1 | 2761558 | 96.6856 | 96.69%
Desired Sample Weight (mg): | 142.8845 |  |  | 2 | 2741160 | 95.9714 | 95.97%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 2733900 | 95.7172 | 95.72%
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 95.3375 | 95.34%
[5 empty] | RSD: | 1.165% | 1.165%
[5 empty] | n: | 9 | 9
Comment: | The content of | Ethambutol |  | in the sample as a percentage of the stated label claim is |  | 95.34%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Ethambutol
Code: | E12 3
% age Purity: | 100
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 100
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 10 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 25 | 1 | 1573425 | 1314078.4726 |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 1508804 | 1260108.9063 | 1238552 | 1307648.127 |  | 0.5019%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 1570085 | 1311289.0025 | 1230459 | 1299103.6361
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 1550771.3333 | 1295158.7938 | 1234505.5 | 1303375.8816
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 33.26 |  | 26.31
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 33.26 |  | 26.31
Standard Dilution Factor | 250 | Purity correction: | 33.26 |  | 26.31
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.13304 |  | 0.10524
|  | Desired Concentration (mg/mL): | 0.11111
|  | Desired Weight as free base (mg): | 27.7778
|  | Desired Weight as salt (mg): | 27.7778
|  | Average Normalised Peak Area: | 1298445.6289
|  | RSD: | 1.707%
|  | n: | 5
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 1310896 | 100.9589 | 101%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 1317028 | 101.4311 | 101.4%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 1313369 | 101.1493 | 101.1%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 1313143 | 101.1319 | 101.1%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 1304972 | 100.5026 | 100.5%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 1304825 | 100.4913 | 100.5%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 100.9442 | 100.9%
Sample Dilution Factor | 900 |  | RSD: | 0.3745% | 0.3745%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | Ethambutol |  | dissolved as a percentage of the stated label claim is |  | 100.9%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5