## Torsemide 1
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | TORTAS 20 TABLETS
Laboratory Ref No: | NDQD2016061177 | 1
Active Ingredient: | Torsemide USP
Label Claim: | Each tablet contain Torsemide usp 20mg
Date Analysis Started: | 30-05-2017
Date Analysis Completed: | 30-05-2017
Analysis Data
Reference Substance: | Torsemide
Code: | T36-2
% age Purity: | 99.4
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.4
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 65603148 | 72327827.7886 | 73057129 | 73388035.6528
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 65545083 | 72263810.8101 | 72885022 | 73215149.1073 |  | 1.474%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 65608380 | 72333596.0971 | 72905688 | 73235908.7124
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 65585537 | 72308411.5653 | 72949279.6667 | 73279697.8242
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 18.25 |  | 20.03
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 18.25 |  | 20.03
Standard Dilution Factor | 50 | Purity correction (mg): | 18.1405 |  | 19.9098
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.36281 |  | 0.3982
|  | Desired Concentration (mg/mL): | 0.4
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 20
|  | Average Normalised Response: | 72794054.6947
|  | RSD: | 0.7362%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each tablet contain Torsemide usp 20mg
Each Tablet contains | 20 | Torsemide USP
Average Tablet Content Weight (mg): | 202.8955
Initial Sample dilution Volume (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 1 | Assay Smp A | 409.72 | 1 | 72420463 | 19.7066 | 98.5328
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 72319491 | 19.6791 | 98.3954
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 71958496 | 19.5808 | 97.9042
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 412 | 1 | 73579967 | 19.9113 | 99.5563
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 73321808 | 19.8414 | 99.207
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 73456640 | 19.8779 | 99.3895
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 100 | Assay Smp C | 405.82 | 1 | 73740142 | 20.2585 | 101.2924
Desired Sample Weight (mg): | 405.791 |  |  | 2 | 73367362 | 20.1561 | 100.7804
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 73119721 | 20.088 | 100.4402
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 19.9 | 99.4998
[5 empty] | RSD: | 1.154% | 1.154%
[5 empty] | n: | 9 | 9
Comment: | The content of | Torsemide |  | in the sample as a percentage of the stated label claim is |  | 9950%
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance:
Code:
% age Purity:
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 0
Mwt of compound in free base form: |  | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: |  | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | #DIV/0! | free base
Initial Standard dilution volume (mL): |  |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: |  | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): |  | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | - |  | #DIV/0!
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | #DIV/0! |  | #DIV/0!
Standard Dilution Factor | #DIV/0! | Purity correction: | #DIV/0! |  | #DIV/0!
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | #DIV/0! |  | #DIV/0!
|  | Desired Concentration (mg/mL): | #DIV/0!
|  | Desired Weight as free base (mg): | #DIV/0!
|  | Desired Weight as salt (mg): | #DIV/0!
|  | Average Normalised Peak Area: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Medium Volume (mL): |  | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: |  | 1 |  | - | -
1st Dilution Sample Final Volume (mL): |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | #DIV/0! | #DIV/0!
Sample Dilution Factor | #DIV/0! |  | RSD: | #DIV/0! | #DIV/0!
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 0 | 0
Range
|  |  | Minimum: | 0 | 0
|  |  | Maximum: | 0 | 0
Comment: | The amount of | Torsemide |  | dissolved as a percentage of the stated label claim is |  | #DIV/0!
| Range: | Minimum | 0 | Maximum | 0
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | TORTAS 20 TABLETS
Reference Substance: | Torsemide
% age Purity: | 99.4
Weight (mg): | 18.25
Standard Conc (mg/mL): | 0.365
2016-06-20 13:19:18
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 65595465 | 6137.7 | 1 | 5.3
2 | 65602143 | 6133.6 | 1 | 5.3
3 | 65540672 | 6105.4 | 1 | 5.3
4 | 65823220 | 6085.1 | 1 | 5.3
5 | 65694806 | 6061.7 | 1 | 5.3
6 | 65858264 | 6040.7 | 1 | 5.3
Averages: | 65685761.6667 | 6094.0333 | 1 | 5.3
RSD: | 0.1984%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance: | Torsemide
% age Purity: | 99.4
Weight (mg): | 18.25
Standard Conc (mg/mL): | 0.0219
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 65595465 | 6137.7 | 1 | 5.3
2 | 65602143 | 6133.6 | 1 | 5.3
3 | 65540672 | 6105.4 | 1 | 5.3
4 | 65823220 | 6085.1 | 1 | 5.3
5 | 65694806 | 6061.7 | 1 | 5.3
6 | 65858264 | 6040.7 | 1 | 5.3
Averages: | 65685761.6667 | 6094.0333 | 1 | 5.3
RSD: | 0.1984%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | TORTAS 20 TABLETS
Laboratory Ref No: |  | NDQD2016061177
Active Ingredient: |  | Torsemide USP
Label Claim: |  | Each uncoated tablet contains Torsemide USP 20 mg
Date Analysis Started: |  | 2016-06-20 13:19:18
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 198.93 | -1.956%
|  | 206.12 | 1.588%
|  | 206.8 | 1.923%
|  | 204.98 | 1.026%
|  | 198.6 | -2.118%
|  | 198.85 | -1.995%
|  | 201.99 | -0.4475%
|  | 203.95 | 0.5185%
|  | 201.38 | -0.7482%
|  | 203.11 | 0.1045%
|  | 199.66 | -1.596%
|  | 204.84 | 0.9571%
|  | 207.64 | 2.337%
|  | 202.88 | -0.008871%
|  | 202.58 | -0.1567%
|  | 205.84 | 1.45%
|  | 205.57 | 1.317%
|  | 203.62 | 0.3558%
|  | 199.84 | -1.507%
|  | 200.78 | -1.044%
| Total | 4057.96
| Average | 202.898
| Average | % Deviation from mean
| 202.898 | -7.5% | 187.6807
|  | 7.5% | 218.1154
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## Torsemide
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | TORTAS 20 TABLETS
Laboratory Ref No: | NDQD2016061177 | 36
Active Ingredient: | Torsemide USP
Label Claim: | Each uncoated tablet contains Torsemide USP 20 mg
Date Analysis Started: | 2016-06-20 13:19:18
Date Analysis Completed:
Analysis Data
Reference Substance: | Torsemide
Code: | T36-2
% age Purity: | 99.4
% Water content: | 0 | If correction for water content is NOT needed, enter 0
% Purity corrected for water: | 99.4
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 5 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 10 | 1 | 33091777 | 36483864.2816 | 36869053 | 37036048.5429
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 33109097 | 36502959.6759 | 36860066 | 37027020.837
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 33123618 | 36518969.1574 | 36772204 | 36938760.8728
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 33108164 | 36501931.0383 | 36833774.3333 | 37000610.0842
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 18.25 |  | 20.03
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 18.25 |  | 20.03
Standard Dilution Factor | 100 | Purity correction (mg): | 18.1405 |  | 19.9098
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.18141 |  | 0.1991
|  | Desired Concetration (mg/mL): | 0.2
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 20
|  | Average Normalised Response: | 36751270.5612
|  | RSD: | 0.7496%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each uncoated tablet contains Torsemide USP 20 mg
Each Tablet contains | 20 | Torsemide USP
Average Tablet Content Weight (mg): | 202.898
Initial Sample dilution (mL): | 100 | Tablet No. | Peak Area: | Actual Content | Content as % of the average content | Content as % of Label Claim
1st Dilution Standard transfer Volume (mL: | 1 | 1 | 35360903 | 19.2434 | 99.6379 | 96.2168
1st Dilution Standard Final Volume (mL): | 1 | 2 | 35688203 | 19.4215 | 100.5602 | 97.1074
2nd Dilution Standard Transfer Volume (mL): | 1 | 3 | 35467757 | 19.3015 | 99.939 | 96.5076
2nd Dilution Standard Final Volume (mL): | 1 | 4 | 35643683 | 19.3973 | 100.4347 | 96.9863
3rd Dilution Standard Volume (mL: | 1 | 5 | 35385996 | 19.257 | 99.7086 | 96.2851
3rd Dilution Standard Final Volume (mL): | 1 | 6 | 35429339 | 19.2806 | 99.8307 | 96.403
4th Dilution Standard Transfer Volume (mL): | 1 | 7 | 35474703 | 19.3053 | 99.9586 | 96.5265
4th Dilution Standard Final Volume (mL): | 1 | 8 | 35525489 | 19.3329 | 100.1017 | 96.6647
Standard Dilution Factor | 100 | 9 | 35537436 | 19.3394 | 100.1353 | 96.6972
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | 10 | 35380559 | 19.2541 | 99.6933 | 96.2703
|  | Average tablet: |  | 19.3133 | 100 | 96.5665
|  |  |  | 0.3119% | 0.3119% | 0.3119%
|  |  |  | 10 | 10 | 10
Comment | The content of | Torsemide USP |  | in the sample as a percentage of the stated label claim is |  | 96.5665
Analysis Data | Determination of the Acceptance Value (AV)
Calculation of acceptance value (AV)
| Average | 96.5665
| k | 2.4
| s | 0.3012
| M | 98.5
| AV (≤ 15) | 2.6564
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Torsemide
Code: | T36-2
% age Purity: | 99.4
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.4
Mwt of compound in free base form: | 1 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 1 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 3 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 50 | 1 | 3994768 | 4078012.4685 | 4416307 | 4107694.7437
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 3999949 | 4083301.4321 | 4399016 | 4091612.0417
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 3974670 | 4057495.6589 | 4406655 | 4098717.2271
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 3989795.6667 | 4072936.5198 | 4407326 | 4099341.3375
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 18.25 |  | 20.03
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 18.25 |  | 20.03
Standard Dilution Factor | 833.3333 | Purity correction (mg): | 18.1405 |  | 19.9098
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.021769 |  | 0.023892
|  | Desired Concetration (mg/mL): | 0.022222
|  | Desired Weight as free base (mg): | 18.5185
|  | Desired Weight as salt (mg): | 18.5185
|  | Average Normalised Response: | 4086138.9287
|  | RSD: | 0.4305%
|  | n: | 6
Medium Volume (mL): | 900 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 | 4191070 | 20.5136 | 102.6%
1st Dilution Sample Final Volume (mL): | 1 | 2 | 4196597 | 20.5406 | 102.7%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 4190513 | 20.5109 | 102.6%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 4186515 | 20.4913 | 102.5%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 4177670 | 20.448 | 102.2%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 4184816 | 20.483 | 102.4%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 102.5%
Sample Dilution Factor | 900 |  |  | RSD: | 0.1542%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment | The amount of | Torsemide USP |  | dissolved as a percentage of the stated label claim is |  | 102.5%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0